## BoQ1
Government eProcurement System Created By: RAJITH V Created Date/Time: 11-Oct-2022 05:58 PM Tender Title: Retro Fitting ACBs and MCCBs in place of old and existing GE make ACBs and MCCBs in essential and non- essential panels at new power house, Madurai Airport Tender ID: 2022_AAI_124724_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: Retro Fitting ACBs & MCCBs in place of old & existing GE make ACBs and MCCBs at essential & non- essential panels at new power house, Madurai Airport
Contract No: 2022_AAI_124724_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | ashirwad engineers(GSTN-06AATPD5390D1ZO) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing following rating and breaking capacity MCCB with thermomagnetic release and terminal spreaders, rotary handle in existing cubicle panel board including drilling holes in cubicle panel, making connections, making suitable modification in Aluminium busbar/cubicle panel including dismantling the existing MCCB and making the system in serviceable condition with etc. complete as required. a) Four pole 63 Amps, 36KA (ICu=ICs) MCCB | 2.00 | Nos |  | 15599.00 | 31198.00 | 13500.00 | 27000.00 | 13000.00 | 26000.00 | 26000.00 | jaydeep agency corporation
2.00 | Providing and fixing following rating and breaking capacity MCCB with thermomagnetic release and terminal spreaders, rotary handle in existing cubicle panel board including drilling holes in cubicle panel, making connections, making suitable modification in Aluminium busbar/cubicle panel including dismantling the existing MCCB and making the system in serviceable condition with etc. complete as required. b) Four pole 100 Amps, 36KA (ICu=ICs) MCCB | 7.00 | Nos |  | 16599.00 | 116193.00 | 13800.00 | 96600.00 | 15000.00 | 105000.00 | 96600.00 | ashirwad engineers
3.00 | Providing and fixing following rating and breaking capacity MCCB with microprocessor release and terminal spreaders, rotary handle in existing cubicle panel board including dismantling the existing MCCB with drilling holes in cubicle panel, making connections,making suitable modification in Aluminium busbar/cubicle panel and making the system in serviceable condition etc. complete as required. a) Four pole 160 Amps, 50KA (ICu=ICs) MCCB | 10.00 | Nos |  | 26599.00 | 265990.00 | 29000.00 | 290000.00 | 52000.00 | 520000.00 | 265990.00 | CHENNAI ENGINEERING SERVICES
4.00 | Providing and fixing following rating and breaking capacity MCCB with microprocessor release and terminal spreaders, rotary handle in existing cubicle panel board including dismantling the existing MCCB with drilling holes in cubicle panel, making connections, making suitable modification in Aluminium busbar/cubicle panel and making the system in serviceable condition etc. complete as required. b) Four pole 250 Amps, 50KA (ICu=ICs) MCCB | 10.00 | Nos |  | 28699.00 | 286990.00 | 33500.00 | 335000.00 | 54000.00 | 540000.00 | 286990.00 | CHENNAI ENGINEERING SERVICES
5.00 | Providing and fixing following rating and breaking capacity MCCB with microprocessor release and terminal spreaders, rotary handle in existing cubicle panel board including dismantling the existing MCCB with drilling holes in cubicle panel, making connections, making suitable modification in Aluminium busbar/cubicle panel and making the system in serviceable condition etc. complete as required. c) Four pole 400 Amps, 50KA (ICu=ICs) MCCB | 4.00 | Nos |  | 39999.00 | 159996.00 | 47000.00 | 188000.00 | 64000.00 | 256000.00 | 159996.00 | CHENNAI ENGINEERING SERVICES
6.00 | Providing and fixing following rating and breaking capacity MCCB with microprocessor release and terminal spreaders, rotary handle in existing cubicle panel board including dismantling the existing MCCB with drilling holes in cubicle panel, making connections, making suitable modification in Aluminium busbar/cubicle panel and making the system in serviceable condition etc. complete as required. d) Four pole 630 Amps, 50KA (ICu=ICs) MCCB | 2.00 | Nos |  | 42999.00 | 85998.00 | 60000.00 | 120000.00 | 70000.00 | 140000.00 | 85998.00 | CHENNAI ENGINEERING SERVICES
7.00 | Supply, Installation, testing and Commissioning of 4 POLE 1250A, 50 kA Air Circuit Breaker with microprocessor release, motor wound spring charged closing mechanism, horizontal Drawout type with all protection i/c Earth fault, Under voltage/over voltage release, Short circuit etc. and with communication port facility including dismantling the existing GE make Air Circuit Breaker including necessary aluminium Busbar/cubicle modification, providing mechanical inter lock, making suitable control logic wiring, providing suitable sliding contact, replacement/modification of connection from main bus bar to ACB with Aluminium busbars of required capacity and size and making the system in serviceable condition complete as required and as per directions of Engineer - in - charge. | 8.00 | Job |  | 188999.00 | 1511992.00 | 240000.00 | 1920000.00 | 178000.00 | 1424000.00 | 1424000.00 | jaydeep agency corporation
8.00 | Supply, Installation, testing and Commissioning of 4 POLE 2500A, 65 kA Air Circuit Breaker with microprocessor release motor wound spring charged closing mechanism, horizontal Drawout type with all protection i/c Earth fault, Power metering with under voltage over voltage protection, Short circuit etc. including dismantling the existing GE make Air Circuit Breaker including necessary aluminium Busbar/cubicle modification, providing mechanical inter lock, making suitable control logic wiring, providing suitable sliding contact, replacement of connection from main bus bar to ACB with Aluminium links/busbars of required capacity and size and making the system in serviceable condition complete as required and as per directions of Engineer - in - charge. | 2.00 | Job |  | 282999.00 | 565998.00 | 360000.00 | 720000.00 | 298000.00 | 596000.00 | 565998.00 | CHENNAI ENGINEERING SERVICES
9.00 | Supply, Installation, testing and Commissioning of 4 POLE 2500A, 65 kA Air Circuit Breaker with microprocessor release, motor wound spring charged closing mechanism, horizontal Drawout type with all protection i/c Earth fault, Power metering with under voltage over voltage protection, Short circuit etc. and with communication port facility including dismantling the existing GE make Air Circuit Breaker including necessary aluminium Busbar/cubicle modification, mechanical inter lock making suitable control logic wiring, providing suitable sliding contact, replacement of connection from main bus bar to ACB with Aluminium busbars of required capacity and size and making the system in serviceable condition complete as required and as per directions of Engineer - in - charge. | 2.00 | JOb |  | 302999.00 | 605998.00 | 360000.00 | 720000.00 | 298000.00 | 596000.00 | 596000.00 | jaydeep agency corporation
10.00 | SITC of demand controller including wiring with existing PT&CT in HT panel etc. As required and as per directions of Engineer - in - charge. | 1.00 | Job |  | 51999.00 | 51999.00 | 40000.00 | 40000.00 | 185000.00 | 185000.00 | 40000.00 | ashirwad engineers
| Total in Figures |  |  |  |  | 3682352.00 |  | 4456600.00 |  | 4388000.00
Lowest Amount Quoted BY: CHENNAI ENGINEERING SERVICES(3682352.00)

## BOQ Summary
BOQ Summary Details Tender Title: Retro Fitting ACBs and MCCBs in place of old and existing GE make ACBs and MCCBs in essential and non- essential panels at new power house, Madurai Airport Tender ID: 2022_AAI_124724_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHENNAI ENGINEERING SERVICES | 3682352.00 | L1
| 2 | jaydeep agency corporation | 4388000.00 | L2
| 3 | ashirwad engineers | 4456600.00 | L3