## BoQ1
Government eProcurement System Created By: VENKATRAM GANDARAPU Created Date/Time: 08-Sep-2022 10:50 AM Tender Title: Modification of Terminal Building for setting up of Immigration and Customs infrastructure at Raja Bhoj Airport Bhopal Tender ID: 2022_AAI_124741_1
Tender Inviting Authority: Senior Manager Engg (Civil)
Name of Work: Modification of Terminal Building for setting up of Immigration and Customs infrastructure at Raja Bhoj Airport, Bhopa
Contract No: AAI/BPL/ENGG(C)/2022-23/01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Swami Contractors Pvt Ltd(GSTN-07AAICS8637E1Z3) |  | CREATORS ENGINEERS AND INTERIORS(GSTN-07AAGFC0762R2Z1) |  | SAMEER GLAZING SYSTEM PRIVATE LIMITED(GSTN-23AARCS0124P1Z3) |  | Rajpati Construction(GSTN-23AAPFR1193J1ZX) |  | MINOCHA CONSTRUCTION COMPANY(GSTN-09AFMPM2502A1ZW) |  | SATNAM SINGH NARANG(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of Foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 30.00 | cum | 100.00 | 154.00 | 4620.00 | 100.00 | 3000.00 | 177.00 | 5310.00 | 100.00 | 3000.00 | 80.00 | 2400.00 | 164.00 | 4920.00 | 2400.00 | MINOCHA CONSTRUCTION COMPANY
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 25.00 | cum | 100.00 | 4492.00 | 112300.00 | 2800.00 | 70000.00 | 4295.00 | 107375.00 | 5300.00 | 132500.00 | 4800.00 | 120000.00 | 3100.00 | 77500.00 | 70000.00 | CREATORS ENGINEERS AND INTERIORS
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) derived from natural sources : 8 graded stone aggregate 40 mm nominal size derived from natural sources) | 75.00 | cum | 10.00 | 3858.00 | 289350.00 | 3000.00 | 225000.00 | 2784.00 | 208800.00 | 4000.00 | 300000.00 | 4000.00 | 300000.00 | 3400.00 | 255000.00 | 208800.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
4.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size) | 5.00 | cum | 10.00 | 5000.00 | 25000.00 | 3500.00 | 17500.00 | 4931.00 | 24655.00 | 6100.00 | 30500.00 | 5500.00 | 27500.00 | 6000.00 | 30000.00 | 17500.00 | CREATORS ENGINEERS AND INTERIORS
5.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement with 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources). | 15.00 | cum | 10.00 | 6538.00 | 98070.00 | 3500.00 | 52500.00 | 5090.00 | 76350.00 | 6900.00 | 103500.00 | 6000.00 | 90000.00 | 6000.00 | 90000.00 | 52500.00 | CREATORS ENGINEERS AND INTERIORS
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns, etc. for mass concrete | 35.00 | sqm | 10.00 | 187.00 | 6545.00 | 280.00 | 9800.00 | 278.00 | 9730.00 | 290.00 | 10150.00 | 400.00 | 14000.00 | 250.00 | 8750.00 | 6545.00 | Swami Contractors Pvt Ltd
7.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto/above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 3000.00 | Kg | 10.00 | 54.00 | 162000.00 | 41.00 | 123000.00 | 67.00 | 201000.00 | 90.00 | 270000.00 | 80.00 | 240000.00 | 72.00 | 216000.00 | 123000.00 | CREATORS ENGINEERS AND INTERIORS
8.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | 25.00 | cum | 10.00 | 4880.00 | 122000.00 | 500.00 | 12500.00 | 5141.00 | 128525.00 | 5300.00 | 132500.00 | 5500.00 | 137500.00 | 5000.00 | 125000.00 | 12500.00 | CREATORS ENGINEERS AND INTERIORS
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 3.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 32.00 | cum | 10.00 | 4880.00 | 156160.00 | 5500.00 | 176000.00 | 5448.00 | 174336.00 | 6300.00 | 201600.00 | 5800.00 | 185600.00 | 5500.00 | 176000.00 | 156160.00 | Swami Contractors Pvt Ltd
10.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing of edges to give high gloss finish etc. complete at all levels. Granite stone slab of all colour and texture Area of slab over 0.50 sqm | 200.00 | sqm | 10.00 | 2699.00 | 539800.00 | 3400.00 | 680000.00 | 3817.00 | 763400.00 | 2600.00 | 520000.00 | 3900.00 | 780000.00 | 2600.00 | 520000.00 | 520000.00 | Rajpati Construction, SATNAM SINGH NARANG
11.00 | Providing and fixing panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick : Pre-laminated particle board with decorative lamination on both sides, Grade I, Type II, IS:12823 marked | 50.00 | sqm | 10.00 | 1063.00 | 53150.00 | 1200.00 | 60000.00 | 1073.00 | 53650.00 | 1600.00 | 80000.00 | 1750.00 | 87500.00 | 1200.00 | 60000.00 | 53150.00 | Swami Contractors Pvt Ltd
12.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 25 mm thick (for cupboard) including ISI marked nickel plated bright finished M.S. Piano hinges IS : 3818 marked with necessary screws | 18.38 | sqm | 10.00 | 1532.00 | 28158.16 | 1800.00 | 33084.00 | 2545.00 | 46777.10 | 2300.00 | 42274.00 | 2200.00 | 40436.00 | 2000.00 | 36760.00 | 28158.16 | Swami Contractors Pvt Ltd
13.00 | Providing and fixing teak wood lipping of size 25x3 mm in pelmet. | 22.00 | Meter | 10.00 | 38.00 | 836.00 | 100.00 | 2200.00 | 71.00 | 1562.00 | 55.00 | 1210.00 | 60.00 | 1320.00 | 50.00 | 1100.00 | 836.00 | Swami Contractors Pvt Ltd
14.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 6.00 | Each | 10.00 | 228.00 | 1368.00 | 400.00 | 2400.00 | 166.00 | 996.00 | 350.00 | 2100.00 | 300.00 | 1800.00 | 279.00 | 1674.00 | 996.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
15.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm | 6.00 | Each | 10.00 | 158.00 | 948.00 | 300.00 | 1800.00 | 214.00 | 1284.00 | 255.00 | 1530.00 | 200.00 | 1200.00 | 220.00 | 1320.00 | 948.00 | Swami Contractors Pvt Ltd
16.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade, with necessary screws etc. complete. Twin rubber stopper | 7.00 | Each | 10.00 | 38.00 | 266.00 | 80.00 | 560.00 | 99.00 | 693.00 | 40.00 | 280.00 | 50.00 | 350.00 | 50.00 | 350.00 | 266.00 | Swami Contractors Pvt Ltd
17.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 16.95 | sqm | 10.00 | 466.00 | 7898.70 | 1500.00 | 25425.00 | 601.00 | 10186.95 | 730.00 | 12373.50 | 600.00 | 10170.00 | 500.00 | 8475.00 | 7898.70 | Swami Contractors Pvt Ltd
18.00 | Providing and fixing frame work for partitions/ wall lining etc. made of 50x50x1.6 mm hollow MS tube, placed along the walls, ceiling and floor in a grid pattern with spacing @ 60 cm centre to centre both ways (vertically & horizontally) or at required spacing near opening, with necessary welding at junctions and fixing the frame to wall/ ceiling/ floors with steel dash fasteners of 8 mm dia, 75 mm long bolt, including making provision for opening for doors, windows, electrical conduits, switch boards etc., including providing with two coats of approved steel primer etc. complete, all as per direction of Engineer-in-charge. | 1230.00 | kg | 10.00 | 81.00 | 99630.00 | 125.00 | 153750.00 | 88.00 | 108240.00 | 135.00 | 166050.00 | 95.00 | 116850.00 | 100.00 | 123000.00 | 99630.00 | Swami Contractors Pvt Ltd
19.00 | Providing and fixing skirting with pre-laminated medium density fibre board exterior grade (Grade-I) conforming to IS: 14587:1998 marked, with (one side decorative and other side balancing lamination and edges to be sealed with PVC edge bending tape 2.00 mm thick of approved brand with necessary fixing arrangements and screws, including drilling necessary holes for rawl plugs etc. all complete. 18 mm thick. | 254.00 | sqm | 10.00 | 1118.00 | 283972.00 | 75.00 | 19050.00 | 1312.00 | 333248.00 | 1550.00 | 393700.00 | 1000.00 | 254000.00 | 1400.00 | 355600.00 | 19050.00 | CREATORS ENGINEERS AND INTERIORS
20.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete. 125 mm | 4.00 | Each | 10.00 | 61.00 | 244.00 | 85.00 | 340.00 | 1710.00 | 6840.00 | 90.00 | 360.00 | 100.00 | 400.00 | 100.45 | 401.80 | 244.00 | Swami Contractors Pvt Ltd
21.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1000.00 | Kg | 10.00 | 47.00 | 47000.00 | 65.00 | 65000.00 | 92.00 | 92000.00 | 100.00 | 100000.00 | 102.00 | 102000.00 | 100.00 | 100000.00 | 47000.00 | Swami Contractors Pvt Ltd
22.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 1600.00 | Kg | 10.00 | 94.00 | 150400.00 | 120.00 | 192000.00 | 97.00 | 155200.00 | 120.00 | 192000.00 | 110.00 | 176000.00 | 110.00 | 176000.00 | 150400.00 | Swami Contractors Pvt Ltd
23.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 50.00 | Kg | 10.00 | 53.00 | 2650.00 | 150.00 | 7500.00 | 131.00 | 6550.00 | 85.00 | 4250.00 | 90.00 | 4500.00 | 88.50 | 4425.00 | 2650.00 | Swami Contractors Pvt Ltd
24.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates,Bollards etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-in charge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 2400.00 | Kg | 10.00 | 373.00 | 895200.00 | 425.00 | 1020000.00 | 437.00 | 1048800.00 | 480.00 | 1152000.00 | 425.00 | 1020000.00 | 450.00 | 1080000.00 | 895200.00 | Swami Contractors Pvt Ltd
25.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments of all Sizes. | 100.00 | sqm | 10.00 | 1037.00 | 103700.00 | 800.00 | 80000.00 | 1154.00 | 115400.00 | 890.00 | 89000.00 | 1100.00 | 110000.00 | 1000.00 | 100000.00 | 80000.00 | CREATORS ENGINEERS AND INTERIORS
26.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 150MM | 25.00 | meter | 10.00 | 274.00 | 6850.00 | 275.00 | 6875.00 | 191.00 | 4775.00 | 250.00 | 6250.00 | 500.00 | 12500.00 | 300.00 | 7500.00 | 4775.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
27.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 250.00 | sqm | 100.00 | 179.00 | 44750.00 | 155.00 | 38750.00 | 294.00 | 73500.00 | 230.00 | 57500.00 | 215.00 | 53750.00 | 138.00 | 34500.00 | 34500.00 | SATNAM SINGH NARANG
28.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 250.00 | sqm | 10.00 | 206.00 | 51500.00 | 200.00 | 50000.00 | 318.00 | 79500.00 | 250.00 | 62500.00 | 275.00 | 68750.00 | 148.00 | 37000.00 | 37000.00 | SATNAM SINGH NARANG
29.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 40.00 | sqm | 10.00 | 154.00 | 6160.00 | 120.00 | 4800.00 | 278.00 | 11120.00 | 190.00 | 7600.00 | 225.00 | 9000.00 | 96.00 | 3840.00 | 3840.00 | SATNAM SINGH NARANG
30.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. | 150.00 | sqm | 10.00 | 130.00 | 19500.00 | 180.00 | 27000.00 | 159.00 | 23850.00 | 200.00 | 30000.00 | 100.00 | 15000.00 | 190.00 | 28500.00 | 15000.00 | MINOCHA CONSTRUCTION COMPANY
31.00 | Finishing with Epoxy paint (two or more coats) at all locations prepared and applied as per manufacturer's specifications including appropriate priming coat, preparation of surface, etc. complete | 100.00 | sqm | 10.00 | 123.00 | 12300.00 | 180.00 | 18000.00 | 151.00 | 15100.00 | 150.00 | 15000.00 | 170.00 | 17000.00 | 190.00 | 19000.00 | 12300.00 | Swami Contractors Pvt Ltd
32.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 50.00 | sqm | 10.00 | 80.00 | 4000.00 | 100.00 | 5000.00 | 106.00 | 5300.00 | 75.00 | 3750.00 | 100.00 | 5000.00 | 131.45 | 6572.50 | 3750.00 | Rajpati Construction
33.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 30.00 | cum | 10.00 | 1224.00 | 36720.00 | 1000.00 | 30000.00 | 995.00 | 29850.00 | 80.00 | 2400.00 | 1600.00 | 48000.00 | 1800.00 | 54000.00 | 2400.00 | Rajpati Construction
34.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material within 50 metres lead as per direction of Engineer - in- charge. | 10.00 | cum | 10.00 | 1786.00 | 17860.00 | 1200.00 | 12000.00 | 1749.00 | 17490.00 | 100.00 | 1000.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 1000.00 | Rajpati Construction
35.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 20.00 | cum | 10.00 | 1036.00 | 20720.00 | 1000.00 | 20000.00 | 477.00 | 9540.00 | 50.00 | 1000.00 | 1700.00 | 34000.00 | 1200.00 | 24000.00 | 1000.00 | Rajpati Construction
36.00 | Dismantling stone slab/Granite flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead | 75.00 | sqm | 10.00 | 134.00 | 10050.00 | 200.00 | 15000.00 | 175.00 | 13125.00 | 35.00 | 2625.00 | 300.00 | 22500.00 | 180.00 | 13500.00 | 2625.00 | Rajpati Construction
37.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 70.00 | sqm | 10.00 | 28.00 | 1960.00 | 100.00 | 7000.00 | 38.00 | 2660.00 | 5.00 | 350.00 | 50.00 | 3500.00 | 46.50 | 3255.00 | 350.00 | Rajpati Construction
38.00 | Taking out existing CC interlocking paver blocks from footpath/ central verge, including removal of rubbish etc., disposal of unserviceable material to the dumping ground, for which payment shall be made separately and stacking of serviceable material within 50 metre lead as per direction of Engineer-in-Charge. | 400.00 | sqm | 10.00 | 66.00 | 26400.00 | 190.00 | 76000.00 | 74.00 | 29600.00 | 60.00 | 24000.00 | 150.00 | 60000.00 | 70.00 | 28000.00 | 24000.00 | Rajpati Construction
39.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 470.00 | sqm | 10.00 | 616.00 | 289520.00 | 700.00 | 329000.00 | 715.00 | 336050.00 | 810.00 | 380700.00 | 710.00 | 333700.00 | 800.00 | 376000.00 | 289520.00 | Swami Contractors Pvt Ltd
40.00 | Laying old cement cocrete interlocking paver blocks of any design/ shape laid in required line, level, curvature, colour and pattern over and including 50 mm thick compacted bed of coarse sand, filling the joints with fine sand etc. all complete as per the direction of Engineer in-charge. | 400.00 | sqm | 10.00 | 221.00 | 88400.00 | 490.00 | 196000.00 | 676.00 | 270400.00 | 210.00 | 84000.00 | 200.00 | 80000.00 | 280.00 | 112000.00 | 80000.00 | MINOCHA CONSTRUCTION COMPANY
41.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. 32mm dia | 6.00 | Each | 10.00 | 63.00 | 378.00 | 100.00 | 600.00 | 74.00 | 444.00 | 85.00 | 510.00 | 60.00 | 360.00 | 72.00 | 432.00 | 360.00 | MINOCHA CONSTRUCTION COMPANY
42.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing and SS studs of size as directed by Enigneer In Charge. | 6.00 | Sqm | 10.00 | 1220.00 | 7320.00 | 1800.00 | 10800.00 | 883.00 | 5298.00 | 800.00 | 4800.00 | 4500.00 | 27000.00 | 900.00 | 5400.00 | 4800.00 | Rajpati Construction
43.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. 15 mm Nominal Dia | 50.00 | Meters | 10.00 | 269.00 | 13450.00 | 350.00 | 17500.00 | 198.00 | 9900.00 | 355.00 | 17750.00 | 370.00 | 18500.00 | 350.00 | 17500.00 | 9900.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
44.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. 25 mm Nominal Dia | 60.00 | Meters | 10.00 | 381.00 | 22860.00 | 500.00 | 30000.00 | 278.00 | 16680.00 | 550.00 | 33000.00 | 550.00 | 33000.00 | 400.00 | 24000.00 | 16680.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
45.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. For fixed portion. (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 250.00 | Kg | 10.00 | 284.00 | 71000.00 | 425.00 | 106250.00 | 389.00 | 97250.00 | 395.00 | 98750.00 | 490.00 | 122500.00 | 380.00 | 95000.00 | 71000.00 | Swami Contractors Pvt Ltd
46.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) (Glazing, paneling and dash fasteners to be paid for separately) : Powder coated aluminium (minimum thickness of powder coating 50 micron) | 250.00 | Kg | 10.00 | 344.00 | 86000.00 | 475.00 | 118750.00 | 389.00 | 97250.00 | 445.00 | 111250.00 | 515.00 | 128750.00 | 400.00 | 100000.00 | 86000.00 | Swami Contractors Pvt Ltd
47.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness (weight not less than 10 kg/ sqm) With float glass panes of 4.0 mm thickness (weight not less than 10 kg/ sqm) | 60.00 | sqm | 10.00 | 622.00 | 37320.00 | 850.00 | 51000.00 | 779.00 | 46740.00 | 810.00 | 48600.00 | 900.00 | 54000.00 | 980.00 | 58800.00 | 37320.00 | Swami Contractors Pvt Ltd
48.00 | Supplying and placing in position 4way spider bolt Article no.9140715 (DORMA or Equi.) at different locations with suitable arrangements as per direction of the Engineer-In-Charge. | 40.00 | each | 10.00 | 3506.00 | 140240.00 | 500.00 | 20000.00 | 3658.00 | 146320.00 | 3950.00 | 158000.00 | 4000.00 | 160000.00 | 3600.00 | 144000.00 | 20000.00 | CREATORS ENGINEERS AND INTERIORS
49.00 | Supplying and placing in position 2 way spider bolt ASF-NF -2P 1800 (Article no.9140712) of DORMA or Equi. at different locations with suitable arrangements as per direction of the Engineer-In-Charge. | 40.00 | each | 10.00 | 1670.00 | 66800.00 | 1700.00 | 68000.00 | 3086.00 | 123440.00 | 1500.00 | 60000.00 | 2000.00 | 80000.00 | 1700.00 | 68000.00 | 60000.00 | Rajpati Construction
50.00 | Supplying and placing in position 2way spider bolt ASF-NF -2P 900 (Article no.9140713) of DORMA or Equi. at different locations with suitable arrangements as per direction of the Engineer-In-Charge. | 150.00 | each | 10.00 | 2004.00 | 300600.00 | 1500.00 | 225000.00 | 1193.00 | 178950.00 | 1900.00 | 285000.00 | 1950.00 | 292500.00 | 1900.00 | 285000.00 | 178950.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
51.00 | Providing and fixing SS TGDI H pull handles (Art.code 9125502) -, TGDID 200x19, satin SS 304 of dorma make or equivalent on glass as per existing standard and satisfaction of E-I-C. | 10.00 | each | 10.00 | 992.00 | 9920.00 | 1000.00 | 10000.00 | 2060.00 | 20600.00 | 1500.00 | 15000.00 | 1100.00 | 11000.00 | 1200.00 | 12000.00 | 9920.00 | Swami Contractors Pvt Ltd
52.00 | Providing & fixing Universal patch lock US-10, F-700 for glass door (Art.code 80320670099) of dorma make or equivalent as per existing standard to the satisfaction of EIC | 8.00 | each | 10.00 | 4754.00 | 38032.00 | 2000.00 | 16000.00 | 1749.00 | 13992.00 | 4000.00 | 32000.00 | 5000.00 | 40000.00 | 3500.00 | 28000.00 | 13992.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
53.00 | Providing and laying average 50mm grout below 25mm thick Ms base palte of approved grout material like sikka, Fosroc, cico or equivalent. Preparing mix and placing inposition below base as per direction of engineer-in-charge. | 5.00 | sqm | 10.00 | 1220.00 | 6100.00 | 700.00 | 3500.00 | 954.00 | 4770.00 | 1200.00 | 6000.00 | 600.00 | 3000.00 | 1200.00 | 6000.00 | 3000.00 | MINOCHA CONSTRUCTION COMPANY
54.00 | Providing & fixing Dorma or equivalent make (Art.code 9110657) BTS 75 V floor spring for glass door i/e necessary fixing arrangement etc. complete as per the direction of EIC | 8.00 | each | 10.00 | 10432.00 | 83456.00 | 7500.00 | 60000.00 | 11771.00 | 94168.00 | 10900.00 | 87200.00 | 10800.00 | 86400.00 | 8000.00 | 64000.00 | 60000.00 | CREATORS ENGINEERS AND INTERIORS
55.00 | Providing and fixing in position fixed articulated bolt with nut for upto 15mm glass (Art.no.9140818) of DORMA or equivelent at the required location with suitable arrangements as per direction of the Engineer-in-charge. | 75.00 | each | 10.00 | 1533.00 | 114975.00 | 600.00 | 45000.00 | 437.00 | 32775.00 | 1600.00 | 120000.00 | 1350.00 | 101250.00 | 1600.00 | 120000.00 | 32775.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
56.00 | Providing and fixing in position chain flexible 1.20m telephone shower/health faucet (jaquar SHA CHR 549D 8) and necessary fittings all complete . | 4.00 | each | 10.00 | 610.00 | 2440.00 | 1000.00 | 4000.00 | 1590.00 | 6360.00 | 1100.00 | 4400.00 | 1000.00 | 4000.00 | 900.00 | 3600.00 | 2440.00 | Swami Contractors Pvt Ltd
57.00 | Providing and fixing Pillar cock auto closing system with body (Jaquar PRS-031) or equivalent approved quality 15mm nominal bore complete. | 5.00 | each | 10.00 | 1494.00 | 7470.00 | 2000.00 | 10000.00 | 636.00 | 3180.00 | 2100.00 | 10500.00 | 2800.00 | 14000.00 | 1900.00 | 9500.00 | 3180.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
58.00 | Providing and fixing in position 2 way bib cock with valve flange (Jaquar OPP-CHR -15041PM) with necessary fitting all complete . | 5.00 | each | 10.00 | 1281.00 | 6405.00 | 1000.00 | 5000.00 | 1193.00 | 5965.00 | 1950.00 | 9750.00 | 3000.00 | 15000.00 | 1800.00 | 9000.00 | 5000.00 | CREATORS ENGINEERS AND INTERIORS
59.00 | Providing and fixing bottle trap (with internal partition) 32mm size with 250mm and 190mm long wall connection pipes and wall flenge (Jaquar ALD 769L250X190) with necessary fittings all complete. | 5.00 | each | 10.00 | 1616.00 | 8080.00 | 1000.00 | 5000.00 | 1749.00 | 8745.00 | 1790.00 | 8950.00 | 3200.00 | 16000.00 | 1600.00 | 8000.00 | 5000.00 | CREATORS ENGINEERS AND INTERIORS
60.00 | Providing and fixing in position toilet roll holder (Jaquar ACN-CHR-1151-N ) with necessary fitting all complete. | 5.00 | each | 10.00 | 472.00 | 2360.00 | 700.00 | 3500.00 | 328.00 | 1640.00 | 950.00 | 4750.00 | 1000.00 | 5000.00 | 700.00 | 3500.00 | 1640.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
61.00 | Providing and fixing in position Paper towel dispensor (Jaquar PTD SAP DT 0106CS ) of capacity 400 to 600 C/Z towels of stainless steel with satin finish with necessary fitting all complete. | 5.00 | each | 10.00 | 4697.00 | 23485.00 | 4000.00 | 20000.00 | 676.00 | 3380.00 | 6500.00 | 32500.00 | 5800.00 | 29000.00 | 6000.00 | 30000.00 | 3380.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
62.00 | Providing and fixing in position Bowl for extended wall hang WC with PP normal close seat cover, hinges, accessories set size 365x635x750mm (Jaquar CNS-WHT353-N ) with necessary fitting all complete. | 6.00 | each | 10.00 | 5246.00 | 31476.00 | 5000.00 | 30000.00 | 9900.00 | 59400.00 | 8500.00 | 51000.00 | 12500.00 | 75000.00 | 7000.00 | 42000.00 | 30000.00 | CREATORS ENGINEERS AND INTERIORS
63.00 | Providing and fixing in position Urinal with fixing accessories set size 375x315x620mm (Jaquar URS WHT 132530 ) with necessary fitting all complete. | 6.00 | each | 10.00 | 4758.00 | 28548.00 | 10000.00 | 60000.00 | 5965.00 | 35790.00 | 7500.00 | 45000.00 | 7000.00 | 42000.00 | 6000.00 | 36000.00 | 28548.00 | Swami Contractors Pvt Ltd
64.00 | Providing and fixing 12mm thick frameless toughened glass partition of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer in charge (Door handle, lock and stopper etc. to be paid separately. | 120.00 | sqm | 10.00 | 2769.00 | 332280.00 | 3300.00 | 396000.00 | 4351.00 | 522120.00 | 1350.00 | 162000.00 | 1500.00 | 180000.00 | 900.00 | 108000.00 | 108000.00 | SATNAM SINGH NARANG
65.00 | Providing and fixing in position Wall hung WC with Electronic seat cover size 400x580x370 mm (Jaquar ITS-WHT-89953PP ) with necessary fitting all complete. | 5.00 | each | 10.00 | 24473.00 | 122365.00 | 22000.00 | 110000.00 | 3180.00 | 15900.00 | 31000.00 | 155000.00 | 46500.00 | 232500.00 | 30000.00 | 150000.00 | 15900.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
66.00 | Providing and fixing paving tiles of 20 mm thick, Gray in shade of Johnson Make of standard size 300mm x 300mm with preperation of base in cement mortar (1:4) of and fixing with adhesive in place in line and level all complete all complete and satisfaction of Engineer In charge. | 480.00 | sqm | 10.00 | 2565.00 | 1231200.00 | 1000.00 | 480000.00 | 1100.00 | 528000.00 | 1950.00 | 936000.00 | 980.00 | 470400.00 | 1600.00 | 768000.00 | 470400.00 | MINOCHA CONSTRUCTION COMPANY
67.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 100mm Dia | 170.00 | RM | 10.00 | 431.00 | 73270.00 | 1200.00 | 204000.00 | 715.00 | 121550.00 | 1700.00 | 289000.00 | 900.00 | 153000.00 | 1800.00 | 306000.00 | 73270.00 | Swami Contractors Pvt Ltd
68.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. a) Group C | 139.00 | Point | 10.00 | 603.00 | 83817.00 | 900.00 | 125100.00 | 600.00 | 83400.00 | 850.00 | 118150.00 | 1400.00 | 194600.00 | 940.32 | 130704.48 | 83400.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
69.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. a) 2 x 2.5 sq. mm | 210.00 | Meter | 10.00 | 36.00 | 7560.00 | 150.00 | 31500.00 | 40.00 | 8400.00 | 90.00 | 18900.00 | 280.00 | 58800.00 | 78.48 | 16480.80 | 7560.00 | Swami Contractors Pvt Ltd
70.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 460.00 | Meter | 10.00 | 122.00 | 56120.00 | 215.00 | 98900.00 | 205.00 | 94300.00 | 310.00 | 142600.00 | 315.00 | 144900.00 | 247.68 | 113932.80 | 56120.00 | Swami Contractors Pvt Ltd
71.00 | Supplying and fixing suitable size GI box with modular plate and cover in FRLS on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 92.00 | Each | 10.00 | 300.00 | 27600.00 | 600.00 | 55200.00 | 300.00 | 27600.00 | 610.00 | 56120.00 | 550.00 | 50600.00 | 523.44 | 48156.48 | 27600.00 | Swami Contractors Pvt Ltd, SAMEER GLAZING SYSTEM PRIVATE LIMITED
72.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. a) Telephone socket outlet | 23.00 | Each | 10.00 | 75.00 | 1725.00 | 120.00 | 2760.00 | 98.00 | 2254.00 | 135.00 | 3105.00 | 200.00 | 4600.00 | 117.36 | 2699.28 | 1725.00 | Swami Contractors Pvt Ltd
73.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. a) LAN socket outlet | 23.00 | Each | 10.00 | 75.00 | 1725.00 | 200.00 | 4600.00 | 72.00 | 1656.00 | 135.00 | 3105.00 | 200.00 | 4600.00 | 117.36 | 2699.28 | 1656.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
74.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc. as required. a) 2 Module (75mm X 75mm) | 23.00 | Each | 10.00 | 148.00 | 3404.00 | 200.00 | 4600.00 | 150.00 | 3450.00 | 250.00 | 5750.00 | 350.00 | 8050.00 | 219.60 | 5050.80 | 3404.00 | Swami Contractors Pvt Ltd
75.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. a) 25 mm | 200.00 | Meter | 10.00 | 54.00 | 10800.00 | 100.00 | 20000.00 | 60.00 | 12000.00 | 80.00 | 16000.00 | 80.00 | 16000.00 | 75.60 | 15120.00 | 10800.00 | Swami Contractors Pvt Ltd
76.00 | Supply of 36 Watt recess mounting type LED indoor light fitting (Natural White) suitable for mounting on 600 mm X 600 mm grid channel with with minimum output of 3600 lumens, suitable for 140-270 volt, 50 Hz, PF>0.95, luminaire should have Extruded aluminium / CRCA / Standard ally housing. Luminaire should have minimum IP protection should be IP 20. Total power consumption of fitting (including driver loss) should not more than 110 % of rated capacity of LED Light fitting, complete with all accessories as required. | 66.00 | Each | 10.00 | 1098.00 | 72468.00 | 2000.00 | 132000.00 | 3000.00 | 198000.00 | 5300.00 | 349800.00 | 4800.00 | 316800.00 | 4520.88 | 298378.08 | 72468.00 | Swami Contractors Pvt Ltd
77.00 | Supply of 12 W High efficient recess mounted downlighter with minimum output of 1200 lumens, suitable for 140-270 volt, 50 Hz, PF>0.95, luminaire should have Extruded aluminium/CRCA/ Standard ally housing. Luminaire should have minimum IP protection should be IP 20. Total power consumption of fitting (including driver loss) should not more than 110 % of rated capacity of LED Light fitting, complete with all accessories as required. | 54.00 | Each | 10.00 | 915.00 | 49410.00 | 700.00 | 37800.00 | 1980.00 | 106920.00 | 900.00 | 48600.00 | 1100.00 | 59400.00 | 746.64 | 40318.56 | 37800.00 | CREATORS ENGINEERS AND INTERIORS
78.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 120.00 | Each | 10.00 | 110.00 | 13200.00 | 100.00 | 12000.00 | 123.00 | 14760.00 | 135.00 | 16200.00 | 300.00 | 36000.00 | 115.92 | 13910.40 | 12000.00 | CREATORS ENGINEERS AND INTERIORS
79.00 | Supply & Installation of wall mounted fan, 400 mm sweep suitable for operation on 240V, 50Hz A.C. supply with Pull Code Control operations and High speed motor etc. complete as required. | 19.00 | Each | 10.00 | 4880.00 | 92720.00 | 1600.00 | 30400.00 | 2783.00 | 52877.00 | 1500.00 | 28500.00 | 3500.00 | 66500.00 | 1206.00 | 22914.00 | 22914.00 | SATNAM SINGH NARANG
80.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. a) 8 way (4 + 24), Double door | 2.00 | Each | 10.00 | 4721.00 | 9442.00 | 10000.00 | 20000.00 | 5720.00 | 11440.00 | 12000.00 | 24000.00 | 5500.00 | 11000.00 | 10058.40 | 20116.80 | 9442.00 | Swami Contractors Pvt Ltd
81.00 | Supplying and fixing following rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) 40 A | 2.00 | Each | 10.00 | 1601.00 | 3202.00 | 3000.00 | 6000.00 | 1900.00 | 3800.00 | 3200.00 | 6400.00 | 3500.00 | 7000.00 | 2896.56 | 5793.12 | 3202.00 | Swami Contractors Pvt Ltd
82.00 | Supplying and fixing 63 A rating, 240/415 V, 30 kA, "C" curve, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Triple pole and neutral | 2.00 | Each | 10.00 | 666.00 | 1332.00 | 2000.00 | 4000.00 | 600.00 | 1200.00 | 1990.00 | 3980.00 | 6000.00 | 12000.00 | 1766.88 | 3533.76 | 1200.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
83.00 | Supplying and fixing 6 - 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Single Pole | 36.00 | Each | 10.00 | 130.00 | 4680.00 | 200.00 | 7200.00 | 533.00 | 19188.00 | 250.00 | 9000.00 | 225.00 | 8100.00 | 3000.00 | 108000.00 | 4680.00 | Swami Contractors Pvt Ltd
84.00 | Supply of 4 x 25 sq.mm sizes of 1.1 kv grade multicore aluminium conductor XLPE insulated and PVC sheathed armoured cable as per IS : 7098:1988 (part 1) with upto date amendments. | 200.00 | Meter | 10.00 | 427.00 | 85400.00 | 200.00 | 40000.00 | 103.00 | 20600.00 | 210.00 | 42000.00 | 300.00 | 60000.00 | 3000.00 | 600000.00 | 20600.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
85.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. a) 4 X 25 sq. mm (28mm) | 4.00 | Each | 10.00 | 152.00 | 608.00 | 500.00 | 2000.00 | 55.00 | 220.00 | 550.00 | 2200.00 | 400.00 | 1600.00 | 250.00 | 1000.00 | 220.00 | SAMEER GLAZING SYSTEM PRIVATE LIMITED
86.00 | Providing, laying, testing & commissioning of 'C' class heavy duty MS pipe conforming to IS 3589/IS 1239 including Welding, fittings like elbows, tees, flanges, tapers, nuts bolts, gaskets etc. and fixing the pipe on the wall/ceiling with suitable clamp/support frame and painting with two or more coats of synthetic enamel paint of required shade complete as required : a) 150 mm dia | 120.00 | Meter | 10.00 | 700.00 | 84000.00 | 1375.00 | 165000.00 | 1800.00 | 216000.00 | 2300.00 | 276000.00 | 900.00 | 108000.00 | 2000.00 | 240000.00 | 84000.00 | Swami Contractors Pvt Ltd
| Total in Figures |  |  |  |  | 7304998.86 |  | 6776794.00 |  | 7681440.05 |  | 8576672.50 |  | 8173936.00 |  | 8510483.94
Lowest Amount Quoted BY: CREATORS ENGINEERS AND INTERIORS(6776794.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification of Terminal Building for setting up of Immigration and Customs infrastructure at Raja Bhoj Airport Bhopal Tender ID: 2022_AAI_124741_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CREATORS ENGINEERS AND INTERIORS | 6776794.00 | L1
| 2 | Swami Contractors Pvt Ltd | 7304998.86 | L2
| 3 | SAMEER GLAZING SYSTEM PRIVATE LIMITED | 7681440.05 | L3
| 4 | MINOCHA CONSTRUCTION COMPANY | 8173936.00 | L4
| 5 | SATNAM SINGH NARANG | 8510483.94 | L5
| 6 | Rajpati Construction | 8576672.50 | L6