## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 04-Oct-2022 10:59 AM Tender Title: ARMO of Electrical and Allied Works at Old Civil Airport Jaisalmer (i/c Gagan) (For 2 Years 2022-24) Tender ID: 2022_AAI_124890_1
Tender Inviting Authority: Asstt. General Manager (Engg.-Elect.), AAI, Civil Enclave, Jodhpur.
Name of Work: - “ARMO of Electrical & Allied Works at Old Civil Airport Jaisalmer (i/c Gagan) (For 2 Years 2022-24). ”
Contract No: AAI/JOD/ENGG (E)/JSM/WE-10/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | Trishul Enterprises(GSTN-07AQOPS2079M1Z0) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | Subham Electrical(GSTN-NA) |  | Anil Jain Contractor(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Running operation & maintenance of all internal & external electrical installations, lighting system, clean water pump system, including one no. silent type DG set of 30 / 50 KVA with associated AMF panel, LT power distribution panels etc. i/c attending to complaints / faults / breakdowns and taking proper rectification action, ensuring serviceability & satisfactory working condition of the systems by deputing following minimum manpower on all days including sundays and holidays but excluding weekly offs. Supervisor (Highly Skilled) - 1 Nos Wireman (Skilled) - 4 nos Helper (Unskilled) - 2 Nos | 24.00 | Month | 0.00 | 120200.00 | 2884800.00 | 131006.90 | 3144165.55 | 113662.50 | 2727900.00 | 123077.00 | 2953848.00 | 112476.00 | 2699424.00 | 123723.00 | 2969352.00 | 2699424.00 | Subham Electrical
2.00 | Comprehensive maintenance of fire fighting / fire alarm detection system including refilling of gas and other required wornout / faulty spares complete in all respect consisting of following equipment:- (a) Main control Fire panel/local control panels/Fire Alarm Panels - 1 nos. (Make: System sensor) (b) Heat/Smoke Detector: 4 nos (c) Response Indicator: 2 nos (d) Hooter: 1 nos (e) Fire fighting extingulshers (CO2 type - 3 no cylinders and mechanical foam type - 3 nos cylinders) Note- The contractor has to depute specialist Fire supervisor / mechanic during every visit in each month for checking & attending faults. | 24.00 | Month | 0.00 | 5000.00 | 120000.00 | 750.00 | 18000.00 | 10000.00 | 240000.00 | 3500.00 | 84000.00 | 1900.00 | 45600.00 | 400.00 | 9600.00 | 9600.00 | Anil Jain Contractor
3.00 | Comprehensive maintenance contract of water cooler, upto capacity 150/150L i/c supply & replacement of wornout spares, refrigerent gas & defective compressor of OEM make i/c rewinding of motor and repair of voltage stabilizer etc. as reqd. as per instructions of Engineer-in-Charge for ONE UNIT FOR ONE MONTH. | 48.00 | Job | 0.00 | 583.00 | 27984.00 | 500.00 | 24000.00 | 250.00 | 12000.00 | 200.00 | 9600.00 | 500.00 | 24000.00 | 400.00 | 19200.00 | 9600.00 | ABHISHEK INTEGRATIONS LIMITED
4.00 | Comprehensive maintenance contract of Split type Aircoditioner, 1.5 TR i/c supply & replacement of wornout spares refrigerent gas & defective compressor of OEM make i/c rewinding of motor and repair of voltage stabilizer etc. as reqd. as per instructions of Engineer-in-Charge for ONE UNIT FOR ONE MONTH. | 12.00 | Job | 0.00 | 225.00 | 2700.00 | 400.00 | 4800.00 | 750.00 | 9000.00 | 200.00 | 2400.00 | 600.00 | 7200.00 | 450.00 | 5400.00 | 2400.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Comprehensive maintenance contract of Spit type Aircoditioner, 2.0 TR i/c supply & replacement of wornout spares refrigerent gas & defective compressor of OEM make i/c rewinding of motor and repair of voltage stabilizer etc. as reqd. as per instructions of Engineer-in-Charge for ONE UNIT FOR ONE MONTH. | 96.00 | Job | 0.00 | 300.00 | 28800.00 | 400.00 | 38400.00 | 850.00 | 81600.00 | 200.00 | 19200.00 | 900.00 | 86400.00 | 300.00 | 28800.00 | 19200.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Dismentalling / shifting / re-installation / testing and commissioning of 1.5/2.0/3TR Split / Tower type Airconditioners suitable for operation on 230V, 50Hz, A. C. supply on wall, floor or ceiling i/c gas charging, accociated civil works and making all arangement for successful ITC of AC Units etc. complete as required. | 2.00 | Each | 0.00 | 2500.00 | 5000.00 | 1200.00 | 2400.00 | 10000.00 | 20000.00 | 500.00 | 1000.00 | 1500.00 | 3000.00 | 500.00 | 1000.00 | 1000.00 | ABHISHEK INTEGRATIONS LIMITED, Anil Jain Contractor
7.00 | Rewinding of motor of ceiling / pedestal / exhaust / wall mounted fan / desert / room cooler i/c replacement of bearings / bushes rotary mechanism, greasing etc. as required. | 10.00 | Job | 0.00 | 750.00 | 7500.00 | 350.00 | 3500.00 | 1000.00 | 10000.00 | 250.00 | 2500.00 | 800.00 | 8000.00 | 400.00 | 4000.00 | 2500.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Supply and replacement of B-Check kit (including engine lube oil, fuel, oil filter, O-ring. CR element, coolant etc. as per OEM recommendation) i/c servicing by authorised dealer for the following make & capacity DG sets. (i) 30 KVA DG Set (Make: Kirloskar) - 01 set | 4.00 | Job | 0.00 | 8411.00 | 33644.00 | 1000.00 | 4000.00 | 5000.00 | 20000.00 | 8000.00 | 32000.00 | 8000.00 | 32000.00 | 3000.00 | 12000.00 | 4000.00 | INTEGER INFRATECH PRIVATE LIMITED
9.00 | Supplying and replacement of following make battery with copper cable / lugs etc. as required at site for DG Sets / Diesel Engine as specified below (Old worn /scrap battery shall be retained by the firm) SMF Battery 12 V, 100 AH | 2.00 | Each | 0.00 | 8800.00 | 17600.00 | 6500.00 | 13000.00 | 10950.00 | 21900.00 | 8500.00 | 17000.00 | 18000.00 | 36000.00 | 3000.00 | 6000.00 | 6000.00 | Anil Jain Contractor
10.00 | Supply of 30 W (nominal capacity) LED integral street light fitting having pressure die cast Al. housing with epoxy powder coated finish with IP65 protection, LEDs, inbuilt convertor, accessories etc and suitable for use on 230 volts, 50 Hz, single phase, A.C. supply as required. | 8.00 | Each | 0.00 | 1150.00 | 9200.00 | 550.00 | 4400.00 | 550.00 | 4400.00 | 1498.00 | 11984.00 | 950.00 | 7600.00 | 800.00 | 6400.00 | 4400.00 | INTEGER INFRATECH PRIVATE LIMITED, Trishul Enterprises
11.00 | To carry out the complete item of work on CPWD schedule of rates (Electrical DSR-2018) as per CPWD specification complete as required. (Total amount of Rs. 50,000.00 is kept for DSR Item-2018). [(Note-Rates on DSR Item shall be calculated by deducting GST component from shedule rate on account of GST and the quantity. RS. 50,000.00 is after deducting the GST component) Refer clause- 35 of Guidence to the bidder at page No. NIT- 6 & NIT- 7 for quoting rate for this item.) | 50000.00 | Job | 0.00 | .30 | 15000.00 | .70 | 35000.00 | 1.00 | 50000.00 | .65 | 32500.00 | .50 | 25000.00 | .75 | 37500.00 | 15000.00 | Anoop Refrigeration
| Total in Figures |  |  |  |  | 3152228.00 |  | 3291665.55 |  | 3196800.00 |  | 3166032.00 |  | 2974224.00 |  | 3099252.00
Lowest Amount Quoted BY: Subham Electrical(2974224.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Allied Works at Old Civil Airport Jaisalmer (i/c Gagan) (For 2 Years 2022-24) Tender ID: 2022_AAI_124890_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Subham Electrical | 2974224.00 | L1
| 2 | Anil Jain Contractor | 3099252.00 | L2
| 3 | Anoop Refrigeration | 3152228.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 3166032.00 | L4
| 5 | Trishul Enterprises | 3196800.00 | L5
| 6 | INTEGER INFRATECH PRIVATE LIMITED | 3291665.55 | L6