## BoQ1
Government eProcurement System Created By: Sudipta Ray Created Date/Time: 08-Sep-2022 12:18 PM Tender Title: Annual Operation and maintenance of EandM installations at Tezu Airport(2022-23) Tender ID: 2022_AAI_124938_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), Tezu Airport-792001
Name of Work: "Annual Operation & maintenance of E&M installations at Tezu Airport(2022-23). ”
Contract No: 2022_AAI_124938_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | sudarshnacoolingcentre andelectricals(GSTN-18AAJFM8760E1ZZ) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I- Operation & maintenance of E & M installations Operation and Maintenance of electrical and mechanical installations in Power House, Pump House, Terminal Building, Ground lighting facilities, Nav-aids building, perimeter/street Lighting, Fire Hydrant System, Fire detection & alarm system, other ancillary buildings in operational areas (except new ATC cum Fire Block) involving operation of DG sets, water pumps etc,periodical maintenance, attending to complaints/faults and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records/ documents, including minor additions and alterations etc as directed by Engineer-in-charge etc as per the detailed specifications, terms and conditions covered under this contract on all days including Saturdays,Sundays and holidays as per tender specifications, terms & conditions | 12.00 | Month |  | 197260.70 | 2367128.40 | 195933.00 | 2351196.00 | 2351196.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | Operation and Maintenance of electrical and mechanical installations in Compact substation, ATC cum Fire Block, Fire Hydrant System, Fire detection & alarm system, involving operation, periodical maintenance, attending to complaints/faults and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records/ documents, including minor additions and alterations etc as directed by Engineer-in-charge etc as per the detailed specifications, terms and conditions covered under this contract on all days including Saturdays,Sundays and holidays as per tender specifications, terms & conditions | 10.00 | Month |  | 82701.00 | 827010.00 | 111472.00 | 1114720.00 | 827010.00 | sudarshnacoolingcentre andelectricals
3.00 | Operation of Baggage Handling System involving operation,periodical cleaning as per terms and conditions covered under this contract on all days including Saturdays,Sundays and holidays as per tender specifications, terms & conditions | 10.00 | Month |  | 11757.75 | 117577.50 | 18360.00 | 183600.00 | 117577.50 | sudarshnacoolingcentre andelectricals
4.00 | Operation and preventive maintenance of STP involving operation, carrying-out preventive maintenance, maintenance of records/ documents, as per the terms and conditions covered under this contract on all days including Saturdays,Sundays and holidays as per tender specifications, terms & conditions | 10.00 | Month |  | 11757.75 | 117577.50 | 18360.00 | 183600.00 | 117577.50 | sudarshnacoolingcentre andelectricals
5.00 | SH-II: DSR WORKS:Execution of works as per CPWD schedule of work and specification as and when reqd. WORKS BASED ON DSR(E&M)-2018 ITEMS. Rate for Each one rupee Value of work executed from the CPWD DSR (E&M) 2018 Electrical rates. {For example if the quoted rate for this item is Rs. 0.90 then the executed DSR-2018 (Electrical) schedule works of value Rs. 100000.00 at DSR-2018(Electrical) rates, the quoted amount will be Rs.90000.00. And if quoted rate for this item is Rs. 1.25 then quoted amount for the same will be Rs. 125000.00} | 100000.00 | Each |  | .39 | 39000.00 | .90 | 90000.00 | 39000.00 | sudarshnacoolingcentre andelectricals
| Total in Figures |  |  |  |  | 3468293.40 |  | 3923116.00
Lowest Amount Quoted BY: sudarshnacoolingcentre andelectricals(3468293.40)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and maintenance of EandM installations at Tezu Airport(2022-23) Tender ID: 2022_AAI_124938_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | sudarshnacoolingcentre andelectricals | 3468293.40 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 3923116.00 | L2