## BoQ1
Government eProcurement System Created By: Samir Kumar Created Date/Time: 13-Sep-2022 12:46 PM Tender Title: Construction of Fire Fighting Pump House and Underground tank at NSCBI Airport Kolkata SH Civil works Tender ID: 2022_AAI_125359_1
Tender Inviting Authority: AGM (Engg-Civil), Airports Authority of India, NSCBI Airport, Kolkata - 700052
Name of Work: Construction of Fire Fighting Pump House and Underground tank at NSCBI Airport, Kolkata (SH- Civil works)
Contract No: 2022_AAI_125359
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RECHI CONSTRUCTION PVT LTD(GSTN-19AAGCR6941N1ZN) |  | M/s. A S Traders(GSTN-19AKDPR7595N1ZA) |  | L K BUILDERS(GSTN-19AJLPP6631L3ZH) |  | PABSCON(GSTN-19AADFP7887K1ZD) |  | KONARAK ENTERPRISE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.a)All kinds of soil | 1175.00 | cum |  | 200.00 | 235000.00 | 55.00 | 64625.00 | 100.00 | 117500.00 | 60.00 | 70500.00 | 200.00 | 235000.00 | 64625.00 | M/s. A S Traders
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m as directed by Engineer-in-charge. | 226.00 | cum |  | 200.00 | 45200.00 | 25.00 | 5650.00 | 50.00 | 11300.00 | 42.00 | 9492.00 | 220.00 | 49720.00 | 5650.00 | M/s. A S Traders
3.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. a)All kinds of soil | 419.00 | cum |  | 100.00 | 41900.00 | 10.00 | 4190.00 | 50.00 | 20950.00 | 18.00 | 7542.00 | 95.00 | 39805.00 | 4190.00 | M/s. A S Traders
4.00 | Supplying and filling in plinth with sand/m.sand under floors, including watering, ramming, consolidating and dressing complete. | 130.00 | cum |  | 2800.00 | 364000.00 | 1200.00 | 156000.00 | 1500.00 | 195000.00 | 2040.00 | 265200.00 | 1500.00 | 195000.00 | 156000.00 | M/s. A S Traders
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) : 10 graded stone aggregate 40 mm nominal size) | 97.00 | cum |  | 5300.00 | 514100.00 | 4200.00 | 407400.00 | 5000.00 | 485000.00 | 4392.00 | 426024.00 | 5400.00 | 523800.00 | 407400.00 | M/s. A S Traders
6.00 | Making plinth protection 50mm thick of cement concrete 1:3:6 (1 cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with fine sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 33.00 | sqm |  | 550.00 | 18150.00 | 500.00 | 16500.00 | 650.00 | 21450.00 | 462.00 | 15246.00 | 590.00 | 19470.00 | 15246.00 | PABSCON
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for :a)Foundations, footings, bases of columns, etc. for mass concrete. | 65.00 | sqm |  | 350.00 | 22750.00 | 200.00 | 13000.00 | 200.00 | 13000.00 | 270.00 | 17550.00 | 270.00 | 17550.00 | 13000.00 | M/s. A S Traders, L K BUILDERS
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 237.00 | sqm |  | 700.00 | 165900.00 | 320.00 | 75840.00 | 200.00 | 47400.00 | 390.00 | 92430.00 | 580.00 | 137460.00 | 47400.00 | L K BUILDERS
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Suspended floors, roofs, landings, balconies and access platform | 480.00 | sqm |  | 750.00 | 360000.00 | 350.00 | 168000.00 | 400.00 | 192000.00 | 420.00 | 201600.00 | 610.00 | 292800.00 | 168000.00 | M/s. A S Traders
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a)Lintels, beams, plinth beams, girders, bressumers and cantilevers. | 95.00 | sqm |  | 575.00 | 54625.00 | 350.00 | 33250.00 | 300.00 | 28500.00 | 480.00 | 45600.00 | 520.00 | 49400.00 | 28500.00 | L K BUILDERS
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Columns, Pillars, Piers, Abutments, Posts and Struts | 58.00 | sqm |  | 800.00 | 46400.00 | 200.00 | 11600.00 | 400.00 | 23200.00 | 420.00 | 24360.00 | 710.00 | 41180.00 | 11600.00 | M/s. A S Traders
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a) Stairs, (excluding landings) except spiral-staircases | 10.00 | sqm |  | 650.00 | 6500.00 | 200.00 | 2000.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 570.00 | 5700.00 | 2000.00 | M/s. A S Traders
13.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a)Edges of slabs and breaks in floors and walls.a) Under 20 cm wide | 48.00 | metre |  | 200.00 | 9600.00 | 100.00 | 4800.00 | 400.00 | 19200.00 | 72.00 | 3456.00 | 160.00 | 7680.00 | 3456.00 | PABSCON
14.00 | Centering and shuttering including strutting, propping etc. and removal of form for : a)Edges of slabs and breaks in floors and walls.a) Above 20 cm wide | 27.00 | sqm |  | 700.00 | 18900.00 | 100.00 | 2700.00 | 400.00 | 10800.00 | 360.00 | 9720.00 | 680.00 | 18360.00 | 2700.00 | M/s. A S Traders
15.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 62520.00 | kg |  | 82.00 | 5126640.00 | 67.50 | 4220100.00 | 70.00 | 4376400.00 | 82.80 | 5176656.00 | 79.00 | 4939080.00 | 4220100.00 | M/s. A S Traders
16.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 3960.00 | kg |  | 83.00 | 328680.00 | 68.00 | 269280.00 | 70.00 | 277200.00 | 84.00 | 332640.00 | 79.00 | 312840.00 | 269280.00 | M/s. A S Traders
17.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. a)All works upto plinth level. a)Concrete of M30 grade with minimum cement content of 350 kg /cum. | 521.00 | cum |  | 7900.00 | 4115900.00 | 5700.00 | 2969700.00 | 6800.00 | 3542800.00 | 5760.00 | 3000960.00 | 6200.00 | 3230200.00 | 2969700.00 | M/s. A S Traders
18.00 | Providing and laying in position ready mixed or site batched design mix cement concrete for reinforced cement concrete work; using coarse aggregate and fine aggregate derived from natural sources, Portland Pozzolana / Ordinary Portland /Portland Slag cement, admixtures in recommended proportions as per IS: 9103 to accelerate / retard setting of concrete, to improve durability and workability without impairing strength; including pumping of concrete to site of laying, curing, carriage for all leads; but excluding the cost of centering, shuttering, finishing and reinforcement as per direction of the engineer-in-charge; for the following grades of concrete. Note: Extra cement up to 10% of the minimum specified cement content in design mix shall be payable separately. In case the cement content in design mix is more than 110% of the specified minimum cement content, the contractor shall have discretion to either re-design the mix or bear the cost of extra cement. a)All works above plinth level upto floor V level. a)Concrete of M30 grade with minimum cement content of 350 kg /cum. | 33.00 | cum |  | 8200.00 | 270600.00 | 7000.00 | 231000.00 | 6800.00 | 224400.00 | 5832.00 | 192456.00 | 7800.00 | 257400.00 | 192456.00 | PABSCON
19.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 111.00 | quintal |  | 450.00 | 49950.00 | 200.00 | 22200.00 | 450.00 | 49950.00 | 564.00 | 62604.00 | 540.00 | 59940.00 | 22200.00 | M/s. A S Traders
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: a)Cement mortar 1:6 (1 cement : 6 coarse sand) | 19.00 | cum |  | 6500.00 | 123500.00 | 4500.00 | 85500.00 | 6000.00 | 114000.00 | 6840.00 | 129960.00 | 5100.00 | 96900.00 | 85500.00 | M/s. A S Traders
21.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a)Cement mortar 1:6 (1 cement : 6 coarse sand) | 58.00 | cum |  | 6700.00 | 388600.00 | 5000.00 | 290000.00 | 6000.00 | 348000.00 | 6960.00 | 403680.00 | 6800.00 | 394400.00 | 290000.00 | M/s. A S Traders
22.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundations and plinth in: a)cement mortar 1:4 (1 cement : 4 coarse sand) | 15.00 | sqm |  | 780.00 | 11700.00 | 50.00 | 750.00 | 650.00 | 9750.00 | 768.00 | 11520.00 | 700.00 | 10500.00 | 750.00 | M/s. A S Traders
23.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete.a)Fixed to openings /wooden frames with rawl plugs screws etc. | 258.00 | kg |  | 195.00 | 50310.00 | 90.00 | 23220.00 | 120.00 | 30960.00 | 98.40 | 25387.20 | 140.00 | 36120.00 | 23220.00 | M/s. A S Traders
24.00 | Structural steel work in single section, fixed with or without connecting plate, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 200.00 | kg |  | 93.00 | 18600.00 | 70.00 | 14000.00 | 120.00 | 24000.00 | 93.60 | 18720.00 | 87.00 | 17400.00 | 14000.00 | M/s. A S Traders
25.00 | Providing and fixing 1mm thick M.S. sheet door with frame of 40x40x6 mm angle iron and 3 mm M.S. gusset plates at the junctions and corners, all necessary fittings complete, including applying a priming coat of approved steel primer.a) Using flats 30x6mm for diagonal braces and central cross piece | 3.00 | sqm |  | 5000.00 | 15000.00 | 7000.00 | 21000.00 | 3000.00 | 9000.00 | 3360.00 | 10080.00 | 4100.00 | 12300.00 | 9000.00 | L K BUILDERS
26.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. a) 80x1.25 mm M.S. laths with 1.25 mm thick top cover | 5.00 | sqm |  | 3800.00 | 19000.00 | 7600.00 | 38000.00 | 3000.00 | 15000.00 | 4080.00 | 20400.00 | 2700.00 | 13500.00 | 13500.00 | KONARAK ENTERPRISE
27.00 | Providing and fixing ball bearing for rolling shutters. | 4.00 | Nos |  | 400.00 | 1600.00 | 550.00 | 2200.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 410.00 | 1640.00 | 1600.00 | RECHI CONSTRUCTION PVT LTD
28.00 | Providing and fixing factory made ISI marked steel glazed doors, windows and ventilators, side /top /centre hung, with beading and all members such as F7D,F4B, K11 B and K12 B etc. complete of standard rolled steel sections, joints mitred and flash butt welded and sash bars tenoned and riveted, including providing and fixing of hinges, pivots, including priming coat of approved steel primer, but excluding the cost of other fittings, complete all as per approved design, (sectional weight of only steel members shall be measured for payment).a) Fixing with carbon steel galvanised dash fastener of required dia and size (to be paid for separately) | 185.00 | kg |  | 125.00 | 23125.00 | 90.00 | 16650.00 | 120.00 | 22200.00 | 150.00 | 27750.00 | 95.00 | 17575.00 | 16650.00 | M/s. A S Traders
29.00 | Providing and fixing M.S. fan clamp type I or II of 16 mm dia M.S. bar, bent to shape with hooked ends in R.C.C. slabs or beams during laying, including painting the exposed portion of loop, all as per standard design complete. | 4.00 | Nos |  | 200.00 | 800.00 | 150.00 | 600.00 | 100.00 | 400.00 | 72.00 | 288.00 | 165.00 | 660.00 | 288.00 | PABSCON
30.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer.a)M.S. tube | 100.00 | kg |  | 200.00 | 20000.00 | 90.00 | 9000.00 | 150.00 | 15000.00 | 98.40 | 9840.00 | 115.00 | 11500.00 | 9000.00 | M/s. A S Traders
31.00 | Providing and fixing carbon steel galvanised ( minimum coating 5 micron) dash fastener of 10 mm dia double threaded 6.8 grade (yield strength 480 N/mm2), counter sunk head, comprising of 10 mm dia polyamide PA 6 grade sleeve, including drilling of hole in frame , concrete/ masonry, etc. as per direction of Engineer-in-charge. a)10 x 60 mm | 4.00 | Nos |  | 110.00 | 440.00 | 100.00 | 400.00 | 250.00 | 1000.00 | 30.00 | 120.00 | 90.00 | 360.00 | 120.00 | PABSCON
32.00 | Providing & fixing glass panes with putty and glazing clips in steel doors, windows, clerestory windows, all complete with :a) 4.0 mm thick glass panes. | 15.00 | sqm |  | 900.00 | 13500.00 | 700.00 | 10500.00 | 600.00 | 9000.00 | 72.00 | 1080.00 | 800.00 | 12000.00 | 1080.00 | PABSCON
33.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. a)40 mm thick with 20 mm nominal size stone aggregate. | 151.00 | sqm |  | 510.00 | 77010.00 | 400.00 | 60400.00 | 550.00 | 83050.00 | 390.00 | 58890.00 | 480.00 | 72480.00 | 58890.00 | PABSCON
34.00 | Extra for making chequers of approved pattern on cement concrete floors, steps, landing, pavements etc. | 151.00 | sqm |  | 65.00 | 9815.00 | 25.00 | 3775.00 | 100.00 | 15100.00 | 24.00 | 3624.00 | 62.00 | 9362.00 | 3624.00 | PABSCON
35.00 | 12 mm cement plaster of mix : a)1:6 (1 cement: 6 fine sand) | 373.00 | sqm |  | 300.00 | 111900.00 | 200.00 | 74600.00 | 200.00 | 74600.00 | 144.00 | 53712.00 | 182.00 | 67886.00 | 53712.00 | PABSCON
36.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : a)1:6 (1 cement: 6 fine sand) | 373.00 | sqm |  | 425.00 | 158525.00 | 250.00 | 93250.00 | 250.00 | 93250.00 | 180.00 | 67140.00 | 210.00 | 78330.00 | 67140.00 | PABSCON
37.00 | 6 mm cement plaster of mix :a)1:3 (1 cement : 3 fine sand) | 766.00 | sqm |  | 300.00 | 229800.00 | 290.00 | 222140.00 | 250.00 | 191500.00 | 150.00 | 114900.00 | 155.00 | 118730.00 | 114900.00 | PABSCON
38.00 | Neat cement punning. | 485.00 | sqm |  | 75.00 | 36375.00 | 40.00 | 19400.00 | 100.00 | 48500.00 | 30.00 | 14550.00 | 62.00 | 30070.00 | 14550.00 | PABSCON
39.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : a)New work (two or more coats) over and including water thinnable priming coat with cement primer | 373.00 | sqm |  | 150.00 | 55950.00 | 60.00 | 22380.00 | 100.00 | 37300.00 | 84.00 | 31332.00 | 105.00 | 39165.00 | 22380.00 | M/s. A S Traders
40.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : a)New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 373.00 | sqm |  | 150.00 | 55950.00 | 70.00 | 26110.00 | 100.00 | 37300.00 | 114.00 | 42522.00 | 110.00 | 41030.00 | 26110.00 | M/s. A S Traders
41.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :a)Two or more coats on new work | 63.00 | sqm |  | 120.00 | 7560.00 | 50.00 | 3150.00 | 100.00 | 6300.00 | 90.00 | 5670.00 | 98.00 | 6174.00 | 3150.00 | M/s. A S Traders
42.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : a)One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 1.00 | Nos |  | 5500.00 | 5500.00 | 6000.00 | 6000.00 | 8000.00 | 8000.00 | 2640.00 | 2640.00 | 4900.00 | 4900.00 | 2640.00 | PABSCON
43.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: a) White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 1.00 | Nos |  | 2700.00 | 2700.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 2880.00 | 2880.00 | 1980.00 | 1980.00 | 1980.00 | KONARAK ENTERPRISE
44.00 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete. A)10 litre capacity - White | 1.00 | Nos |  | 1050.00 | 1050.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 1080.00 | 1080.00 | 980.00 | 980.00 | 980.00 | KONARAK ENTERPRISE
45.00 | Providing and fixing solid plastic seat with lid for pedestal type W.C. pan complete : a)White solid plastic seat with lid | 1.00 | Nos |  | 580.00 | 580.00 | 600.00 | 600.00 | 1000.00 | 1000.00 | 360.00 | 360.00 | 540.00 | 540.00 | 360.00 | PABSCON
46.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : a) Rectangular shape 453x357 mm | 1.00 | Nos |  | 1150.00 | 1150.00 | 800.00 | 800.00 | 1000.00 | 1000.00 | 900.00 | 900.00 | 1050.00 | 1050.00 | 800.00 | M/s. A S Traders
47.00 | Providing and fixing brass bib cock of approved quality : a) 15 mm nominal bore | 1.00 | Nos |  | 300.00 | 300.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 720.00 | 720.00 | 280.00 | 280.00 | 280.00 | KONARAK ENTERPRISE
48.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), Jointing with grey cement slurry @ 3.3 kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 4.00 | sqm |  | 900.00 | 3600.00 | 850.00 | 3400.00 | 1000.00 | 4000.00 | 720.00 | 2880.00 | 880.00 | 3520.00 | 2880.00 | PABSCON
49.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 12.00 | sqm |  | 1000.00 | 12000.00 | 1200.00 | 14400.00 | 1000.00 | 12000.00 | 756.00 | 9072.00 | 940.00 | 11280.00 | 9072.00 | PABSCON
50.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall. a) 15 mm nominal outer dia Pipes | 20.00 | metre |  | 250.00 | 5000.00 | 280.00 | 5600.00 | 250.00 | 5000.00 | 264.00 | 5280.00 | 235.00 | 4700.00 | 4700.00 | KONARAK ENTERPRISE
51.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Internal work - Exposed on wall. a) 20 mm nominal outer dia Pipes | 20.00 | metre |  | 300.00 | 6000.00 | 350.00 | 7000.00 | 250.00 | 5000.00 | 258.00 | 5160.00 | 290.00 | 5800.00 | 5000.00 | L K BUILDERS
52.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 2000.00 | litre |  | 10.00 | 20000.00 | 12.00 | 24000.00 | 15.00 | 30000.00 | 10.20 | 20400.00 | 7.50 | 15000.00 | 15000.00 | KONARAK ENTERPRISE
53.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : a) 100 mm diameter | 100.00 | metre |  | 350.00 | 35000.00 | 10.00 | 1000.00 | 250.00 | 25000.00 | 420.00 | 42000.00 | 330.00 | 33000.00 | 1000.00 | M/s. A S Traders
54.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : a) 100 mm diameter | 100.00 | metre |  | 350.00 | 35000.00 | 10.00 | 1000.00 | 250.00 | 25000.00 | 420.00 | 42000.00 | 530.00 | 53000.00 | 1000.00 | M/s. A S Traders
55.00 | Providing and mixing integral crystalline admixture for water proofing treatment to RCC structures like basement raft, retaining walls, reservior, sewage & water treatment plant, tunnels / subway and bridge deck etc. at the time of transporting of concrete into the drum of the ready-mix truck, using integral crystalline admixture @ 0.80% (minimum) to the weight of cement content per cubic meter of concrete) or higher as recommended by the manufacturer’s specification in reinforced cement concrete at site of work. The material shall meet the requirements as specified in ACI-212-3R2010 i.e. by reducing permeability of concrete by more than 90%, compared with control concrete as per DIN 1048 and resistant to 16 bar hydrostatic pressure. The crystalline admixture shall be capable of self-healing of cracks up to a width of 0.50mm. The work shall be carried out all complete as per specification and the direction of the Engineer-in-charge. The product performance shall carry guarantee for 10 years against any leakage. | 615.00 | kg |  | 300.00 | 184500.00 | 240.00 | 147600.00 | 200.00 | 123000.00 | 102.00 | 62730.00 | 240.00 | 147600.00 | 62730.00 | PABSCON
56.00 | Providing and applying fibre reinforced elastomeric liquid water proofing membrane with resilient acrylic polymers having Sun Reflectivity Index (SRI) of 105 on top of concrete roof in three coats @10.76 litre/ 10 sqm. One coat of self-priming of elastomeric waterproofing liquid (dilution with water in the ratio of 3:1) and two coats of undiluted elastomeric waterproofing liquid (dry film thickness of complete application/system not less than 500 microns). The operation shall be carried out after scrapping and properly cleaning the surface to remove loose particles with wire brushes, complete in all respect as per the direction of Engineer-in-Charge. | 187.00 | sqm |  | 470.00 | 87890.00 | 230.00 | 43010.00 | 200.00 | 37400.00 | 528.00 | 98736.00 | 405.00 | 75735.00 | 37400.00 | L K BUILDERS
57.00 | Providing and Placing in position suitable PVC water stops conforming to IS:12200 for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete :a) Serrated with central bulb (225 mm wide, 8-11 mm thick). | 109.00 | metre |  | 285.00 | 31065.00 | 210.00 | 22890.00 | 200.00 | 21800.00 | 390.00 | 42510.00 | 260.00 | 28340.00 | 21800.00 | L K BUILDERS
| Total in Figures |  |  |  |  | 13655190.00 |  | 9996660.00 |  | 11161460.00 |  | 11353849.20 |  | 11908172.00
Lowest Amount Quoted BY: M/s. A S Traders(9996660.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Fire Fighting Pump House and Underground tank at NSCBI Airport Kolkata SH Civil works Tender ID: 2022_AAI_125359_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s. A S Traders | 9996660.00 | L1
| 2 | L K BUILDERS | 11161460.00 | L2
| 3 | PABSCON | 11353849.20 | L3
| 4 | KONARAK ENTERPRISE | 11908172.00 | L4
| 5 | RECHI CONSTRUCTION PVT LTD | 13655190.00 | L5