## BoQ1
Government eProcurement System Created By: KAMBLE TANAJI Created Date/Time: 14-Sep-2022 02:11 PM Tender Title: Operation and Maintenance of Electrical and Mechanical Installations of Power House at Pune Airport During 2022 to 2024 Tender ID: 2022_AAI_125420_1
Tender Inviting Authority: Asst. General Manager (Engg-Elect), Pune Airport
Name of Work: Operation and Maintenance of Electrical and Mechanical Installations of Power House at Pune Airport During 2022 to 2024
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SHRADDHA ENGINEERING AND FACILITY SERVICES(GSTN-37ABZFS0350H1ZR) |  | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | Techno Electricals(GSTN-24AAGFT9086M1ZG) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & maintenance of substation / Power House equipment i/c 11KV HT panel, Transformers, LT panels, AMF panels, Diesel Generators, pumps and other related works by deputing required manpower, tools & tackles as per special condition of contract to attend the compliants / faults / breakdown by taking rectification action, preventive maintenance including maintenance record, documentations to ensure serviceability / satisfactory working of complete electrical & mechanical systems round the clock in three shift including sundays & holidays etc. as per tender conditions. | 24.00 | Month |  | 198158.00 | 4755792.00 | 270000.00 | 6480000.00 | 236000.00 | 5664000.00 | 279857.94 | 6716590.56 | 240000.00 | 5760000.00 | 237000.00 | 5688000.00 | 234000.00 | 5616000.00 | 273000.00 | 6552000.00 | 4755792.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.00 | Providing 01 no. highly skilled supervisor for monitoring of all type air-conditioning system like HVAC, VRF, VRV, Split AC, Tower AC etc., drinking water facilities like water fountain, water cooler etc. of Pune Airport including liaison with different departments of AAI, OEMs etc. including proper documentation, regular update of all kinds of faults etc. complete as directed by Engineer-In-Charge. | 24.00 | Month |  | 26536.00 | 636864.00 | 30000.00 | 720000.00 | 30500.00 | 732000.00 | 27248.35 | 653960.40 | 30000.00 | 720000.00 | 32000.00 | 768000.00 | 27666.00 | 663984.00 | 34200.00 | 820800.00 | 636864.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
3.00 | Comprehensive maintenance contract of (CMC) of ventilation, exhaust system of Pune Airport power house situated at basement having supply air from evaporative air cooler of make Keruilai, model KT30B through duct and exhaust system through duct, 12.5 HP blower motor with canvass connection including inspection by expert manpower, rewinding of motor, repalcement of worn out defective parts/spares, consumables, tools & tackles, ladder, scaffolding, monitoring performance of system, speed, vibration, attending unlimited breakdown/complaint in minimum possible time etc. complete as required. | 24.00 | Month |  | 5000.00 | 120000.00 | 5000.00 | 120000.00 | 2500.00 | 60000.00 | 3500.00 | 84000.00 | 10000.00 | 240000.00 | 2500.00 | 60000.00 | 10662.00 | 255888.00 | 55000.00 | 1320000.00 | 60000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED, Techno Electricals
4.00 | Inspection servicing overhauling repair testing setting of existing 11 KV switchgear having 06 Nos. 800A rating VCB by the OEM or their authorised service providers as per OEM's standard recommendations, practices including providing all conumables, submitting test reports, complete checking & testing of all control wiring, attending unlimited breakdown, complaint call & ensure serviceability etc. as per direction of Engineer-In-Charge. | 2.00 | Job |  | 30000.00 | 60000.00 | 50000.00 | 100000.00 | 57375.00 | 114750.00 | 1500.00 | 3000.00 | 15000.00 | 30000.00 | 65000.00 | 130000.00 | 60000.00 | 120000.00 | 40000.00 | 80000.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
5.00 | Inspection servicing overhauling repair testing setting of existing 1.1 KV grade upto 2500 Amps rating LT Air Circuit Breakers (ACB) of different makes like ABB, L&T, Schneider, Siemens etc. by any OEM of LTACB or their authorised service provider as per OEM's standard recommendations, practices including providing all conumables, submitting test reports, complete checking & testing of all control wiring, attending unlimited breakdown, complaint call & ensure serviceability etc. as per direction of Engineer-In-Charge. | 86.00 | Each |  | 3000.00 | 258000.00 | 2000.00 | 172000.00 | 2975.00 | 255850.00 | 1000.00 | 86000.00 | 1250.00 | 107500.00 | 6000.00 | 516000.00 | 3500.00 | 301000.00 | 1500.00 | 129000.00 | 86000.00 | INTEGER INFRATECH PRIVATE LIMITED
6.00 | Calibration of various types of electromagenetic /static /numerical relays installed in existing 11 KV VCB panels, LT panels by secondary current injection method including inspection, servicing, testing, repairs, settings, tripping test of circuit breaker, secondary circuit checking, rectification (if required), attending unlimited breakdown, complaint and submission of test reports as per standard practice and direction of Engeneer-In-Charge.
6.01 | 02 or 03 overcurrent + 01 earth fault relay | 18.00 | Each |  | 6000.00 | 108000.00 | 1000.00 | 18000.00 | 1275.00 | 22950.00 | 300.00 | 5400.00 | 1500.00 | 27000.00 | 2500.00 | 45000.00 | 2000.00 | 36000.00 | 4500.00 | 81000.00 | 5400.00 | INTEGER INFRATECH PRIVATE LIMITED
6.02 | Earth fault relay | 12.00 | Each |  | 4000.00 | 48000.00 | 1000.00 | 12000.00 | 1275.00 | 15300.00 | 250.00 | 3000.00 | 1000.00 | 12000.00 | 2500.00 | 30000.00 | 1800.00 | 21600.00 | 4000.00 | 48000.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
7.00 | Inspection and maintenance of 1500 KVA Dry type 11 KV/433 volt Distribution transformers by OEM or their authorised service providers as per OEM's standard recommendations, practices including cleaning by vacuume cleaner / blower, tightnings of HV and LV side cable terminals, control connections, earth connections, checking and testing of all protective, field protection relays connected with the transformer, insulation resistance checking, attending unlimited breakdown, complaint call, submission of report etc. complete as per direction of Engeneer-In-Charge. | 6.00 | Each |  | 30000.00 | 180000.00 | 10000.00 | 60000.00 | 15725.00 | 94350.00 | 3500.00 | 21000.00 | 10000.00 | 60000.00 | 7000.00 | 42000.00 | 20000.00 | 120000.00 | 15000.00 | 90000.00 | 21000.00 | INTEGER INFRATECH PRIVATE LIMITED
8.00 | Replacement including supply of front cover of LT air circuit breaker of different makes like ABB, Schneider, L&T, Siemens etc. suitable for site . | 20.00 | Each |  | 20000.00 | 400000.00 | 2000.00 | 40000.00 | 1275.00 | 25500.00 | 2000.00 | 40000.00 | 2500.00 | 50000.00 | 15000.00 | 300000.00 | 4500.00 | 90000.00 | 2000.00 | 40000.00 | 25500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
9.00 | Replacement testing commissioning including supply of following coils suitable for existing unserviceable LT ACB of different make like ABB, L&T, Schneider, Siemens etc. to make it serviceable upto the satisfaction of Engineer-In-Chargeas as when required.
9.01 | Closing coil | 5.00 | Each |  | 5000.00 | 25000.00 | 2500.00 | 12500.00 | 2125.00 | 10625.00 | 500.00 | 2500.00 | 2500.00 | 12500.00 | 4000.00 | 20000.00 | 4984.00 | 24920.00 | 6000.00 | 30000.00 | 2500.00 | INTEGER INFRATECH PRIVATE LIMITED
9.02 | Tripping Coil | 5.00 | Each |  | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 1275.00 | 6375.00 | 500.00 | 2500.00 | 2500.00 | 12500.00 | 4000.00 | 20000.00 | 4984.00 | 24920.00 | 4500.00 | 22500.00 | 2500.00 | INTEGER INFRATECH PRIVATE LIMITED
9.03 | Under voltage release coil | 3.00 | Each |  | 3200.00 | 9600.00 | 2500.00 | 7500.00 | 1700.00 | 5100.00 | 500.00 | 1500.00 | 2500.00 | 7500.00 | 5000.00 | 15000.00 | 4984.00 | 14952.00 | 7000.00 | 21000.00 | 1500.00 | INTEGER INFRATECH PRIVATE LIMITED
9.04 | Spring Charging motor | 2.00 | Each |  | 9500.00 | 19000.00 | 2500.00 | 5000.00 | 1700.00 | 3400.00 | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 50000.00 | 100000.00 | 29271.00 | 58542.00 | 22000.00 | 44000.00 | 3000.00 | INTEGER INFRATECH PRIVATE LIMITED
9.05 | Arc Chute | 3.00 | Each |  | 3000.00 | 9000.00 | 2500.00 | 7500.00 | 1275.00 | 3825.00 | 500.00 | 1500.00 | 2500.00 | 7500.00 | 5000.00 | 15000.00 | 5684.00 | 17052.00 | 4500.00 | 13500.00 | 1500.00 | INTEGER INFRATECH PRIVATE LIMITED
9.06 | Circuit Breaker Auxiliary Contact | 3.00 | Each |  | 800.00 | 2400.00 | 2500.00 | 7500.00 | 1275.00 | 3825.00 | 800.00 | 2400.00 | 2500.00 | 7500.00 | 17500.00 | 52500.00 | 4963.00 | 14889.00 | 1800.00 | 5400.00 | 2400.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, INTEGER INFRATECH PRIVATE LIMITED
10.00 | Replacement testing commissioning including supply of 400A rating following model contactor suitable for the site including wiring, interconnection, all required retrofitting accessories etc. to ensure smooth operation of the associated switchgear up to the satisfaction of Engineer-In-Charge and dismantling of the existing contactor, shifting it to AAI store etc. complete as required. Make: ABB, Model A260-30 or equivalent. | 2.00 | Each |  | 30000.00 | 60000.00 | 32000.00 | 64000.00 | 21250.00 | 42500.00 | 45000.00 | 90000.00 | 25000.00 | 50000.00 | 135000.00 | 270000.00 | 36400.00 | 72800.00 | 42000.00 | 84000.00 | 42500.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
11.00 | Replacement testing commissioning including supply of 10 HP, 10m-24.5m head range, 2130 LPM- 840 LPM discharge capacity, 415V 3-ph 50Hz dewatering pump with driving motor, impeller, coupler, starter panel etc. including suitable foundation on MS angle frame, connection with existing suction and discharge line by providing required reducers, flanges, gaskets, nuts, bolts, interconnection etc. and dismantling of existing pump, shifting it to AAI store complete as per site requirement and as directed by Engineer-In-Charge. Make: Kirloskar, Model: SP-4LA+ or equivalent. | 1.00 | Each |  | 65000.00 | 65000.00 | 50000.00 | 50000.00 | 63689.00 | 63689.00 | 50000.00 | 50000.00 | 100000.00 | 100000.00 | 155000.00 | 155000.00 | 83500.00 | 83500.00 | 200000.00 | 200000.00 | 50000.00 | Comfort Zone, INTEGER INFRATECH PRIVATE LIMITED
12.00 | Replacement testing commissioning including supply of 5 HP, 10m-18m head range, 17 LPS- 3.5 LPS discharge capacity, 415V 3-ph 50Hz dewatering pump with driving motor, impeller, coupler, starter panel etc. including suitable foundation on MS angle frame, connection with existing suction and discharge line by providing required reducers, flanges, gaskets, nuts, bolts, interconnection etc. and dismantling of existing pump, shifting it to AAI store complete as per site requirement and as directed by Engineer-In-Charge. Make: Kirloskar, Model: SP-3L+M or equivalent. | 1.00 | Each |  | 53000.00 | 53000.00 | 30000.00 | 30000.00 | 51701.00 | 51701.00 | 30000.00 | 30000.00 | 50000.00 | 50000.00 | 85000.00 | 85000.00 | 32750.00 | 32750.00 | 130000.00 | 130000.00 | 30000.00 | Comfort Zone, INTEGER INFRATECH PRIVATE LIMITED
13.00 | Replacement testing commissioning including supply of 3 HP, 9m-23m head range, 9 LPS- 2 LPS discharge capacity, 415V 3-ph 50Hz dewatering pump with driving motor, impeller, coupler, starter panel etc. including suitable foundation on MS angle frame, connection with existing suction and discharge line by providing required reducers, flanges, gaskets, nuts, bolts, interconnection etc. and dismantling of existing pump, shifting it to AAI store complete as per site requirement and as directed by Engineer-In-Charge. Make: Kirloskar, Model: SP-2HM or equivalent. | 1.00 | Each |  | 27000.00 | 27000.00 | 20000.00 | 20000.00 | 38076.00 | 38076.00 | 20000.00 | 20000.00 | 35000.00 | 35000.00 | 63000.00 | 63000.00 | 25000.00 | 25000.00 | 90000.00 | 90000.00 | 20000.00 | Comfort Zone, INTEGER INFRATECH PRIVATE LIMITED
14.00 | Replacement testing commissioning including supply of 2HP 1-ph 230V 50Hz dewatering submerssible pump including connection, discharge pipe line of suitable size etc. complete as required. Make: KSB, Model: AMAPORTER503 SE or equivalent. | 1.00 | Each |  | 19000.00 | 19000.00 | 15000.00 | 15000.00 | 34351.00 | 34351.00 | 18000.00 | 18000.00 | 20000.00 | 20000.00 | 43000.00 | 43000.00 | 32985.00 | 32985.00 | 60000.00 | 60000.00 | 15000.00 | Comfort Zone
15.00 | Replacement testing commissioning including supply of 1-ph 230V 50Hz min. 40LPM diesel transfer fuel pump with suction and discharge pipe lines, connection etc. and dismantling of existing pump, shifting it to AAI store complete as per site requirement and as directed by Engineer-In-Charge. | 1.00 | Each |  | 10000.00 | 10000.00 | 12000.00 | 12000.00 | 11899.00 | 11899.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 35000.00 | 35000.00 | 18000.00 | 18000.00 | 30000.00 | 30000.00 | 5000.00 | INTEGER INFRATECH PRIVATE LIMITED
16.00 | Replacement testing commissioning including supply of Red / Yellow / Green / Orange / Blue / White coloured exising indicating lamps with new universal voltage (24 to 240 V AC/DC) LED indicating lamps installed at different panels including connection etc. complete as per site requirements. | 100.00 | Each |  | 25.00 | 2500.00 | 70.00 | 7000.00 | 150.00 | 15000.00 | 50.00 | 5000.00 | 100.00 | 10000.00 | 220.00 | 22000.00 | 100.00 | 10000.00 | 200.00 | 20000.00 | 2500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
17.00 | Replacement testing commissioning including supply of following digital meter by replacing existing meter including connection, making suitable cutout and/or fixing metal blanking plate if necessary etc. complete as required as per the direction of Engineer-In-Charge.
17.01 | Digital multifunction meter of 415 V, 50 Hz, 3 Phase, 5A, class 1.0 Make Schneider Conzerv, Model No. EM-6436H or Equivalent. | 15.00 | Each |  | 5500.00 | 82500.00 | 1500.00 | 22500.00 | 4500.00 | 67500.00 | 15000.00 | 225000.00 | 2500.00 | 37500.00 | 19000.00 | 285000.00 | 4580.00 | 68700.00 | 11000.00 | 165000.00 | 22500.00 | Comfort Zone
17.02 | Digital voltmeter 415V 3-phase class 0.5 | 5.00 | Each |  | 800.00 | 4000.00 | 1500.00 | 7500.00 | 1309.00 | 6545.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 2500.00 | 12500.00 | 850.00 | 4250.00 | 2000.00 | 10000.00 | 4000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
17.03 | Digital ammeter class 0.5, 1/5A, 3-phase | 5.00 | Each |  | 1800.00 | 9000.00 | 1500.00 | 7500.00 | 1112.00 | 5560.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 2500.00 | 12500.00 | 850.00 | 4250.00 | 2000.00 | 10000.00 | 4250.00 | ABHISHEK INTEGRATIONS LIMITED
18.00 | Replacement testing commissioning including supply of extended rotating mechanism of different make, rating MCCB as and when required including panel cutting & making hole (if required), screw, nut etc. to ensure smooth operation of the MCCB under closed condition of the panel door complete as required. | 25.00 | Each |  | 1500.00 | 37500.00 | 1500.00 | 37500.00 | 1500.00 | 37500.00 | 2500.00 | 62500.00 | 1000.00 | 25000.00 | 3000.00 | 75000.00 | 1585.00 | 39625.00 | 3000.00 | 75000.00 | 25000.00 | M/s BHARAT ELECTRIC, NAGPUR
19.00 | Replacement testing commissioning including supply of suitable type TNC (Trip-Nutral-Close) handle (2 trip + 2close) in existing LT, HT panel including wiring, expert manpower, tools etc. to operate the ACB/VCB through the TNC handle complete as required. | 10.00 | Each |  | 850.00 | 8500.00 | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 950.00 | 9500.00 | 1000.00 | 10000.00 | 3000.00 | 30000.00 | 950.00 | 9500.00 | 1500.00 | 15000.00 | 8500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
20.00 | Replacement testing commissioning including supply of HT, LT panel locking arrangement by new SS304 material panel locking arrangement, providing key & ensure proper closing of panel door as and when required up to the satisfaction of Engineer-In-Charge. | 90.00 | Each |  | 25.00 | 2250.00 | 1000.00 | 90000.00 | 250.00 | 22500.00 | 200.00 | 18000.00 | 700.00 | 63000.00 | 400.00 | 36000.00 | 450.00 | 40500.00 | 300.00 | 27000.00 | 2250.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
21.00 | Replacement testing commissioning including supply of PVC foot valve of size upto 6 inch dia as per site requirement for the existing dewatering pums etc. complete as required. | 3.00 | Each |  | 85.00 | 255.00 | 1000.00 | 3000.00 | 1250.00 | 3750.00 | 150.00 | 450.00 | 500.00 | 1500.00 | 2000.00 | 6000.00 | 500.00 | 1500.00 | 650.00 | 1950.00 | 255.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
22.00 | Replacement testing commissioning including supply of voltage monitoring relay (VMR) at existing panel as and when required & ensure smooth operation of associated ACB upto the satisfaction of Engineer-In-Charge. Make: PROTON, Model: VMR 3P or equivalent. | 3.00 | Each |  | 2000.00 | 6000.00 | 2000.00 | 6000.00 | 5250.00 | 15750.00 | 2000.00 | 6000.00 | 3500.00 | 10500.00 | 3000.00 | 9000.00 | 1500.00 | 4500.00 | 3000.00 | 9000.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
23.00 | Replacement setting testing commissioning including supply of 800SQ-A-230 analog time switches etc. complete as required. | 2.00 | Each |  | 300.00 | 600.00 | 5000.00 | 10000.00 | 14220.00 | 28440.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 570.00 | 1140.00 | 1800.00 | 3600.00 | 600.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
24.00 | Replacement testing commissioning including supply of follwing MCCB Ics=Icu on the existing LT panel including making whole, fixing screw, nut, bolts, adjusting interconnecting links with busbar, cable if required, dismentalling of existing MCCB and handing over the same to AAI store etc. complete as per site requirement & directed by Engineer-In-Charge on as and when required basis.
24.01 | 63 Amp 4 Pole MCCB, Breaking capacity 36 kA | 2.00 | Each |  | 9150.00 | 18300.00 | 2000.00 | 4000.00 | 8000.00 | 16000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 5842.00 | 11684.00 | 12000.00 | 24000.00 | 4000.00 | Comfort Zone
24.02 | 125 Amp 4 Pole MCCB, Breaking capacity 36 kA | 2.00 | Each |  | 10200.00 | 20400.00 | 5000.00 | 10000.00 | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 7000.00 | 14000.00 | 6422.00 | 12844.00 | 14000.00 | 28000.00 | 10000.00 | Comfort Zone, INTEGER INFRATECH PRIVATE LIMITED, M/s BHARAT ELECTRIC, NAGPUR
24.03 | 160 Amp 4 Pole MCCB, Breaking capacity 36 kA | 2.00 | Each |  | 11200.00 | 22400.00 | 15000.00 | 30000.00 | 12896.00 | 25792.00 | 10000.00 | 20000.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 8156.00 | 16312.00 | 15000.00 | 30000.00 | 15000.00 | M/s BHARAT ELECTRIC, NAGPUR
24.04 | 250 Amp 3 Pole MCCB, Breaking capacity 36 kA | 2.00 | Each |  | 12000.00 | 24000.00 | 20000.00 | 40000.00 | 14000.00 | 28000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 19000.00 | 38000.00 | 10996.00 | 21992.00 | 22000.00 | 44000.00 | 20000.00 | M/s BHARAT ELECTRIC, NAGPUR
24.05 | 250 Amp 4 Pole MCCB, Breaking capacity 36 kA | 2.00 | Each |  | 14392.00 | 28784.00 | 22000.00 | 44000.00 | 17362.00 | 34724.00 | 13000.00 | 26000.00 | 15000.00 | 30000.00 | 19000.00 | 38000.00 | 13545.00 | 27090.00 | 24000.00 | 48000.00 | 26000.00 | INTEGER INFRATECH PRIVATE LIMITED
24.06 | 400 Amp 3 Pole MCCB, Breaking capacity 36 kA | 2.00 | Each |  | 17000.00 | 34000.00 | 30000.00 | 60000.00 | 24180.00 | 48360.00 | 17000.00 | 34000.00 | 15000.00 | 30000.00 | 32000.00 | 64000.00 | 14246.00 | 28492.00 | 26000.00 | 52000.00 | 28492.00 | ABHISHEK INTEGRATIONS LIMITED
24.07 | 400 Amp 4 Pole MCCB, Breaking capacity 36 kA | 2.00 | Each |  | 22500.00 | 45000.00 | 35000.00 | 70000.00 | 29863.00 | 59726.00 | 20000.00 | 40000.00 | 20000.00 | 40000.00 | 35000.00 | 70000.00 | 17728.00 | 35456.00 | 28000.00 | 56000.00 | 35456.00 | ABHISHEK INTEGRATIONS LIMITED
25.00 | Replacement testing commissioning including supply of CGI14C relay or better model in existing 11kV switchgear panel by dismantiling existing protective relay and handing over to AAI including proper wiring, primary injection, submission of test report, training to AAI staffs etc. complete as per the site requirement and as directed by Engineer-In-Charge. | 4.00 | Each |  | 11000.00 | 44000.00 | 12000.00 | 48000.00 | 12500.00 | 50000.00 | 12500.00 | 50000.00 | 12500.00 | 50000.00 | 25000.00 | 100000.00 | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 40000.00 | ABHISHEK INTEGRATIONS LIMITED
26.00 | Replacement laying including supply of XLPE insulated & PVC sheathed following size aluminium conductor , armoured cable of 1.1 KV grade confirming to IS- 7098 ( Part-I) with up to date ammendements etc. complete as & when required & directed by Engineer-In-Charge. 4 C x 25 sq.mm. | 500.00 | Meter |  | 320.00 | 160000.00 | 150.00 | 75000.00 | 225.00 | 112500.00 | 125.00 | 62500.00 | 250.00 | 125000.00 | 225.00 | 112500.00 | 156.00 | 78000.00 | 150.00 | 75000.00 | 62500.00 | INTEGER INFRATECH PRIVATE LIMITED
27.00 | Fabrication and supply of stainless steel board with suitable SS stand of overall height of 4 ft (approx.) showing encrypted message in black color "WORK IN PROGRESS, SORRY FOR INCONVINIENCE" or as directed by Engineer-In-Charge including transportation etc. complete as required. | 5.00 | Each |  | 4000.00 | 20000.00 | 2000.00 | 10000.00 | 4000.00 | 20000.00 | 1000.00 | 5000.00 | 1500.00 | 7500.00 | 7500.00 | 37500.00 | 1500.00 | 7500.00 | 18000.00 | 90000.00 | 5000.00 | INTEGER INFRATECH PRIVATE LIMITED
28.00 | Replacement testing commissioning including supply of DOL starter for 3-ph 5HP dewatering pump motor set including connection, fixing on wall with screws, nuts, washer etc. complete as required and dismantling of existing starter, shifting it to AAI store. | 2.00 | Each |  | 4500.00 | 9000.00 | 10000.00 | 20000.00 | 3850.00 | 7700.00 | 1000.00 | 2000.00 | 2600.00 | 5200.00 | 4000.00 | 8000.00 | 1603.00 | 3206.00 | 3500.00 | 7000.00 | 2000.00 | INTEGER INFRATECH PRIVATE LIMITED
29.00 | Replacement testing commissioning including supply of Star-Delta starter for 3-ph 12.5HP dewatering pump motor set including connection, fixing on wall with screws, nuts, washer etc. complete as required and dismantling of existing starter, shifting it to AAI store. | 1.00 | Each |  | 12500.00 | 12500.00 | 25000.00 | 25000.00 | 12500.00 | 12500.00 | 2500.00 | 2500.00 | 5000.00 | 5000.00 | 5000.00 | 5000.00 | 7362.00 | 7362.00 | 18000.00 | 18000.00 | 2500.00 | INTEGER INFRATECH PRIVATE LIMITED
| Total in Figures |  |  |  |  | 7469645.00 |  | 8622500.00 |  | 7920913.00 |  | 8473800.96 |  | 7845200.00 |  | 9464500.00 |  | 8118685.00 |  | 10759750.00
Lowest Amount Quoted BY: SHRADDHA ENGINEERING AND FACILITY SERVICES(7469645.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of Electrical and Mechanical Installations of Power House at Pune Airport During 2022 to 2024 Tender ID: 2022_AAI_125420_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 7469645.00 | L1
| 2 | M/s BHARAT ELECTRIC, NAGPUR | 7845200.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 7920913.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 8118685.00 | L4
| 5 | INTEGER INFRATECH PRIVATE LIMITED | 8473800.96 | L5
| 6 | Comfort Zone | 8622500.00 | L6
| 7 | Techno Electricals | 9464500.00 | L7
| 8 | DElite System Engineering (India) Pvt. Ltd. | 10759750.00 | L8