## BoQ1
Government eProcurement System Created By: Vinay Hedaoo Created Date/Time: 18-Nov-2022 06:56 PM Tender Title: Modification and Renovation of RR12 Domestic SHA Toilets Tender ID: 2022_AAI_125424_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-C), AAI, Goa Airport
Name of Work: Modification and Renovation of RR12 Domestic SHA Toilets in Terminal Building at Goa Airport.
Contract No: 2022_AAI_125424_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Fermium Constructions LLP(GSTN-06AADFF1864C1ZU) |  | Shri Balaji Construction(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling toilet cubical unit made with 12mm thick compact laminated board i.c the fittings etc complete including stacking of serviceable materials and disposal of unserviceable materials within 300 metres lead. | 77.00 | Sqm | 0.00 | 100.00 | 7700.00 | 200.00 | 15400.00 | 7700.00 | Fermium Constructions LLP
2.00 | Dismantling of WC, wash basin, urinal,recess panels including stacking of useful materials near the site and disposal of unserviceable materials within 300 metres lead. | 54.00 | Each | 0.00 | 100.00 | 5400.00 | 200.00 | 10800.00 | 5400.00 | Fermium Constructions LLP
3.00 | Dismantling of napkin disposal, jumbo tissue roll, urinal partition including stacking of useful materials near the site and disposal of unserviceable materials within 100 metres lead. | 53.00 | Each | 0.00 | 100.00 | 5300.00 | 200.00 | 10600.00 | 5300.00 | Fermium Constructions LLP
4.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials for all leads including all lifts involved as per direction of Engineer-in-charge. | 22.00 | Each | 0.00 | 500.00 | 11000.00 | 500.00 | 11000.00 | 11000.00 | Fermium Constructions LLP, Shri Balaji Construction
5.00 | Dismantling PPR pipes manually/by mechanical means including stacking of pipes within 300 metres lead as per direction of Engineer-in-charge :15 mm to 40 mm nominal bore | 60.00 | Meter | 0.00 | 100.00 | 6000.00 | 200.00 | 12000.00 | 6000.00 | Fermium Constructions LLP
6.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material for all leads including all lifts involved as per direction of Engineer-in-charge. In cement mortar | 18.00 | cum | 0.00 | 1000.00 | 18000.00 | 1500.00 | 27000.00 | 18000.00 | Fermium Constructions LLP
7.00 | Demolishing R.C.C. work manually/ by mechanical means including stacking of steel bars and disposal of unserviceable material for all leads including all lifts involved as per direction of Engineer-in-charge. | 3.00 | cum | 1.00 | 1500.00 | 4500.00 | 2000.00 | 6000.00 | 4500.00 | Fermium Constructions LLP
8.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material for all leads including all lifts involved as per direction of Engineer-in-charge. a) For thickness of tiles 10 mm to 25 mm | 290.00 | sqm | 0.00 | 200.00 | 58000.00 | 200.00 | 58000.00 | 58000.00 | Fermium Constructions LLP, Shri Balaji Construction
9.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material for all leads including all lifts involved as per direction of Engineer-in-charge. A)Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 11.00 | cum | 0.00 | 1000.00 | 11000.00 | 1500.00 | 16500.00 | 11000.00 | Fermium Constructions LLP
10.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material for all leads including all lifts involved as per direction of Engineer-in-charge | 147.00 | sqm | 0.00 | 200.00 | 29400.00 | 200.00 | 29400.00 | 29400.00 | Fermium Constructions LLP, Shri Balaji Construction
11.00 | Dismantling C.I. pipes manually/ by mechanical means including breaking lead caulked joints, melting of lead and making into blocks including stacking of pipes & lead at site for all leads including all lifts involved as per direction of Engineer-in-charge: a)Up to 150 mm diameter | 180.00 | metre | 0.00 | 100.00 | 18000.00 | 200.00 | 36000.00 | 18000.00 | Fermium Constructions LLP
12.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 55.00 | cum | 0.00 | 1500.00 | 82500.00 | 1500.00 | 82500.00 | 82500.00 | Fermium Constructions LLP, Shri Balaji Construction
13.00 | Providing and constructing masonry walls with precast solid concrete Block (Grade D-4 as per I.S. 2185, Part-1,1979, Reframed 1998) having individual block compresive strength not less than 3.2 N/sq.mm) in C.M. 1:6 (1cement:6coarse sand) including striking joints on unexposed faces, racking out joints on exposed faces, watering, curing and scaffolding wherever required etc. complete as per the specification and directions of Engineer Incharge. In Super structure above plinth level upto floor V level. | 7.00 | cum | 1.00 | 7500.00 | 52500.00 | 8500.00 | 59500.00 | 52500.00 | Fermium Constructions LLP
14.00 | 12 mm cement plaster of mix : a)1:4 (1 cement: 4 fine sand) | 329.00 | sqm | 0.00 | 300.00 | 98700.00 | 350.00 | 115150.00 | 98700.00 | Fermium Constructions LLP
15.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III): 3 graded stone aggregate 20 mm nominal size). | 1.00 | cum | 0.00 | 20000.00 | 20000.00 | 12000.00 | 12000.00 | 12000.00 | Shri Balaji Construction
16.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size) | 12.00 | cum | 0.00 | 7000.00 | 84000.00 | 9000.00 | 108000.00 | 84000.00 | Fermium Constructions LLP
17.00 | Providing and laying in floors anti skid homogenous multi coloured vitrified tiles with water absorption less than 0.08% and conforming to IS:15622 of approved brand/ manufacturer, of size 600 x 600mm x 9.6 to 10mm and 600 x 300 x 9.6 to 10mm in combination as per approved drawing without warpage of approved make and colour shades laid on 20 mm bed of cement mortar 1:4 (1 cement : 4 coarse sand) including grouting the joints of thickness 3 mm with solid epoxy grout of PIDILITE / LATICRETE / BAL ENDURA / FERROUS CRETE or approved equivalent of desired shade etc. complete and as per pattern specified in approved drawings and specifications complete as per directions of Engineer-in-charge. | 230.00 | sqm | 0.00 | 1500.00 | 345000.00 | 1700.00 | 391000.00 | 345000.00 | Fermium Constructions LLP
18.00 | Providing and fixing Ist quality multicoloured ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (sample, shade and series shall be approved by EIC) | 326.00 | sqm | 0.00 | 1800.00 | 586800.00 | 1800.00 | 586800.00 | 586800.00 | Fermium Constructions LLP, Shri Balaji Construction
19.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recomme-nded jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer’s specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum plain board conforming | 303.00 | sqm | 1.00 | 1200.00 | 363600.00 | 1600.00 | 484800.00 | 363600.00 | Fermium Constructions LLP
20.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : a) Two or more coats on new work | 305.00 | sqm | 0.00 | 150.00 | 45750.00 | 200.00 | 61000.00 | 45750.00 | Fermium Constructions LLP
21.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. a)15 mm nominal outer dia Pipes | 50.00 | metre | 0.00 | 700.00 | 35000.00 | 700.00 | 35000.00 | 35000.00 | Fermium Constructions LLP, Shri Balaji Construction
22.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. a) 20 mm nominal outer dia Pipes | 50.00 | metre | 0.00 | 800.00 | 40000.00 | 800.00 | 40000.00 | 40000.00 | Fermium Constructions LLP, Shri Balaji Construction
23.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. a) 25 mm nominal outer dia Pipes | 35.00 | metre | 0.00 | 900.00 | 31500.00 | 900.00 | 31500.00 | 31500.00 | Fermium Constructions LLP, Shri Balaji Construction
24.00 | Providing and fixing SWR single socketed solvent jointed pipes(type B as per IS:13592) Prince/Plasto/Kisan or equivalent for soil, waste and vent including required fittings. 75 mm dia pipe | 34.00 | metre | 0.00 | 600.00 | 20400.00 | 400.00 | 13600.00 | 13600.00 | Shri Balaji Construction
25.00 | Providing and fixing SWR single socketed solvent jointed pipes(type B as per IS:13592) Prince/Plasto/Kisan or equivalent for soil, waste and vent including required fittings. 110 mm dia pipe | 34.00 | metre | 1.00 | 800.00 | 27200.00 | 600.00 | 20400.00 | 20400.00 | Shri Balaji Construction
26.00 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall 40mm nominal bore | 30.00 | metre | 0.00 | 100.00 | 3000.00 | 900.00 | 27000.00 | 3000.00 | Fermium Constructions LLP
27.00 | Providing & fixing floor cockroach trap of size 150 mm Plasto/Prince/ Kisan or approved equivalent as per direction of Engineer-Incharge. | 35.00 | Each | 0.00 | 800.00 | 28000.00 | 500.00 | 17500.00 | 17500.00 | Shri Balaji Construction
28.00 | Providing & fixing SWR floor nahani trap of size 75x110mm of Plasto/Prince/ Kisan or approved equivalent as per direction of Engineer-Incharge. | 35.00 | Each | 0.00 | 700.00 | 24500.00 | 500.00 | 17500.00 | 17500.00 | Shri Balaji Construction
29.00 | Providing & fixing Stainless Steel floor push nahani trap of size 150 mm x 150 mm at floor level i.c proper finishing of joint in flooring etc complete as per direction of Engineer-Incharge. | 35.00 | Each | 0.00 | 1000.00 | 35000.00 | 900.00 | 31500.00 | 31500.00 | Shri Balaji Construction
30.00 | Core cutting in slab 200 deep 150 mm dia etc complete as per direction of Engineer-Incharge. | 25.00 | Each | 0.00 | 1500.00 | 37500.00 | 3000.00 | 75000.00 | 37500.00 | Fermium Constructions LLP
31.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position all complete. | 184.00 | Kg | 1.00 | 110.00 | 20240.00 | 120.00 | 22080.00 | 20240.00 | Fermium Constructions LLP
32.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | 208.00 | Kg | 0.00 | 130.00 | 27040.00 | 120.00 | 24960.00 | 24960.00 | Shri Balaji Construction
33.00 | Providing and fixing 19 mm thick panelling or panelling and glazing in panelled or panelled and glazed shutters for doors, windows and clerestory windows or over MS tubular frame work (area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick. Marine plywood conforming to IS: 710. | 10.00 | Sqm | 0.00 | 2000.00 | 20000.00 | 3000.00 | 30000.00 | 20000.00 | Fermium Constructions LLP
34.00 | Providing and fixing 12mm thick White/Coloured Acrylic solid surface of Hanex/Dupont/Samsung staron/LG HIMACS make to 19 mm marine Plyboard (paid separately) for counter purpose with all required accessories, adhesive, polishing & buffing with complete finishing work as per specifications, colour, shape and size as per approved drawing/design direction and to the satisfaction of Engineer-in-Charge.(sample, shade and series shall be approved by EIC) | 25.00 | Sqm | 0.00 | 15000.00 | 375000.00 | 20000.00 | 500000.00 | 375000.00 | Fermium Constructions LLP
35.00 | Providing & fixing white vitreous china flat back urinal with automatic flushing systems (Jaquar cat.no.URS-WHT-132530/ American Standard Cat No. TF-6502+CF-8604.000.50 / Kohler Cat No. - K-5016-ER-O / Hindware cat. no. 60013 / Roca Cat No. R5634A1+R458446 / Cera Cat No. 5005A or approved equivalent) comprising of all plumbing, electronic and electrical items. CP brass flush pipe with CP brass elbow, CP brass spreader, CP wall flange, infrared photo cells, eyes electrically operated solenoid valve, step down transformer / equipment and any other item required to provide satisfactory functioning including necessary wall cutting / chasing and making good, as required for urinal flushing complete as mentioned above as per direction of Engineer-Incharge. | 16.00 | Each | 0.00 | 25000.00 | 400000.00 | 30000.00 | 480000.00 | 400000.00 | Fermium Constructions LLP
36.00 | Providing & fixing of white vitreous China wall mounting cascade type water closet (Jaquar cat.no.ARS-WHT-39951 /American Standard Cat No. TF-3128 / Kohler Cat No. K-18131X-O / Hindware cat. no. 270409 /Roca Cat No. R038046+R039046 / Cera cat No. 2058 or approved equivalent) with CP bolts, nuts, CI chair hanging arrangements, bakelite seat & cover with CP hinges & rubber buffers, CP brass screw, washer with all accessories with WC connector with Rubber Lip / Buffer and side gap filled with silicon sealant wherever required with chrome finished brass concealed type dual flush cistern (Jaquar cat.no.JCH-WHT-2400FS/Hindware cat no. 506743 + 506751 / Grohe Cat No. 38661 / Kohler cat no. K-4178 / Roca Cat No. R490299+R490128 /Cera cat No. 2607 or approved equivalent) comprising of actuator button facia assembly including brass / SS screws and washer complete including cutting, making good the walls, floors, slab wherever required as per direction of Engineer-Incharge. | 28.00 | Each | 0.00 | 30000.00 | 840000.00 | 32000.00 | 896000.00 | 840000.00 | Fermium Constructions LLP
37.00 | Providing & fixing of white vitreous china below counter oval wash basin/circular basin (Jaquar cat.no.FLS-WHT-5701/American Standard Cat No. TF-0470 (536x434mm)/ Kohler cat no. K-2211-O (536x435mm) / Hindware cat no. 10049 (560x450mm) / Roca Cat No. R306046 (560x420mm) / Cera Cat No. 1005 (550x460) or approved equivalent) with CP brass waste assembly, wall flanges and rubber adapters for waste connection complete including CI/MS brackets duly painted, nuts, washers, cutting and making good the walls floors wherever required as per direction of Engineer-Incharge. | 26.00 | Each | 0.00 | 10000.00 | 260000.00 | 12000.00 | 312000.00 | 260000.00 | Fermium Constructions LLP
38.00 | Providing and fixing 32mm dia Bottle Trap (Jaquar cat.no.ALD-769L300x190/Grohe code 28920 / Kohler cat no. K-16407IN-CP or approved equivalent) and other ancillary fittings, cutting and making good the walls wherever required complete as per directions of Engineer-Incharge. | 30.00 | Each | 1.00 | 1800.00 | 54000.00 | 2000.00 | 60000.00 | 54000.00 | Fermium Constructions LLP
39.00 | Providing & fixing urinal partitions 1050mm x 450mm with toughened ceramic frittted (coloured) glass of 8mm thick. The system shall be held on two brackets. (Dorma BR / D Line or approved equivalent) including all fittings and accessories required as per direction of Engineer-Incharge. | 16.00 | Each | 0.00 | 4000.00 | 64000.00 | 6000.00 | 96000.00 | 64000.00 | Fermium Constructions LLP
40.00 | Providing & fixing automatic battery operated wash basin sensor tap of chrome finished (Jaquar cat.no.SNR-CHR-51027/Grohe cat no. 36016000 / Kohler cat no. K-18057IN-ND-CP/American Standard or approved equivalent) with solenoid valve at inlet, Doppler based sensor, control box complete with all flexible pipes & accessories as per direction of Engineer-Incharge. | 30.00 | Each | 0.00 | 15000.00 | 450000.00 | 15000.00 | 450000.00 | 450000.00 | Fermium Constructions LLP, Shri Balaji Construction
41.00 | Providing & fixing unplasticised PVC connection pipe(Jaquar cat.no.ALD-CHR-805B or equivalent ) with brass unions of 45cm length & 15mm nominal bore. | 26.00 | Each | 0.00 | 700.00 | 18200.00 | 1000.00 | 26000.00 | 18200.00 | Fermium Constructions LLP
42.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 a) 15 mm nominal bore | 50.00 | Each | 0.00 | 1000.00 | 50000.00 | 2000.00 | 100000.00 | 50000.00 | Fermium Constructions LLP
43.00 | Providing & fixing of modular toilet cubicles consisting of high pressure 12mm thick compact laminate board as per IS 2046 (Indian Standards) and as per fire retardant BS-476/97 standards with phenolic core panels for partitions of intermediate divider, doors and pilasters. The cubicle shall have dimensions of 1500mm depth x 900mm width x 2030mm height with a door size of minimum head rail on top of panels and panels shall be fixed on the floor with a clearance of maximum 150mm using stainless steel satin finish adjustable legs screwed to the floor included stainless steel (SS) lock set, SS door knob, SS gravity self closing hinge, SS coat hook with door stopper, SS U channel, SS head rail, SS adjustable foot, SS tabular holder, SS head rail wall bracket, SS head rail corner connection and SS noise reducing tape, etc. as per direction of Engineer-Incharge. | 138.00 | Sqm | 0.00 | 6500.00 | 897000.00 | 9000.00 | 1242000.00 | 897000.00 | Fermium Constructions LLP
44.00 | Providing & fixing of 600 mm to 750 mm long stainless steel grab bar (Jaquar cat.no.WAC-SAP-BR0600CS/Bobrick code B-5806 / Utec (TVB access cat no. TVB-7524) or approved equivalent) as per directions of Engineer-Incharge. | 4.00 | Each | 0.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 20000.00 | Fermium Constructions LLP, Shri Balaji Construction
45.00 | Providing & fixing vertical swing stainless steel grab bar (Bobrick code B-4998 / Utec (TVB access cat no. TVB-7524) or approved equivalent) as per directions of Engineer-Incharge. | 4.00 | Each | 1.00 | 15000.00 | 60000.00 | 18000.00 | 72000.00 | 60000.00 | Fermium Constructions LLP
46.00 | Providing & fixing recessed paper towel dispenser and waste receptable (Bobrick cat no. B-3803 / Utec (TVB access cat no. TVB-4110)or approved equivalent) as per direction of Engineer-Incharge. | 6.00 | Each | 0.00 | 100.00 | 600.00 | 100.00 | 600.00 | 600.00 | Fermium Constructions LLP, Shri Balaji Construction
47.00 | Providing & fixing recessed sanitary napkin disposal (Bobrick cat no. B-35139 or approved equivalent) as per direction of Engineer-Incharge. | 6.00 | Each | 0.00 | 20000.00 | 120000.00 | 20000.00 | 120000.00 | 120000.00 | Fermium Constructions LLP, Shri Balaji Construction
48.00 | Providing & fixing stainless steel jumbo roll toilet tissue dispenser (Grohe cat no. 40367 / Kohler cat no. K-17523-CP / Bobrick cat no. 2892/ Utec (TVB access cat no. TVB-8620 / Euronics cat no. E501 or approved equivalent) with stainless steel roller complete including cutting and making good the walls and floors wherever required as per direction of Engineer-Incharge. | 26.00 | Each | 0.00 | 5000.00 | 130000.00 | 6000.00 | 156000.00 | 130000.00 | Fermium Constructions LLP
49.00 | Providing & fixing push type liquid soap dispenser (Diversy/Bobrick B-306 /Euronics Cat No. ES 05 & Utec (TVB access cat no. TVB-3600-5) or approved equivalent) as per direction of Engineer-Incharge. | 30.00 | Each | 0.00 | 5000.00 | 150000.00 | 6000.00 | 180000.00 | 150000.00 | Fermium Constructions LLP
50.00 | Providing & fixing C.P. hand spray with lever control (health faucet) (Jaquar cat. no. ALD-573/Grohe Cat No. 278021L0 / Kohler Cat No. K-12925IN-CP or approved equivalent) and flexible hose 1 m long connection with C.P. holder for hand spray complete in all respects as per direction of Engineer- in-Charge. | 26.00 | Each | 0.00 | 4000.00 | 104000.00 | 4000.00 | 104000.00 | 104000.00 | Fermium Constructions LLP, Shri Balaji Construction
51.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with bevelled edges and fixed on SS studs etc. complete. (a) 6.00 mm thick mirror of approved make. | 14.00 | Sqm | 0.00 | 3000.00 | 42000.00 | 5000.00 | 70000.00 | 42000.00 | Fermium Constructions LLP
52.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : a) 25 to 40 mm nominal bore | 2.00 | Each | 1.00 | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 4000.00 | Fermium Constructions LLP
53.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : a) 40 mm nominal bore | 2.00 | Each | 0.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 8000.00 | Shri Balaji Construction
54.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : (a) Two or more coats on new work | 4.00 | sqm | 0.00 | 200.00 | 800.00 | 200.00 | 800.00 | 800.00 | Fermium Constructions LLP, Shri Balaji Construction
55.00 | Providing and fixing wash basin (Jaquar Make , Model No. WHT 5801) with C.I. brackets, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require. | 6.00 | Each | 0.00 | 100.00 | 600.00 | 100.00 | 600.00 | 600.00 | Fermium Constructions LLP, Shri Balaji Construction
56.00 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. | 6.00 | Each | 0.00 | 100.00 | 600.00 | 100.00 | 600.00 | 600.00 | Fermium Constructions LLP, Shri Balaji Construction
57.00 | Extra for providing and mixing water proofing material in cement concrete work in doses by weight of cement as per manufacturer's specification. | 3840.00 | Kg | 0.00 | 10.00 | 38400.00 | 20.00 | 76800.00 | 38400.00 | Fermium Constructions LLP
58.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in acrylic solid surface/marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 24.00 | Each | 0.00 | 500.00 | 12000.00 | 500.00 | 12000.00 | 12000.00 | Fermium Constructions LLP, Shri Balaji Construction
59.00 | Providing and fixing Hygeine panel in ladies toilet of make Euronix or equivalent with all necessary fittings etc complete as approved by Engineer in charge. | 1.00 | Each | 1.00 | 100.00 | 100.00 | 100.00 | 100.00 | 100.00 | Fermium Constructions LLP, Shri Balaji Construction
60.00 | Providing and fixing high quality HDPE baby protection seat in toilet of make Euronix (Model No. EDC 02)or equivalent as approved by Engineer in charge. | 3.00 | Each | 0.00 | 20000.00 | 60000.00 | 20000.00 | 60000.00 | 60000.00 | Fermium Constructions LLP, Shri Balaji Construction
61.00 | Providing and fixing high quality HDPE Baby changing station of make Euronics-EDC01N or equivalent in toilet as approved by Engineer in charge. | 2.00 | Each | 0.00 | 30000.00 | 60000.00 | 35000.00 | 70000.00 | 60000.00 | Fermium Constructions LLP
62.00 | Finishing of louvers made form M.S Pipe of size 25mm x 50mm in size 0.80 m x 1.50m and spacing of two louvers as 38 to 40mm maximum with Duco paint after preparation of surface and applying primer, putty etc complete as per the direction and satisfaction of the Engineer-in-charge. | 2.00 | Job | 0.00 | 100.00 | 200.00 | 200.00 | 400.00 | 200.00 | Fermium Constructions LLP
63.00 | Extra for computerised design and CNC cutting and finishing in the acrylic solid surface material having sheet size of 0.80 m x 1.50 m.This item is payable over basic item No.34 | 1.00 | Job | 0.00 | 20000.00 | 20000.00 | 20000.00 | 20000.00 | 20000.00 | Fermium Constructions LLP, Shri Balaji Construction
64.00 | Providing & fixing Jaquar Pressmatic Pillar tap ( (Model-PRS-031) auto closing type for wash basin, complete with all accessories as per direction of Engineer-Incharge. | 4.00 | Each | 0.00 | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 12000.00 | Fermium Constructions LLP, Shri Balaji Construction
65.00 | Providing & laying non-shrink fast setting hydraulic cementitious ready to use material (Shalimar Dam-it or equivalent) around the periphery of the drainage pipes at floor level as per direction of Engineer-Incharge. | 23.00 | Kg | 0.00 | 300.00 | 6900.00 | 400.00 | 9200.00 | 6900.00 | Fermium Constructions LLP
66.00 | Providing assistance on architectural issues while carrying out modification works to meet the desired requirements. (This item shall be executed with the prior approval of Engineer In-charge or Project In-charge.) | 1.00 | Job | 1.00 | 60000.00 | 60000.00 | 300000.00 | 300000.00 | 60000.00 | Fermium Constructions LLP
67.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 15 mm nominal outer dia Pipes | 50.00 | Rm | 0.00 | 400.00 | 20000.00 | 450.00 | 22500.00 | 20000.00 | Fermium Constructions LLP
68.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. Internal work - Exposed on wall 25 mm nominal outer dia Pipes | 350.00 | Rm | 0.00 | 550.00 | 192500.00 | 600.00 | 210000.00 | 192500.00 | Fermium Constructions LLP
69.00 | Providing and fixing SWR single socketed solvent jointed pipes(type B as per IS:13592) Prince/Plasto/Kisan or equivalent for soil, waste and vent including required fittings. 40 mm dia pipe | 145.00 | Rm | 0.00 | 300.00 | 43500.00 | 400.00 | 58000.00 | 43500.00 | Fermium Constructions LLP
70.00 | Core cutting in slab 200 deep 100 mm dia all complete as per the direction of Engineer In Charge. | 10.00 | Each | 0.00 | 1500.00 | 15000.00 | 2000.00 | 20000.00 | 15000.00 | Fermium Constructions LLP
71.00 | Providing and fixing CPVC gate valve of 25mm nominal dia, as per the direction of Engineer In Charge. | 25.00 | Each | 0.00 | 300.00 | 7500.00 | 300.00 | 7500.00 | 7500.00 | Fermium Constructions LLP, Shri Balaji Construction
72.00 | Supply and installation of decorative wall cladding as per approved design and specification (1mm thick PVC lamination over 12mm thick plywood) in front of toilet block all complete as per the direction of Engineer In Charge. | 1.00 | 1Job | 0.00 | 300000.00 | 300000.00 | 350000.00 | 350000.00 | 300000.00 | Fermium Constructions LLP
73.00 | Carriage of dismatled unserviceable material to approved muncipal dump yard by manual/mechanical means as per the direction of Engineer-In-Charge. | 200.00 | cum | 0.00 | 1500.00 | 300000.00 | 2000.00 | 400000.00 | 300000.00 | Fermium Constructions LLP
74.00 | Providing & fixing Stainless steel Shower panels of size 1400 x200 mm (Jaquar cat.no.JPL-SSF-ST8858B3) with integrated Rectangular shower head, Thermostatic mixer and diverter and hand shower with flexible hose complete with all flexible pipes & accessories as per direction of Engineer-Incharge. | 4.00 | Each | 1.00 | 20000.00 | 80000.00 | 25000.00 | 100000.00 | 80000.00 | Fermium Constructions LLP
75.00 | Providing & fixing Wall to Wall Shower enclosure of model no Model No. 1820-G / 1120-G of Jaquar make or equvivalent with one fixed glass of 10 mm and openable door fixed on glass- 2 part enclosure of size Ht-1950mm, Width 1200 mm (Jaquar cat.no.JSE-CHR-820G8012H19X) all complete with all flexible pipes & accessories as per direction of Engineer-Incharge. | 4.00 | Each | 0.00 | 23000.00 | 92000.00 | 25000.00 | 100000.00 | 92000.00 | Fermium Constructions LLP
76.00 | Treatment to the Pipe Outlets / Drain outlets / Cutouts: Supplying & sealing the pipe inserts, etc provided in the floor & walls with 1.5 mm thick two sided non-reinforced polymerized bituminous self adhesive Dr. Fixit Bathseal Tape (or equivalent) to seal the joint between pipes/inserts and the core cuts. The Tape shall have Softening point (R&B) >60⁰C as per ASTM D 36, Elongation, (Compound) > 500% as per ASTM D 412, Water absorption at 24 hrs < 0.3 as per ASTM D 570, Water permeability @ 5bar : Nil as per BS EN 12390, Adhesion strength : 1.0 N/mm as per ASTM D 1000, Cold temperature flexibility < -6⁰C as per UEAtc, followed by grouting the gaps around the pipe / inserts with a non shrink cementitious waterproof grout, Dr. Fixit Pidigrout 10M (or equivalent), shall conform to ASTM C 109 - 1999 18, ASTM C 1107, Grade C, etc, complete as per the direction of EIC | 60.00 | Each | 0.00 | 600.00 | 36000.00 | 800.00 | 48000.00 | 36000.00 | Fermium Constructions LLP
77.00 | Providing & Applying 2 coats of waterproof coating with high performance two component pre-packed cementitious waterproofing, Dr. Fixit Fastflex or equivalent, to achieve DFT of 1.5mm over the floor and wall surface as per the manufacturers’ specification & drawing. All the coats to be applied in right angle to each other. The coating shall have following properties: Tensile strength : 2.6 N/mm2 as per ASTM D 412, Elongation at break, % : 120 as per ASTM D 412, Adhesion strength : 1 N/mm2 as per ASTM D 4541, crack bridging : 2mm as per ASTM C 836, Water penetration (5 bar pressure) : 1% as per BS EN 12390, Hardness, Shore A : 60 as per ASTM D 2240, RCPT permeability : 92% as per ASTM C 1202-97, including cleaning the surface, removing the laitance, grease, old paints, contaminants, curing compound with wire brush, cleaning the surface with compressed air. Damaged or loose plaster to be repaired with polymer modified cement-sand mortar with SBR Latex, Pidicrete URP (or equivalent). Small cracks upto 5mm needs to be repaired with crack filling material Crack X and the cracks above 5mm shall be repaired by polymer modified mortar with SBR Latex, Pidicrete URP (or equivalent) as per manufacturers' specification, etc, complete. | 341.00 | Sqm | 0.00 | 850.00 | 289850.00 | 800.00 | 272800.00 | 272800.00 | Shri Balaji Construction
78.00 | Supplying & laying 20mm THK protective screed of cement sand mortar of 1:3 mix admixed with integral compound conforming to IS 2645, Pidiproof LW+ (or equivalent) at manufacture specified quantity, to provide slope to the horizontal surface towards drain outlet and also to protect the waterproofing, etc, complete. | 341.00 | Sqm | 0.00 | 750.00 | 255750.00 | 800.00 | 272800.00 | 255750.00 | Fermium Constructions LLP
79.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed B class MS conduit with 10 amps rating, SP MCB, "C" curve of 10 KA breaking capacity and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 40.00 | Point | 0.00 | 1500.00 | 60000.00 | 1500.00 | 60000.00 | 60000.00 | Fermium Constructions LLP, Shri Balaji Construction
80.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed MS conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. Group C | 300.00 | Point | 0.00 | 1200.00 | 360000.00 | 1200.00 | 360000.00 | 360000.00 | Fermium Constructions LLP, Shri Balaji Construction
81.00 | Wiring for circuit/ submain wiring alongwith earth wire with (2 X 4 sq. mm + 1 X 4 sq. mm earth wire) FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class MS conduit complete as required | 450.00 | Mtr. | 0.00 | 400.00 | 180000.00 | 500.00 | 225000.00 | 180000.00 | Fermium Constructions LLP
82.00 | Supply of LED Spot Light of 12 Watt rating with control gear complete with prewired accessories as required with a minimum of 2 year warranty, suitable to operate on 230V, 50 Hz AC supply as per approval of Engineer-In-Charge. ( Make: Crompton Fame Spot or Wipro Cob Downlight or Equivalent) | 40.00 | Each | 1.00 | 1000.00 | 40000.00 | 1500.00 | 60000.00 | 40000.00 | Fermium Constructions LLP
83.00 | Supply of LED Downlighter of 18 Watt rating with control gear complete with prewired accessories having Robust PDC aluminium housing as required with a minimum of 2 year warranty, suitable to operate on 230V, 50 Hz AC supply as per approval of Engineer-In-Charge. ( Make: Crompton Proxima-R 18W or Bajaj Dovee Pro LED or Equivalent) | 180.00 | Each | 0.00 | 1400.00 | 252000.00 | 1200.00 | 216000.00 | 216000.00 | Shri Balaji Construction
84.00 | Supply of decorative wall light, gold finish fixture with hammered glass diffuser suitable for 7.5 W LED filament lamp E27 base (Make: Havells Model: FLORETINE WL 1LS E27 CGN or equivalent) | 40.00 | Each | 0.00 | 3000.00 | 120000.00 | 3000.00 | 120000.00 | 120000.00 | Fermium Constructions LLP, Shri Balaji Construction
85.00 | Supply of 7.5 W, warm white, LED Filament Lamp of E27 base. (Make: Havells Model: LHLDDEHCYC8U7X5 or equivalent) | 40.00 | Each | 0.00 | 500.00 | 20000.00 | 500.00 | 20000.00 | 20000.00 | Fermium Constructions LLP, Shri Balaji Construction
86.00 | Installation, Testing and commissioning of various types of LED luminaire fittings including all accessories required as per approval of Engineer-In-Charge. | 260.00 | Each | 0.00 | 200.00 | 52000.00 | 200.00 | 52000.00 | 52000.00 | Fermium Constructions LLP, Shri Balaji Construction
87.00 | Supply and fixing of flexible LED striplight with capacity of 4.8Watts/Metre(minimum) of various colors and other accessories (without driver) as required suitable to operate on 230V, 50 Hz AC supply(Through Driver) as per approval of Engineer-in-charge. (Make: Havells LED FLEXI STRIP or Wipro Formz LED or equivalent). | 300.00 | Each | 0.00 | 600.00 | 180000.00 | 800.00 | 240000.00 | 180000.00 | Fermium Constructions LLP
88.00 | Supply and fixing of LED Driver Suitable for supplied LED Striplight. | 70.00 | Each | 0.00 | 300.00 | 21000.00 | 500.00 | 35000.00 | 21000.00 | Fermium Constructions LLP
89.00 | Supplying and fixing GI box of 6module on surface or in recess with suitable size of modular cover plate in the front including providing and fixing 2 numbers 6-pin 6Amps/16 amps Modular socket outlet and 2 numbers 16 amps modular type Switch complete as required. | 30.00 | Each | 0.00 | 300.00 | 9000.00 | 400.00 | 12000.00 | 9000.00 | Fermium Constructions LLP
90.00 | Supplying and fixing following surface/ recess mounting, Horizontal type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of bus bar, common neutral link, earth bar, din bar for mounting MCB's (But without MCB's and incomer) as required. 12 way ( 8+36) | 4.00 | Each | 1.00 | 12000.00 | 48000.00 | 12000.00 | 48000.00 | 48000.00 | Fermium Constructions LLP, Shri Balaji Construction
91.00 | Supplying and fixing 63Amps rating, four pole, 415 volts, "C" curve, miniature circuit breaker in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 0.00 | 7000.00 | 28000.00 | 10000.00 | 40000.00 | 28000.00 | Fermium Constructions LLP
92.00 | Supplying and fixing 5 amps. to 32 amps. rating, 240 volts,"C" curve miniature circuit breaker of following sizes having 10KA or more breaking capacity in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 104.00 | Each | 0.00 | 300.00 | 31200.00 | 500.00 | 52000.00 | 31200.00 | Fermium Constructions LLP
93.00 | Supply of 1.1 KV grade aluminium conductor & XLPE insulated and PVC sheathed armoured cable of 4 X 16 sq.mm size conforming to IS:7098 (Part 1) with up to date ammendments. | 500.00 | Mtr | 0.00 | 200.00 | 100000.00 | 300.00 | 150000.00 | 100000.00 | Fermium Constructions LLP
94.00 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1 KV grade of following size on wall surface as required. a) Upto 35 sq. mm. | 450.00 | Mtr | 0.00 | 200.00 | 90000.00 | 350.00 | 157500.00 | 90000.00 | Fermium Constructions LLP
95.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm | 8.00 | Set | 0.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 4000.00 | Fermium Constructions LLP, Shri Balaji Construction
96.00 | SITC of GI sheet metal ducting as per ducting specifications and with suitable supports using MS angles, channels, rods, anchors bolts, etc to roof / truss and as per specifications including sizing of ducts. a) 22 Gauge galvanised sheet steel | 150.00 | Sqmt | 0.00 | 2500.00 | 375000.00 | 3000.00 | 450000.00 | 375000.00 | Fermium Constructions LLP
97.00 | Dismantling of MS/GI structure, sheet metal, ducting material etc. from toilets including stacking of dismantled materials within Airport premises as per instruction of Engineer-in-charge. | 150.00 | Sqmt | 0.00 | 500.00 | 75000.00 | 900.00 | 135000.00 | 75000.00 | Fermium Constructions LLP
98.00 | Supply, Installation, testing and commissioning of duct mounted direct drive cabinet IN-LINE FANS with electronic speed regulator of 2500 CFM capacity for exhaust air in the toilet ducts. Each fan shall be complete with motor, mounting flanges etc. Fan shall be selected for 25 mm (approx) static pressure, including wiring between fan and electronic speed regulator. | 4.00 | Each | 1.00 | 25000.00 | 100000.00 | 30000.00 | 120000.00 | 100000.00 | Fermium Constructions LLP
99.00 | Supply and fixing of powder coated Aluminum grill of size 150 mm X 150 mm without collar damper in toilets of NITB. | 84.00 | Job | 0.00 | 500.00 | 42000.00 | 700.00 | 58800.00 | 42000.00 | Fermium Constructions LLP
100.00 | Provision and installation of Multi Function Recess Panel having automatic hand dryer, paper dispenser and waste receptacle. The cabinet is made of 304 Stainless Steel , 1350W Hand Dryer having infrared sensor, waste container having 23 litre capacity and automatic HRT roll paper dispensor. The hand drying time should be maximum 12 seconds.Make-Euronics KINOX KMR2N or Dolphy DWCB0004or equivalent reputed make as per approval of Engineer-In-Charge. | 10.00 | Each | 0.00 | 70000.00 | 700000.00 | 90000.00 | 900000.00 | 700000.00 | Fermium Constructions LLP
101.00 | SITC of PIR Sensor 230VAC +/10%; 50/60Hz maximum load 10A. (2400 VA) any load. Maximum length 100m LED indicators Red LED on movement Switch off delay 1 to 30 minutes Light levels 250 to 1000 Lux (30% reflection) Detection range of Occuswitch shall be 4 to 5 meters forsmall movements and 6 by 8 meters for larger movements like walking to be covered all around 360 degree etc. as required. | 22.00 | Each | 0.00 | 1000.00 | 22000.00 | 1500.00 | 33000.00 | 22000.00 | Fermium Constructions LLP
102.00 | Providing and fixing 6 SWG dia GI wire on surface or in recess for loop earthing alongwith existing surface /recessed conduit/ submain wiring/cable as required. | 1000.00 | Mtr | 1.00 | 50.00 | 50000.00 | 100.00 | 100000.00 | 50000.00 | Fermium Constructions LLP
103.00 | Wiring for Call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular type switch, modular cover and plate , suitable size metal box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 2.00 | Each | 0.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 3000.00 | Fermium Constructions LLP, Shri Balaji Construction
104.00 | Supply, Installation, Testing and Commissioning of BEE 5 star rated Storage Water heater of 2000W power with 15 Ltrs Capacity. The Geyser should have minimum 8 bar. The heating element should be of copper. The geyser and heating elemet should have minimum 2 years warranty and tank should have minimum 5 years warranty. The geyser should be operable on 230V, 50Hz AC. | 4.00 | Each | 0.00 | 10000.00 | 40000.00 | 12000.00 | 48000.00 | 40000.00 | Fermium Constructions LLP
| Total in Figures |  |  |  |  | 11157230.00 |  | 13541490.00
Lowest Amount Quoted BY: Fermium Constructions LLP(11157230.00)

## BOQ Summary
BOQ Summary Details Tender Title: Modification and Renovation of RR12 Domestic SHA Toilets Tender ID: 2022_AAI_125424_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Fermium Constructions LLP | 11157230.00 | L1
| 2 | Shri Balaji Construction | 13541490.00 | L2