## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 22-Sep-2022 01:24 PM Tender Title: Annual operation and maintenance contract of STP at Goa Airport for the year 2022-24 Tender ID: 2022_AAI_125859_1
Tender Inviting Authority: Sr. Manager (Engg-E)
Name of Work: Annual Operation and Maintenance Contract of Sewage Treatment Plant at Goa Airport for the year 2022-2024.
Contract No: Tender ID : 2020_AAI_125859_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SAWEN CONSULTANCY SERVICES PVT. LTD.(GSTN-09AAQCS9226F1ZU) |  | GLOBAL TECH SERVICES(GSTN-29BFQPD1799R2Z9) |  | Yashanand Infra Private Limited(GSTN-27AAACY7221L1Z2) |  | AWETECH WORKS PVT LTD(GSTN-07AASCA1900E1ZZ) |  | ENHANCE ECOTECH SOLUTION PVT LTD(GSTN-06AADCE9126D1ZW) |  | RD Enviro Engineers and Consultants Pvt Ltd(GSTN-07AAGCR1125A2Z0) |  | S chowdhury and Company(GSTN-NA) |  | Kakolil Trade Agencies(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual operation and Maintenance of Sewage Treatment Plant on round the clock ( in 3 shifts per day) including Saturday, Sunday and other holidays at Goa International Airport by deploying most suitable manpower as follows: a.) Operator (skilled)-1 No in each shift b.) Helper (Semi-Skilled)-1 No in each shift The maintenance shall include carrying out preventive maintenance (refer Preventive Maintenance Schedule) and breakdown maintenance including providing consumables, tools and plants etc as required. | 24.00 | Months |  | 165000.00 | 3960000.00 | 190000.00 | 4560000.00 | 175000.00 | 4200000.00 | 178040.00 | 4272960.00 | 127202.40 | 3052857.60 | 111266.00 | 2670384.00 | 155000.00 | 3720000.00 | 129999.00 | 3119976.00 | 2670384.00 | RD Enviro Engineers and Consultants Pvt Ltd
2.00 | Carrying out water sample testing of treated water of Sewage Treatment Plant from Govt. Lab/NABL accredited labs as per the latest norms of Government and submission of report on monthly basis. | 24.00 | Job |  | 2500.00 | 60000.00 | 2000.00 | 48000.00 | 6000.00 | 144000.00 | 1640.00 | 39360.00 | 1440.00 | 34560.00 | 2500.00 | 60000.00 | 1500.00 | 36000.00 | 2500.00 | 60000.00 | 34560.00 | ENHANCE ECOTECH SOLUTION PVT LTD
3.00 | Rewinding of following Monoblock /submersible/ sewage / screw/dosing pump motors etc. including all other Associated works like Bearing replacement, Shaft works, metalling and machining etc. complete as required. Work to be carried out on as and when required.
3.01 | 0.5HP (Dosing pump) | 2.00 | Job |  | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 1230.00 | 2460.00 | 1800.00 | 3600.00 | 2750.00 | 5500.00 | 2000.00 | 4000.00 | 1500.00 | 3000.00 | 2460.00 | AWETECH WORKS PVT LTD
3.02 | 1HP (Screw/monoblock) | 3.00 | Job |  | 7000.00 | 21000.00 | 3000.00 | 9000.00 | 3500.00 | 10500.00 | 1094.00 | 3282.00 | 4200.00 | 12600.00 | 7500.00 | 22500.00 | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 3282.00 | AWETECH WORKS PVT LTD
3.03 | 1.5HP (Screw/monoblock) | 3.00 | Job |  | 12000.00 | 36000.00 | 3000.00 | 9000.00 | 5500.00 | 16500.00 | 1094.00 | 3282.00 | 4800.00 | 14400.00 | 8100.00 | 24300.00 | 2000.00 | 6000.00 | 4500.00 | 13500.00 | 3282.00 | AWETECH WORKS PVT LTD
3.04 | 3HP(Monoblock) | 3.00 | Job |  | 12000.00 | 36000.00 | 5000.00 | 15000.00 | 8500.00 | 25500.00 | 1367.00 | 4101.00 | 5400.00 | 16200.00 | 12500.00 | 37500.00 | 3000.00 | 9000.00 | 7500.00 | 22500.00 | 4101.00 | AWETECH WORKS PVT LTD
3.05 | 5HP(Monoblock) | 4.00 | Job |  | 15000.00 | 60000.00 | 5000.00 | 20000.00 | 9500.00 | 38000.00 | 1025.00 | 4100.00 | 6000.00 | 24000.00 | 17500.00 | 70000.00 | 3500.00 | 14000.00 | 10000.00 | 40000.00 | 4100.00 | AWETECH WORKS PVT LTD
3.06 | 5.5HP(Monoblock) | 1.00 | Job |  | 15000.00 | 15000.00 | 7000.00 | 7000.00 | 12500.00 | 12500.00 | 5740.00 | 5740.00 | 6600.00 | 6600.00 | 20000.00 | 20000.00 | 3500.00 | 3500.00 | 11000.00 | 11000.00 | 3500.00 | S chowdhury and Company
3.07 | 7.5HP (Submersible) | 2.00 | Job |  | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 13500.00 | 27000.00 | 3280.00 | 6560.00 | 8400.00 | 16800.00 | 27500.00 | 55000.00 | 8000.00 | 16000.00 | 25000.00 | 50000.00 | 6560.00 | AWETECH WORKS PVT LTD
3.08 | 10HP (Vertical In-line Monoblock) | 1.00 | Job |  | 20000.00 | 20000.00 | 10000.00 | 10000.00 | 14500.00 | 14500.00 | 8200.00 | 8200.00 | 9600.00 | 9600.00 | 32000.00 | 32000.00 | 12000.00 | 12000.00 | 30000.00 | 30000.00 | 8200.00 | AWETECH WORKS PVT LTD
3.09 | 15HP (Monoblock) | 3.00 | Job |  | 20000.00 | 60000.00 | 15000.00 | 45000.00 | 15550.00 | 46650.00 | 3827.00 | 11481.00 | 14400.00 | 43200.00 | 35000.00 | 105000.00 | 12000.00 | 36000.00 | 35000.00 | 105000.00 | 11481.00 | AWETECH WORKS PVT LTD
4.00 | Servicing, overhauling and repairing of 15 HP, 450-500 M3/hr Capacity of Twin lobe rotary Air blower, Make- Beta Maschinenfabrik having discharge pressure 0.4kg /cm2, 'V' belt or flexible couple drive, 15HP foot mounted induction motor, TEFC, 1500 RPM 415 + 10% volts, 3 phase, 50Hz as required. Work to be carried out on as and when required. | 4.00 | Job |  | 32000.00 | 128000.00 | 20000.00 | 80000.00 | 7500.00 | 30000.00 | 4100.00 | 16400.00 | 26400.00 | 105600.00 | 85000.00 | 340000.00 | 15000.00 | 60000.00 | 49900.00 | 199600.00 | 16400.00 | AWETECH WORKS PVT LTD
5.00 | Servicing, overhauling and repairing of 15 HP, 450-500 M3/hr Capacity of Twin lobe rotary Air blower, Make- Rootech Root Blowers having discharge pressure 0.4kg /cm2, 'V' belt or flexible couple drive, 15HP foot mounted induction motor, TEFC, 1500 RPM 415 + 10% volts, 3 phase, 50Hz as required. Work to be carried out on as and when required. | 4.00 | Job |  | 32000.00 | 128000.00 | 20000.00 | 80000.00 | 5500.00 | 22000.00 | 4100.00 | 16400.00 | 26400.00 | 105600.00 | 85000.00 | 340000.00 | 15000.00 | 60000.00 | 49900.00 | 199600.00 | 16400.00 | AWETECH WORKS PVT LTD
6.00 | Servicing , overhauling and repairing of 5HP, 100-150 M3/hr Capacity of Twin lobe rotary Air blower, Make- Rootech Root Blowers having discharge pressure 0.6 kg /cm2, 'V' belt or flexible couple drive, 5HP foot mounted induction motor, TEFC, 1500 RPM 415 + 10% volts , 3 phase, 50Hz including gear ,bearing replacement works, greasing etc.as required. Work to be carried out on as and when required. | 2.00 | Job |  | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 4500.00 | 9000.00 | 8200.00 | 16400.00 | 18000.00 | 36000.00 | 65000.00 | 130000.00 | 15000.00 | 30000.00 | 29900.00 | 59800.00 | 9000.00 | Yashanand Infra Private Limited
7.00 | Supply of 'V' belts for 15 HP, 450-500 M3/hr Capacity of Twin lobe rotary Air blower, Make- Beta Maschinenfabrik having discharge pressure 0.4kg /cm2 as required. Work to be carried out on as and when required. | 6.00 | Each |  | 500.00 | 3000.00 | 500.00 | 3000.00 | 7000.00 | 42000.00 | 2734.00 | 16404.00 | 1800.00 | 10800.00 | 3000.00 | 18000.00 | 1000.00 | 6000.00 | 1500.00 | 9000.00 | 3000.00 | SAWEN CONSULTANCY SERVICES PVT. LTD., GLOBAL TECH SERVICES
8.00 | Supply of 'V' belts for 15 HP, 450-500 M3/hr Capacity of Twin lobe rotary Air blower, Make- Rootech Root Blowers having discharge pressure 0.4kg /cm2 as required. Work to be carried out on as and when required. | 4.00 | Each |  | 500.00 | 2000.00 | 500.00 | 2000.00 | 6500.00 | 26000.00 | 4100.00 | 16400.00 | 1800.00 | 7200.00 | 3000.00 | 12000.00 | 1000.00 | 4000.00 | 1500.00 | 6000.00 | 2000.00 | SAWEN CONSULTANCY SERVICES PVT. LTD., GLOBAL TECH SERVICES
9.00 | Supply of 'V' belts for 5HP, 100-150 M3/hr Capacity of Twin lobe rotary Air blower, Make- Rootech Root Blowers having discharge pressure 0.6 kg /cm2 as required. Work to be carried out on as and when required. | 4.00 | Each |  | 400.00 | 1600.00 | 500.00 | 2000.00 | 3500.00 | 14000.00 | 2050.00 | 8200.00 | 1440.00 | 5760.00 | 3000.00 | 12000.00 | 1000.00 | 4000.00 | 1250.00 | 5000.00 | 1600.00 | SAWEN CONSULTANCY SERVICES PVT. LTD.
10.00 | Supply and replacement of gear oil for Gear lubrication (Gearbox) and grease for 15 HP, 450-500 M3/hr Capacity of Twinlobe rotary Air blower, Make- Beta Maschinenfabrik having discharge pressure 0.4kg /cm2 as required. Note:The job is required to be done quarterly. | 8.00 | Job |  | 3000.00 | 24000.00 | 2000.00 | 16000.00 | 8000.00 | 64000.00 | 1025.00 | 8200.00 | 3000.00 | 24000.00 | 750.00 | 6000.00 | 2000.00 | 16000.00 | 4500.00 | 36000.00 | 6000.00 | RD Enviro Engineers and Consultants Pvt Ltd
11.00 | Supply of gear oil Gear lubrication (Gearbox) and grease for 5HP/15 HP Capacity of Twin lobe rotary Air blower, Make- Rootech Root Blowers as required. Note: The job is required to be done quarterly | 8.00 | Job |  | 3000.00 | 24000.00 | 2000.00 | 16000.00 | 8000.00 | 64000.00 | 1025.00 | 8200.00 | 2400.00 | 19200.00 | 750.00 | 6000.00 | 2000.00 | 16000.00 | 3500.00 | 28000.00 | 6000.00 | RD Enviro Engineers and Consultants Pvt Ltd
12.00 | Supply and replacement of Air filters for 15 HP, 450-500 M3/hr Capacity of Twin lobe rotary Air blower, Make- Beta Maschinenfabrik having discharge pressure 0.4kg /cm2 as required. Note: The job is required to be done half yearly. | 8.00 | Job |  | 3000.00 | 24000.00 | 5000.00 | 40000.00 | 4500.00 | 36000.00 | 4100.00 | 32800.00 | 3000.00 | 24000.00 | 2200.00 | 17600.00 | 4000.00 | 32000.00 | 7500.00 | 60000.00 | 17600.00 | RD Enviro Engineers and Consultants Pvt Ltd
13.00 | Supply and replacement of Air filters for 15 HP, 450-500 M3/hr Capacity of Twinlobe rotary Air blower, Make- Rootech Root Blowers having discharge pressure 0.4kg /cm2 as required. Note: The job is required to be done half yearly. | 8.00 | Job |  | 3000.00 | 24000.00 | 5000.00 | 40000.00 | 4500.00 | 36000.00 | 4100.00 | 32800.00 | 6600.00 | 52800.00 | 2500.00 | 20000.00 | 4000.00 | 32000.00 | 7500.00 | 60000.00 | 20000.00 | RD Enviro Engineers and Consultants Pvt Ltd
14.00 | Supply and replacement of Air filters for 5HP, 100-150 M3/hr Capacity of Twinlobe rotary Air blower, Make- Rootech Root Blowers having discharge pressure 0.6 kg /cm2 as required. Note: The job is required to be done half yearly. | 8.00 | Job |  | 2500.00 | 20000.00 | 5000.00 | 40000.00 | 13000.00 | 104000.00 | 4100.00 | 32800.00 | 5400.00 | 43200.00 | 25000.00 | 200000.00 | 4000.00 | 32000.00 | 5500.00 | 44000.00 | 20000.00 | SAWEN CONSULTANCY SERVICES PVT. LTD.
15.00 | Annual Overhauling, servicing, replacing of media, strainers, painting , minor repair work and commissioning of Multi-grade filter having down type flow of size 1200mm x 1500 mm height for treatment of clarified water tank of the STP complete as required. | 4.00 | Job |  | 42000.00 | 168000.00 | 15000.00 | 60000.00 | 35000.00 | 140000.00 | 10250.00 | 41000.00 | 14400.00 | 57600.00 | 65000.00 | 260000.00 | 20000.00 | 80000.00 | 60000.00 | 240000.00 | 41000.00 | AWETECH WORKS PVT LTD
16.00 | Annual Overhauling, servicing, replacing of media, strainers , painting, minor repair work and commissioning of Activated Carbon Filter having down type flow of size 1200mm x 1500 mm height for filtration of treated sewage water complete as required. | 4.00 | Job |  | 45000.00 | 180000.00 | 15000.00 | 60000.00 | 35000.00 | 140000.00 | 10250.00 | 41000.00 | 18000.00 | 72000.00 | 55000.00 | 220000.00 | 20000.00 | 80000.00 | 80000.00 | 320000.00 | 41000.00 | AWETECH WORKS PVT LTD
17.00 | Supply and installation of Micron Cartridge Filter of capacity 12.5 cum/hr, rating 100 micron, MOC: Sponge type cartridge filter for PLC based Ultra Filtration system installed for STP. Note: The job is required to be done quarterly | 8.00 | Job |  | 3000.00 | 24000.00 | 15000.00 | 120000.00 | 35000.00 | 280000.00 | 656.00 | 5248.00 | 3000.00 | 24000.00 | 6500.00 | 52000.00 | 2000.00 | 16000.00 | 6500.00 | 52000.00 | 5248.00 | AWETECH WORKS PVT LTD
18.00 | Servicing, dismantling, re-fixing, testing and commissioning of the existing UF hollow fiber membrane (MOC Polyether Sulfone (PES)) of Make-Qua , Model - Q SEP-6008 having permeate capacity of 12.5cum/hr, inside out flow path, max feed pressure 70PSI and this includes chemically enhanced backwash procedure, a combination of chemicals like citric Acid, Sodium Hypochlorite, Sodium Hydroxide , Sulfuric Acid, Hydrochloric Acid of PLC based Ultra Filtration system installed for STP complete as required. Note: The job is required to be done half yearly | 4.00 | Job |  | 40000.00 | 160000.00 | 10000.00 | 40000.00 | 35000.00 | 140000.00 | 32800.00 | 131200.00 | 30000.00 | 120000.00 | 32000.00 | 128000.00 | 75000.00 | 300000.00 | 45000.00 | 180000.00 | 40000.00 | GLOBAL TECH SERVICES
19.00 | Cleaning of STP tanks with removal of waste material by means of mechanical suction system and disposal of waste material removed from STP tanks through tanker of minimum capacity 8000 litres including obtain necessary permission/license for disposal of material at designated disposal place earmarked by Goa Municipal corporation or any Govt. authority by following govt. environment policy/ norms/rules of Goa Municipal corporation. Note: Rate shall be quoted for per tanker. | 96.00 | Job |  | 3500.00 | 336000.00 | 2000.00 | 192000.00 | 5500.00 | 528000.00 | 1709.00 | 164064.00 | 14400.00 | 1382400.00 | 2500.00 | 240000.00 | 5000.00 | 480000.00 | 8290.00 | 795840.00 | 164064.00 | AWETECH WORKS PVT LTD
20.00 | Supply of 20 kgs bucket of eco friendly , non-flammable bioculture powder for achieving a well settling MLSS (Mixed Liquor Suspended Solids ) and shall be capable of reducing COD, BOD , TDS, hardness and obnoxious gases like Ammonia, H2S in wastewater tanks of Sewage Treatment Plant complete as required. . | 10.00 | Each |  | 3000.00 | 30000.00 | 3000.00 | 30000.00 | 25000.00 | 250000.00 | 1640.00 | 16400.00 | 360.00 | 3600.00 | 1250.00 | 12500.00 | 20000.00 | 200000.00 | 350.00 | 3500.00 | 3500.00 | Kakolil Trade Agencies
| Total in Figures |  |  |  |  | 5630600.00 |  | 5588000.00 |  | 6465150.00 |  | 4965442.00 |  | 5328177.60 |  | 5116284.00 |  | 5310500.00 |  | 5762316.00
Lowest Amount Quoted BY: AWETECH WORKS PVT LTD(4965442.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual operation and maintenance contract of STP at Goa Airport for the year 2022-24 Tender ID: 2022_AAI_125859_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AWETECH WORKS PVT LTD | 4965442.00 | L1
| 2 | RD Enviro Engineers and Consultants Pvt Ltd | 5116284.00 | L2
| 3 | S chowdhury and Company | 5310500.00 | L3
| 4 | ENHANCE ECOTECH SOLUTION PVT LTD | 5328177.60 | L4
| 5 | GLOBAL TECH SERVICES | 5588000.00 | L5
| 6 | SAWEN CONSULTANCY SERVICES PVT. LTD. | 5630600.00 | L6
| 7 | Kakolil Trade Agencies | 5762316.00 | L7
| 8 | Yashanand Infra Private Limited | 6465150.00 | L8