## BoQ1
Government eProcurement System Created By: Jyoti Prakash chauhan Created Date/Time: 10-Oct-2022 11:02 AM Tender Title: SITC of the Procedural Approach and Area Control Simulators for AAI Training Centers at CATC Prayagraj (SH Electrical, works) Tender ID: 2022_AAI_126065_1
Tender Inviting Authority:- Asstt. Gen. Manager (Engg-E), Airports Authority of India, Engineering Section, CATC, Prayagraj
Name of Work:- SITC of the Procedural Approach and Area Control Simulators for AAI Training Centres at CATC Prayagraj (SH : Electrical, works)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Genesis(GSTN-09AGAPJ4118N1ZA) |  | Avion industries(GSTN-09AFZPJ4337F1ZZ) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5) |  | TITCO ELECTRICALS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 36 to 40 watt 2x2 feet LED type recess mounting low depth flat panel with PC diffuser to deliver low glare illumination suitable for operation on 230 Volt , 50 HZ AC supply etc as required ( make surya Model Celesta ). | 254.00 | Each | 10.00 | 2000.00 | 508000.00 | 1790.00 | 454660.00 | 1550.00 | 393700.00 | 1532.00 | 389128.00 | 389128.00 | TITCO ELECTRICALS
2.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting/ LED type fitting of all types, complete with all accessories etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 254.00 | Each | 10.00 | 100.00 | 25400.00 | 135.00 | 34290.00 | 80.00 | 20320.00 | 85.00 | 21590.00 | 20320.00 | Awasthi Electric Works
3.00 | Dismantling of 1x36watt / 2x36 Watt flourecent fitting / ceiling fan/wall fan i/c disconnecting the all electrical connections from upto the height of 10 mtrs., carry the dismantle electrical fixures upto the AAI stores with records etc as required. | 254.00 | Each | 10.00 | 100.00 | 25400.00 | 60.00 | 15240.00 | 60.00 | 15240.00 | 61.00 | 15494.00 | 15240.00 | Avion industries, Awasthi Electric Works
4.00 | Design, fabrication, supply, installation, testing and commissioning of vermin, dust proof, front operated cubicle type free floor mounted, indoor IP 43, LT panel made out of 2 mm thick CRCA sheet duly rust inhibited, Powder coated, fully compartmentalized complete with hinged front with name plates and rear doors , heavy duty rubber gaskets, removable gland plates made out of 3 mm thick sheet steel etc.as per drawing and specifications with following Incoming / Outgoing including earthing and painting, LED Indicating lamp arrangement complete etc as required. | 1.00 | Each | 10.00 | 575000.00 | 575000.00 | 480000.00 | 480000.00 | 1025000.00 | 1025000.00 | 494700.00 | 494700.00 | 480000.00 | Avion industries
5.00 | INCOMER |  |  | 10.00
6.00 | 400 Amp. 4 pole, DN3B-400D MCCB, breaking capicity 36 KA with rotatory handle (L&T DN3-400N, Ics=100%Icu)-02 nos with mechanical inter locking |  |  | 10.00
7.00 | Chage over switch |  |  | 10.00
8.00 | 400 Amp. 4 pole, on load change over-01 No |  |  | 10.00
9.00 | METERING |  |  | 10.00
10.00 | Digital Voltmeter CL 1, (Make : LT)-01 nos |  |  | 10.00
11.00 | Digital Ammeter CL 1, (Make : LT)- 01 Nos |  |  | 10.00
12.00 | CT 400/5A (Make : Precise)-03 nos |  |  | 10.00
13.00 | PHASE INDICATING LAMP (Make L & T) 01 set of RYB |  |  | 10.00
14.00 | CONTROL SP MCB (Make : L & T), 2 amps-03 nos |  |  | 10.00
15.00 | Bus bar 80x5 mm Aluminium |  |  | 10.00
16.00 | OUTGOING |  |  | 10.00
17.00 | 400 Amp. 4 pole , MCCB, 36 KA with rotatory handle(L&T DN0-400N) -06 nos |  |  | 10.00
18.00 | Supply of following sizes of 1.1 KV grade, XLPE insulated, PVC sheathed, armoured, aluminium conductor power cable confirms to IS 7098(part -1) with up to date amendments etc complete as required. |  |  | 10.00
19.00 | 3.5 x 240 Sqmm | 312.00 | Mtr | 10.00 | 1220.00 | 380640.00 | 1420.00 | 443040.00 | 1140.00 | 355680.00 | 1018.00 | 317616.00 | 317616.00 | TITCO ELECTRICALS
20.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. |  |  | 10.00
21.00 | Above 185 sq. mm and upto 400 sq. mm | 158.00 | Mtr | 10.00 | 500.00 | 79000.00 | 170.00 | 26860.00 | 90.00 | 14220.00 | 30.00 | 4740.00 | 4740.00 | TITCO ELECTRICALS
22.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. |  |  | 10.00
23.00 | Above 185 sq. mm and upto 400 sq. mm | 74.00 | Mtr | 10.00 | 180.00 | 13320.00 | 80.00 | 5920.00 | 60.00 | 4440.00 | 18.00 | 1332.00 | 1332.00 | TITCO ELECTRICALS
24.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. |  |  | 10.00
25.00 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 54.00 | Mtr | 10.00 | 150.00 | 8100.00 | 60.00 | 3240.00 | 175.00 | 9450.00 | 24.00 | 1296.00 | 1296.00 | TITCO ELECTRICALS
26.00 | Supplying and making indoor end termination with brass compression gland and aluminium/ copper lugs for following sizes of PVC insulated, PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade etc as required. |  |  | 10.00
27.00 | 3.5x240 Sqmm | 16.00 | Each | 10.00 | 500.00 | 8000.00 | 900.00 | 14400.00 | 850.00 | 13600.00 | 182.00 | 2912.00 | 2912.00 | TITCO ELECTRICALS
28.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required | 2.00 | Set | 10.00 | 13000.00 | 26000.00 | 3000.00 | 6000.00 | 6500.00 | 13000.00 | 3637.00 | 7274.00 | 6000.00 | Avion industries
29.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 30.00 | Mtr | 10.00 | 334.00 | 10020.00 | 80.00 | 2400.00 | 155.00 | 4650.00 | 128.00 | 3840.00 | 2400.00 | Avion industries
30.00 | Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 286.00 | Mtr | 10.00 | 70.00 | 20020.00 | 40.00 | 11440.00 | 28.00 | 8008.00 | 23.00 | 6578.00 | 6578.00 | TITCO ELECTRICALS
31.00 | SITC of Digital Grounding Device 240 kA 3 phase 4 wire portable type with built in Low Impedance equipment Grounding & bonding system. Provides 100% protection against Lightning Surges, static charge, Noises, ESD, EPR and eliminates abnormal electrical distribances which enter from power and other service lines and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0V having a digital 6 digit lightening surge counter, self health visual status indicator with facilty to connect ONLINE Monitoring System and in a Pre-wired pulverulent body painted metal enclosure to be connected in parallel to the power supply circuit, Conforming to IEC, CE Marked, CPRI tested & ISO 9000 & ISO 14001-2015 certified | 1.00 | Each | 10.00 | 164000.00 | 164000.00 | 280000.00 | 280000.00 | 125000.00 | 125000.00 | 213400.00 | 213400.00 | 125000.00 | Awasthi Electric Works
32.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc.conforming to IS 14930, Part II complete with fitting and cutting,jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. |  |  | 10.00
33.00 | 120 mm dia (OD-120 mm & ID-103 mm nominal) | 160.00 | Mtr | 10.00 | 437.00 | 69920.00 | 260.00 | 41600.00 | 310.00 | 49600.00 | 363.00 | 58080.00 | 41600.00 | Avion industries
34.00 | Supply & Fixing of 35 watt LED flood light fittingr prewired recess monting high performance decorated luminaries with high power LEDs, integrated LED driver and drop down PC diffuser to deliver low glare illumination and operating range 140-270 volt complete with all accessories, complete etc.as required ( make surya Rflon or equivalent ). | 12.00 | Each | 10.00 | 2500.00 | 30000.00 | 1800.00 | 21600.00 | 1700.00 | 20400.00 | 2425.00 | 29100.00 | 20400.00 | Awasthi Electric Works
35.00 | Execution of misc. items on requirement basis covered under CPWD Schedule of Rates (E&M) 2018 (GST will be derived & reimbursed) (If agency wants to quote same rate put 1, for 10% above put 1.1 or 10% below put 0.9) | 50000.00 | Job | 10.00 | .80 | 40000.00 | .70 | 35000.00 | 2.00 | 100000.00 | .39 | 19500.00 | 19500.00 | TITCO ELECTRICALS
| Total in Figures |  |  |  |  | 1982820.00 |  | 1875690.00 |  | 2172308.00 |  | 1586580.00
Lowest Amount Quoted BY: TITCO ELECTRICALS(1586580.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of the Procedural Approach and Area Control Simulators for AAI Training Centers at CATC Prayagraj (SH Electrical, works) Tender ID: 2022_AAI_126065_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | TITCO ELECTRICALS | 1586580.00 | L1
| 2 | Avion industries | 1875690.00 | L2
| 3 | Genesis | 1982820.00 | L3
| 4 | Awasthi Electric Works | 2172308.00 | L4