## BoQ1
Government eProcurement System Created By: ANIL KUMAR Created Date/Time: 10-Oct-2022 02:28 PM Tender Title: Construction of New Domestic Terminal Building and Other Structures (Phase I and II) at Patna Airport.SH- SITC of Substation Equipments i/c DG Sets and Allied Works (ESS-2). Tender ID: 2022_AAI_126362_1
Tender Inviting Authority: AGM (E-E)-ER, AAI, First Floor, Old RD Building, Safdarjung Airport, New Delhi-110003
Name of Work: Construction of New Domestic Terminal Building and Other Structures (Phase I & II) at Patna Airport. SH :- Supplying, Installation, Testing & Commissioning of Substation Equipments i/c DG Sets & Allied Works (ESS-2).
Contract No: TENDER ID: 2022_AAI_126362_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | A.K. INFRA PROJECTS PVT. LTD.(GSTN-09AAHCA0944P1Z9) |  | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION(GSTN-09AOTPS2578C1ZC) |  | CANELA ENTERPRISES PVT LTD(GSTN-NA) |  | Bharat Bijlee Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 33KV, 7 VCB Indoor Switchboard Panel | 1.00 | Job |  | 9310000.00 | 9310000.00 | 6200000.00 | 6200000.00 | 6500000.00 | 6500000.00 | 9625677.00 | 9625677.00 | 6200000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
2.00 | SITC of 24 V, 200 AH Battery Charger panel with battery bank | 1.00 | Job |  | 630000.00 | 630000.00 | 950000.00 | 950000.00 | 120000.00 | 120000.00 | 389315.00 | 389315.00 | 120000.00 | CANELA ENTERPRISES PVT LTD
3.00 | SITC of 33KV/0.433KV, 2000 KVA Dry Type Transformer | 3.00 | Each |  | 5600000.00 | 16800000.00 | 5800000.00 | 17400000.00 | 4750000.00 | 14250000.00 | 4946289.00 | 14838867.00 | 14250000.00 | CANELA ENTERPRISES PVT LTD
4.00 | SITC of TTA type Main LT Panel | 1.00 | Job |  | 21700000.00 | 21700000.00 | 3200000.00 | 3200000.00 | 16000000.00 | 16000000.00 | 19388089.00 | 19388089.00 | 3200000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
5.00 | SITC of DG LT ACB Indoor Panel | 4.00 | Job |  | 630000.00 | 2520000.00 | 1050000.00 | 4200000.00 | 494000.00 | 1976000.00 | 572738.00 | 2290952.00 | 1976000.00 | CANELA ENTERPRISES PVT LTD
6.00 | SITC of TTA type DG Synchronisation LT panel | 1.00 | Job |  | 8820000.00 | 8820000.00 | 4200000.00 | 4200000.00 | 6500000.00 | 6500000.00 | 7716116.00 | 7716116.00 | 4200000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
7.00 | SITC of PTTA type 750 KVAR AHF cum APFC Hybrid Panel | 3.00 | Job |  | 7210000.00 | 21630000.00 | 1250000.00 | 3750000.00 | 3500000.00 | 10500000.00 | 3866488.00 | 11599464.00 | 3750000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
8.00 | SITC of PTTA type DG Auxiliary LT Panel | 1.00 | Job |  | 316400.00 | 316400.00 | 1250000.00 | 1250000.00 | 387000.00 | 387000.00 | 549328.00 | 549328.00 | 316400.00 | A.K. INFRA PROJECTS PVT. LTD.
9.00 | SITC of PTTA Type Link Bridge MDB LT Panel | 1.00 | Job |  | 350000.00 | 350000.00 | 1800000.00 | 1800000.00 | 414000.00 | 414000.00 | 507130.00 | 507130.00 | 350000.00 | A.K. INFRA PROJECTS PVT. LTD.
10.00 | SITC of Outdoor type water supply LT panel | 1.00 | Set |  | 406000.00 | 406000.00 | 750000.00 | 750000.00 | 380000.00 | 380000.00 | 554912.00 | 554912.00 | 380000.00 | CANELA ENTERPRISES PVT LTD
11.01 | Supply, Installation, Testing and Commissioning of following rating pre-fabricated sandwiched type IP 54 bustrunking - 1600 A, Four pole busduct with 100% size neutral bus (minimum) 65 KA | 54.00 | Mtr. |  | 30786.00 | 1662444.00 | 24000.00 | 1296000.00 | 17000.00 | 918000.00 | 29564.00 | 1596456.00 | 918000.00 | CANELA ENTERPRISES PVT LTD
11.02 | Supply, Installation, Testing and Commissioning of following rating pre-fabricated sandwiched type IP 54 bustrunking - 2500 A, Four pole busduct with 100% size neutral bus (minimum) 65 KA | 72.00 | Mtr. |  | 36499.00 | 2627928.00 | 28000.00 | 2016000.00 | 29000.00 | 2088000.00 | 34841.00 | 2508552.00 | 2016000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
11.03 | Supply, Installation, Testing and Commissioning of following rating pre-fabricated sandwiched type IP 54 bustrunking - 3200 A, Four pole busduct with 100% size neutral bus (minimum) 65 KA | 77.00 | Mtr. |  | 50687.00 | 3902899.00 | 32000.00 | 2464000.00 | 33000.00 | 2541000.00 | 47765.00 | 3677905.00 | 2464000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
11.04 | Supply, Installation, Testing and Commissioning of following rating pre-fabricated sandwiched type IP 54 bustrunking - 4000 A, Four pole busduct with 100% size neutral bus (minimum) 65 KA | 878.00 | Mtr. |  | 48856.00 | 42895568.00 | 32000.00 | 28096000.00 | 35000.00 | 30730000.00 | 41974.00 | 36853172.00 | 28096000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
12.01 | Supply, Installation, Testing and Commissioning of following rating pre-fabricated sandwiched type IP 65 outdoor bustrunking - 4000 A, Four pole busduct with 100% size neutral bus 65 KA (minimum), IP 65 along with canopy. | 124.00 | Mtr. |  | 70591.00 | 8753284.00 | 36000.00 | 4464000.00 | 48000.00 | 5952000.00 | 63403.00 | 7861972.00 | 4464000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
13.01 | Supply of following size of 33KV (Un earthed) grade, multicore stranded aluminium conductor, XLPE insulated & PVC sheathed armoured power cable Size - 3 Core, 300 Sq.mm. (33KV UE grade) | 500.00 | Mtr. |  | 2794.00 | 1397000.00 | 3200.00 | 1600000.00 | 2550.00 | 1275000.00 | 2343.00 | 1171500.00 | 1171500.00 | Bharat Bijlee Ltd
14.01 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable Size - 4 X 25 sq. mm | 77.00 | Mtr. |  | 203.00 | 15631.00 | 300.00 | 23100.00 | 175.00 | 13475.00 | 199.00 | 15323.00 | 13475.00 | CANELA ENTERPRISES PVT LTD
14.02 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable Size - 3.5 X 50 sq. mm | 552.00 | Mtr. |  | 291.00 | 160632.00 | 320.00 | 176640.00 | 265.00 | 146280.00 | 249.00 | 137448.00 | 137448.00 | Bharat Bijlee Ltd
14.03 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable Size - 3.5 X 70 sq. mm | 955.00 | Mtr. |  | 389.00 | 371495.00 | 350.00 | 334250.00 | 355.00 | 339025.00 | 334.00 | 318970.00 | 318970.00 | Bharat Bijlee Ltd
14.04 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable Size - 3.5 X 120 sq. mm | 359.00 | Mtr. |  | 616.00 | 221144.00 | 550.00 | 197450.00 | 560.00 | 201040.00 | 534.00 | 191706.00 | 191706.00 | Bharat Bijlee Ltd
14.05 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable Size - 3.5 X 150 sq. mm | 2567.00 | Mtr. |  | 714.00 | 1832838.00 | 620.00 | 1591540.00 | 650.00 | 1668550.00 | 630.00 | 1617210.00 | 1591540.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
14.06 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable Size - 3.5 X 185 sq. mm | 1967.00 | Mtr. |  | 916.00 | 1801772.00 | 750.00 | 1475250.00 | 830.00 | 1632610.00 | 772.00 | 1518524.00 | 1475250.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
14.07 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable Size - 3.5 X 240 sq. mm | 6706.00 | Mtr. |  | 1189.00 | 7973434.00 | 970.00 | 6504820.00 | 1050.00 | 7041300.00 | 978.00 | 6558468.00 | 6504820.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
14.08 | Supply of following sizes of XLPE insulated PVC sheathed, aluminium conductor, armoured, power cable Size - 3.5 X 300 sq. mm | 1769.00 | Mtr. |  | 1478.00 | 2614582.00 | 1150.00 | 2034350.00 | 1300.00 | 2299700.00 | 1198.00 | 2119262.00 | 2034350.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
15.01 | Supply of Fire Survival armoured cables of 600/ 1000V rated with Copper conductor Size - 4 X 95 sq. mm | 179.00 | Mtr. |  | 4103.00 | 734437.00 | 3000.00 | 537000.00 | 4400.00 | 787600.00 | 9672.00 | 1731288.00 | 537000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
15.02 | Supply of Fire Survival armoured cables of 600/ 1000V rated with Copper conductor Size - 4 X 240 sq. mm | 1190.00 | Mtr. |  | 10013.00 | 11915470.00 | 7000.00 | 8330000.00 | 10600.00 | 12614000.00 | 8530.00 | 10150700.00 | 8330000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
16.01 | Supply of following sizes of copper conductor, shielded with Aluminium mylar tape with ATC drain wire, XLPE/PVC insulated, PVC sheathed, steel Armoured industrial instrumentation shelded cable of voltage garde 500 Volt as per BS EN 50288-7 complete as required. Size - 4C x 1.0 Sq.mm | 541.00 | Mtr. |  | 66.00 | 35706.00 | 350.00 | 189350.00 | 90.00 | 48690.00 | 92.00 | 49772.00 | 35706.00 | A.K. INFRA PROJECTS PVT. LTD.
16.02 | Supply of following sizes of 1.1kV grade XLPE/PVC insulated, PVC FRLS sheathed, Copper conductor, Armoured cable. Size - 6C x 2.5 Sq.mm | 201.00 | Mtr. |  | 273.00 | 54873.00 | 210.00 | 42210.00 | 210.00 | 42210.00 | 190.00 | 38190.00 | 38190.00 | Bharat Bijlee Ltd
16.03 | Supply of following sizes of 1.1kV grade XLPE/PVC insulated, PVC FRLS sheathed, Copper conductor, Armoured cable. Size - 12C x 2.5 Sq.mm | 271.00 | Mtr. |  | 435.00 | 117885.00 | 360.00 | 97560.00 | 370.00 | 100270.00 | 318.00 | 86178.00 | 86178.00 | Bharat Bijlee Ltd
16.04 | Supply of following sizes of 1.1kV grade XLPE/PVC insulated, PVC FRLS sheathed, Copper conductor, Armoured cable. Size - 19C x 2.5 Sq.mm | 1012.00 | Mtr. |  | 682.00 | 690184.00 | 650.00 | 657800.00 | 580.00 | 586960.00 | 470.00 | 475640.00 | 475640.00 | Bharat Bijlee Ltd
16.05 | Supply of following sizes of 1.1kV grade XLPE/PVC insulated, PVC FRLS sheathed, Copper conductor, Armoured cable. Size - 4C x 6 Sq.mm | 310.00 | Mtr. |  | 329.00 | 101990.00 | 310.00 | 96100.00 | 290.00 | 89900.00 | 423.00 | 131130.00 | 89900.00 | CANELA ENTERPRISES PVT LTD
17.01 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray. Size - 300 mm width X 62.5 mm depth X 2.0 mm thickness | 220.00 | Mtr. |  | 1050.00 | 231000.00 | 750.00 | 165000.00 | 1000.00 | 220000.00 | 1273.00 | 280060.00 | 165000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
17.02 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray. Size - 450 mm width X 62.5 mm depth X 2.0 mm thickness | 220.00 | Mtr. |  | 1470.00 | 323400.00 | 950.00 | 209000.00 | 1200.00 | 264000.00 | 1373.00 | 302060.00 | 209000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
17.03 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray. Size - 600 mm width X 75 mm depth X 2.0 mm thickness | 478.00 | Mtr. |  | 1918.00 | 916804.00 | 1050.00 | 501900.00 | 1600.00 | 764800.00 | 1783.00 | 852274.00 | 501900.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
17.04 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray. Size -750 mm width X 75 mm depth X 2.0 mm thickness | 1078.00 | Mtr. |  | 2310.00 | 2490180.00 | 1100.00 | 1185800.00 | 1900.00 | 2048200.00 | 2151.00 | 2318778.00 | 1185800.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
17.05 | Supplying and installing following size of perforated Hot Dipped Galvanised Iron cable tray. Size -900 mm width X 75 mm depth X 2.0 mm thickness | 603.00 | Mtr. |  | 2660.00 | 1603980.00 | 950.00 | 572850.00 | 2100.00 | 1266300.00 | 2494.00 | 1503882.00 | 572850.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
18.00 | Supplying and installing of 450mmX150mmx2.0 Hot Dipped Galvanised Iron ceiling suspended raceway complete with cover, bend, tees, reducer and all other accessories suspended from the ceiling with G.I. suspenders including G.I. bolts & nuts, etc. as required. | 66.00 | Mtr. |  | 3500.00 | 231000.00 | 750.00 | 49500.00 | 4000.00 | 264000.00 | 2941.00 | 194106.00 | 49500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
19.01 | Laying of one number XLPE power cable of 33kV grade of following size in the existing RCC/ HUME/ METAL / HDPE pipe/ Raceway as required. - Above 120 sq. mm and upto 400 sq. mm | 88.00 | Mtr. |  | 210.00 | 18480.00 | 200.00 | 17600.00 | 360.00 | 31680.00 | 278.00 | 24464.00 | 17600.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
19.02 | Laying of one number XLPE power cable of 33kV grade of following size in the existing masonry open duct as required. - Above 120 sq. mm and upto 400 sq. mm | 410.00 | Mtr. |  | 210.00 | 86100.00 | 200.00 | 82000.00 | 250.00 | 102500.00 | 273.00 | 111930.00 | 82000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
20.01 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size on cable tray as required. - Upto 35 sq. mm (clamped with 1mm thick saddle) | 469.00 | Mtr. |  | 35.00 | 16415.00 | 250.00 | 117250.00 | 100.00 | 46900.00 | 46.00 | 21574.00 | 16415.00 | A.K. INFRA PROJECTS PVT. LTD.
20.02 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size on cable tray as required. - Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 1533.00 | Mtr. |  | 70.00 | 107310.00 | 250.00 | 383250.00 | 120.00 | 183960.00 | 88.00 | 134904.00 | 107310.00 | A.K. INFRA PROJECTS PVT. LTD.
20.03 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size on cable tray as required. - Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 4448.00 | Mtr. |  | 105.00 | 467040.00 | 250.00 | 1112000.00 | 160.00 | 711680.00 | 119.00 | 529312.00 | 467040.00 | A.K. INFRA PROJECTS PVT. LTD.
20.04 | Laying and fixing of one number PVC insulated and PVC sheathed/ XLPE power cable of 1.1kV grade of following size on cable tray as required. - Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 8786.00 | Mtr. |  | 140.00 | 1230040.00 | 250.00 | 2196500.00 | 200.00 | 1757200.00 | 170.00 | 1493620.00 | 1230040.00 | A.K. INFRA PROJECTS PVT. LTD.
20.05 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Size - Upto 35 sq. mm | 860.00 | Mtr. |  | 28.00 | 24080.00 | 150.00 | 129000.00 | 90.00 | 77400.00 | 36.00 | 30960.00 | 24080.00 | A.K. INFRA PROJECTS PVT. LTD.
20.06 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required. Size - Upto 35 sq. mm | 847.00 | Mtr. |  | 35.00 | 29645.00 | 150.00 | 127050.00 | 100.00 | 84700.00 | 41.00 | 34727.00 | 29645.00 | A.K. INFRA PROJECTS PVT. LTD.
21.01 | Supplying and making indoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, XLPE aluminium conductor cable of 33kV grade as required. Size - 300 sq. mm | 10.00 | Each |  | 17500.00 | 175000.00 | 22000.00 | 220000.00 | 2000.00 | 20000.00 | 12876.00 | 128760.00 | 20000.00 | CANELA ENTERPRISES PVT LTD
22.01 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1kV grade as required. Size - 4 X 25 sq. mm (28mm) | 4.00 | Each |  | 364.00 | 1456.00 | 550.00 | 2200.00 | 300.00 | 1200.00 | 2104.00 | 8416.00 | 1200.00 | CANELA ENTERPRISES PVT LTD
22.02 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1kV grade as required. Size -3.5 X 50 sq. mm (45mm) | 8.00 | Each |  | 616.00 | 4928.00 | 500.00 | 4000.00 | 400.00 | 3200.00 | 2628.00 | 21024.00 | 3200.00 | CANELA ENTERPRISES PVT LTD
22.03 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1kV grade as required. Size -3.5 X 70 sq. mm (45mm) | 8.00 | Each |  | 658.00 | 5264.00 | 550.00 | 4400.00 | 500.00 | 4000.00 | 3096.00 | 24768.00 | 4000.00 | CANELA ENTERPRISES PVT LTD
22.04 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1kV grade as required. Size -3.5 X 120 sq. mm (50mm) | 4.00 | Each |  | 980.00 | 3920.00 | 500.00 | 2000.00 | 700.00 | 2800.00 | 3272.00 | 13088.00 | 2000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.05 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1kV grade as required. Size -3.5 X 150 sq. mm (50mm) | 20.00 | Each |  | 1120.00 | 22400.00 | 500.00 | 10000.00 | 900.00 | 18000.00 | 3272.00 | 65440.00 | 10000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.06 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1kV grade as required. Size -3.5 X 185 sq. mm (57mm) | 12.00 | Each |  | 1540.00 | 18480.00 | 450.00 | 5400.00 | 1100.00 | 13200.00 | 4570.00 | 54840.00 | 5400.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.07 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1kV grade as required. Size -3.5 X 240 sq. mm (62mm) | 52.00 | Each |  | 3220.00 | 167440.00 | 450.00 | 23400.00 | 1300.00 | 67600.00 | 5001.00 | 260052.00 | 23400.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.08 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminium conductor cable of 1.1kV grade as required. Size -3.5 X 300 sq. mm (70mm) | 16.00 | Each |  | 3500.00 | 56000.00 | 450.00 | 7200.00 | 2000.00 | 32000.00 | 5929.00 | 94864.00 | 7200.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.09 | Supplying and making end termination with flame proof brass compression gland and copper lugs for following size of copper Fire Survival Cable of 1.1kV grade as required. Size - 4x95 Sq mm | 2.00 | Each |  | 1400.00 | 2800.00 | 250.00 | 500.00 | 2000.00 | 4000.00 | 3779.00 | 7558.00 | 500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.10 | Supplying and making end termination with flame proof brass compression gland and copper lugs for following size of copper Fire Survival Cable of 1.1kV grade as required. Size -4x240 Sq mm | 12.00 | Each |  | 2240.00 | 26880.00 | 250.00 | 3000.00 | 2500.00 | 30000.00 | 6952.00 | 83424.00 | 3000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.11 | Supplying and making end termination with brass compression gland and copper lugs for following size of copper Cable of 1.1kV grade as required. Size - 4C x 1.0 Sq.mm Shielded Cable | 24.00 | Each |  | 140.00 | 3360.00 | 250.00 | 6000.00 | 500.00 | 12000.00 | 1899.00 | 45576.00 | 3360.00 | A.K. INFRA PROJECTS PVT. LTD.
22.12 | Supplying and making end termination with brass compression gland and copper lugs for following size of copper Cable of 1.1kV grade as required. Size - 6C x 2.5 Sq.mm | 12.00 | Each |  | 175.00 | 2100.00 | 250.00 | 3000.00 | 500.00 | 6000.00 | 2417.00 | 29004.00 | 2100.00 | A.K. INFRA PROJECTS PVT. LTD.
22.13 | Supplying and making end termination with brass compression gland and copper lugs for following size of copper Cable of 1.1kV grade as required. Size - 12C x 2.5 Sq.mm | 12.00 | Each |  | 280.00 | 3360.00 | 250.00 | 3000.00 | 700.00 | 8400.00 | 3182.00 | 38184.00 | 3000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.14 | Supplying and making end termination with brass compression gland and copper lugs for following size of copper Cable of 1.1kV grade as required. Size - 19C x 2.5 Sq.mm | 8.00 | Each |  | 350.00 | 2800.00 | 250.00 | 2000.00 | 1000.00 | 8000.00 | 4793.00 | 38344.00 | 2000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
22.15 | Supplying and making end termination with brass compression gland and copper lugs for following size of copper Cable of 1.1kV grade as required. Size - 4C x 6 Sq.mm | 14.00 | Each |  | 280.00 | 3920.00 | 250.00 | 3500.00 | 500.00 | 7000.00 | 2379.00 | 33306.00 | 3500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
23.01 | Earthing with copper earth plate 600mm x 600mm x 3.0mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. Including charcoal and salt complete as required. | 40.00 | Set |  | 14700.00 | 588000.00 | 22000.00 | 880000.00 | 20000.00 | 800000.00 | 27793.00 | 1111720.00 | 588000.00 | A.K. INFRA PROJECTS PVT. LTD.
23.02 | Earthing with G.I. earth plate 600mm x 600mm x 6mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. including charcoal and salt complete as required. | 2.00 | Set |  | 7000.00 | 14000.00 | 12500.00 | 25000.00 | 12000.00 | 24000.00 | 11352.00 | 22704.00 | 14000.00 | A.K. INFRA PROJECTS PVT. LTD.
23.03 | Providing & fixing of size 50mm x 5mm copper strip on surface or recess for earth connection as required. | 500.00 | Mtr. |  | 2345.00 | 1172500.00 | 950.00 | 475000.00 | 1500.00 | 750000.00 | 1833.00 | 916500.00 | 475000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
23.04 | Providing and fixing 50 mm X 5 mm copper strip in 65 mm dia G.I. pipe from earth electrode including connection with brass/ SS nut,bolt, spring, washer excavation and re-filling etc. as required | 460.00 | Mtr |  | 2380.00 | 1094800.00 | 950.00 | 437000.00 | 2000.00 | 920000.00 | 1973.00 | 907580.00 | 437000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
23.05 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required | 50.00 | Mtr |  | 1176.00 | 58800.00 | 850.00 | 42500.00 | 900.00 | 45000.00 | 957.00 | 47850.00 | 42500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
23.06 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass/ SS nut,bolt, spring, washer excavation and re-filling etc. as required | 50.00 | Mtr |  | 1204.00 | 60200.00 | 850.00 | 42500.00 | 1300.00 | 65000.00 | 1068.00 | 53400.00 | 42500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
23.07 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 650.00 | Mtr |  | 133.00 | 86450.00 | 750.00 | 487500.00 | 250.00 | 162500.00 | 221.00 | 143650.00 | 86450.00 | A.K. INFRA PROJECTS PVT. LTD.
23.08 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I./SS nut, bolt, spring, washer excavation and re-filling etc. as required. | 60.00 | Mtr |  | 133.00 | 7980.00 | 750.00 | 45000.00 | 1200.00 | 72000.00 | 332.00 | 19920.00 | 7980.00 | A.K. INFRA PROJECTS PVT. LTD.
23.09 | Supply, Installation,testing and Commissioning of Smart Online Earthing Protection Management system (EPMS) | 2.00 | Set |  | 242550.00 | 485100.00 | 45000.00 | 90000.00 | 300000.00 | 600000.00 | 362865.00 | 725730.00 | 90000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
24.01 | Supply & fixing shock treatment chart both in Hindi & English duly mounted on a wooden frame with 3 mm thick glass as required. (approximate front area 1.00 sq. metre) | 6.00 | Each |  | 2800.00 | 16800.00 | 6500.00 | 39000.00 | 2000.00 | 12000.00 | 1990.00 | 11940.00 | 11940.00 | Bharat Bijlee Ltd
24.02 | Supplying and Fixing of the following danger Caution notice boards as per the IE/ IS 2551 with upto date ammendments. Danger board for 440 V size 200mm x 150mm x 2mm thick. | 9.00 | Each |  | 210.00 | 1890.00 | 1050.00 | 9450.00 | 500.00 | 4500.00 | 1120.00 | 10080.00 | 1890.00 | A.K. INFRA PROJECTS PVT. LTD.
24.03 | Supplying and Fixing of the following danger Caution notice boards as per the IE/ IS 2551 with upto date ammendments. Danger board for 33 KV size 250mm x 200mm x 2mm thick. | 5.00 | Each |  | 210.00 | 1050.00 | 1050.00 | 5250.00 | 500.00 | 2500.00 | 1272.00 | 6360.00 | 1050.00 | A.K. INFRA PROJECTS PVT. LTD.
24.04 | Supply and fixing of fire retardant electrically insulated synthetic mat of class A, 2mm thick suitable for all voltages not exceeding 3.3 KV AC and 240V DC system.. | 180.00 | Mtr |  | 490.00 | 88200.00 | 3000.00 | 540000.00 | 1000.00 | 180000.00 | 1443.00 | 259740.00 | 88200.00 | A.K. INFRA PROJECTS PVT. LTD.
24.05 | Supply and fixing of fire retardant electrically insulated synthetic mat of class C, 3.0 mm thick suitable for 33KV AC grade system. | 50.00 | Mtr |  | 4760.00 | 238000.00 | 3600.00 | 180000.00 | 2000.00 | 100000.00 | 1676.00 | 83800.00 | 83800.00 | Bharat Bijlee Ltd
24.06 | Supply and fixing safety instruction chart both in Hindi & English duly framed with 3 mm thick glass as required. (approximate front area 1.00 sq. metre) | 6.00 | Each |  | 2800.00 | 16800.00 | 1500.00 | 9000.00 | 2000.00 | 12000.00 | 1938.00 | 11628.00 | 9000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
24.07 | Supply of Rubber hand gloves suitable for operating voltage of 33kV as per specifications of this tender and directions of Engineer-in-Charge. | 2.00 | Pair |  | 2240.00 | 4480.00 | 2500.00 | 5000.00 | 30000.00 | 60000.00 | 935.00 | 1870.00 | 1870.00 | Bharat Bijlee Ltd
24.08 | Providing & fixing of set of 4 Nos 9.0 Litre capacity GI bucket painted in post office red Colour with prior coat of red - oxide paint and written with white paint 'Fire' and mounted on MS angle iron frame with bracket of appropriate size and capacity including filling sand etc as per specifications of this tender and directions of Engineer-in-Charge. | 7.00 | Set |  | 3500.00 | 24500.00 | 14500.00 | 101500.00 | 4000.00 | 28000.00 | 4126.00 | 28882.00 | 24500.00 | A.K. INFRA PROJECTS PVT. LTD.
24.09 | Supply of SS First Aid box as approved by St. John Ambulance Brigade/ Indian red Cross conforming to IS 2217-1963 as per specifications of this tender and directions of Engineer-in-Charge. | 2.00 | Each |  | 2800.00 | 5600.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 1635.00 | 3270.00 | 3270.00 | Bharat Bijlee Ltd
24.10 | Providing and fixing Single Line Diagram on 5mm thick Aluminium sheet in A0 Size duly laminated as per direction of EIC. | 4.00 | Each |  | 21000.00 | 84000.00 | 3500.00 | 14000.00 | 2000.00 | 8000.00 | 2434.00 | 9736.00 | 8000.00 | CANELA ENTERPRISES PVT LTD
24.11 | Providing of Carbon dioxide (CO2) type fire extinguishers conforming to IS 2878-1976 and cylinder fully charged of 4.5 Kg capacity. | 11.00 | Each |  | 7280.00 | 80080.00 | 8500.00 | 93500.00 | 8000.00 | 88000.00 | 5294.00 | 58234.00 | 58234.00 | Bharat Bijlee Ltd
24.12 | Providing of foam fire extinguishers, Portable type 9 Litre capacity hanged on wall with bracket component as required. | 11.00 | Each |  | 7840.00 | 86240.00 | 12000.00 | 132000.00 | 10000.00 | 110000.00 | 2003.00 | 22033.00 | 22033.00 | Bharat Bijlee Ltd
24.13 | Supply of 45 Ltr capacity Foam type fire extiguisher ISI marked mounted on trolley wheels fitted with hose and air aspirated Nozzle, brass valve complete with initial fill and CO2 gas cartridge complete as required | 6.00 | Each |  | 15260.00 | 91560.00 | 11000.00 | 66000.00 | 20000.00 | 120000.00 | 6696.00 | 40176.00 | 40176.00 | Bharat Bijlee Ltd
24.14 | Providing of set of 2 Nos. 9 Litre capacity Foam type fire extiguisher with mounting MS angle iron stand with bracket and canopy of appropriate size made of 2 mm thick MS sheet duly painted in Red colour etc complete with painting, grouting etc as required. | 4.00 | Set |  | 25200.00 | 100800.00 | 17000.00 | 68000.00 | 10000.00 | 40000.00 | 7331.00 | 29324.00 | 29324.00 | Bharat Bijlee Ltd
25.01 | Supply and laying of following size of HDPE pipe PE-100, PN-10 at a depth of 1.2 mtr below the ground as per site condition incl. excavation and re-filing etc. complete as required. Size - 250 mm dia | 150.00 | Mtr. |  | 2478.00 | 371700.00 | 650.00 | 97500.00 | 1500.00 | 225000.00 | 1749.00 | 262350.00 | 97500.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
25.02 | Supply and laying of following size of HDPE pipe PE-100, PN-10 at a depth of 1.2 mtr below the ground as per site condition incl. excavation and re-filing etc. complete as required. Size -110 mm dia | 420.00 | Mtr. |  | 577.00 | 242340.00 | 850.00 | 357000.00 | 1200.00 | 504000.00 | 1263.00 | 530460.00 | 242340.00 | A.K. INFRA PROJECTS PVT. LTD.
26.01 | SITC of 480 KA 3 phase 4 wire digital portable low impedance equipment grounding & bonding system. | 4.00 | Each |  | 511000.00 | 2044000.00 | 550000.00 | 2200000.00 | 800000.00 | 3200000.00 | 388831.00 | 1555324.00 | 1555324.00 | Bharat Bijlee Ltd
26.02 | SITC of 240 KA 3 phase 4 wire digital portable low impedance equipment grounding & bonding system. | 2.00 | Each |  | 247800.00 | 495600.00 | 250000.00 | 500000.00 | 500000.00 | 1000000.00 | 191214.00 | 382428.00 | 382428.00 | Bharat Bijlee Ltd
27.01 | Integration and configuration of existing energy meters/ mulifunction meters/ level controllers/ fuel meters/ DG controllers / Transformer scanners and other devices | 118.00 | Job |  | 5950.00 | 702100.00 | 90000.00 | 10620000.00 | 3000.00 | 354000.00 | 67.00 | 7906.00 | 7906.00 | Bharat Bijlee Ltd
27.02 | Design, Develop, Installation, Testing and Commissioning of Smart Energy and Power Management software | 1.00 | Job |  | 700000.00 | 700000.00 | 750000.00 | 750000.00 | 1000000.00 | 1000000.00 | 1080362.00 | 1080362.00 | 700000.00 | A.K. INFRA PROJECTS PVT. LTD.
27.03 | Supply, installation, testing & commissioning of server grade Computer / Server | 2.00 | Set |  | 175000.00 | 350000.00 | 65000.00 | 130000.00 | 300000.00 | 600000.00 | 850691.00 | 1701382.00 | 130000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
27.04 | Supply, laying, testing & commissioning of Cat-6 wire in existing PVC conduit including termination etc as required. | 500.00 | Mtr. |  | 39.00 | 19500.00 | 350.00 | 175000.00 | 120.00 | 60000.00 | 102.00 | 51000.00 | 19500.00 | A.K. INFRA PROJECTS PVT. LTD.
27.05 | Supply, laying, testing and commissioning including termination of 2 core x 1.0 sq mm twisted pair shielded cable with solid high conductivity Annealed copper conductor insulated with Aluminium Mylar tape with virgin polyethylene in different color, in existing conduit. | 2360.00 | Mtr. |  | 42.00 | 99120.00 | 2500.00 | 5900000.00 | 150.00 | 354000.00 | 357.00 | 842520.00 | 99120.00 | A.K. INFRA PROJECTS PVT. LTD.
27.06 | Supplying and fixing of the 25mm dia of FR PVC conduit (Heay Duty) including all accessories complete as required and as per specifications. | 2860.00 | Mtr. |  | 196.00 | 560560.00 | 95.00 | 271700.00 | 75.00 | 214500.00 | 243.00 | 694980.00 | 214500.00 | CANELA ENTERPRISES PVT LTD
27.07 | Supply and laying, termination of Armored Single-Mode Optic fiber cable (6-core) | 240.00 | Mtr. |  | 42.00 | 10080.00 | 150.00 | 36000.00 | 250.00 | 60000.00 | 242.00 | 58080.00 | 10080.00 | A.K. INFRA PROJECTS PVT. LTD.
27.08 | Supply Installation testing and commissioning of LIU with all the required accessories | 2.00 | Each |  | 9800.00 | 19600.00 | 10000.00 | 20000.00 | 2000.00 | 4000.00 | 11513.00 | 23026.00 | 4000.00 | CANELA ENTERPRISES PVT LTD
28.00 | Supply Installation Testing Commissioning of "Silent Type" Radiator Cooled, Diesel Generating Set along with Prime mover having prime power rating of 1500 KVA (prime duty) at 0.8 lagging power factor, 415 volts, 1500 RPM, 3 phase system suitable for operation in synchronization mode | 4.00 | Job |  | 14700000.00 | 58800000.00 | 19500000.00 | 78000000.00 | 10000000.00 | 40000000.00 | 14844096.00 | 59376384.00 | 40000000.00 | CANELA ENTERPRISES PVT LTD
29.01 | Supply and Installation of exhaust gas piping Size - 400 mm dia | 285.00 | Mtr. |  | 9800.00 | 2793000.00 | 8000.00 | 2280000.00 | 21000.00 | 5985000.00 | 13886.00 | 3957510.00 | 2280000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.02 | Supply and Installation of exhaust gas piping Size - 250 mm dia | 40.00 | Mtr. |  | 7000.00 | 280000.00 | 7000.00 | 280000.00 | 10000.00 | 400000.00 | 8683.00 | 347320.00 | 280000.00 | A.K. INFRA PROJECTS PVT. LTD., PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
29.03 | Design, supply & installation of MS support structure for exhaust fume pipes of DG Sets | 20000.00 | Kg. |  | 112.00 | 2240000.00 | 205.00 | 4100000.00 | 160.00 | 3200000.00 | 344.00 | 6880000.00 | 2240000.00 | A.K. INFRA PROJECTS PVT. LTD.
30.01 | Supply, installation, testing and commissioning of 2 Numbers 25 Kilo Litre capacity Bulk Fuel Storage Tanks suitable for storing of HSD. | 1.00 | Job |  | 2100000.00 | 2100000.00 | 95000.00 | 95000.00 | 4000000.00 | 4000000.00 | 6292570.00 | 6292570.00 | 95000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
30.02 | Supplying, installation, testing & commissioning of MS pipes of heavy class MS ERW piping (Class-C) conforming to IS 1239 Size - 80 mm dia | 25.00 | Mtr. |  | 934.00 | 23350.00 | 750.00 | 18750.00 | 3500.00 | 87500.00 | 2320.00 | 58000.00 | 18750.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
30.03 | Supplying, installation, testing & commissioning of MS pipes of heavy class MS ERW piping (Class-C) conforming to IS 1239 Size - 50 mm dia | 220.00 | Mtr. |  | 581.00 | 127820.00 | 550.00 | 121000.00 | 2500.00 | 550000.00 | 1533.00 | 337260.00 | 121000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
30.04 | Supplying, installation, testing & commissioning of MS pipes of heavy class MS ERW piping (Class-C) conforming to IS 1239 Size - 25 mm dia | 30.00 | Mtr. |  | 272.00 | 8160.00 | 450.00 | 13500.00 | 1500.00 | 45000.00 | 915.00 | 27450.00 | 8160.00 | A.K. INFRA PROJECTS PVT. LTD.
30.05 | Excavation for trenches of depth upto 1.2 m in soft soil including getting out the excavated soil for laying of HSD fuel oil piping upto 100 mm dia including backfilling, ramming the earth and making good as directed by EIC. | 36.00 | CUM |  | 280.00 | 10080.00 | 750.00 | 27000.00 | 750.00 | 27000.00 | 236.00 | 8496.00 | 8496.00 | Bharat Bijlee Ltd
30.06 | Supply, installation, testing & commissioning of following sizes of Ball Valve of brass body, PN-16 rating, Teflon seating, stainless steel handle, screwed/ flange ends etc. complete as required. Size - 80 mm dia | 7.00 | Each |  | 11696.00 | 81872.00 | 65000.00 | 455000.00 | 20000.00 | 140000.00 | 21686.00 | 151802.00 | 81872.00 | A.K. INFRA PROJECTS PVT. LTD.
30.07 | Supply, installation, testing & commissioning of following sizes of Ball Valve of brass body, PN-16 rating, Teflon seating, stainless steel handle, screwed/ flange ends etc. complete as required. Size - 50 mm dia | 24.00 | Each |  | 3787.00 | 90888.00 | 50000.00 | 1200000.00 | 8000.00 | 192000.00 | 15569.00 | 373656.00 | 90888.00 | A.K. INFRA PROJECTS PVT. LTD.
30.08 | Supply, installation, testing & commissioning of following sizes of Ball Valve of brass body, PN-16 rating, Teflon seating, stainless steel handle, screwed/ flange ends etc. complete as required. Size - 25 mm dia | 9.00 | Each |  | 1156.00 | 10404.00 | 40000.00 | 360000.00 | 3000.00 | 27000.00 | 11825.00 | 106425.00 | 10404.00 | A.K. INFRA PROJECTS PVT. LTD.
30.09 | Providing, Fixing, Testing and Commissioning of Non - Return Valve with brass body, flanged ends & PN 16 pressure rating for HSD system complete etc. as required. Size - 50 mm dia | 6.00 | Each |  | 13622.00 | 81732.00 | 40000.00 | 240000.00 | 10000.00 | 60000.00 | 16554.00 | 99324.00 | 60000.00 | CANELA ENTERPRISES PVT LTD
30.10 | Providing, Fixing, Testing and Commissioning of HSD Oil Bucket-strainer, CI body, SS strainer, flanged ends etc. complete as required. Size - 80 mm dia | 1.00 | Each |  | 11900.00 | 11900.00 | 5000.00 | 5000.00 | 18000.00 | 18000.00 | 19412.00 | 19412.00 | 5000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
30.11 | Providing, Fixing, Testing and Commissioning of Y strainer of brass body & SS strainer, flanged ends & PN 16 pressure rating for HSD system complete etc. as required. Size - 80 mm dia | 1.00 | Each |  | 3850.00 | 3850.00 | 3185.00 | 3185.00 | 22000.00 | 22000.00 | 17349.00 | 17349.00 | 3185.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
30.12 | Providing, Fixing, Testing and Commissioning of Y strainer of brass body & SS strainer, flanged ends & PN 16 pressure rating for HSD system complete etc. as required. Size - 50 mm dia | 6.00 | Each |  | 2170.00 | 13020.00 | 12500.00 | 75000.00 | 16000.00 | 96000.00 | 15727.00 | 94362.00 | 13020.00 | A.K. INFRA PROJECTS PVT. LTD.
30.13 | Providing, Fixing, Testing and Commissioning of dial type Pressure gauge (0 - 07 kg/cm2 range, dial size 100 mm) with isolating valve and accessories etc.suitable for HSD complete as required. | 4.00 | Each |  | 693.00 | 2772.00 | 12500.00 | 50000.00 | 5000.00 | 20000.00 | 3600.00 | 14400.00 | 2772.00 | A.K. INFRA PROJECTS PVT. LTD.
30.14 | Providing, Fixing, Testing and Commissioning of Flow Meter (accuracy +/- 0.5%) with flanged ends (velocity cum totaliser) suitable for HSD Oil having communication facility with RS 485 port suitable for BMS operation with Totalizer and remote display unit, cabeling etc. complete as required (remote unit shall be installed in the HSD panel). Size - 80 mm dia | 1.00 | Each |  | 10500.00 | 10500.00 | 15000.00 | 15000.00 | 150000.00 | 150000.00 | 247198.00 | 247198.00 | 10500.00 | A.K. INFRA PROJECTS PVT. LTD.
30.15 | Providing, Fixing, Testing and Commissioning of Flow Meter (accuracy +/- 0.5%) with flanged ends (velocity cum totaliser) suitable for HSD Oil having communication facility with RS 485 port suitable for BMS operation with Totalizer and remote display unit, cabeling etc. complete as required (remote unit shall be installed in the HSD panel). Size -50 mm dia | 3.00 | Each |  | 7000.00 | 21000.00 | 15000.00 | 45000.00 | 120000.00 | 360000.00 | 185141.00 | 555423.00 | 21000.00 | A.K. INFRA PROJECTS PVT. LTD.
30.16 | Providing and fixing flame proof level sensor (0-100%) in 25 KL UG Tanks, Buffer/ Overflow tank and day oil storage tanks, including wiring, cabling with all other accessories upto the HSD panel suitable for contineous monitoring of fuel level and automatic operation of fuel oil pump complete as required for following HSD tanks. - Buffer/ Overflow/ Day oil tank 990 ltr. | 6.00 | Each |  | 6300.00 | 37800.00 | 95000.00 | 570000.00 | 32000.00 | 192000.00 | 99913.00 | 599478.00 | 37800.00 | A.K. INFRA PROJECTS PVT. LTD.
30.17 | Providing and fixing flame proof level sensor (0-100%) in 25 KL UG Tanks, Buffer/ Overflow tank and day oil storage tanks, including wiring, cabling with all other accessories upto the HSD panel suitable for contineous monitoring of fuel level and automatic operation of fuel oil pump complete as required for following HSD tanks. -25 KL UG Tank | 2.00 | Each |  | 6300.00 | 12600.00 | 80000.00 | 160000.00 | 50000.00 | 100000.00 | 43993.00 | 87986.00 | 12600.00 | A.K. INFRA PROJECTS PVT. LTD.
30.18 | Providing, Fixing of NO SMOKING/ Danger sign boards of size 300mm x 250mm made of 2mm thick MS Sheet including painting/ sign writing etc. complete as required | 10.00 | Each |  | 700.00 | 7000.00 | 45000.00 | 450000.00 | 500.00 | 5000.00 | 658.00 | 6580.00 | 5000.00 | CANELA ENTERPRISES PVT LTD
30.19 | Supply & erection, testing and commissioning positive displacement gear pump . | 4.00 | Each |  | 21000.00 | 84000.00 | 150000.00 | 600000.00 | 80000.00 | 320000.00 | 80607.00 | 322428.00 | 84000.00 | A.K. INFRA PROJECTS PVT. LTD.
30.20 | Supply, installation, testing & commissioning of Calibrated HSD buffer tank. | 1.00 | Job |  | 21000.00 | 21000.00 | 100000.00 | 100000.00 | 80000.00 | 80000.00 | 72840.00 | 72840.00 | 21000.00 | A.K. INFRA PROJECTS PVT. LTD.
30.21 | Supply, installation, testing & commissioning of Calibrated Overflow Tank | 1.00 | Job |  | 21000.00 | 21000.00 | 120000.00 | 120000.00 | 110000.00 | 110000.00 | 72840.00 | 72840.00 | 21000.00 | A.K. INFRA PROJECTS PVT. LTD.
30.22 | Supply, Installation, Testing and Commissioning of cubicle type HSD PTTA LT panel | 1.00 | Job |  | 350000.00 | 350000.00 | 250000.00 | 250000.00 | 400000.00 | 400000.00 | 339841.00 | 339841.00 | 250000.00 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION
| Total in Figures |  |  |  |  | 257905356.00 |  | 227555555.00 |  | 204573830.00 |  | 247230794.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION | 204573830.00 | 183573830.00 | Eighteen Crore Thirty Five Lakh Seventy Three Thousand Eight Hundred and Thirty
2 | A.K. INFRA PROJECTS PVT. LTD. | 204573830.00 | 184573830.00 | Eighteen Crore Fourty Five Lakh Seventy Three Thousand Eight Hundred and Thirty
3 | CANELA ENTERPRISES PVT LTD | 204573830.00 | 193573830.00 | Ninteen Crore Thirty Five Lakh Seventy Three Thousand Eight Hundred and Thirty
4 | Bharat Bijlee Ltd | 204573830.00 | Not Quoted | Not Quoted
Lowest Amount Quoted BY: PRAGYA ELECTRIC AND ELECTRONICS CORPORATION(183573830.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Domestic Terminal Building and Other Structures (Phase I and II) at Patna Airport.SH- SITC of Substation Equipments i/c DG Sets and Allied Works (ESS-2). Tender ID: 2022_AAI_126362_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CANELA ENTERPRISES PVT LTD | 204573830.00 | L1
| 2 | PRAGYA ELECTRIC AND ELECTRONICS CORPORATION | 227555555.00 | L2
| 3 | Bharat Bijlee Ltd | 247230794.00 | L3
| 4 | A.K. INFRA PROJECTS PVT. LTD. | 257905356.00 | L4