## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 22-Sep-2022 04:42 PM Tender Title: ARMO of EandM Installations at ATS Complex, NAV-AIDS, OTB and R. R. Station at DBAI Airport, Nagpur. Year 2022-24 Tender ID: 2022_AAI_126365_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect), AAI, Nagpur
Name of Work :- ARMO of E&M Installations at ATS Complex, NAV-AIDS, OTB & R. R. Station at DBAI Airport, Nagpur. (Year 2022-24).
Contract No: AAI/NGP/E-E/2022-23/07/W-3/RDR-AMC/NIT-04 Date: 22.08.2022
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | Comfort Zone(GSTN-07AAJFC1236H1ZP) |  | M/s LEESHA ELECTRICALS(GSTN-27ABAPW8550C1ZK) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance
1.01 | Annual maintenance contract of E&M Installations of ATS complex, R. R. station, NAV-AIDS & OTB (AAI Installations) at Nagpur Airport round the clock on all days including Sundays & holidays which involves operation, preventive / routine / breakdown maintenance, attending complaints, repairs with proper tools & plants, documentation etc. as per the contract terms and conditions and directions of Engineer-in-charge as required. (a) 01 No. Highly Skilled (Supervisor) (b) 05 Nos. Skilled (Electrician / Wireman) (c) 03 Nos. Un-skilled (Helper) Min. no of manpower to be deployed shall not be less than Nine (09). | 24.00 | Month | 223152.00 | 200000.00 | 4800000.00 | 227125.00 | 5451000.00 | 207500.00 | 4980000.00 | 196500.00 | 4716000.00 | 207000.00 | 4968000.00 | 207150.00 | 4971600.00 | 4716000.00 | Manish Electricals
1.02 | Deployment of Document Assistant cum Computer Operator (Highly Skilled) with adequate knowledge of software such as MS Office / Data Entry / Inventory Management / SAP Entry i/c DTP works on all days except on Sundays etc. as required. | 24.00 | Month | 30269.00 | 20000.00 | 480000.00 | 31216.00 | 749184.00 | 24500.00 | 588000.00 | 26860.00 | 644640.00 | 28220.00 | 677280.00 | 28051.00 | 673224.00 | 480000.00 | Sew Engineering Works Pvt Ltd
1.03 | Deployment of following manpower at site for carrying out various operation and maintenance works to meet the actual site requirements as and when required.
1.03 | Electrician (Skilled) | 10.00 | Day | 983.00 | 983.00 | 9830.00 | 972.00 | 9720.00 | 500.00 | 5000.00 | 846.00 | 8460.00 | 888.00 | 8880.00 | 846.00 | 8460.00 | 5000.00 | M/s LEESHA ELECTRICALS
1.03 | Helper (Un-Skilled) | 10.00 | Day | 807.00 | 807.00 | 8070.00 | 800.00 | 8000.00 | 400.00 | 4000.00 | 695.00 | 6950.00 | 729.00 | 7290.00 | 695.00 | 6950.00 | 4000.00 | M/s LEESHA ELECTRICALS
2.00 | Minor Repairs & Maintenance Works
2.01 | Filtration of insulating oil of 2 Nos. 500 KVA Transformers (Oil tank capacity - 925 Litres along with tap changer, capacity - 210 Litres each) & 3 Nos. Voltage stabilizers (Capacity - 100 Litres each) at different locations including de-hydration, testing of transformer with tap changer, transformer oil (as per IS 1866-2017) & commissioning as per relevant IS code & submission of test reports etc. complete as required. (Total Oil Quantity - 2570 litres). | 2.00 | Job | 44776.00 | 27000.00 | 54000.00 | 31000.00 | 62000.00 | 5000.00 | 10000.00 | 25700.00 | 51400.00 | 22000.00 | 44000.00 | 25700.00 | 51400.00 | 10000.00 | M/s LEESHA ELECTRICALS
2.02 | Servicing, testing & commissioning of 630 Amps VCB installed at radar power house etc. complete as required. | 8.00 | Job | 8711.00 | 3000.00 | 24000.00 | 1000.00 | 8000.00 | 6500.00 | 52000.00 | 5000.00 | 40000.00 | 8000.00 | 64000.00 | 8000.00 | 64000.00 | 8000.00 | Comfort Zone
2.03 | Servicing, testing & commissioning of 800 Amps ABB make ACB from OEM authorized service dealer including testing of Microprocessor based relay unit complete as required. | 6.00 | Job | 5808.00 | 3000.00 | 18000.00 | 1000.00 | 6000.00 | 4500.00 | 27000.00 | 4500.00 | 27000.00 | 5000.00 | 30000.00 | 4000.00 | 24000.00 | 6000.00 | Comfort Zone
2.04 | Testing and Calibration of existing relays installed in HT panels at radar power house including co-ordination of tripping timing as per standard practice and demonstration through current injection and submitting test reports etc. complete as required. Over Current / Earth fault Relay - 04 Nos. Supervision Relay - 04 Nos. Lockout Relay - 04 Nos. | 2.00 | Job | 15332.00 | 12500.00 | 25000.00 | 4000.00 | 8000.00 | 9950.00 | 19900.00 | 15000.00 | 30000.00 | 6000.00 | 12000.00 | 30000.00 | 60000.00 | 8000.00 | Comfort Zone
2.05 | Calibration and testing of Buchholz Relay for 11/0.433kV indoor, oil cooled 500 KVA transformer and submission of test reports as required. | 4.00 | Job | 2323.00 | 1000.00 | 4000.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 2000.00 | 8000.00 | 495.00 | 1980.00 | 1980.00 | ABHISHEK INTEGRATIONS LIMITED
2.06 | Supply of Insulating oil confirming to relevant IS Code (IS 335) and topping up in the existing transformers as required. | 420.00 | Litre | 139.00 | 110.00 | 46200.00 | 250.00 | 105000.00 | 110.00 | 46200.00 | 120.00 | 50400.00 | 150.00 | 63000.00 | 120.00 | 50400.00 | 46200.00 | Sew Engineering Works Pvt Ltd, M/s LEESHA ELECTRICALS
3.00 | Supply of Spares (As & When Required)
3.01 | AMF Relay with LCD Display similar to Make: C&S, Model: EC 2, O/P Contact Rating: 250 VAC, 4A; Voltage Input Range - UAN: 50 - 300 VAC; Aux. Supply - Uv : (7 - 35) VDC; Frequency - 50/60 Hz. | 2.00 | No. | 12670.00 | 10000.00 | 20000.00 | 12000.00 | 24000.00 | 9000.00 | 18000.00 | 11500.00 | 23000.00 | 21000.00 | 42000.00 | 10418.00 | 20836.00 | 18000.00 | M/s LEESHA ELECTRICALS
3.02 | Power Contactor - 4 Pole, 700 A, similar to Make: C&S, MODEL NO. LC1FDPM5004A with 220 volt AC coil (Code No. M7). | 1.00 | No. | 72487.00 | 10000.00 | 10000.00 | 125000.00 | 125000.00 | 45101.00 | 45101.00 | 48000.00 | 48000.00 | 65000.00 | 65000.00 | 56280.00 | 56280.00 | 10000.00 | Sew Engineering Works Pvt Ltd
4.00 | Execution of Works as per CPWD DSR (E&M) 2022, DAR (E&M) 2022 & Latest CPWD Specifications as & when required.
4.01 | CPWD DSR (E&M) 2022 - Chapter 01 to 10 & 14 The rate shall be quoted for this item as per examples given below- • Please refer clause 47 of SCC before quoting rates for this item. • If bidder wants to quote the rates at par with rates of DSR-2022 (E & M), then bidder has to quote 1.00 in the rate column. • If bidder wants to quote the rates 10% above the rates of DSR-2022 (E & M), then bidder has to quote 1.10 in the rate column. • If bidder wants to quote the rates 10% below the rates of DSR-2022 (E & M), then bidder has to quote 0.90 in the rate column. | 200000.00 | % | 1.00 | .50 | 100000.00 | .70 | 140000.00 | .90 | 180000.00 | .80 | 160000.00 | .90 | 180000.00 | .90 | 180000.00 | 100000.00 | Sew Engineering Works Pvt Ltd
| Total in Figures |  |  |  |  | 5599100.00 |  | 6703904.00 |  | 5979201.00 |  | 5810650.00 |  | 6169450.00 |  | 6169130.00
Lowest Amount Quoted BY: Sew Engineering Works Pvt Ltd(5599100.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EandM Installations at ATS Complex, NAV-AIDS, OTB and R. R. Station at DBAI Airport, Nagpur. Year 2022-24 Tender ID: 2022_AAI_126365_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sew Engineering Works Pvt Ltd | 5599100.00 | L1
| 2 | Manish Electricals | 5810650.00 | L2
| 3 | M/s LEESHA ELECTRICALS | 5979201.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 6169130.00 | L4
| 5 | NATIONAL SAFETY ENGINEERS | 6169450.00 | L5
| 6 | Comfort Zone | 6703904.00 | L6