## BoQ1
Government eProcurement System Created By: Biraj Kumar Ganguly Created Date/Time: 31-Oct-2022 01:49 PM Tender Title: R and M other electrical works at NSCBI Airport Kolkata for the year 2022 2024 SH Operation and CMC contract of high side and low side of AC plant at Operational Office Complex NSCBI Airport Tender ID: 2022_AAI_126924_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work: R & M other electrical works at NSCBI Airport Kolkata for the year 2022-2023 & 2023-2024. SH:- Operation &CMC contract of high side and low side of AC plant at Operational Office Complex, NSCBI Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Voltas Limited(GSTN-19AAACV2809D1ZJ) |  | Blue Star Ltd(GSTN-19AAACB4487D1ZP)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance Contract of HVAC equipment installed at Plant Room (High Side) complete with Air-cooled Screw Chillers (04 nos.- 200 TR), Chilled Water Pumps, associated Electrical Power supply panels, Starter Panels & Control Panels with all it's control and switchgear i/c VFDs and associated power and control cables, piping & valves with and without insulation, Strainers, Flow meters, earthing connector complete etc., as required and as per enclosed specifications with all related/ associated equipments works at locations and as installed covering the scope of activities given in special conditions of contract and technical specifications, attending faults and free supply, replacement of defective components of same rating and make, ensuring serviceability/satisfactory working condition of the systems, i/c attending preventive & breakdown maintenance complete etc. as required and as specified.
2.00 | First Year | 12.00 | Months | 10500.00 | 43334.00 | 520008.00 | 33333.00 | 399996.00 | 399996.00 | Blue Star Ltd
3.00 | Second Year | 12.00 | Months | 10500.00 | 43334.00 | 520008.00 | 33333.00 | 399996.00 | 399996.00 | Blue Star Ltd
4.00 | Comprehensive Maintenance Contract of HVAC equipments installed at Operational Building (Low Side) complete with AHUs and associated electrical panels complete with control and switch gear and associated cables i/c VFD, valves with and without insulation, Strainers, VFDs, complete etc., as required as per enclosed specifications with all related/associated equipments at locations and as installed covering the scope of acivities given in special conditions of contract and technical specifications, attendng faults and free supply, replacement of defective components of same rating and make, ensuring serviceability/satisfactory working condition of the systems, i/c attending preventive & breakdown maintenance complete etc. as required and as specified.
5.00 | First year | 12.00 | Months | 10500.00 | 14667.00 | 176004.00 | 25566.00 | 306792.00 | 176004.00 | Voltas Limited
6.00 | Second Year | 12.00 | Months | 10500.00 | 14667.00 | 176004.00 | 25566.00 | 306792.00 | 176004.00 | Voltas Limited
7.00 | Operation and Day to Day Maintenance Contract of HVAC equipments installed at Plant Room and Operational Building (High Side and Low Side) & entire VRF A/C system at Multiactivity Building, complete with Air-cooled Screw Chillers (4 nos), Chilled Water Pumps, associated Electrical Power supply panels, Starter Panels & Control Panels with all it's control and switchgear i/c VFDs, AHUs and associated electrical panels complete with control and switch gear and associated cables i/c VFD, valves with and without insulation, Strainers, VFDs, complete etc. and associated power and control cables, piping & valves with and without insulation, Strainers, Flow meters, earthing connector complete etc., as required and as per enclosed specifications with all related/associated equipments at locations as per the enclosed inventory of "Annexure-X" & "Annexure-Y" and as installed covering the scope of activities given in special conditions of contract and technical specifications, attending faults and free supply, replacement of defective components of same rating and make, ensuring serviceability/satisfactory working condition of the systems, i/c attending preventive & breakdown maintenance, record maintenance, documentation, complete etc. as required and as specified.
8.00 | First year | 12.00 | Months | 10500.00 | 213392.00 | 2560704.00 | 221482.00 | 2657784.00 | 2560704.00 | Voltas Limited
9.00 | Second Year | 12.00 | Months | 10500.00 | 213392.00 | 2560704.00 | 221482.00 | 2657784.00 | 2560704.00 | Voltas Limited
10.00 | One time Repairing and Overhauling work
11.00 | Supply and fixing of Direct mounting Actuator (Valve Size-1/2'',3'') with master controller Thermostat Model-M911A-M 912B Model R981-s Power Supply-24 V AC | 4.00 | Nos. |  | 4216.87 | 16867.48 | 11400.00 | 45600.00 | 16867.48 | Voltas Limited
12.00 | Supply and fixing of following items as required:
13.00 | a) TEMPERATURE SENSOR for Chiller water line | 2.00 | Nos. |  | 216.87 | 433.74 | 14250.00 | 28500.00 | 433.74 | Voltas Limited
14.00 | b) FILTER DRIER for chiller | 16.00 | Nos. |  | 84.34 | 1349.44 | 1282.50 | 20520.00 | 1349.44 | Voltas Limited
15.00 | c) EXTERNAL OIL FILTER | 8.00 | Nos. |  | 1096.39 | 8771.12 | 22800.00 | 182400.00 | 8771.12 | Voltas Limited
16.00 | d) CARD (DISPLAY) for Chiller. Make- Carrier. Model-30XA0802S No-XAK1054 | 1.00 | No. |  | 114241.37 | 114241.37 | 309320.00 | 309320.00 | 114241.37 | Voltas Limited
17.00 | e) High Pressure Switch | 1.00 | No. |  | 78.31 | 78.31 | 21375.00 | 21375.00 | 78.31 | Voltas Limited
18.00 | f) ISOLATOR Rotary Handle | 2.00 | Nos. |  | 60.24 | 120.48 | 21374.00 | 42748.00 | 120.48 | Voltas Limited
19.00 | g) VFD for Secondary pump.Make-ABB | 1.00 | No. |  | 195085.84 | 195085.84 | 81225.00 | 81225.00 | 81225.00 | Blue Star Ltd
20.00 | h) FCU motor (1HP, 230V,0.67A,50Hz Model -FC605B) Make- ETA | 1.00 | No. |  | 9489.16 | 9489.16 | 4809.40 | 4809.40 | 4809.40 | Blue Star Ltd
21.00 | i) FCU Tray of size 1650 x 250x 50 mm | 1.00 | No. |  | 12651.81 | 12651.81 | 3068.50 | 3068.50 | 3068.50 | Blue Star Ltd
22.00 | j) Supply and fixing of following Ball Valve as required:
23.00 | i) 3/4" (DN 20) Ball Valve with short piece 3" long | 6.00 | Nos. |  | 1228.92 | 7373.52 | 851.00 | 5106.00 | 5106.00 | Blue Star Ltd
24.00 | ii) 25/19" mm Ball Valve with short piece 3" long | 25.00 | Nos. |  | 1650.60 | 41265.00 | 2090.48 | 52262.00 | 41265.00 | Voltas Limited
25.00 | iii) 40 mm dia Ball valve with 3 ft 40mm pipe | 2.00 | Nos. |  | 3445.78 | 6891.56 | 6096.72 | 12193.44 | 6891.56 | Voltas Limited
26.00 | iv) Supply and fixing of two way valve for water pipe line dia 80mm | 2.00 | Nos. |  | 120.48 | 240.96 | 32585.00 | 65170.00 | 240.96 | Voltas Limited
27.00 | k) Supply and fixing Of Butterfly Valves (PN-16 ) as per following size
28.00 | i) 80mm | 4.00 | Nos. |  | 3145.78 | 12583.12 | 3950.10 | 15800.40 | 12583.12 | Voltas Limited
29.00 | ii) 125mm | 4.00 | Nos. |  | 5019.28 | 20077.12 | 6304.20 | 25216.80 | 20077.12 | Voltas Limited
30.00 | iii) 250mm | 2.00 | Nos. |  | 15809.64 | 31619.28 | 24420.23 | 48840.46 | 31619.28 | Voltas Limited
31.00 | The execution of Delhi Schedule of Rates (E&M) 2018 of estimated amount of Rs 5,00,000.00 Items mentioned in Chapter 1 to Chapter 17 including Appendix-I & II as when required basis for repair/maintenance/ addition / alteration etc. [Quoting in the Rate 10% below the Estimated amount of Rs 5,00,000.00 means amount will be Rs. 4,50,000/-. Similarly Quoting in the Rate 10% above the Estimated amount of Rs 5,00,000.00 means amount will be Rs.5,50,000/-] (Note: Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR-2018) | 500000.00 | % above or below | 10500.00 | 22.00 | 390000.00 | 10.00 | 450000.00 | 390000.00 | Voltas Limited
| Total in Figures |  |  |  |  | 7382571.31 |  | 8143299.00
Lowest Amount Quoted BY: Voltas Limited(7382571.31)

## BOQ Summary
BOQ Summary Details Tender Title: R and M other electrical works at NSCBI Airport Kolkata for the year 2022 2024 SH Operation and CMC contract of high side and low side of AC plant at Operational Office Complex NSCBI Airport Tender ID: 2022_AAI_126924_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Voltas Limited | 7382571.31 | L1
| 2 | Blue Star Ltd | 8143299.00 | L2