## BoQ1
Government eProcurement System Created By: Saubhik Pan Created Date/Time: 28-Oct-2022 11:50 AM Tender Title: Replacement of Water or Coolant Pipe lines including Accessories of DG sets and repair to existing Colling Tower at Service yard NSCBI Airport Kolkata SH Repair or Replacement of Pipe Lines Tender ID: 2022_AAI_127018_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Replacement of Water / Coolant Pipe lines i/c Accessories of DG sets and repair to existing Colling Tower at Service yard, NSCBI Airport, Kolkata. SH: Repair / Replacement of Pipe Lines.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Blue Star Ltd(GSTN-19AAACB4487D1ZP) |  | EVAC ENGINEERING PROJECTS PRIVATE LIMITED(GSTN-19AACCE9137D1ZN) |  | Voltas Limited(GSTN-19AAACV2809D1ZJ) |  | FUJI TECHNICAL SERVICES PVT. LTD.(GSTN-27AAACF1784F1ZQ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing and commissioning of following MS ERW heavy class pipes thickness as per IS: 1239/3589 cut to required lengths and installed with all welded joints, all nut bolts to be of GI /Hot dipped galvanized only. i) 40 mm dia Heavy class MS pipe | 24.00 | Mtr. | 966.00 | 588.00 | 14112.00 | 704.00 | 16896.00 | 663.00 | 15912.00 | 1051.00 | 25224.00 | 14112.00 | Blue Star Ltd
2.00 | Supply, installation, testing and commissioning of following MS ERW heavy class pipes thickness as per IS: 1239/3589 cut to required lengths and installed with all welded joints, all nut bolts to be of GI /Hot dipped galvanized only. ii) 50 mm dia Heavy class MS pipe | 54.00 | Mtr. | 1593.00 | 1.00 | 54.00 | 940.00 | 50760.00 | 200.00 | 10800.00 | 1553.00 | 83862.00 | 54.00 | Blue Star Ltd
3.00 | Supply, installation, testing and commissioning of following MS ERW heavy class pipes thickness as per IS: 1239/3589 cut to required lengths and installed with all welded joints, all nut bolts to be of GI /Hot dipped galvanized only. iii) 65 mm dia Heavy class MS pipe | 54.00 | Mtr. | 1605.00 | 957.00 | 51678.00 | 1219.00 | 65826.00 | 220.00 | 11880.00 | 1916.00 | 103464.00 | 11880.00 | Voltas Limited
4.00 | Supply, installation, testing and commissioning of following MS ERW heavy class pipes thickness as per IS: 1239/3589 cut to required lengths and installed with all welded joints, all nut bolts to be of GI /Hot dipped galvanized only. iv) 80 mm dia Heavy class MS pipe | 24.00 | Mtr. | 2039.00 | 1292.00 | 31008.00 | 1503.00 | 36072.00 | 1410.00 | 33840.00 | 2313.00 | 55512.00 | 31008.00 | Blue Star Ltd
5.00 | Supply, installation, testing and commissioning of following MS ERW heavy class pipes thickness as per IS: 1239/3589 cut to required lengths and installed with all welded joints, all nut bolts to be of GI /Hot dipped galvanized only. v) 100 mm dia Heavy class MS pipe | 60.00 | Mtr. | 2858.00 | 1817.00 | 109020.00 | 2061.00 | 123660.00 | 2008.00 | 120480.00 | 3793.00 | 227580.00 | 109020.00 | Blue Star Ltd
6.00 | Supply, installation, testing and commissioning of following MS ERW heavy class pipes thickness as per IS: 1239/3589 cut to required lengths and installed with all welded joints, all nut bolts to be of GI /Hot dipped galvanized only. vi) 150 mm dia Heavy class MS pipe | 162.00 | Mtr. | 4183.00 | 2666.00 | 431892.00 | 3051.00 | 494262.00 | 2966.00 | 480492.00 | 5074.00 | 821988.00 | 431892.00 | Blue Star Ltd
7.00 | Supply, installation, testing and commissioning of following MS ERW heavy class pipes thickness as per IS: 1239/3589 cut to required lengths and installed with all welded joints, all nut bolts to be of GI /Hot dipped galvanized only. vii) 200 mm dia 6mm thick MS pipe | 102.00 | Mtr. | 6772.00 | 1.00 | 102.00 | 4643.00 | 473586.00 | 230.00 | 23460.00 | 6729.00 | 686358.00 | 102.00 | Blue Star Ltd
8.00 | Supply, installation, testing and commissioning of following MS ERW heavy class pipes thickness as per IS: 1239/3589 cut to required lengths and installed with all welded joints, all nut bolts to be of GI /Hot dipped galvanized only. viii) 250 mm dia 6mm thick MS pipe | 60.00 | Mtr. | 8795.00 | 5233.00 | 313980.00 | 5866.00 | 351960.00 | 250.00 | 15000.00 | 8364.00 | 501840.00 | 15000.00 | Voltas Limited
9.00 | Supply, installation, testing and commissioning of following MS ERW heavy class pipes thickness as per IS: 1239/3589 cut to required lengths and installed with all welded joints, all nut bolts to be of GI /Hot dipped galvanized only. ix) 300 mm dia 6mm thick MS pipe | 900.00 | Mtr. | 9971.00 | 5839.00 | 5255100.00 | 7002.00 | 6301800.00 | 6773.00 | 6095700.00 | 10820.00 | 9738000.00 | 5255100.00 | Blue Star Ltd
10.00 | Supply, installation, testing & commissioning of wafer type Butterfly value with cast iron body, SG iron disc-NYLON Impregnated, Black Nitrile rubber liner, suitable for mounting between pipeline flanges, lever with companion flanges of PN 16 rating etc. i) 80 mm dia Butterfly valves. | 3.00 | No. | 12539.00 | 2841.00 | 8523.00 | 5337.00 | 16011.00 | 4333.00 | 12999.00 | 12377.00 | 37131.00 | 8523.00 | Blue Star Ltd
11.00 | Supply, installation, testing & commissioning of wafer type Butterfly value with cast iron body, SG iron disc-NYLON Impregnated, Black Nitrile rubber liner, suitable for mounting between pipeline flanges, lever with companion flanges of PN 16 rating etc. ii) 100 mm dia Butterfly valves. | 3.00 | No. | 16638.00 | 3587.00 | 10761.00 | 6874.00 | 20622.00 | 5485.00 | 16455.00 | 17197.00 | 51591.00 | 10761.00 | Blue Star Ltd
12.00 | Supply, installation, testing & commissioning of wafer type Butterfly value with cast iron body, SG iron disc-NYLON Impregnated, Black Nitrile rubber liner, suitable for mounting between pipeline flanges, lever with companion flanges of PN 16 rating etc. iii) 150 mm dia Butterfly valves. | 20.00 | No. | 30067.00 | 5409.00 | 108180.00 | 9902.00 | 198040.00 | 8271.00 | 165420.00 | 24909.00 | 498180.00 | 108180.00 | Blue Star Ltd
13.00 | Supply, installation, testing & commissioning of wafer type Butterfly value with cast iron body, SG iron disc-NYLON Impregnated, Black Nitrile rubber liner, suitable for mounting between pipeline flanges, lever with companion flanges of PN 16 rating etc. iv) 200 mm dia Butterfly valves. | 10.00 | No. | 47012.00 | 1.00 | 10.00 | 17985.00 | 179850.00 | 10248.00 | 102480.00 | 37329.00 | 373290.00 | 10.00 | Blue Star Ltd
14.00 | Supply, installation, testing & commissioning of wafer type Butterfly value with cast iron body, SG iron disc-NYLON Impregnated, Black Nitrile rubber liner, suitable for mounting between pipeline flanges, lever with companion flanges of PN 16 rating etc. v) 250 mm dia Butterfly valves. | 10.00 | No. | 52792.00 | 4592.00 | 45920.00 | 25222.00 | 252220.00 | 15932.00 | 159320.00 | 49773.00 | 497730.00 | 45920.00 | Blue Star Ltd
15.00 | Supply, installation, testing & commissioning of wafer type Butterfly value with cast iron body, SG iron disc-NYLON Impregnated, Black Nitrile rubber liner, suitable for mounting between pipeline flanges, lever with companion flanges of PN 16 rating etc. vi) 300 mm dia Butterfly valves. | 15.00 | No. | 59374.00 | 19106.00 | 286590.00 | 33362.00 | 500430.00 | 29150.00 | 437250.00 | 59150.00 | 887250.00 | 286590.00 | Blue Star Ltd
16.00 | Supply, installation, testing & commissioning of following valves - i) 40 mm dia Ball valves. | 3.00 | No. | 8280.00 | 1417.00 | 4251.00 | 3214.00 | 9642.00 | 3661.00 | 10983.00 | 6092.00 | 18276.00 | 4251.00 | Blue Star Ltd
17.00 | Supply, installation, testing & commissioning of following valves - ii) 40 mm dia Float valves. | 3.00 | No. | 6818.00 | 6692.00 | 20076.00 | 5053.00 | 15159.00 | 6616.00 | 19848.00 | 6223.00 | 18669.00 | 15159.00 | EVAC ENGINEERING PROJECTS PRIVATE LIMITED
18.00 | Supply, installation, testing & commissioning of Flexible Bellow with matching flanges of following sizes. i) 80 mm dia. | 10.00 | No. | 10467.00 | 1.00 | 10.00 | 8788.00 | 87880.00 | 9354.00 | 93540.00 | 13328.00 | 133280.00 | 10.00 | Blue Star Ltd
19.00 | Supply, installation, testing & commissioning of MS fabricated Y strainer of PN:16 rating of following sizes. i) 300 mm dia ''Y'' strainer. | 3.00 | No. | 40069.00 | 44436.00 | 133308.00 | 55552.00 | 166656.00 | 63176.00 | 189528.00 | 100520.00 | 301560.00 | 133308.00 | Blue Star Ltd
20.00 | Supply, installation, testing & commissioning of MS fabricated Y strainer of PN:16 rating of following sizes. ii) 150 mm dia ''Y'' strainer. | 3.00 | No. | 19318.00 | 13265.00 | 39795.00 | 16728.00 | 50184.00 | 19014.00 | 57042.00 | 57795.00 | 173385.00 | 39795.00 | Blue Star Ltd
21.00 | Supply, installation, testing & commissioning of Dual Plate type Check valve/ NVR with necessary flanges of pressure rating of PN-16. i) 150 mm dia. | 5.00 | No. | 22339.00 | 7627.00 | 38135.00 | 12161.00 | 60805.00 | 10318.00 | 51590.00 | 24766.00 | 123830.00 | 38135.00 | Blue Star Ltd
22.00 | Supply, installation, testing & commissioning of 0.25'' BSP Binders Test Point c/w socket along with necessary fittings. | 12.00 | No. | 1765.00 | 635.00 | 7620.00 | 1116.00 | 13392.00 | 549.00 | 6588.00 | 6440.00 | 77280.00 | 6588.00 | Voltas Limited
23.00 | Providing and fixing in position the industrial type 100mm dia pressure gauge complete as required. | 25.00 | No. | 5297.00 | 1131.00 | 28275.00 | 2839.00 | 70975.00 | 2979.00 | 74475.00 | 4816.00 | 120400.00 | 28275.00 | Blue Star Ltd
24.00 | FRP coating for exposed pipe line for DG set cooling tower (1 layer CSM with 1 layer resin, 1 layer Surface Mat, 1 coat Resin, 2 layer of minimum total thickness - 1.75 mm) | 1200.00 | Sqm. | 2005.00 | 1493.00 | 1791600.00 | 1942.00 | 2330400.00 | 1325.00 | 1590000.00 | 740.00 | 888000.00 | 888000.00 | FUJI TECHNICAL SERVICES PVT. LTD.
| Total in Figures |  |  |  |  | 8730000.00 |  | 11887088.00 |  | 9795082.00 |  | 16443680.00
Lowest Amount Quoted BY: Blue Star Ltd(8730000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Water or Coolant Pipe lines including Accessories of DG sets and repair to existing Colling Tower at Service yard NSCBI Airport Kolkata SH Repair or Replacement of Pipe Lines Tender ID: 2022_AAI_127018_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Blue Star Ltd | 8730000.00 | L1
| 2 | Voltas Limited | 9795082.00 | L2
| 3 | EVAC ENGINEERING PROJECTS PRIVATE LIMITED | 11887088.00 | L3
| 4 | FUJI TECHNICAL SERVICES PVT. LTD. | 16443680.00 | L4