## BoQ1
Government eProcurement System Created By: ANIL KUMAR Created Date/Time: 14-Nov-2022 01:01 PM Tender Title: Upgradation of CAT-I lighting system to CAT-II lighting system at Swami Vivekanand International Airport, Raipur Tender ID: 2022_AAI_127260_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Upgradation of CAT-I lighting system to CAT-II lighting system at Swami Vivekanand International Airport, Raipur
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | AMA Private Limited(GSTN-27AAACA1016F1ZE)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Supply of Runway CENTRE LINE (CL) light Bidirectional (RED/White) 8 inch dia. | 95.00 | Each |  | 41000.00 | 3895000.00 | 60363.00 | 5734485.00 | 3895000.00 | Manish Electricals
1.02 | Supply of Runway CENTRE LINE (CL) light Bidirectional (White/White) 8 inch dia. | 167.00 | Each |  | 41000.00 | 6847000.00 | 60363.00 | 10080621.00 | 6847000.00 | Manish Electricals
2.00 | Supply of FAA Certified Inset type fittings suitable for Uni directional high intensity TOUCH DOWN ZONE (TDZ) a) Unidirectional touchdown light (White) 8 inch dia. | 220.00 | Each |  | 40000.00 | 8800000.00 | 51695.00 | 11372900.00 | 8800000.00 | Manish Electricals
3.00 | Supply of 12 inch dia Inset type fittings suitable for Uni directional high intensity SIDE ROW (SR) (RED Color) | 15.00 | Each |  | 45000.00 | 675000.00 | 69988.00 | 1049820.00 | 675000.00 | Manish Electricals
4.00 | Supply of Elevated type fittings suitable for Uni directional high intensity SIDE ROW (SR) (RED Color) | 47.00 | Each |  | 11500.00 | 540500.00 | 7700.00 | 361900.00 | 361900.00 | AMA Private Limited
5.00 | Supply of 12 inch dia Inset type fittings suitable for Uni directional high intensity APPROACH LIGHTS FOR EXTENDED RWY CENTRE LINE (White Color) | 12.00 | Each |  | 14000.00 | 168000.00 | 67398.00 | 808776.00 | 168000.00 | Manish Electricals
6.00 | Supply of Elevated type fittings suitable for Uni directional high intensity APPROACH LIGHTS FOR EXTENDED CENTRE LINE (White Color) | 30.00 | Each |  | 11500.00 | 345000.00 | 7700.00 | 231000.00 | 231000.00 | AMA Private Limited
7.00 | Supply of 12 inch dia Inset type fittings unidirectional suitable for high intensity THRESHOLD (Green Color) | 42.00 | Each |  | 12000.00 | 504000.00 | 66178.00 | 2779476.00 | 504000.00 | Manish Electricals
8.00 | Supply of elevated type Uni-Directional Runway threshold wing bar (Green Color) | 25.00 | Each |  | 11500.00 | 287500.00 | 7700.00 | 192500.00 | 192500.00 | AMA Private Limited
9.00 | Supply of Inset type fittings unidirectional suitable for high intensity END light fitting (Red Color) | 22.00 | Each |  | 42000.00 | 924000.00 | 54385.00 | 1196470.00 | 924000.00 | Manish Electricals
10.00 | Supply of Inset type Uni directional Stop Bar light fitting (Red Color) | 35.00 | Each |  | 32000.00 | 1120000.00 | 27360.00 | 957600.00 | 957600.00 | AMA Private Limited
11.00 | Supply of Uni­directional Runway guard light fitting with two elevated type fixed focus High Intensity fixture | 14.00 | Set |  | 190000.00 | 2660000.00 | 215000.00 | 3010000.00 | 2660000.00 | Manish Electricals
12.00 | Supply of 2 x 4 sqmm secondary lead made out of multi stranded copper conductor | 14580.00 | Mtr |  | 190.00 | 2770200.00 | 140.00 | 2041200.00 | 2041200.00 | AMA Private Limited
13.00 | Supply of 6 sq.mm 5 KV grade Single Core unarmoured Primary Circuit Cable | 63000.00 | Mtr |  | 99.00 | 6237000.00 | 125.00 | 7875000.00 | 6237000.00 | Manish Electricals
14.00 | Supply of 6 sqmm, 5 KV grade plug and receptacle of type I, class 'B' connector | 750.00 | Each |  | 580.00 | 435000.00 | 550.00 | 412500.00 | 412500.00 | AMA Private Limited
15.01 | Supply of Constant Current Regulator (CCR) of micro processor controlled, thyristor type 2.5 KW | 4.00 | Each |  | 210000.00 | 840000.00 | 175000.00 | 700000.00 | 700000.00 | AMA Private Limited
15.02 | Supply of Constant Current Regulator (CCR) of micro processor controlled, thyristor type 4 KW | 2.00 | Each |  | 240000.00 | 480000.00 | 195000.00 | 390000.00 | 390000.00 | AMA Private Limited
15.03 | Supply of Constant Current Regulator (CCR) of micro processor controlled, thyristor type 5 KW | 4.00 | Each |  | 260000.00 | 1040000.00 | 225000.00 | 900000.00 | 900000.00 | AMA Private Limited
15.04 | Supply of Constant Current Regulator (CCR) of micro processor controlled, thyristor type 7.5 KW | 6.00 | Each |  | 270000.00 | 1620000.00 | 250000.00 | 1500000.00 | 1500000.00 | AMA Private Limited
16.01 | Supply of Constant Current Regulator (CCR) of micro processor controlled, thyristor type 10 KW | 3.00 | Each |  | 325000.00 | 975000.00 | 325000.00 | 975000.00 | 975000.00 | Manish Electricals, AMA Private Limited
16.02 | Supply of Constant Current Regulator (CCR) of micro processor controlled, thyristor type 20 KW | 3.00 | Each |  | 425000.00 | 1275000.00 | 365000.00 | 1095000.00 | 1095000.00 | AMA Private Limited
17.00 | Supply of Constant Current Regulator (CCR) of micro processor controlled, thyristor type 30 KW | 2.00 | Each |  | 490000.00 | 980000.00 | 415000.00 | 830000.00 | 830000.00 | AMA Private Limited
18.00 | Design and SITC of ALCMS System | 1.00 | Job |  | 1680000.00 | 1680000.00 | 4960000.00 | 4960000.00 | 1680000.00 | Manish Electricals
19.01 | Supply of Isolating transformer - 45Watt 6.6/6.6 Amps | 200.00 | Each |  | 5000.00 | 1000000.00 | 4000.00 | 800000.00 | 800000.00 | AMA Private Limited
19.02 | Supply of Isolating transformer - 65Watt 6.6/6.6 Amps | 296.00 | Each |  | 5500.00 | 1628000.00 | 4300.00 | 1272800.00 | 1272800.00 | AMA Private Limited
19.03 | Supply of Isolating transformer - 100Watt 6.6/6.6 Amps | 33.00 | Each |  | 6000.00 | 198000.00 | 4500.00 | 148500.00 | 148500.00 | AMA Private Limited
19.04 | Supply of Isolating transformer - 200Watt 6.6/6.6 Amps | 305.00 | Each |  | 7000.00 | 2135000.00 | 4800.00 | 1464000.00 | 1464000.00 | AMA Private Limited
19.05 | Supply of Isolating transformer - 300Watt 6.6/6.6 Amps | 27.00 | Each |  | 8500.00 | 229500.00 | 6000.00 | 162000.00 | 162000.00 | AMA Private Limited
20.00 | Supply, Laying, Testing & Commissioning of 4 pair CAT 6 cable | 300.00 | Mtr |  | 150.00 | 45000.00 | 250.00 | 75000.00 | 45000.00 | Manish Electricals
21.00 | Supply, installation, testing & commissioning of Guidance signage board (lP 65 prorection) complying to ICAO standard | 50.00 | Sq Mtr |  | 52000.00 | 2600000.00 | 45000.00 | 2250000.00 | 2250000.00 | AMA Private Limited
22.01 | Supply of 1.1 KV grade XLPE insulated, PVC sheathed, armoured Copper conductor cable 3 C x 10 Sq. mm. | 100.00 | Mtr |  | 155.00 | 15500.00 | 350.00 | 35000.00 | 15500.00 | Manish Electricals
22.02 | Supply of 1.1 KV grade XLPE insulated, PVC sheathed, armoured Copper conductor cable 3 C x 16 Sq. mm. | 300.00 | Mtr |  | 540.00 | 162000.00 | 525.00 | 157500.00 | 157500.00 | AMA Private Limited
22.03 | Supply of 1.1 KV grade XLPE insulated, PVC sheathed, armoured Copper conductor cable 3 C x 35 Sq. mm. | 100.00 | Mtr |  | 1350.00 | 135000.00 | 1200.00 | 120000.00 | 120000.00 | AMA Private Limited
23.01 | Installation, testing and commissioning of following sizes inset fitting Fitting size up to 8 " | 445.00 | Each |  | 9000.00 | 4005000.00 | 6000.00 | 2670000.00 | 2670000.00 | AMA Private Limited
23.02 | Installation, testing and commissioning of following sizes inset fitting Fitting size above 8" up to 12 " | 58.00 | Each |  | 9000.00 | 522000.00 | 6000.00 | 348000.00 | 348000.00 | AMA Private Limited
24.00 | Installation, testing & commissioning of Elevated type approach / runway edge / threshold / end / taxiway light fixtures/ Runway Guard light | 218.00 | Each |  | 400.00 | 87200.00 | 350.00 | 76300.00 | 76300.00 | AMA Private Limited
25.00 | Installation, Testing & Commissioning of CCR of capacity 2.5 KW to 30 KW | 24.00 | Each |  | 20000.00 | 480000.00 | 25000.00 | 600000.00 | 480000.00 | Manish Electricals
26.00 | Supply of rectangular C.I. Isolating Transformer housing box of Size 600mm (l)x 350mm(w) X450mm(h) | 114.00 | Each |  | 24000.00 | 2736000.00 | 20950.00 | 2388300.00 | 2388300.00 | AMA Private Limited
27.00 | Installation of rectangular C.I. Transformer housing box of Size 600mm x 350mm X 450mm height | 114.00 | Each |  | 4000.00 | 456000.00 | 5000.00 | 570000.00 | 456000.00 | Manish Electricals
28.00 | Supply of Cast iron Isolating Transformer housing box, water tight round type, metal container of outside dia 330 mm, height 450 mm | 249.00 | Each |  | 6000.00 | 1494000.00 | 5000.00 | 1245000.00 | 1245000.00 | AMA Private Limited
29.00 | Installation of CI housing box of size 330 mm dia and 450 mm deep | 249.00 | Each |  | 3200.00 | 796800.00 | 3500.00 | 871500.00 | 796800.00 | Manish Electricals
30.00 | Laying of one number PVC/XLPE insulated and PE sheathed primary circuit cable of 5 KV grade of following size in the existing RCC/ HUME/ METAL pipe/ HDPE Pipe/ Open masonary duct Single Core 6.0 sq. mm | 61838.00 | Mtr. |  | 25.00 | 1545950.00 | 25.00 | 1545950.00 | 1545950.00 | Manish Electricals, AMA Private Limited
31.00 | Kerf cutting with machine in taxiway/runway/apron of PQC/bituminous surface of depth upto 100 mm and width upto 25 mm for 1 or 2 nos secondary lead AFL cable | 9500.00 | Mtr. |  | 650.00 | 6175000.00 | 375.00 | 3562500.00 | 3562500.00 | AMA Private Limited
32.00 | Kerf cutting with machine in taxiway/runway/apron of PQC/bituminous surface of depth upto 150 mm and width upto 25 mm for 3 or 4 nos secondary lead AFL cable | 1860.00 | Mtr. |  | 700.00 | 1302000.00 | 395.00 | 734700.00 | 734700.00 | AMA Private Limited
33.00 | Laying of one number 2 X 4 sq mm AFL secondary cable along with 1 X 4 sq mm earth cable of voltage grade not exceeding 1.1 KV in the existing RCC / HUME / METAL / GI / HDPE pipes | 3020.00 | Mtr. |  | 20.00 | 60400.00 | 25.00 | 75500.00 | 60400.00 | Manish Electricals
34.00 | Supply and laying of follwing size double wall corrugated high density polyethylene (DWC HDPE pipe) pipe OD 63 mm/ ID 50 mm | 61838.00 | Mtr. |  | 240.00 | 14841120.00 | 275.00 | 17005450.00 | 14841120.00 | Manish Electricals
35.00 | Supply and laying of follwing size double wall corrugated high density polyethylene (DWC HDPE pipe) OD 50 mm/ ID 38 mm | 3020.00 | Mtr. |  | 240.00 | 724800.00 | 240.00 | 724800.00 | 724800.00 | Manish Electricals, AMA Private Limited
36.00 | Supply and Fixing of secondary Connectors (male & Female) of size 2 x 4 Sq.mm | 731.00 | Each |  | 650.00 | 475150.00 | 750.00 | 548250.00 | 475150.00 | Manish Electricals
37.00 | Earthing with 'B' class G. I. earth pipe 4.5 mtrs. long x 40 mm dia | 50.00 | Each |  | 8000.00 | 400000.00 | 9000.00 | 450000.00 | 400000.00 | Manish Electricals
38.00 | Supply & laying earth connections from earth electrode with 6 SWG dia G.I. wire in 15 mm dia G. I. pipe | 400.00 | Mtr. |  | 225.00 | 90000.00 | 325.00 | 130000.00 | 90000.00 | Manish Electricals
39.00 | Supply and fixing 6 SWG G. I. wire on surface or along with primary AFL Cable for loop earthing | 63000.00 | Mtr. |  | 24.00 | 1512000.00 | 20.00 | 1260000.00 | 1260000.00 | AMA Private Limited
40.00 | Supply and laying of green color single core 2.5 Sq.mm PVC insulated copper conductor earth wire | 14380.00 | Mtr. |  | 60.00 | 862800.00 | 60.00 | 862800.00 | 862800.00 | Manish Electricals, AMA Private Limited
41.00 | Making field connection by crimping of 6 sq. mm plug & receptacle with existing 6 sq. mm single core copper conductor primary airfield cable | 731.00 | set |  | 250.00 | 182750.00 | 250.00 | 182750.00 | 182750.00 | Manish Electricals, AMA Private Limited
42.00 | Taking GPS based co-ordinates on complete length of main runway, cable route etc by using total station and identifying the locations of light fixtures, route of cable etc | 1.00 | Job |  | 750564.00 | 750564.00 | 300000.00 | 300000.00 | 300000.00 | AMA Private Limited
43.00 | Numbering of Airfield Light Fixtures on the base/ top surface/ RCC foundation of light fixture with good quality of black color enamel paint | 731.00 | Job |  | 100.00 | 73100.00 | 75.00 | 54825.00 | 54825.00 | AMA Private Limited
44.00 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455 mm x 610 mm internal dimensions | 10.00 | Each |  | 14000.00 | 140000.00 | 55000.00 | 550000.00 | 140000.00 | Manish Electricals
45.00 | Supply and Laying of HDPE pipe of 100 mm dia PN-10 as per IS 4984 by Horizontal Directional Drilling (HDD) method in soft soil | 500.00 | Mtrs |  | 2200.00 | 1100000.00 | 1500.00 | 750000.00 | 750000.00 | AMA Private Limited
46.00 | Supply, Installation, Testing & Commissioning Totally Type Tested Panel (Form -4B Construction) complying to IEC: 61439-1/2 cubicle type LT panel | 1.00 | Set |  | 2050000.00 | 2050000.00 | 1450000.00 | 1450000.00 | 1450000.00 | AMA Private Limited
47.01 | Operation and routine maintenance of complete ALCMS system alongwith 30 Nos of CCRs, workstations,networking panel etc. First year (during DLP) | 12.00 | Month |  | 210000.00 | 2520000.00 | 100000.00 | 1200000.00 | 1200000.00 | AMA Private Limited
47.02 | Operation and routine maintenance of complete ALCMS system alongwith 30 Nos of CCRs, workstations,networking panel etc. Second year (during DLP) | 12.00 | Month |  | 210000.00 | 2520000.00 | 100000.00 | 1200000.00 | 1200000.00 | AMA Private Limited
47.03 | Operation and routine maintenance of complete ALCMS system alongwith 30 Nos of CCRs, workstations,networking panel etc. Third year (during first year of CMC) | 12.00 | Month |  | 210000.00 | 2520000.00 | 100000.00 | 1200000.00 | 1200000.00 | AMA Private Limited
47.04 | Operation and routine maintenance of complete ALCMS system alongwith 30 Nos of CCRs, workstations,networking panel etc. Fourth year (during second year of CMC) | 12.00 | Month |  | 210000.00 | 2520000.00 | 100000.00 | 1200000.00 | 1200000.00 | AMA Private Limited
47.05 | Operation and routine maintenance of complete ALCMS system alongwith 30 Nos of CCRs, workstations,networking panel etc. Fifth year (during third year of CMC) | 12.00 | Month |  | 210000.00 | 2520000.00 | 100000.00 | 1200000.00 | 1200000.00 | AMA Private Limited
47.06 | Operation and routine maintenance of complete ALCMS system alongwith 30 Nos of CCRs, workstations,networking panel etc. Sixth year (during fourth year of CMC) | 12.00 | Month |  | 210000.00 | 2520000.00 | 100000.00 | 1200000.00 | 1200000.00 | AMA Private Limited
47.07 | Operation and routine maintenance of complete ALCMS system alongwith 30 Nos of CCRs, workstations,networking panel etc. Seventh year (during fifth year of CMC) | 12.00 | Month |  | 210000.00 | 2520000.00 | 100000.00 | 1200000.00 | 1200000.00 | AMA Private Limited
48.01 | AICMC of complete ALCMS System. (Rate quoted for 12 months ) First Year after DLP | 1.00 | Nos |  | 180000.00 | 180000.00 | 756000.00 | 756000.00 | 180000.00 | Manish Electricals
48.02 | AICMC of complete ALCMS System. (Rate quoted for 12 months ) Second Year after DLP | 1.00 | Nos |  | 192600.00 | 192600.00 | 808920.00 | 808920.00 | 192600.00 | Manish Electricals
48.03 | AICMC of complete ALCMS System. (Rate quoted for 12 months ) Third Year after DLP | 1.00 | Nos |  | 206082.00 | 206082.00 | 865544.00 | 865544.00 | 206082.00 | Manish Electricals
48.04 | AICMC of complete ALCMS System. (Rate quoted for 12 months ) Fourth Year after DLP | 1.00 | Nos |  | 220508.00 | 220508.00 | 926132.00 | 926132.00 | 220508.00 | Manish Electricals
48.05 | AICMC of complete ALCMS System. (Rate quoted for 12 months ) Fifth Year after DLP | 1.00 | Nos |  | 235944.00 | 235944.00 | 990961.00 | 990961.00 | 235944.00 | Manish Electricals
49.01 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating less than 10 KW (Rate quoted for 12 months ) First Year after DLP | 16.00 | Nos |  | 13000.00 | 208000.00 | 65000.00 | 1040000.00 | 208000.00 | Manish Electricals
49.02 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating less than 10 KW (Rate quoted for 12 months ) Second Year after DLP | 16.00 | Nos |  | 13910.00 | 222560.00 | 69550.00 | 1112800.00 | 222560.00 | Manish Electricals
49.03 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating less than 10 KW (Rate quoted for 12 months ) Third Year after DLP | 16.00 | Nos |  | 14884.00 | 238144.00 | 74419.00 | 1190704.00 | 238144.00 | Manish Electricals
49.04 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating less than 10 KW (Rate quoted for 12 months ) Fourth Year after DLP | 16.00 | Nos |  | 15926.00 | 254816.00 | 79628.00 | 1274048.00 | 254816.00 | Manish Electricals
49.05 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating less than 10 KW (Rate quoted for 12 months ) Fifth Year after DLP | 16.00 | Nos |  | 17041.00 | 272656.00 | 85202.00 | 1363232.00 | 272656.00 | Manish Electricals
50.01 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 10 KW to 20 KW (Rate quoted for 12 months ) First Year after DLP | 6.00 | Nos |  | 15000.00 | 90000.00 | 104683.00 | 628098.00 | 90000.00 | Manish Electricals
50.02 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 10 KW to 20 KW (Rate quoted for 12 months ) Second Year after DLP | 6.00 | Nos |  | 16050.00 | 96300.00 | 112011.00 | 672066.00 | 96300.00 | Manish Electricals
50.03 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 10 KW to 20 KW (Rate quoted for 12 months ) Third Year after DLP | 6.00 | Nos |  | 17174.00 | 103044.00 | 119852.00 | 719112.00 | 103044.00 | Manish Electricals
50.04 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 10 KW to 20 KW (Rate quoted for 12 months ) Fourth Year after DLP | 6.00 | Nos |  | 18376.00 | 110256.00 | 128242.00 | 769452.00 | 110256.00 | Manish Electricals
50.05 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 10 KW to 20 KW (Rate quoted for 12 months ) Fifth Year after DLP | 6.00 | Nos |  | 19662.00 | 117972.00 | 137219.00 | 823314.00 | 117972.00 | Manish Electricals
51.01 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 30 KW (Rate quoted for 12 months ) First Year after DLP | 2.00 | Nos |  | 48000.00 | 96000.00 | 103750.00 | 207500.00 | 96000.00 | Manish Electricals
51.02 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 30 KW (Rate quoted for 12 months ) Second Year after DLP | 2.00 | Nos |  | 51360.00 | 102720.00 | 111013.00 | 222026.00 | 102720.00 | Manish Electricals
51.03 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 30 KW (Rate quoted for 12 months ) Third Year after DLP | 2.00 | Nos |  | 54955.00 | 109910.00 | 118784.00 | 237568.00 | 109910.00 | Manish Electricals
51.04 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 30 KW (Rate quoted for 12 months ) Fourth Year after DLP | 2.00 | Nos |  | 58802.00 | 117604.00 | 127099.00 | 254198.00 | 117604.00 | Manish Electricals
51.05 | AICMC of Microprocessor based Constant Current Regulators (CCRs) of rating 30 KW (Rate quoted for 12 months ) Fifth Year after DLP | 2.00 | Nos |  | 62918.00 | 125836.00 | 135996.00 | 271992.00 | 125836.00 | Manish Electricals
| Total in Figures |  |  |  |  | 117049786.00 |  | 128429340.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | AMA Private Limited | 117049786.00 | 116049786.00 | Eleven Crore Sixty Lakh Fourty Nine Thousand Seven Hundred and Eighty Six
2 | Manish Electricals | 117049786.00 | Not Quoted | Not Quoted
Lowest Amount Quoted BY: AMA Private Limited(116049786.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upgradation of CAT-I lighting system to CAT-II lighting system at Swami Vivekanand International Airport, Raipur Tender ID: 2022_AAI_127260_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 117049786.00 | L1
| 2 | AMA Private Limited | 128429340.00 | L2