## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 11-Oct-2022 04:08 PM Tender Title: ARMO of internal and external electrical installation and allied works at C.A. Kota (2022-24). Tender ID: 2022_AAI_127503_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-E), Kishangarh Airport, Ajmer
Name of work :- ARMO of internal & external electrical installation and allied works at C.A. Kota (2022-24)
Contract No: 2022_AAI_127503_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Pooja Electricals(GSTN-08AMJPM5477G1ZM) |  | Trishul Enterprises(GSTN-07AQOPS2079M1Z0) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | Subham Electrical(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of all internal & external electrical and mechanical installations located at Power House,Terminal Building, NDB Building, Residential Colony and Operational Area, attending to complaints/ faults/ breakdowns, ensuring serviceability and satisfactory working condition of the system, performing preventive maintenance, maintaining the records/ documentation etc. as per special conditions of contract by deploying minimum manpower as per SCC clause 24 of Page SCC-05. | 24.00 | Month | 100.00 | 167000.00 | 4008000.00 | 172680.00 | 4144320.00 | 171500.00 | 4116000.00 | 158000.00 | 3792000.00 | 172000.00 | 4128000.00 | 152568.00 | 3661632.00 | 169555.00 | 4069320.00 | 3661632.00 | Subham Electrical
2.00 | Comprehensive maintenance of 1.5 TR window type air conditioning unit with voltage stablizer including replacement of defective compresser, charging the gas and replacement of other parts as required for ONE UNIT for ONE MONTH. | 216.00 | Job | 100.00 | 275.00 | 59400.00 | 250.00 | 54000.00 | 350.00 | 75600.00 | 220.00 | 47520.00 | 275.00 | 59400.00 | 350.00 | 75600.00 | 250.00 | 54000.00 | 47520.00 | M K ENTERPRISES
3.00 | Comprehensive maintenance of 1.5 / 2 TR split air conditioning unit with voltage stablizer including replacement of defective compresser, charging the gas and other parts as required for ONE UNIT for ONE MONTH. | 144.00 | Job | 100.00 | 325.00 | 46800.00 | 300.00 | 43200.00 | 400.00 | 57600.00 | 250.00 | 36000.00 | 290.00 | 41760.00 | 400.00 | 57600.00 | 280.00 | 40320.00 | 36000.00 | M K ENTERPRISES
4.00 | Comprehensive maintenance of 2.0 TR Cassette type split air conditioning unit with voltage stablizer including replacement of defective compresser, charging the gas and other parts as required for ONE UNIT for ONE MONTH. | 96.00 | Job | 100.00 | 425.00 | 40800.00 | 450.00 | 43200.00 | 450.00 | 43200.00 | 300.00 | 28800.00 | 335.00 | 32160.00 | 450.00 | 43200.00 | 320.00 | 30720.00 | 28800.00 | M K ENTERPRISES
5.00 | Comprehensive maintenance of 3.0 TR Tower type air conditioning unit with voltage stablizer including replacement of defective compresser, charging the gas and other parts as required for ONE UNIT for ONE MONTH. | 192.00 | Job | 100.00 | 625.00 | 120000.00 | 610.00 | 117120.00 | 650.00 | 124800.00 | 330.00 | 63360.00 | 405.00 | 77760.00 | 550.00 | 105600.00 | 350.00 | 67200.00 | 63360.00 | M K ENTERPRISES
6.00 | Comprehensive maintenance of water cooler having capacity upto 150 Ltr. including replacement of defective compresser, charging the gas and other parts as required for ONE UNIT for ONE MONTH. | 72.00 | Job | 100.00 | 325.00 | 23400.00 | 350.00 | 25200.00 | 400.00 | 28800.00 | 140.00 | 10080.00 | 312.00 | 22464.00 | 450.00 | 32400.00 | 285.00 | 20520.00 | 10080.00 | M K ENTERPRISES
7.00 | Comprehensive maintenance of Reverse Osmosis Unit of 50 LPH capacity including replacement of defective parts as required for ONE UNIT for ONE MONTH. | 48.00 | Job | 100.00 | 475.00 | 22800.00 | 550.00 | 26400.00 | 450.00 | 21600.00 | 600.00 | 28800.00 | 425.00 | 20400.00 | 650.00 | 31200.00 | 300.00 | 14400.00 | 14400.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Comprehensive maintenance of Reverse Osmosis Unit of 25 LPH capacity including replacement of defective parts as required for ONE UNIT for ONE MONTH. | 24.00 | Job | 100.00 | 375.00 | 9000.00 | 500.00 | 12000.00 | 450.00 | 10800.00 | 500.00 | 12000.00 | 350.00 | 8400.00 | 800.00 | 19200.00 | 300.00 | 7200.00 | 7200.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Visit charges of service engineer as & when required from specialized firm for inspection & breakdown maintenance of AMF/LT Panel etc. complete as per site requirement. | 4.00 | Job | 100.00 | 1500.00 | 6000.00 | 2500.00 | 10000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 7000.00 | 28000.00 | 1700.00 | 6800.00 | 2000.00 | 8000.00 | 6000.00 | Pooja Electricals
10.00 | Rewinding of ceiling fans of 1200/1400 mm with super enamelled copper wire of suitable gauge & insulation grade i/c replacement of ball bearing, shaft etc. as required. | 5.00 | Job | 100.00 | 150.00 | 750.00 | 500.00 | 2500.00 | 485.00 | 2425.00 | 700.00 | 3500.00 | 385.00 | 1925.00 | 625.00 | 3125.00 | 450.00 | 2250.00 | 750.00 | Pooja Electricals
11.00 | Rewinding of Exhaust fans/ pedestal fan/wall mounted fan of all size, with super enameled copper wire of suitable gauge & insulation grade i/c replacement of ball bearing, shaft etc. as required. | 5.00 | Job | 100.00 | 350.00 | 1750.00 | 750.00 | 3750.00 | 750.00 | 3750.00 | 1200.00 | 6000.00 | 715.00 | 3575.00 | 4200.00 | 21000.00 | 500.00 | 2500.00 | 1750.00 | Pooja Electricals
12.00 | Supply of S.P. 5/6 A, one way Piano type switch. (Make Anchor) | 40.00 | Each | 100.00 | 5.00 | 200.00 | 20.00 | 800.00 | 20.00 | 800.00 | 70.00 | 2800.00 | 14.00 | 560.00 | 19.00 | 760.00 | 13.00 | 520.00 | 200.00 | Pooja Electricals
13.00 | Supply of 3 pin, 5/6A, Piano type socket outlet.(Make Anchor) | 40.00 | Each | 100.00 | 10.00 | 400.00 | 35.00 | 1400.00 | 30.00 | 1200.00 | 100.00 | 4000.00 | 26.00 | 1040.00 | 33.00 | 1320.00 | 25.00 | 1000.00 | 400.00 | Pooja Electricals
14.00 | Supply of S.P. 15/16A, one way Piano type switch.(Make Anchor) | 20.00 | Each | 100.00 | 20.00 | 400.00 | 80.00 | 1600.00 | 80.00 | 1600.00 | 110.00 | 2200.00 | 71.00 | 1420.00 | 80.00 | 1600.00 | 67.00 | 1340.00 | 400.00 | Pooja Electricals
15.00 | Supply of 6 pin, 6/16A, Piano type socket outlet. (Make Anchor) | 20.00 | Each | 100.00 | 20.00 | 400.00 | 80.00 | 1600.00 | 70.00 | 1400.00 | 200.00 | 4000.00 | 79.00 | 1580.00 | 80.00 | 1600.00 | 70.00 | 1400.00 | 400.00 | Pooja Electricals
16.00 | Supply of 3 pin, 5/6A, plug top. | 10.00 | Each | 100.00 | 15.00 | 150.00 | 60.00 | 600.00 | 40.00 | 400.00 | 200.00 | 2000.00 | 52.00 | 520.00 | 59.00 | 590.00 | 48.00 | 480.00 | 150.00 | Pooja Electricals
17.00 | Supply of 3 pin 15/16A, plug top. | 10.00 | Each | 100.00 | 20.00 | 200.00 | 90.00 | 900.00 | 75.00 | 750.00 | 200.00 | 2000.00 | 80.00 | 800.00 | 87.00 | 870.00 | 64.00 | 640.00 | 200.00 | Pooja Electricals
18.00 | Supply of 1.5sq.mm,FR-LSH PVC insulated multistrand copper conductor, single core cable of 1.1KV grade, confirming to IS 694:2010 grade and up to date amendments. | 180.00 | Mtr | 100.00 | 11.00 | 1980.00 | 25.00 | 4500.00 | 24.00 | 4320.00 | 30.00 | 5400.00 | 18.00 | 3240.00 | 18.00 | 3240.00 | 19.00 | 3420.00 | 1980.00 | Pooja Electricals
19.00 | Supply of 2.5sq.mm, FR-LSH PVC insulated multistrand copper conductor, single core cable of 1.1KV grade, confirming to IS 694:2010 grade and up to date amendments. | 180.00 | Mtr | 100.00 | 25.00 | 4500.00 | 35.00 | 6300.00 | 35.00 | 6300.00 | 30.00 | 5400.00 | 28.00 | 5040.00 | 35.00 | 6300.00 | 31.00 | 5580.00 | 4500.00 | Pooja Electricals
20.00 | Supply of 2 core, 2.5 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1.1KV grade, confirming to IS 694:2010 grade and up to date amendments. | 100.00 | Mtr | 100.00 | 31.00 | 3100.00 | 80.00 | 8000.00 | 80.00 | 8000.00 | 70.00 | 7000.00 | 85.00 | 8500.00 | 80.00 | 8000.00 | 66.00 | 6600.00 | 3100.00 | Pooja Electricals
21.00 | Supply of 3 core, 2.5 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1.1KV grade, confirming to IS 694:2010 grade and up to date amendments. | 100.00 | Mtr | 100.00 | 55.00 | 5500.00 | 100.00 | 10000.00 | 95.00 | 9500.00 | 80.00 | 8000.00 | 114.00 | 11400.00 | 125.00 | 12500.00 | 91.00 | 9100.00 | 5500.00 | Pooja Electricals
22.00 | Supply of 4 Sqmm FR-LSH PVC insulated (unsheated) multistranded single core copper conductor flexible cable of 1.1KV grade, confirming to IS 694:2010 grade and up to date amendments. | 90.00 | Mtr | 100.00 | 38.00 | 3420.00 | 50.00 | 4500.00 | 60.00 | 5400.00 | 40.00 | 3600.00 | 43.00 | 3870.00 | 55.00 | 4950.00 | 45.00 | 4050.00 | 3420.00 | Pooja Electricals
23.00 | Supply of 9/10 watt LED Bulb . | 30.00 | Each | 100.00 | 50.00 | 1500.00 | 140.00 | 4200.00 | 95.00 | 2850.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 125.00 | 3750.00 | 83.00 | 2490.00 | 1500.00 | Pooja Electricals
24.00 | Supply of recess mounted 18 W LED downlighter , with pressure die cast aluminium heat sink & PC diffuser, LEDs of approved makes, complete as per technical specifications suitable for indoor applications. Make/Model:- Bajaj/ BZSLO 18 W WH PRO or equivalent. | 10.00 | Each | 100.00 | 400.00 | 4000.00 | 1800.00 | 18000.00 | 1550.00 | 15500.00 | 1000.00 | 10000.00 | 950.00 | 9500.00 | 1700.00 | 17000.00 | 605.00 | 6050.00 | 4000.00 | Pooja Electricals
25.00 | Supply of 25 watt LED type out door lighting luminaire with Epoxy powder coated high pressure die cast aluminum housing, having uniform lighting distribution, drivers with in-built 5kV surge protection,with 5 Year warrenty on complete luminaire including driver/control gear & LED, complete as per technical Specifications. | 10.00 | Each | 100.00 | 700.00 | 7000.00 | 2000.00 | 20000.00 | 1900.00 | 19000.00 | 700.00 | 7000.00 | 1100.00 | 11000.00 | 1600.00 | 16000.00 | 1155.00 | 11550.00 | 7000.00 | Pooja Electricals, M K ENTERPRISES
26.00 | Supply of LED Indication Lamp (R/Y/B/G) with integral circuit suitable for LT panel. | 25.00 | Each | 100.00 | 40.00 | 1000.00 | 120.00 | 3000.00 | 105.00 | 2625.00 | 150.00 | 3750.00 | 80.00 | 2000.00 | 119.00 | 2975.00 | 110.00 | 2750.00 | 1000.00 | Pooja Electricals
27.00 | Supply of Constant Current LED driver, input voltage 240VAC,50/60 Hz, output voltage 36 VDC/2.1 Amp, suitable for BRTFG 72W LED 240V, 50Hz LED street light. Make:-Bajaj Electricals Ltd./CAT No:-BGD 31215. | 10.00 | Each | 100.00 | 500.00 | 5000.00 | 1150.00 | 11500.00 | 750.00 | 7500.00 | 600.00 | 6000.00 | 600.00 | 6000.00 | 1100.00 | 11000.00 | 1628.00 | 16280.00 | 5000.00 | Pooja Electricals
28.00 | Supply of 10 kV Surge Protecter, continous voltage 280 VAC, Maximum current 15A, rated peak current 10kA(8/20micro second), suitable for BRTFG 72W LED, 240V, 50Hz LED street light. Make:-Bajaj Electricals Ltd. | 10.00 | Each | 100.00 | 80.00 | 800.00 | 160.00 | 1600.00 | 160.00 | 1600.00 | 1000.00 | 10000.00 | 90.00 | 900.00 | 159.00 | 1590.00 | 187.00 | 1870.00 | 800.00 | Pooja Electricals
29.00 | Supply of Constant Current LED driver, input voltage 240VAC,50 Hz, output voltage 32-36VDC suitable for BCLST 20W LED, 240V, 50Hz street light. Make:-Bajaj Electricals Ltd. Model No:-BRLED25. | 10.00 | Each | 100.00 | 200.00 | 2000.00 | 600.00 | 6000.00 | 450.00 | 4500.00 | 250.00 | 2500.00 | 260.00 | 2600.00 | 497.00 | 4970.00 | 583.00 | 5830.00 | 2000.00 | Pooja Electricals
30.00 | Supply of 200 Watt LED type out door lighting luminaire (flood light) ,with high pressure die cast aluminium/standard alloy housing, having uniform lighting distribution with luminare efficiency of more than 110 lumen per watt, CRI more than 70, THD less than 10%, IP 66 protection, with 5 Year warrenty on complete luminaire including driver/control gear & LED, more than 50,000 burning hours, as per technical specifications complete as required. Make/Model:- Bajaj/ BJFL200 W LED I (Amaze LED) or equivalent. | 5.00 | Each | 100.00 | 3500.00 | 17500.00 | 7500.00 | 37500.00 | 14000.00 | 70000.00 | 3500.00 | 17500.00 | 11000.00 | 55000.00 | 1300.00 | 6500.00 | 7150.00 | 35750.00 | 6500.00 | Subham Electrical
31.00 | Supply of 1200 mm Ceiling Fan (60 watt max. rated power),White/ Ivory, suitable for operation on 230 V single phase AC supply as and when required (as per Approved make) Make/Model:- Bajaj/ Excel Star or Usha/1200 mm NEO or equivalent. | 8.00 | Each | 100.00 | 950.00 | 7600.00 | 1900.00 | 15200.00 | 1700.00 | 13600.00 | 2500.00 | 20000.00 | 1650.00 | 13200.00 | 1500.00 | 12000.00 | 1375.00 | 11000.00 | 7600.00 | Pooja Electricals
32.00 | Supply of 20 watt LED batten type tube light (4 ft.) ultra slim with extruded polycarbonate, Suitable for 230V, 50Hz, AC Supply with all accessories. | 20.00 | Each | 100.00 | 130.00 | 2600.00 | 250.00 | 5000.00 | 400.00 | 8000.00 | 350.00 | 7000.00 | 195.00 | 3900.00 | 350.00 | 7000.00 | 264.00 | 5280.00 | 2600.00 | Pooja Electricals
33.00 | Supply of digital Clamp meter with all its accessories suitable for measurement of (a) AC Voltage of range 0-1000 V with of accuracy of 1.5% (b) DC Voltage of range 0.4V-1000V with of accuracy of 0.75% (c) AC Current 40A-1000A with accuracy 1.5% (d) Resistance 0 Ω - 40MΩ (e) Frequency 10Hz -500 kHz with Accuracy of 0.2% (f) Capacitance of 5nFarad-200MicroFarad Jaw size of the clamp meter shall be 51 mm Dia. with provision of Diode test, continuity test, data Hold, Back Light facility Available. Make/Model:-RISHABH Instruments/(RISH clamp ES1000 AC/ES400AC) or equivalent. | 1.00 | Each | 100.00 | 1500.00 | 1500.00 | 4000.00 | 4000.00 | 3500.00 | 3500.00 | 2576.00 | 2576.00 | 3081.00 | 3081.00 | 3500.00 | 3500.00 | 2877.00 | 2877.00 | 1500.00 | Pooja Electricals
34.00 | Supply of rechargeable battery operated digital insulation tester suitable for measure volatge up to1000 Volt,resistanceup to 1000 M-ohm with test leads & other accessories. Make/Model- Rishabh/Rish insu 10 OR Meco/R-DT903A or equivalent. | 1.00 | Each | 100.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 3411.00 | 3411.00 | 3500.00 | 3500.00 | 3896.00 | 3896.00 | 2000.00 | Pooja Electricals
35.00 | Supply of Digital earth resistance tester with dual resistance range (0-10-1000 ohms). The instrument shall have provision of rechargeable battery with in built charger with all its accessories as complete as required. Make/Model:- Sigma Instruments Ltd/Waco or CIE/DET-2000 or equivalent.. | 1.00 | Each | 100.00 | 2500.00 | 2500.00 | 3300.00 | 3300.00 | 4000.00 | 4000.00 | 5000.00 | 5000.00 | 5169.00 | 5169.00 | 3000.00 | 3000.00 | 10538.00 | 10538.00 | 2500.00 | Pooja Electricals
36.00 | Supply of extension board 16 Amp.,surge & spike guard, 3 pin, 4 no. sockets,01 no switch, with 4 mtr. power cable. Make/Model:-Anchor/22068 16 A Spike guard or equivalent. | 6.00 | Each | 100.00 | 200.00 | 1200.00 | 500.00 | 3000.00 | 600.00 | 3600.00 | 700.00 | 4200.00 | 580.00 | 3480.00 | 862.00 | 5172.00 | 593.00 | 3558.00 | 1200.00 | Pooja Electricals
37.00 | Supply of 05 step fan regulator 230V, AC 50Hz. | 8.00 | Each | 100.00 | 40.00 | 320.00 | 210.00 | 1680.00 | 200.00 | 1600.00 | 350.00 | 2800.00 | 203.00 | 1624.00 | 183.00 | 1464.00 | 177.00 | 1416.00 | 320.00 | Pooja Electricals
38.00 | Supply of desert cooler with 75 Litre water tank capacity with wheels for easy mobility, duro pump technology, complete as required. Make/Model:- Symphony/SUMO 75 XL OR Make/Model:- Hevells/Supro-75 (GHRACSUW075). OR Make/Model:- Orient/Titan-75 (CD7501H). | 3.00 | Each | 100.00 | 6000.00 | 18000.00 | 10500.00 | 31500.00 | 11500.00 | 34500.00 | 11000.00 | 33000.00 | 12000.00 | 36000.00 | 6000.00 | 18000.00 | 11477.00 | 34431.00 | 18000.00 | Pooja Electricals, Subham Electrical
39.00 | Supply of Timer, based on Micro control technology, for control two nos AC, programmable, LCD display, Automatic override facility to second AC if running AC fails, Input 230V AC +/- 15 %, 50 Hz, Contact rating 30A at 230 V, change over time delay up to 8/12 hours(site selectable switch), complete as required. Make/Model:Dynamic Micro Tech/ TT2-2018 Heavy Duty. Make/Model:Creative Technology/ PLC AC STC 02. | 2.00 | Each | 100.00 | 4000.00 | 8000.00 | 10900.00 | 21800.00 | 12000.00 | 24000.00 | 6000.00 | 12000.00 | 8800.00 | 17600.00 | 10500.00 | 21000.00 | 9350.00 | 18700.00 | 8000.00 | Pooja Electricals
40.00 | Supply of First Aid Kit with large plastic box designed as per minimum no. of component given in industrial act. (Make/Model: St. Johns First Aid Kit/ SJF P3,Medium (Red) or equivalent. | 1.00 | Each | 100.00 | 800.00 | 800.00 | 1500.00 | 1500.00 | 900.00 | 900.00 | 500.00 | 500.00 | 850.00 | 850.00 | 1494.00 | 1494.00 | 1320.00 | 1320.00 | 500.00 | M K ENTERPRISES
41.00 | Supply of 12V, 150AH, Lead Acid Battery with buyback of old batteries, suitable for 75 KVA KOEL Make D.G. Sets, complete as required. | 2.00 | Each | 100.00 | 7500.00 | 15000.00 | 11500.00 | 23000.00 | 14000.00 | 28000.00 | 15000.00 | 30000.00 | 8029.00 | 16058.00 | 1300.00 | 2600.00 | 14025.00 | 28050.00 | 2600.00 | Subham Electrical
42.00 | Supply of 12V, 100AH, Lead Acid Battery with buyback of old batteries, suitable for 35 KVA Cummins Make D.G. Sets, complete as required. | 2.00 | Each | 100.00 | 3500.00 | 7000.00 | 7000.00 | 14000.00 | 6000.00 | 12000.00 | 13000.00 | 26000.00 | 4973.00 | 9946.00 | 5500.00 | 11000.00 | 9350.00 | 18700.00 | 7000.00 | Pooja Electricals
43.00 | Supply of 12V, 35 AH, SMF Battery with buyback of old batteries. | 2.00 | Each | 100.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 2600.00 | 5200.00 | 5000.00 | 10000.00 | 2372.00 | 4744.00 | 3800.00 | 7600.00 | 3273.00 | 6546.00 | 4744.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
44.00 | Visit Charges of service engineer quarterly basis and to attend breakdown maintenance (as & when required)of 75 KVA DG Set from authorized dealer of KOEL etc. complete as per site requirement. (One job for three Months) | 16.00 | Job | 100.00 | 300.00 | 4800.00 | 1000.00 | 16000.00 | 1000.00 | 16000.00 | 5000.00 | 80000.00 | 1400.00 | 22400.00 | 1100.00 | 17600.00 | 2500.00 | 40000.00 | 4800.00 | Pooja Electricals
45.00 | Carriying out the B-check maintenance of 75 KVA, D.G. Set (Make-KOEL), from authorized dealer of KOEL i/c supply of B-check kit, Lube Oil etc. and submission of report. B-Check kit containing follwing Items:- i) Spin on Lube Oil filter - 01No. ii) Fuel Filter Element Pre - 01No. iii) Fuel Filter Element Micro - 01No. iv) V-Belt XPA 1250 Cogged - 01No. v) Air Cleaner Element - 01 No. vi) Coolant - 13 Ltr. vii) Kriloskar care super genuine oil - 13Ltr. | 8.00 | Job | 100.00 | 1500.00 | 12000.00 | 3000.00 | 24000.00 | 4500.00 | 36000.00 | 25000.00 | 200000.00 | 8000.00 | 64000.00 | 3000.00 | 24000.00 | 7500.00 | 60000.00 | 12000.00 | Pooja Electricals
46.00 | CPWD- DSR 2022 (E&M) Note: (i) The rate for this item has to be quoted carefully. (ii) The guidelines for quoting the rate for this item is mentioned in clause 24 (c) of Page GTT-3. | 1.00 | Job | 100.00 | 95000.00 | 95000.00 | 60000.00 | 60000.00 | 75000.00 | 75000.00 | 85000.00 | 85000.00 | 130000.00 | 130000.00 | 105000.00 | 105000.00 | 70000.00 | 70000.00 | 60000.00 | Trishul Enterprises
| Total in Figures |  |  |  |  | 4581070.00 |  | 4858670.00 |  | 4937720.00 |  | 4696786.00 |  | 4887277.00 |  | 4406802.00 |  | 4749442.00
Lowest Amount Quoted BY: Subham Electrical(4406802.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of internal and external electrical installation and allied works at C.A. Kota (2022-24). Tender ID: 2022_AAI_127503_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Subham Electrical | 4406802.00 | L1
| 2 | Pooja Electricals | 4581070.00 | L2
| 3 | M K ENTERPRISES | 4696786.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 4749442.00 | L4
| 5 | Trishul Enterprises | 4858670.00 | L5
| 6 | Metropolitan Infrabuild Development And Services Pvt Ltd | 4887277.00 | L6
| 7 | Manish Electricals | 4937720.00 | L7