## BoQ1
Government eProcurement System Created By: SINDHU L S Created Date/Time: 12-Oct-2022 11:49 AM Tender Title: APRON EXTENSION AT PUDUCHERRY AIRPORT SH ELECTRICAL WORKS Tender ID: 2022_AAI_127531_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI AIRPORT, CHENNAI - 600 027.
Name of Work: APRON Extension at Puducherry Airport. Sub Head: Electrical Works.
Contract No: 2021_AAI_127531_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Supply of Medium Intensity Elevated type omni directional LED Taxiway Edge Light Fitting with 1W LED Complete with all accessories including blue lens for LED and CI Base plate, conforming to ICAO requirements as required. (Make : As per List of Approved makes). | 65.00 | Each | Item No.1 | 292500.00 | 345150.00 | 273000.00 | 322140.00 | 273000.00 | vk sam engineering | 322140.00 | vk sam engineering
2.00 | Supply of 15 Watts, 6.6 Amps rating completely enclosed rubber covered isolating transformer for series Airport lighting system having harmonic voltage rating of 5 KV as per the technical specifications attached. (Make : As per List of Approved makes). | 65.00 | Each | Item No.2 | 195000.00 | 230100.00 | 242905.00 | 286627.90 | 195000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 230100.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Supply of 5 KV grade plug and receptacle type - I class 'B' connector suitable for field attachment with following size of 5 KV grade PVC insulated, PVC sheathed single core copper conductor cable confirming to the relevant IS specification and particular specification attached etc complete as required. i)6 Sq.mm (Make : As per List of Approved makes). | 13.00 | Set | Item No.3 | 4550.00 | 5369.00 | 6175.00 | 7286.50 | 4550.00 | LAKSHMI ELECTRICAL ENTERPRISES | 5369.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | Excavation of the trench in hard soil/concrete/bitumen mecadam not exceeding 1.5m width and lift upto 1.5 mts. Including getting out the excavated soil/concrete/bitumen and disposal of surplus elevated soil/concrete/bitumen complete as required. (within 50 mtrs lead) | 5.00 | CuM | Item No.4 | 7500.00 | 8850.00 | 25000.00 | 29500.00 | 7500.00 | LAKSHMI ELECTRICAL ENTERPRISES | 8850.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.00 | Excavation of existing Bituminous road / shoulder of runway, taxiway, apron to facilitate laying of GI pipe as below including disposal of material within 50 mtrs lead and providing & layinjg in position 1:2:4 (1 cement : 2 Coarse sand : 4 Graded stone aggregated of 20 mm nominal size all works up to plinth level to fill up the excavated trenches after laying of the GI pipe complete above as required. a) Trench of size 100mm wide x 225 mm deep (nominal) for laying 1 no. of 50 mm dia GI pipe | 20.00 | Mtrs | Item No.5 | 15400.00 | 18172.00 | 35000.00 | 41300.00 | 15400.00 | LAKSHMI ELECTRICAL ENTERPRISES | 18172.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.00 | Installation, Testing and Commissioning of MIRL light fixtures on the existing transformer housing box, including installation of isolating transformer, lamp and other accessories including alignment, making transformer connection and earth connection etc as required. | 65.00 | Each | Item No.6 | 18850.00 | 22243.00 | 65000.00 | 76700.00 | 18850.00 | LAKSHMI ELECTRICAL ENTERPRISES | 22243.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | Making field connections by crimping 6 Sq.mm plug and receptacle with existing 6 Sq.mm single core copper conductor PVC insulated and PVC sheathed cable including filling the gap with water sealent material applying HT tape over PVC tape etc as required. | 13.00 | Each | Item No.7 | 3250.00 | 3835.00 | 2600.00 | 3068.00 | 2600.00 | vk sam engineering | 3068.00 | vk sam engineering
8.00 | Supplying and laying of 50 mm OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like coupler conforming to IS 4984 complete with fitting and cutting, jointing etc., direct in ground (75 cm below the ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required. (Make : As per List of Approved makes). | 200.00 | Mtrs | Item No.8 | 40000.00 | 47200.00 | 60000.00 | 70800.00 | 40000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 47200.00 | LAKSHMI ELECTRICAL ENTERPRISES
9.00 | Laying of one number PVC insulated and PVC sheathed 5 KV grade airfield lighting cable of size not exceeding 16 Sq.mm in the existing RCC/HUME/METAL/HDPE PIPE as required. | 300.00 | Mtrs | Item No.9 | 9000.00 | 10620.00 | 15000.00 | 17700.00 | 9000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 10620.00 | LAKSHMI ELECTRICAL ENTERPRISES
10.00 | Numbering of MIRL light fittings with ISI approved enamel paint with double coat of dia 1 feet with yellow paint as background and numbering with black paint of suitable size serialy etc., complete as required. | 65.00 | Each | Item No.10 | 6500.00 | 7670.00 | 16250.00 | 19175.00 | 6500.00 | LAKSHMI ELECTRICAL ENTERPRISES | 7670.00 | LAKSHMI ELECTRICAL ENTERPRISES
11.00 | Supply of 5 KV grade 6 sqmm Copper conductor airfield series lighting cable conforming to ICAO requirements as required. | 300.00 | Mtrs | Item No.11 | 31800.00 | 37524.00 | 28500.00 | 33630.00 | 28500.00 | vk sam engineering | 33630.00 | vk sam engineering
12.00 | SITC of 25 M highmast, hot dip galvanised, in three sections made of S 355 grade as per BS-EN10025 suitable for wind speed as IS 875 Part 3 to install LED Flood light luminaries as per detailed design in asymmetrical arrangement including counter weight loads/ Load balancing. The system shall also include all accessories like headframe, winch mounting bracket, Integral motor powered winch for raising and lowering of Lantern carriage, mechanical tripping facility, 6mm diameter SS wire rope, EPR insulated trailing cable (Minimum 7C x 2.5 Sqmm), Connector, Integral power tool, manual handle, Junction box, Lightning finial, Luminaries carriage, etc., complete as required as per technical specifications and carrying out the following jobs: a)Supply of foundation bolts manufactured from special steel along with nuts, washers, anchor plate and common template. b) Construction of shallow foundation with M25 grade concrete for the highmast considering the safe soil bearing capacity at site as 10T/sqmtr at 2 metre depth or as per OEM detailed design. c) Erection of the high mast with the help of suitable tools and plants. d) Wiring of luminaires with all wiring materials like PVC insulated PVC sheathed flexible cable of suitable copper conductor cores of 2.5 sq. mm, lugs etc. e) SITC of LED type single dome aviation obstruction light, complete with wiring from distribution box with all accessories including connections to timer switch, etc., complete as required. (Make : As per List of Approved makes) | 1.00 | Job | Item No.12 | 568000.00 | 670240.00 | 520000.00 | 613600.00 | 520000.00 | vk sam engineering | 613600.00 | vk sam engineering
13.00 | SITC of 300 Watts LED flood light fixture with minimum Lumen efficacy of 120 Lumen/W, Color Rendering Index minimum 70, Ingress Protection : IP 66, Mechanical Impact Protection :IK 08, suitable for 220V - 240V 50Hz AC Supply for erection on above high mast etc complete as required. (Make : As per List of Approved makes). | 10.00 | Each | Item No.13 | 135000.00 | 159300.00 | 106800.00 | 126024.00 | 106800.00 | vk sam engineering | 126024.00 | vk sam engineering
14.00 | SITC of outdoor stand mounted feeder pillar made with 2mm thick CRCA sheet including foundation, with IP 55 protection, 1no 32A FP MCCB incomer, single dial time switch, 25A TP contactor for the automatic switching of luminaries, power tool control with contactors/Pushbuttons for raising & lowering mechanism along with suitable MCB, suitable relays and contactor for Auto/ Manual Local/ Manual Remote operations, Incoming 35sq. mm and out going 16 & 2.5 sq. mm terminals and seperate provision of MCB, contactor and time switch for Aviation Obstruction Light connection etc complete required. | 1.00 | Each | Item No.14 | 33000.00 | 38940.00 | 24000.00 | 28320.00 | 24000.00 | vk sam engineering | 28320.00 | vk sam engineering
15.00 | Earthing with GI earth pipe for High mast, 4.5 m long 40 mm dia GI Pipe including accessories and providing masonry encloser with cover plate having locking arrangement and water pipe etc., with charcoal/coke and salt as required | 2.00 | Job | Item No.15 | 13000.00 | 15340.00 | 14000.00 | 16520.00 | 13000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 15340.00 | LAKSHMI ELECTRICAL ENTERPRISES
16.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut bolt, spring, washer excavation and re-filling etc. as required. | 10.00 | Mtrs | Item No.16 | 3500.00 | 4130.00 | 8250.00 | 9735.00 | 3500.00 | LAKSHMI ELECTRICAL ENTERPRISES | 4130.00 | LAKSHMI ELECTRICAL ENTERPRISES
17.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 5.00 | Mtrs | Item No.17 | 700.00 | 826.00 | 1500.00 | 1770.00 | 700.00 | LAKSHMI ELECTRICAL ENTERPRISES | 826.00 | LAKSHMI ELECTRICAL ENTERPRISES
18.00 | Supply of XLPE insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1988 with upto date amendments etc as required for the following sizes.(Make : As per approved list.) a) 3.5 C X 35 sq. mm (Make : As per List of Approved makes). | 150.00 | Mtrs | Item No.18 | 37500.00 | 44250.00 | 27750.00 | 32745.00 | 27750.00 | vk sam engineering | 32745.00 | vk sam engineering
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required. a)Upto 35 sq. mm | 50.00 | Mtrs | Item No.19 | 1500.00 | 1770.00 | 2000.00 | 2360.00 | 1500.00 | LAKSHMI ELECTRICAL ENTERPRISES | 1770.00 | LAKSHMI ELECTRICAL ENTERPRISES
20.00 | Laying of one number PVC insulated and PVC sheathed I XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUMEI METAL pipe as required. a) Upto 35 sq. mm | 100.00 | Mtrs | Item No.20 | 3000.00 | 3540.00 | 5000.00 | 5900.00 | 3000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 3540.00 | LAKSHMI ELECTRICAL ENTERPRISES
21.00 | Supplying and laying of 125 mm OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like coupler conforming to IS 4984 complete with fitting and cutting, jointing etc., direct in ground (75 cm below the ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required.(Make : As per List of Approved makes). | 100.00 | Mtrs | Item No.21 | 53000.00 | 62540.00 | 66500.00 | 78470.00 | 53000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 62540.00 | LAKSHMI ELECTRICAL ENTERPRISES
22.00 | Supplying and making straight through joint with heatshrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. i) 3.5 C X 35 Sqmm | 4.00 | Set | Item No.22 | 9200.00 | 10856.00 | 10400.00 | 12272.00 | 9200.00 | LAKSHMI ELECTRICAL ENTERPRISES | 10856.00 | LAKSHMI ELECTRICAL ENTERPRISES
23.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed I XLPE aluminium conductor cable of 1.1 kV grade as required i) 3.5 C X 35 sqmm | 2.00 | Set | Item No.23 | 1000.00 | 1180.00 | 500.00 | 590.00 | 500.00 | vk sam engineering | 590.00 | vk sam engineering
24.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 300.00 | Mtrs | Item No.24 | 8400.00 | 9912.00 | 7500.00 | 8850.00 | 7500.00 | vk sam engineering | 8850.00 | vk sam engineering
| Total in Figures |  |  |  | 1491150.00 | 1759557.00 | 1563630.00 | 1845083.40

## BOQ Summary
BOQ Summary Details Tender Title: APRON EXTENSION AT PUDUCHERRY AIRPORT SH ELECTRICAL WORKS Tender ID: 2022_AAI_127531_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 1759557.00 | L1
| 2 | vk sam engineering | 1845083.40 | L2