## BoQ1
Government eProcurement System Created By: DINESH KHATRI Created Date/Time: 02-Dec-2022 12:09 PM Tender Title: Provision of gas based automatic fire suppression system for CNS/ATM facilities at Maharana Pratap Airport, Udaipur (Rajasthan) Tender ID: 2022_AAI_127994_2
Tender Inviting Authority: Asstt. GM (Engg.-Elect.), AAI, M.P. Airport, Udaipur
Name of Work: Provision of gas based automatic fire suppression system for CNS/ATM facilities at Maharana Pratap Airport, Udaipur (Rajasthan).
Contract No: AAI/UDR/ENGG(E)/FSS/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Newage Fire Protection Engineers Pvt. Ltd.(GSTN-27AACCN9026C1ZN) |  | Nexus Fire And Security Systems(GSTN-07AAKFN7125K1ZY) |  | M/S. Safe N Secure Fire Systems(GSTN-27BDLPK4182N1ZX) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | SVS Buildwel Pvt Ltd(GSTN-07AALCS7473H1ZU) |  | advent electric technologies pvt. ltd.(GSTN-07AAJCA2055K1ZN)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
0.00 | Design, manufacuring, supply, installation, testing and commissioning of Gas Suppression System consisting of Cylinder PESO Approved, complete with UL / VDS / PESO Approved valve assembly and arrangement for supervisory switch connection for monitoring cylinder pressure, a pressure guage with a safety burst disc, electronic control head / Solenoid, pressure operated control head, flexible hose, strap, NRV, Pressure Switch and a safety cap, required nos. of Nozzles (UL / VDS listed), Piping, Manifold etc. complete as required.
1.00 | Gas.(Quantity would be as per the volume given below and as per the UL / VDS certification.) CLEAN AGENT (FK-5-1-12) / Inert Gas with Zero Ozone Depletion Potential (ODP), has appearance / Colourless gas and odour less. Note: The Cylinder, Volume of Gas, Nos. of Nozzles, piping design and pressure calculations using manufacturer design software for a given dimension of room duly approved by manufacturer (OEM) shall be submitted prior to starting of the works. Gas suppression System for following rooms and given approximate volume.
1.01 | Localiser room - 44 Cubic Mtr Volume | 1.00 | Set | 0.00 | 338648.00 | 338648.00 | 272710.00 | 272710.00 | 408565.00 | 408565.00 | 313000.00 | 313000.00 | 795842.00 | 795842.00 | 445547.10 | 445547.10 | 272710.00 | Nexus Fire And Security Systems
1.02 | Glide path room - 44 Cubic Mtr Volume | 1.00 | Set | 0.00 | 338648.00 | 338648.00 | 272710.00 | 272710.00 | 408565.00 | 408565.00 | 313000.00 | 313000.00 | 568342.00 | 568342.00 | 445547.05 | 445547.05 | 272710.00 | Nexus Fire And Security Systems
1.03 | DVOR room - 80 Cubic Mtr Volume | 1.00 | Set | 0.00 | 433607.00 | 433607.00 | 345760.00 | 345760.00 | 516125.00 | 516125.00 | 416000.00 | 416000.00 | 714470.00 | 714470.00 | 543544.00 | 543544.00 | 345760.00 | Nexus Fire And Security Systems
1.04 | Equipment room - 106 Cubic Mtr Volume | 1.00 | Set | 0.00 | 491111.00 | 491111.00 | 382955.00 | 382955.00 | 562160.00 | 562160.00 | 475000.00 | 475000.00 | 769720.00 | 769720.00 | 589171.00 | 589171.00 | 382955.00 | Nexus Fire And Security Systems
1.05 | Automation room - 254 Cubic Mtr Volume | 1.00 | Set | 0.00 | 973180.00 | 973180.00 | 760260.00 | 760260.00 | 903845.00 | 903845.00 | 927000.00 | 927000.00 | 1317476.00 | 1317476.00 | 923738.20 | 923738.20 | 760260.00 | Nexus Fire And Security Systems
1.06 | EPABX room - 122 Cubic Mtr Volume | 1.00 | Set | 0.00 | 529569.00 | 529569.00 | 414194.00 | 414194.00 | 592850.00 | 592850.00 | 535000.00 | 535000.00 | 836220.00 | 836220.00 | 669255.00 | 669255.00 | 414194.00 | Nexus Fire And Security Systems
1.07 | Briefing room - 254 Cubic Mtr Volume | 1.00 | Set | 0.00 | 973180.00 | 973180.00 | 760260.00 | 760260.00 | 913795.00 | 913795.00 | 927000.00 | 927000.00 | 1317476.00 | 1317476.00 | 923738.00 | 923738.00 | 760260.00 | Nexus Fire And Security Systems
1.08 | ATC tower - 227 Cubic Mtr Volume | 1.00 | Set | 0.00 | 925324.00 | 925324.00 | 723065.00 | 723065.00 | 885475.00 | 885475.00 | 868000.00 | 868000.00 | 1073854.00 | 1073854.00 | 878111.00 | 878111.00 | 723065.00 | Nexus Fire And Security Systems
1.09 | RCAG room - 40 Cubic Mtr Volume | 1.00 | Set | 0.00 | 333354.00 | 333354.00 | 268334.00 | 268334.00 | 416935.00 | 416935.00 | 310000.00 | 310000.00 | 561842.00 | 561842.00 | 440179.15 | 440179.15 | 268334.00 | Nexus Fire And Security Systems
1.10 | Radar room - 71 Cubic Mtr Volume | 1.00 | Set | 0.00 | 415365.00 | 415365.00 | 332633.00 | 332633.00 | 537050.00 | 537050.00 | 394000.00 | 394000.00 | 694970.00 | 694970.00 | 527440.15 | 527440.15 | 332633.00 | Nexus Fire And Security Systems
| Total in Figures |  |  |  |  | 5751986.00 |  | 4532881.00 |  | 6145365.00 |  | 5478000.00 |  | 8650212.00 |  | 6386270.65
Lowest Amount Quoted BY: Nexus Fire And Security Systems(4532881.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of gas based automatic fire suppression system for CNS/ATM facilities at Maharana Pratap Airport, Udaipur (Rajasthan) Tender ID: 2022_AAI_127994_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Nexus Fire And Security Systems | 4532881.00 | L1
| 2 | CENTRE TAP ENGINEERING | 5478000.00 | L2
| 3 | Newage Fire Protection Engineers Pvt. Ltd. | 5751986.00 | L3
| 4 | M/S. Safe N Secure Fire Systems | 6145365.00 | L4
| 5 | advent electric technologies pvt. ltd. | 6386270.65 | L5
| 6 | SVS Buildwel Pvt Ltd | 8650212.00 | L6