## BoQ1
Government eProcurement System Created By: Rahul S Mankar Created Date/Time: 06-Oct-2022 01:40 PM Tender Title: ARMO of E and M Installations at Akola Airport. Year 2022-24. SH- Operation and Maintenance of EandM Installations Tender ID: 2022_AAI_128001_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect), AAI, Nagpur
Name of Work :- ARMO of E & M Installations at Akola Airport. (Year 2022-24). SH:- Operation & Maintenance of E&M Installations.
Contract No: AAI/NGP/E-E/2022-23/01/W-1/Akola-AMC/NIT-01/ Date: 06.09.2022
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INTEGER INFRATECH PRIVATE LIMITED(GSTN-24AADCI9972R1ZN) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | D K ELECTRICALS(GSTN-27BVRPP7444L1ZM) |  | Sew Engineering Works Pvt Ltd(GSTN-09AAACS2845N1ZY) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance
1.01 | Operation and Maintenance of E&M Installations for one shift of 8 Hrs. on all working days including Sundays & holidays which involves operation, preventive / routine / breakdown maintenance, attending complaints, repairs with proper tools & plants, documentation etc. as per the contract terms and conditions and directions of Engineer-in-charge. (a) 01 No. Wireman (Skilled) (b) 01 No. Un-skilled (Helper) | 24.00 | Month | 38128.00 | 40000.00 | 960000.00 | 37000.00 | 888000.00 | 37299.00 | 895176.00 | 37123.00 | 890952.00 | 36000.00 | 864000.00 | 39500.00 | 948000.00 | 50470.00 | 1211280.00 | 864000.00 | M K ENTERPRISES
1.02 | Deployment of Document Assistant cum Computer Operator with adequate knowledge of software such as MS Office/Data Entry/Inventory Management i/c. DTP works on all days except on Sundays and holidays etc. as required. | 24.00 | Month | 30269.00 | 32000.00 | 768000.00 | 28000.00 | 672000.00 | 26000.00 | 624000.00 | 29434.00 | 706416.00 | 27000.00 | 648000.00 | 26965.00 | 647160.00 | 28135.00 | 675240.00 | 624000.00 | D K ELECTRICALS
2.00 | CMC of Air Conditioners & Water Cooler cum Purifiers.
2.01 | Comprehensive maintenance of 2.0 TR Split type Air Conditioners of all makes at different locations, including providing & fixing all necessary consumables and spares such as replacement of faulty compressor, condensers, PCB cards, contactors, sensors, insulating foam etc. complete as required and as per the special conditions and directions of Engineer-in-charge. (Total 18 Nos. of AC Units). | 24.00 | Per Month for 18 Units | 16261.00 | 1500.00 | 36000.00 | 8000.00 | 192000.00 | 7350.00 | 176400.00 | 3500.00 | 84000.00 | 3500.00 | 84000.00 | 6000.00 | 144000.00 | 4500.00 | 108000.00 | 36000.00 | INTEGER INFRATECH PRIVATE LIMITED
2.02 | Comprehensive maintenance of Aqua guard storage cooler cum water purifier of 40/80 Ltr. capacity of all makes at different locations, including providing & fixing all necessary consumables and spares such as replacement of faulty compressor and filter Cartridges etc. complete as required and as per the special conditions and directions of Engineer-in-charge. (Total 03 Nos. of Water Coolers). | 24.00 | Per Month for 3 Units | 1568.00 | 1000.00 | 24000.00 | 2000.00 | 48000.00 | 1377.00 | 33048.00 | 7500.00 | 180000.00 | 450.00 | 10800.00 | 1800.00 | 43200.00 | 1200.00 | 28800.00 | 10800.00 | M K ENTERPRISES
2.03 | Replacement of following parts of 25 LPH RO unit at Akola Airport as per instructions of Engineer-in-Charge as required.
2.03 | Booster pump 150 GPD (Hitech/BNQS or Similar) | 1.00 | Nos. | 3695.00 | 1800.00 | 1800.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 2985.00 | 2985.00 | 3500.00 | 3500.00 | 2200.00 | 2200.00 | 1980.00 | 1980.00 | 1800.00 | INTEGER INFRATECH PRIVATE LIMITED
2.03 | RO Membrane 75 GPD (Hitech or Similar) | 2.00 | Nos. | 2112.00 | 1600.00 | 3200.00 | 2000.00 | 4000.00 | 1200.00 | 2400.00 | 1098.00 | 2196.00 | 2200.00 | 4400.00 | 1500.00 | 3000.00 | 1320.00 | 2640.00 | 2196.00 | Sew Engineering Works Pvt Ltd
2.03 | Sediment Filter 10" (Hitech or Similar) | 1.00 | Nos. | 528.00 | 150.00 | 150.00 | 500.00 | 500.00 | 600.00 | 600.00 | 714.00 | 714.00 | 1500.00 | 1500.00 | 350.00 | 350.00 | 275.00 | 275.00 | 150.00 | INTEGER INFRATECH PRIVATE LIMITED
2.03 | GAC Filter 10" (Hitech or Similar) | 1.00 | Nos. | 528.00 | 250.00 | 250.00 | 500.00 | 500.00 | 550.00 | 550.00 | 328.00 | 328.00 | 500.00 | 500.00 | 250.00 | 250.00 | 275.00 | 275.00 | 250.00 | INTEGER INFRATECH PRIVATE LIMITED, Manish Electricals
2.04 | CTO Filter 10" (Hitech or Similar) | 1.00 | Nos. | 528.00 | 250.00 | 250.00 | 500.00 | 500.00 | 750.00 | 750.00 | 648.00 | 648.00 | 450.00 | 450.00 | 250.00 | 250.00 | 275.00 | 275.00 | 250.00 | INTEGER INFRATECH PRIVATE LIMITED, Manish Electricals
2.04 | RO Filter 10" (Hitech or Similar) | 1.00 | Nos. | 1760.00 | 60.00 | 60.00 | 1500.00 | 1500.00 | 650.00 | 650.00 | 715.00 | 715.00 | 500.00 | 500.00 | 500.00 | 500.00 | 165.00 | 165.00 | 60.00 | INTEGER INFRATECH PRIVATE LIMITED
2.04 | Alkaline Filter (Hitech or Similar) | 1.00 | Nos. | 1525.00 | 1800.00 | 1800.00 | 1250.00 | 1250.00 | 500.00 | 500.00 | 988.00 | 988.00 | 400.00 | 400.00 | 1500.00 | 1500.00 | 1375.00 | 1375.00 | 400.00 | M K ENTERPRISES
2.04 | UF Filter 10" (Hitech or Similar) | 1.00 | Nos. | 528.00 | 750.00 | 750.00 | 500.00 | 500.00 | 650.00 | 650.00 | 1200.00 | 1200.00 | 250.00 | 250.00 | 350.00 | 350.00 | 688.00 | 688.00 | 250.00 | M K ENTERPRISES
2.04 | Solenoid Valve, 24 Volts | 1.00 | Nos. | 411.00 | 450.00 | 450.00 | 300.00 | 300.00 | 350.00 | 350.00 | 750.00 | 750.00 | 300.00 | 300.00 | 350.00 | 350.00 | 275.00 | 275.00 | 275.00 | ABHISHEK INTEGRATIONS LIMITED
3.00 | Supply of Electrical Spares
3.01 | 5/6 A One Way Switch (Anchor Penta Piano Code No.38069 or similar) | 10.00 | Nos. | 14.00 | 25.00 | 250.00 | 15.00 | 150.00 | 23.00 | 230.00 | 21.00 | 210.00 | 80.00 | 800.00 | 15.00 | 150.00 | 13.00 | 130.00 | 130.00 | ABHISHEK INTEGRATIONS LIMITED
3.02 | 6 A / 16 A, SS Combined with 4 Fixing Holes (Anchor Code No.39998 or similar) | 5.00 | Nos. | 115.00 | 175.00 | 875.00 | 150.00 | 750.00 | 40.00 | 200.00 | 168.00 | 840.00 | 200.00 | 1000.00 | 135.00 | 675.00 | 105.00 | 525.00 | 200.00 | D K ELECTRICALS
3.03 | 40 A Three Pole MCB (C-Series) (L&T BB30400C / C&S CSMBS3C40 or Similar). | 2.00 | Nos. | 1456.00 | 1150.00 | 2300.00 | 1000.00 | 2000.00 | 750.00 | 1500.00 | 1420.00 | 2840.00 | 1800.00 | 3600.00 | 1400.00 | 2800.00 | 895.00 | 1790.00 | 1500.00 | D K ELECTRICALS
3.04 | 4 Module, 63 A, Residual Current Breaker with Overcurrent Protection (RCBO) with sensivity 100 mA (Legrand 4113 35 / L&T AUF3C206310 or Similar). | 3.00 | Nos. | 4122.00 | 1100.00 | 3300.00 | 1000.00 | 3000.00 | 2800.00 | 8400.00 | 5654.00 | 16962.00 | 4000.00 | 12000.00 | 6600.00 | 19800.00 | 3094.00 | 9282.00 | 3000.00 | M/s BHARAT ELECTRIC, NAGPUR
3.05 | 4 A, BS -type fuse links, gG, 415 V, 80 kA (ABB 1SCA107787R1001 or Similar). | 12.00 | Nos. | 72.00 | 450.00 | 5400.00 | 100.00 | 1200.00 | 150.00 | 1800.00 | 60.00 | 720.00 | 348.84 | 4186.08 | 550.00 | 6600.00 | 88.00 | 1056.00 | 720.00 | Sew Engineering Works Pvt Ltd
3.06 | Multifunction meter of Class accuracy 1.0 (Schneider Conzerv 5.1 Hexa Series Product Code EM6436H / L&T MFM 4405 WL440511OOOO or similar | 6.00 | Nos. | 4573.00 | 5100.00 | 30600.00 | 5475.00 | 32850.00 | 4500.00 | 27000.00 | 6500.00 | 39000.00 | 6600.00 | 39600.00 | 8000.00 | 48000.00 | 4628.00 | 27768.00 | 27000.00 | D K ELECTRICALS
| Total in Figures |  |  |  |  | 1839435.00 |  | 1852000.00 |  | 1776204.00 |  | 1932464.00 |  | 1679786.08 |  | 1869135.00 |  | 2071819.00
Lowest Amount Quoted BY: M K ENTERPRISES(1679786.08)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Akola Airport. Year 2022-24. SH- Operation and Maintenance of EandM Installations Tender ID: 2022_AAI_128001_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 1679786.08 | L1
| 2 | D K ELECTRICALS | 1776204.00 | L2
| 3 | INTEGER INFRATECH PRIVATE LIMITED | 1839435.00 | L3
| 4 | M/s BHARAT ELECTRIC, NAGPUR | 1852000.00 | L4
| 5 | Manish Electricals | 1869135.00 | L5
| 6 | Sew Engineering Works Pvt Ltd | 1932464.00 | L6
| 7 | ABHISHEK INTEGRATIONS LIMITED | 2071819.00 | L7