## BoQ1
Government eProcurement System Created By: SUJATHA R Created Date/Time: 12-Oct-2022 04:59 PM Tender Title: Replacement of cables in Operational area at Puducherry Airport Tender ID: 2022_AAI_128702_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI AIRPORT, CHENNAI - 600 027.
Name of Work: Replacement of cables in opertaional area at Puducherry Airport.
Contract No: 2021_AAI_128702_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | vk sam engineering(GSTN-33AMZPS4037L1ZA) |  | J.K ENGINEERING ASSOCIATES(GSTN-NA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Supply of following XLPE insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1988 with upto date amendments etc as required for the following sizes.(Make :As per approved list.)
1.01 | a) 3.5C X 70 sq. mm | 400.00 | Mtr | Item No.1 | 192000.00 | 226560.00 | 174400.00 | 205792.00 | 172800.00 | 203904.00 | 239600.00 | 282728.00 | 172800.00 | J.K ENGINEERING ASSOCIATES | 203904.00 | J.K ENGINEERING ASSOCIATES
1.02 | b) 3.5C X 240 sq. mm | 710.00 | Mtr | Item No.2 | 1008200.00 | 1189676.00 | 885370.00 | 1044736.60 | 852000.00 | 1005360.00 | 993290.00 | 1172082.20 | 852000.00 | J.K ENGINEERING ASSOCIATES | 1005360.00 | J.K ENGINEERING ASSOCIATES
2.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required Above 35 sq. mm and upto 95 sq. mm | 25.00 | Mtr | Item No.3 | 1250.00 | 1475.00 | 1875.00 | 2212.50 | 2500.00 | 2950.00 | 2475.00 | 2920.50 | 1250.00 | LAKSHMI ELECTRICAL ENTERPRISES | 1475.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 sq. mm and upto 95 sq. mm | 375.00 | Mtr | Item No.4 | 30000.00 | 35400.00 | 31500.00 | 37170.00 | 45000.00 | 53100.00 | 45000.00 | 53100.00 | 30000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 35400.00 | LAKSHMI ELECTRICAL ENTERPRISES
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required Above 185 sq. mm and upto 400 sq. mm | 710.00 | Mtr | Item No.5 | 92300.00 | 108914.00 | 80940.00 | 95509.20 | 136320.00 | 160857.60 | 112890.00 | 133210.20 | 80940.00 | vk sam engineering | 95509.20 | vk sam engineering
5.00 | Supplying and laying of 90 mm OD HDPE Pipe of PE 80 PN 6 ISI Marked along with all accessories like coupler conforming to IS 4984 complete with fitting and cutting, jointing etc., direct in ground (75 cm below the ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required. | 375.00 | Mtr | Item No.6 | 138750.00 | 163725.00 | 133500.00 | 157530.00 | 126000.00 | 148680.00 | 262125.00 | 309307.50 | 126000.00 | J.K ENGINEERING ASSOCIATES | 148680.00 | J.K ENGINEERING ASSOCIATES
6.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5Cx70 Sqmm | 2.00 | Set | Item No.7 | 6000.00 | 7080.00 | 5512.00 | 6504.16 | 12000.00 | 14160.00 | 18000.00 | 21240.00 | 5512.00 | vk sam engineering | 6504.16 | vk sam engineering
7.00 | Supplying and making straight through joint with heatshrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. i)3½ X 240 sq.mm | 4.00 | Set | Item No.8 | 18000.00 | 21240.00 | 22600.00 | 26668.00 | 40000.00 | 47200.00 | 48000.00 | 56640.00 | 18000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 21240.00 | LAKSHMI ELECTRICAL ENTERPRISES
8.00 | Supplying and Making end termination with brass compression gland and aluminium lugs for following PVC insulated and PVC sheathed / XLPE insulated 1.1KV grade cables as required. 3½ X 70 sq. mm (38mm) | 4.00 | Each | Item No.9 | 3000.00 | 3540.00 | 1908.00 | 2251.44 | 4320.00 | 5097.60 | 4800.00 | 5664.00 | 1908.00 | vk sam engineering | 2251.44 | vk sam engineering
9.00 | Supplying and Making end termination with brass compression gland and aluminium lugs for following PVC insulated and PVC sheathed / XLPE insulated 1.1KV grade cables as required. 3½ X 240 sq.mm | 8.00 | Each | Item No.10 | 7600.00 | 8968.00 | 8664.00 | 10223.52 | 13600.00 | 16048.00 | 9600.00 | 11328.00 | 7600.00 | LAKSHMI ELECTRICAL ENTERPRISES | 8968.00 | LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  | 1497100.00 | 1766578.00 | 1346269.00 | 1588597.42 | 1404540.00 | 1657357.20 | 1735780.00 | 2048220.40

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of cables in Operational area at Puducherry Airport Tender ID: 2022_AAI_128702_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | vk sam engineering | 1588597.42 | L1
| 2 | J.K ENGINEERING ASSOCIATES | 1657357.20 | L2
| 3 | LAKSHMI ELECTRICAL ENTERPRISES | 1766578.00 | L3
| 4 | DElite System Engineering (India) Pvt. Ltd. | 2048220.40 | L4