## BoQ1
Government eProcurement System Created By: Moatemjen Pongen Created Date/Time: 13-Oct-2022 03:27 PM Tender Title: Annual Maintenance and Comprehensive Maintenance of Window and split type AC and water cooler at Dimapur Airport. (2022 24) Tender ID: 2022_AAI_129031_1
Tender Inviting Authority: AGM(E-E) AAI, Dimapur Airport.
Name of Work: Annual Operational and Comprehensive Maintenance of Window/split type AC Units & Water Coolers at Dimapur Airport(2022-24)
Contract No: 2022_AAI_129031_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Comprehensive maintenance of window type and split type airconditioners of all makes of 1.5 Tr/2Tr/3Tr capacity with voltage stabilizer at different locations i/c providing all necessary consumables & spares complete as reqd as per special conditions.(Make:-Voltas/BlueStar/Carrier/Toshiba/L.G/etc.)
1.10 | First year | 94.00 | Job |  | 2400.00 | 225600.00 | 2200.00 | 206800.00 | 206800.00 | ABHISHEK INTEGRATIONS LIMITED
1.20 | Second year | 98.00 | Job |  | 2400.00 | 235200.00 | 2200.00 | 215600.00 | 215600.00 | ABHISHEK INTEGRATIONS LIMITED
2.00 | Annual Comprehensive Maintenance of water coolers/purifier of all types and makes of 40/60/80/120 Ltrs at different locations i/c providing all necessary consumables and spares etc. complete as reqd as per special conditions.
2.10 | First year | 6.00 | Job |  | 2000.00 | 12000.00 | 7000.00 | 42000.00 | 12000.00 | M K ENTERPRISES
2.20 | Second year | 8.00 | Job |  | 2000.00 | 16000.00 | 7000.00 | 56000.00 | 16000.00 | M K ENTERPRISES
3.00 | Operation and annual comprehensive maintenance of package type airconditioning unit 11TR, heater, electric control panel and allied accessories as reqd. AC equipment and allied accessories and providing all neccessary consumables and spare sets complete as reqd as per enclosed preventive maintenance schedule and special conditions etc as reqd. Make. Blue Star
3.10 | First year | 4.00 | Job |  | 20000.00 | 80000.00 | 30000.00 | 120000.00 | 80000.00 | M K ENTERPRISES
3.20 | Second year | 4.00 | Job |  | 20000.00 | 80000.00 | 30000.00 | 120000.00 | 80000.00 | M K ENTERPRISES
4.00 | Providing one AC mechanic and one helper for attending complaints/faults/breakdown and taking rectification action for ensuring serviceability/satisfactory working condition of the system, performing preventive maintenance checks, maintenance of records/documentations etc. as per the detailed specifications, terms and conditions cover under this contract on all working days including Sunday and Holidays. | 24.00 | Months |  | 33200.00 | 796800.00 | 42086.00 | 1010064.00 | 796800.00 | M K ENTERPRISES
5.00 | Dismantling and re-installation of 1.5 TR/ 2 TR/3 TR/4 TR Split type/window/ tower AC units type upto 5 mtrs refrigerant piping including mounting of arrangements, charging of refrigerant gas, insulation of refrigerant piping with extended polythylene/PVC piping etc. complete as required. | 6.00 | Job |  | 3000.00 | 18000.00 | 1500.00 | 9000.00 | 9000.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Supply, Installation, Testing and Commisioning of refrigerant piping including insulation, PVC protection pipping for suction and discharge line for split and other type AC units. | 50.00 | Mtr. |  | 500.00 | 25000.00 | 1000.00 | 50000.00 | 25000.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 1488600.00 |  | 1829464.00
Lowest Amount Quoted BY: M K ENTERPRISES(1488600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance and Comprehensive Maintenance of Window and split type AC and water cooler at Dimapur Airport. (2022 24) Tender ID: 2022_AAI_129031_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 1488600.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 1829464.00 | L2