## BoQ1
Government eProcurement System Created By: KAMBLE TANAJI Created Date/Time: 20-Oct-2022 05:11 PM Tender Title: Improvement of illumination in terminal building and other electrical works at Pune Airport in 2022 Tender ID: 2022_AAI_129290_1
Tender Inviting Authority: Asst. General Manager (Engg-Elect), Pune Airport
Name of Work: Improvement of illumination in terminal building and other electrical works at Pune Airport in 2022.
Contract No: 2022_AAI_ 129290_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | GAURAV HEAVY ENGINEERING (I) PVT. LTD.(GSTN-27AACCG4055G1ZR) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following type indoor LED light fitting efficacy >110 lumen/watt, power factor >0.95 , IP20, CRI >80, burning hours>50000 hours, 85% driver efficiency, THD<10%, 05 years OEM warranty made out of CRCA / extruded aluminum/ PDC aluminum, heat sink, mounting clamp/bracket, LEDs driver, surge protection system , complying with LM 80 & LM 79 etc. complete as required.
1.01 | 4000K 600mmX600mm Recess type square fitting Make: Philips, Model: RC380B LED42S-4000 G6 L60W60 PSU OD or Make: Bajaj, Model: BZRSQL 36L LED GX NW or equivalent. | 209.00 | Each |  | 3100.00 | 647900.00 | 2200.00 | 459800.00 | 2500.00 | 522500.00 | 2583.00 | 539847.00 | 459800.00 | Manish Electricals
1.02 | 4000K 205 mm cutout dia (Approx.) round shaped recess type downlight fitting Make: Philips, Model: TC GP6 200 LED 19S-4000 PSU WH201 or Make: Bajaj, Model: BZSLO nxt 24L LED WH SD or equivalent. | 181.00 | Each |  | 2100.00 | 380100.00 | 1450.00 | 262450.00 | 1500.00 | 271500.00 | 1624.00 | 293944.00 | 262450.00 | Manish Electricals
1.03 | 4000K 177 mm cutout dia (Approx.) round shaped recess type downlight fitting Make: Philips, Model: RS271B LED40/840 PSU-E WB WH or Make: Bajaj, Model: BCDLR 30W LED WH or equivalent. | 84.00 | Each |  | 3050.00 | 256200.00 | 4500.00 | 378000.00 | 1500.00 | 126000.00 | 2542.00 | 213528.00 | 126000.00 | GAURAV HEAVY ENGINEERING (I) PVT. LTD.
1.04 | 6500K 4 ft long surface type batten Make: Philips, Model: BN308C LED 40S-6500 L120 PSU WH or Make: Bajaj, Model: BIBLB 36W WH PC SD or equivalent. | 305.00 | Each |  | 1100.00 | 335500.00 | 2000.00 | 610000.00 | 360.00 | 109800.00 | 2747.00 | 837835.00 | 109800.00 | GAURAV HEAVY ENGINEERING (I) PVT. LTD.
2.00 | Installation testing commisioning of indoor LED light fitting recess/surface type at high ceiling (Up to 10 mtr height) including arrangement of ladder/ scaffolding/ hydraulic lift as required, filler to provide aesthetic look, opening, cutting, refixing of false ceiling/ACP sheet/gypsum sheet (if required), making hole, screw, nut, bolts etc. complete as required. | 649.00 | Each |  | 100.00 | 64900.00 | 450.00 | 292050.00 | 1500.00 | 973500.00 | 220.00 | 142780.00 | 64900.00 | jaydeep agency corporation
3.00 | Dismantling of existing indoor recess type light fitting from high ceiling (up to 10 mtr. Height) including arrangement of ladder/ scaffolding/ hydraulic lift (if required) and shifting the dismantled fittings to AAI store as directed by Engineer-In-Charge. | 395.00 | Each |  | 25.00 | 9875.00 | 100.00 | 39500.00 | 800.00 | 316000.00 | 110.00 | 43450.00 | 9875.00 | jaydeep agency corporation
4.00 | Supply installation testing commissioning of 400 CFM of required water gauge static pressure 1-ph 50Hz 230V AC cabinet/inline fan in toilet through 24 gauge GI duct fo suitable size, powder coated extruded aluminum grill of required airflow angles of size suitable for wall cutout on toilet wall, bird screen at outside duct end opening, canvas connection, acoustic enclosure for fan and duct, 3Cx1.5 sqmm. copper conductor industrial cable including connection, suitable fixing arrangements like fabricated stand with load bearing capacity, frames, gaskets, anchor fastener, nuts, bolts, modification of existing wall cutout with good finish, scaffolding/ladder (if required) etc. complete as required to ensure tolerable ventilation noise at toilet upto the satisfaction of Engineer-In-Charge. | 23.00 | Each |  | 36900.00 | 848700.00 | 18150.00 | 417450.00 | 10000.00 | 230000.00 | 9165.00 | 210795.00 | 210795.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Dismantling of existing exhaust fan, associated grill at toilet with required tools like spanner, rust removing liquid, wrench, ladder/scaffolding (if required) and expert manpower including shifting the dismantled materials to AAI store as directed by Engineer-In-Charge. | 23.00 | Each |  | 100.00 | 2300.00 | 200.00 | 4600.00 | 5000.00 | 115000.00 | 215.00 | 4945.00 | 2300.00 | jaydeep agency corporation
6.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 32.00 | Point |  | 2800.00 | 89600.00 | 1650.00 | 52800.00 | 810.00 | 25920.00 | 1430.00 | 45760.00 | 25920.00 | GAURAV HEAVY ENGINEERING (I) PVT. LTD.
7.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 200.00 | Meter |  | 320.00 | 64000.00 | 350.00 | 70000.00 | 1500.00 | 300000.00 | 275.00 | 55000.00 | 55000.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 2699075.00 |  | 2586650.00 |  | 2990220.00 |  | 2387884.00
Lowest Amount Quoted BY: ABHISHEK INTEGRATIONS LIMITED(2387884.00)

## BOQ Summary
BOQ Summary Details Tender Title: Improvement of illumination in terminal building and other electrical works at Pune Airport in 2022 Tender ID: 2022_AAI_129290_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK INTEGRATIONS LIMITED | 2387884.00 | L1
| 2 | Manish Electricals | 2586650.00 | L2
| 3 | jaydeep agency corporation | 2699075.00 | L3
| 4 | GAURAV HEAVY ENGINEERING (I) PVT. LTD. | 2990220.00 | L4