## BoQ1
Government eProcurement System Created By: MANTRIMAYUM CHINGLENSANA SINGH Created Date/Time: 18-Nov-2022 03:07 PM Tender Title: Provision of Power Supply for Watch Towers at Imphal Airport Tender ID: 2022_AAI_129463_1
Tender Inviting Authority: Asstt. GM (Engg.-Elect)-I
Name of Work: Provision of Power Supply for Watch Towers at Imphal Airport.
Contract No: 2022_AAI_129463_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S TH ROMESH SINGH(GSTN-14BMBPS7319Q2ZF)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.1 kV power cable of following size Aluminium cond. XLPE insulated PVC sheathed armoured cable.
1.01 | i) 4C x 10 Sqmm | 750.00 | Mtr |  | 250.00 | 187500.00 | 187500.00 | M/S TH ROMESH SINGH
1.02 | ii) 4C x 4 Sqmm | 450.00 | Mtr |  | 160.00 | 72000.00 | 72000.00 | M/S TH ROMESH SINGH
2.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size upto 35 sq. mm in the existing pipe. | 1100.00 | Mtr |  | 30.00 | 33000.00 | 33000.00 | M/S TH ROMESH SINGH
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of size upto 35 sq.mm on wall surface. | 200.00 | Mtr |  | 40.00 | 8000.00 | 8000.00 | M/S TH ROMESH SINGH
4.00 | Laying of one number PVC insulated and PVC sheathed/XLPE power cable of 1.1 KV grade of size upto 35 sq. mm direct in ground including excavation, sand cushioning, protective covering and refilling the trench. | 100.00 | Mtr |  | 250.00 | 25000.00 | 25000.00 | M/S TH ROMESH SINGH
5.00 | Supply and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed/XLPE aluminium conductor cable of 1.1 KV grade.
5.01 | i) 4C x 10 Sqmm. (25 mm) | 4.00 | Nos |  | 350.00 | 1400.00 | 1400.00 | M/S TH ROMESH SINGH
5.02 | ii) 4C x 4 Sqmm. (16 mm) | 12.00 | Nos |  | 250.00 | 3000.00 | 3000.00 | M/S TH ROMESH SINGH
6.00 | Providing, laying and fixing 50mm dia G.I. pipe (medium class)in ground complete with GI fittings including trenching (75 mm deep) and re-filling etc as required. | 24.00 | Mtr |  | 750.00 | 18000.00 | 18000.00 | M/S TH ROMESH SINGH
7.00 | Demolishing cement concrete / bituminous road by manually / mechanical means including disposal of material within 50 meters lead as per direction of Engineer-in-Charge. | 1.00 | Cum |  | 2000.00 | 2000.00 | 2000.00 | M/S TH ROMESH SINGH
8.00 | Providing and Laying in position cement concrete 1:2:4 (1 cement :2 coarse sand : 4 graded stone aggregated 20mm nominal size) in foundation / road crossing etc. | 1.00 | Cum |  | 7500.00 | 7500.00 | 7500.00 | M/S TH ROMESH SINGH
9.00 | Wiring for light point/ fan point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5sqmm FRLS PVC insulated copper conductor single core cable etc as required. | 40.00 | Points |  | 1000.00 | 40000.00 | 40000.00 | M/S TH ROMESH SINGH
10.00 | Wiring for circuit/ submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit 2 x 2.5 sq. mm + 1 x 2.5 sq.mm earth wire | 16.00 | Mtr |  | 290.00 | 4640.00 | 4640.00 | M/S TH ROMESH SINGH
11.00 | Supply & fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connection etc. as required. | 8.00 | Each |  | 1500.00 | 12000.00 | 12000.00 | M/S TH ROMESH SINGH
12.00 | Supply of Surface mounting 1 x 10W LED 2 feet Tubelight Batten as per techical specification. | 8.00 | Each |  | 600.00 | 4800.00 | 4800.00 | M/S TH ROMESH SINGH
13.00 | Installation, testing and commissioning of pre-wired, LED fitting of all types, complete with all accessories and tube etc. dirctly on ceiling/wall, including connection with 1.5sqmm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 48.00 | Each |  | 120.00 | 5760.00 | 5760.00 | M/S TH ROMESH SINGH
14.00 | Supply of 300 mm sweep wall fan for use on 220/240 volts 50hz single phase AC supply having 3 motor speeds & minimum 60 degree oscillation. | 8.00 | Each |  | 4600.00 | 36800.00 | 36800.00 | M/S TH ROMESH SINGH
15.00 | Installation, testing and commissioning of wall fan, including wiring with 1.5sqmm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 8.00 | Each |  | 180.00 | 1440.00 | 1440.00 | M/S TH ROMESH SINGH
16.00 | Supplying and fixing 6 way SPN Distribution box on surface/ recess along with 40 A MCB Isolator, 415V and 6-32 A 240 V "C" curve SPN MCB complete with connections, testing and commissioning etc. as required. | 8.00 | Each |  | 6000.00 | 48000.00 | 48000.00 | M/S TH ROMESH SINGH
17.00 | Supply and laying of HDPE Pipe of 63 mm ISI marked with all accessories like socket, band, couplers etc. conforming to IS 14930 , Part II complete with fitting and cutting, jointing etc. direct in ground (75cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. | 1100.00 | Metre |  | 190.00 | 209000.00 | 209000.00 | M/S TH ROMESH SINGH
18.00 | Earthing with GI Earth pipe 4.5m long, 40mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 8.00 | Set |  | 6500.00 | 52000.00 | 52000.00 | M/S TH ROMESH SINGH
19.00 | Providing & laying 6 SWG dia GI wire on surface or in recess for loop earthing. | 80.00 | Mtr |  | 40.00 | 3200.00 | 3200.00 | M/S TH ROMESH SINGH
20.00 | Supply of 10W LED Bulkhead light having IP66 protection as per technical specification. | 32.00 | Each |  | 1200.00 | 38400.00 | 38400.00 | M/S TH ROMESH SINGH
21.00 | Supply of LED type dome red aviation light fitting suitable for operation on single phase AC power supply. | 8.00 | Each |  | 4500.00 | 36000.00 | 36000.00 | M/S TH ROMESH SINGH
22.00 | ITC of LED Type dome red aviation light fitting at top of watch tower complete with all accessories i/c GI Pipe and necessary wiring with PVC insulated copper conducor as required. | 8.00 | Each |  | 3500.00 | 28000.00 | 28000.00 | M/S TH ROMESH SINGH
| Total in Figures |  |  |  |  | 877440.00
Lowest Amount Quoted BY: M/S TH ROMESH SINGH(877440.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Power Supply for Watch Towers at Imphal Airport Tender ID: 2022_AAI_129463_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S TH ROMESH SINGH | 877440.00 | L1