## BoQ1
Government eProcurement System Created By: SINDHU L S Created Date/Time: 19-Oct-2022 05:56 PM Tender Title: Replacement of ACs for CNS Installations at Puducherry Airport Tender ID: 2022_AAI_129792_1
Tender Inviting Authority: SENIOR MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI AIRPORT, CHENNAI - 600 027.
Name of Work: Replacement of ACs for CNS Installations at Puducherry Airport.
Contract No: 2021_AAI_129729_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Supply , Installation testing and commissioning of following capacity, 5 star rated Hi-wall split type Airconditioner, consisting 1 No. indoor unit (fan coil) with cord less remote control and one number outdoor anti-corrosive copper condensing unit comprising with sealed compressor, suitable for single phase, 230 Volt, 50 Hz, AC supply, providing and making interconnections, refrigerant line between room unit and condensing unit upto length of 5 meters with insulation covering, Comprising of drain PVC Pipe, refrigerant copper piping, electrical cabling including first charge of refrigerant R 410 A/R32 (or as per OEM manufacturer recommendation) with suitable bracket/MS channel for fixing outdoor unit complete etc as required.
1.01 | Hi-wall split type-1 TR (minimum 5 star) | 2.00 | Each | Item No.1(a) | 68800.00 | 81184.00 | 64000.00 | 75520.00 | 64000.00 | DElite System Engineering (India) Pvt. Ltd. | 75520.00 | DElite System Engineering (India) Pvt. Ltd.
1.02 | Hi-wall split type-1.5 TR (minimum 5 star) | 7.00 | Each | Item No.1(b) | 269500.00 | 318010.00 | 273000.00 | 322140.00 | 269500.00 | LAKSHMI ELECTRICAL ENTERPRISES | 318010.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.03 | Hi-wall split type-2 TR (minimum 5 star) | 3.00 | Each | Item No.1(c) | 150900.00 | 178062.00 | 156000.00 | 184080.00 | 150900.00 | LAKSHMI ELECTRICAL ENTERPRISES | 178062.00 | LAKSHMI ELECTRICAL ENTERPRISES
2.00 | Supply , Installation testing and commissioning of 4 TR capacity, stand alone type, floor mounted, vertical split type Airconditioner, consisting 1 No. indoor unit (fan coil) with cord less remote control and one number outdoor anti-corrosive copper condensing unit comprising with sealed scroll compressor, suitable for three phase, 415 Volt, 50 Hz, AC supply, making interconnections between refrigerant line between room unit and condensing unit with insulation covering, drain PVC Pipe, electrical cabling including first charge of refrigerant R 410 A/R32 (or as per OEM manufacturer recommendation) with suitable bracket/MS channel for fixing outdoor unit complete etc as required. | 2.00 | Each | Item No.2 | 216000.00 | 254880.00 | 259998.00 | 306797.64 | 216000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 254880.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.00 | Extra for providing and fixing of refrigirent lines as below or as per OEM recommendation including insulation for covering the refrigerant lines of above, electrical cable (for indoor, outdoor connections) drain line etc., for above items.
3.01 | Hi-wall split type-1 TR (minimum 5 star) | 20.00 | Mtrs | Item No.3(a) | 10000.00 | 11800.00 | 18000.00 | 21240.00 | 10000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 11800.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.02 | Hi-wall split type-1.5 TR (minimum 5 star) | 30.00 | Mtrs | Item No.3(b) | 21000.00 | 24780.00 | 53970.00 | 63684.60 | 21000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 24780.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.03 | Hi-wall split type-2 TR (minimum 5 star) | 20.00 | Mtrs | Item No.3(c) | 18000.00 | 21240.00 | 35980.00 | 42456.40 | 18000.00 | LAKSHMI ELECTRICAL ENTERPRISES | 21240.00 | LAKSHMI ELECTRICAL ENTERPRISES
3.04 | Stand alone type, vertical split type Airconditioner-4 TR | 20.00 | Mtrs | Item No.3(d) | 50000.00 | 59000.00 | 39980.00 | 47176.40 | 39980.00 | DElite System Engineering (India) Pvt. Ltd. | 47176.40 | DElite System Engineering (India) Pvt. Ltd.
4.00 | Supply, Installation testing and commissioning of wall mounting type, 4 KVA capacity, single phase, automatic line voltage stabilizer, suitable operation on 170 volts to 270 Volts AC Input, 200 volts to 240 volts AC output, single phase, 50 HZ AC power supply with built in time delay, high voltage cut off, and low voltage cut off and input/output/trip indications and suitable for operation of 1.5 Ton Air conditioning unit etc as required. | 9.00 | Each | Item No.4 | 15750.00 | 18585.00 | 23391.00 | 27601.38 | 15750.00 | LAKSHMI ELECTRICAL ENTERPRISES | 18585.00 | LAKSHMI ELECTRICAL ENTERPRISES
5.00 | Supply, Installation, testing and commissioning of wall mounting type, 5 KVA capacity, single phase, automatic line voltage stabilizer, suitable operation on 170 volts to 270 Volts AC Input, 200 volts to 240 volts AC output, single phase, 50 HZ AC power supply with built in time delay, high voltage cut off, and low voltage cut off and input/output/trip indications and suitable for operation of 2 Ton Air conditioning unit etc as required. | 3.00 | Each | Item No.5 | 6600.00 | 7788.00 | 14997.00 | 17696.46 | 6600.00 | LAKSHMI ELECTRICAL ENTERPRISES | 7788.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following size of FR PVC insulated copper conductor, single core cable in recess/ surface steel conduit as required. i) Size : 2 x 4.0 Sqmm with 1 x 4.0 Sqmm earth wire | 30.00 | mtrs | Item No.6 | 10200.00 | 12036.00 | 12000.00 | 14160.00 | 10200.00 | LAKSHMI ELECTRICAL ENTERPRISES | 12036.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.00 | Supply and fixing of 30 amps,415 volts, TPN industrial type, socket outlet, with 4 pole and earth,, metal enclosed plug top along with 30 amps "C" Curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc., complete as required. | 2.00 | Each | Item No.7 | 6200.00 | 7316.00 | 6000.00 | 7080.00 | 6000.00 | DElite System Engineering (India) Pvt. Ltd. | 7080.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following size of FRLS PVC insulated copper conductor, single core cable in surface / recessed steel conduit as required. i) 4 x 6 Sqmm + 2 x 6 Sqmm earth wire | 10.00 | Each | Item No.8 | 7500.00 | 8850.00 | 7000.00 | 8260.00 | 7000.00 | DElite System Engineering (India) Pvt. Ltd. | 8260.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | Dismantling and shifting of Indoor and outdoor Units of Split Type Air Conditioners of All Makes of 1.0 TR /1.5 TR/2.0 TR Capacity to AAI Store/Any Location as specified by AAI, including gas pumping down, dismantling and shifting of pipes, cables etc., complete as required. | 15.00 | Each | Item No.9 | 22500.00 | 26550.00 | 18000.00 | 21240.00 | 18000.00 | DElite System Engineering (India) Pvt. Ltd. | 21240.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  | 872950.00 | 1030081.00 | 982316.00 | 1159132.88

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of ACs for CNS Installations at Puducherry Airport Tender ID: 2022_AAI_129792_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 1030081.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 1159132.88 | L2