## BoQ1
Government eProcurement System Created By: Manoj Kumar Sahoo Created Date/Time: 09-Dec-2022 04:49 PM Tender Title: Provision of Fire Suppression System for MSSR yarada, EDVOR and NAVAIDS at Visakhapatnam Airport Tender ID: 2022_AAI_129912_1
Tender Inviting Authority:SENIOR MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: Provision of Fire Suppression System for MSSR yarada, EDVOR & NAVAIDS at Visakhapatnam Airport.
Contract No: 2022_AAI_129912_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Newage Fire Protection Engineers Pvt. Ltd.(GSTN-27AACCN9026C1ZN) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | FIREHUT COMMERCIAL EQUIPMENT PVT LTD(GSTN-07AAACF6139L1ZG) |  | advent electric technologies pvt. ltd.(GSTN-07AAJCA2055K1ZN) |  | Fitech Engineers Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of Seamless storage 80 L cylinder suitable for NOVACTM 1230 gas agent complete with valve assembly ,pressure gauge,pressure switch with all safty features,cylinder strap etc. complete as required as per technical specifications. | 8.00 | Mtr |  | 136399.00 | 1091192.00 | 100000.00 | 800000.00 | 102000.00 | 816000.00 | 130000.00 | 1040000.00 | 94000.00 | 752000.00 | 752000.00 | Fitech Engineers Pvt. Ltd.
2.00 | SITC of Seamless storage 120 L cylinder suitable for NOVACTM 1230 gas agent complete with valve assembly ,pressure gauge,pressure switch with all safty features,cylinder strap etc. complete as required as per technical specifications. | 3.00 | Nos |  | 162188.00 | 486564.00 | 120000.00 | 360000.00 | 138500.00 | 415500.00 | 170000.00 | 510000.00 | 148000.00 | 444000.00 | 360000.00 | CENTRE TAP ENGINEERING
3.00 | Supply and filling of NOVACTM 1230 gas in the existing seamless storage cylinder complete as required as per technical specifications. | 735.00 | Kgs |  | 3764.00 | 2766540.00 | 3500.00 | 2572500.00 | 3500.00 | 2572500.00 | 2800.00 | 2058000.00 | 3600.00 | 2646000.00 | 2058000.00 | advent electric technologies pvt. ltd.
4.00 | SITC of Control head suitable for operating electrically from fire detection and control panel with other master adapter kit accessories complete as required as per technical specifications. | 11.00 | Nos |  | 65379.00 | 719169.00 | 10000.00 | 110000.00 | 22500.00 | 247500.00 | 27000.00 | 297000.00 | 45000.00 | 495000.00 | 110000.00 | CENTRE TAP ENGINEERING
5.00 | SITC of Manually operated actuator/Lever to operate the gas manually from the cylinder with all accessories complete as required as per technical specifications. | 11.00 | Nos |  | 2091.00 | 23001.00 | 10000.00 | 110000.00 | 7425.00 | 81675.00 | 12000.00 | 132000.00 | 400.00 | 4400.00 | 4400.00 | Fitech Engineers Pvt. Ltd.
6.00 | SITC of High pressure flexible rubber discharge hose with braided reinforcement to route the NOVECTM 1230 gas agent from storage cylinders to the discharage piping complete as as required as per technical specifications. | 11.00 | Nos |  | 9201.00 | 101211.00 | 5000.00 | 55000.00 | 20250.00 | 222750.00 | 21000.00 | 231000.00 | 18000.00 | 198000.00 | 55000.00 | CENTRE TAP ENGINEERING
7.00 | SITC of suitable size discharge nozzles to provide the porper flow and distribution of gas to flood hazard area at -180/360 degrees complete as as required as per technical specifications. | 58.00 | Nos |  | 9061.00 | 525538.00 | 3500.00 | 203000.00 | 6325.00 | 366850.00 | 4000.00 | 232000.00 | 5500.00 | 319000.00 | 203000.00 | CENTRE TAP ENGINEERING
8.00 | SITC of Gas discharge pressure switch to trip A.C., electrical equipment etc. complete as as required as per technical specifications. | 10.00 | Nos |  | 17425.00 | 174250.00 | 10000.00 | 100000.00 | 11921.00 | 119210.00 | 11500.00 | 115000.00 | 18000.00 | 180000.00 | 100000.00 | CENTRE TAP ENGINEERING
9.00 | SITC of Manifold check valve to perimit removal of individual FM storage cylinders etc. complete as as required as per technical specifications. | 10.00 | Nos |  | 20213.00 | 202130.00 | 10000.00 | 100000.00 | 22000.00 | 220000.00 | 21000.00 | 210000.00 | 4500.00 | 45000.00 | 45000.00 | Fitech Engineers Pvt. Ltd.
10.00 | SITC of Manual gas release station having manual break glass push button type call points with auxiliary contacts, hammer etc. complete as as required as per technical specifications. | 10.00 | Nos |  | 1296.00 | 12960.00 | 3000.00 | 30000.00 | 2000.00 | 20000.00 | 1600.00 | 16000.00 | 1850.00 | 18500.00 | 12960.00 | Newage Fire Protection Engineers Pvt. Ltd.
11.00 | SITC of Manual gas abort station having manual break glass push button type call points with auxiliary contacts, hammer gland etc. complete as as required as per technical specifications. | 10.00 | Nos |  | 1296.00 | 12960.00 | 3000.00 | 30000.00 | 2000.00 | 20000.00 | 1600.00 | 16000.00 | 1850.00 | 18500.00 | 12960.00 | Newage Fire Protection Engineers Pvt. Ltd.
12.00 | SITC of Fire Alarm Gas release panel with built in time relay, auto/ manual selector switch, housed in a suitable 16 SWG M.S Sheet panel. The control panel shall have the arrangement for Audio / visual indications by dual lamps LED's for fire and fault in each zone with lamp test facility. The panel shall be compatiable to all types of conventional smoke detectors. The control panel shall be working on standby power supply of 24 hours running backup time with sealed maintenance free 24 v batteries complete with circuit wiring etc., as per IS:2189 and have provision for testing each circuit seperately including resetting as per Engineer-in-charge instructions complete with all accessories. | 10.00 | Nos |  | 39850.00 | 398500.00 | 25000.00 | 250000.00 | 17500.00 | 175000.00 | 23500.00 | 235000.00 | 18333.00 | 183330.00 | 175000.00 | FIREHUT COMMERCIAL EQUIPMENT PVT LTD
13.00 | Supply installation testing & commissioning of Conventional,Optical Smoke Detector with all accessories like base, base box etc., to be installed under below false ceiling roof and concealed space etc., interconnecting to loop cable complete as required. | 53.00 | Mtr |  | 1296.00 | 68688.00 | 2000.00 | 106000.00 | 850.00 | 45050.00 | 1200.00 | 63600.00 | 1800.00 | 95400.00 | 45050.00 | FIREHUT COMMERCIAL EQUIPMENT PVT LTD
14.00 | Supply, installation, testing and commissioning of Response Indicators (metal plate) for getting fire indications of detectors installed above false ceiling area interconnecting to loop cable complete as required. | 53.00 | Mtr |  | 121.00 | 6413.00 | 500.00 | 26500.00 | 400.00 | 21200.00 | 300.00 | 15900.00 | 90.00 | 4770.00 | 4770.00 | Fitech Engineers Pvt. Ltd.
15.00 | SITC of Providing and fixing of 50 mm dia M.S seamless pipe ASTM A-106(Sch40) complete with all fittings paintings with one coat of red oxide and 2 coats of enamel paint; piping to be fixed on ceiling with MS suspended supports, clamps anchor fastners, cutting chases / holes in ceiling and making good etc. complete as as required as per technical specifications. | 324.00 | Mtr |  | 844.00 | 273456.00 | 1500.00 | 486000.00 | 2100.00 | 680400.00 | 1000.00 | 324000.00 | 150.00 | 48600.00 | 48600.00 | Fitech Engineers Pvt. Ltd.
16.00 | SITC of Providing and fixing of 32 mm dia M.S seamless pipe ASTM A-106(Sch40) complete with all fittings paintings with one coat of red oxide and 2 coats of enamel paint; piping to be fixed on ceiling with MS suspended supports, clamps anchor fastners, cutting chases / holes in ceiling and making good etc. complete as as required as per technical specifications. | 50.00 | Mtr |  | 600.00 | 30000.00 | 1200.00 | 60000.00 | 1600.00 | 80000.00 | 900.00 | 45000.00 | 150.00 | 7500.00 | 7500.00 | Fitech Engineers Pvt. Ltd.
17.00 | Supply and laying of XLPE insulated , PVC Inner sheathed, armoured copper conductor of cable size of 2C x1.5 sq.mm as per IS 7098- (part-1) 1988 & upto amendments etc., complete as required as per technical specification. | 1400.00 | Mtr |  | 121.00 | 169400.00 | 150.00 | 210000.00 | 225.00 | 315000.00 | 160.00 | 224000.00 | 50.00 | 70000.00 | 70000.00 | Fitech Engineers Pvt. Ltd.
| Total in Figures |  |  |  |  | 7061972.00 |  | 5609000.00 |  | 6418635.00 |  | 5764500.00 |  | 5530000.00
Lowest Amount Quoted BY: Fitech Engineers Pvt. Ltd.(5530000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Fire Suppression System for MSSR yarada, EDVOR and NAVAIDS at Visakhapatnam Airport Tender ID: 2022_AAI_129912_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Fitech Engineers Pvt. Ltd. | 5530000.00 | L1
| 2 | CENTRE TAP ENGINEERING | 5609000.00 | L2
| 3 | advent electric technologies pvt. ltd. | 5764500.00 | L3
| 4 | FIREHUT COMMERCIAL EQUIPMENT PVT LTD | 6418635.00 | L4
| 5 | Newage Fire Protection Engineers Pvt. Ltd. | 7061972.00 | L5