## BoQ1
Government eProcurement System Created By: Jagannath singh Deshmukh Created Date/Time: 09-Nov-2022 01:16 PM Tender Title: Comprehensive Maintenance Contract of VRF Package, Split ACs, Water Coolers and RO Plant for 02 Years at C.E., Jamnagar. Tender ID: 2022_AAI_130093_1
Tender Inviting Authority: SM (E E), AAI, CA Rajkot.
Name of Work: Comprehensive Maintenance Contract of VRF Package, Split Acs, Water Coolers & RO Plant for 02 Years at C.E., Jamnagar.
Contract No: AAI/RAJ/SM(E-E)/NIT-08/22-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Rudraksha Enterprise(GSTN-24AANFR7954B1Z1) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | BLUE STAR LIMITED(GSTN-NA) |  | Zamzam Refrigeration and airconditioning(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Comprehensive Maintenance Contract of Blue Star Make 17 TR Capacity ductable split package AC Units (comprising of two nos 8.5 Ton Compressor in each unit) installed at Departure Lounge along with ducting, control Panel,including repair / replacement of all required hardware, spares, compressor etc required to keep the unit in working condition, including painting etc. as per tender specifications complete as required. For First Year [ 4 Nos x 12 month = 48 Each ] | 48.00 | Each |  | 1500.00 | 72000.00 | 3500.00 | 168000.00 | 1900.00 | 91200.00 | 2550.00 | 122400.00 | 5000.00 | 240000.00 | 72000.00 | Rudraksha Enterprise
2.00 | Annual Comprehensive Maintenance Contract of Blue Star Make 17 TR Capacity ductable split package AC Units (comprising of two nos 8.5 Ton Compressor in each unit) installed at Departure Lounge along with ducting, control Panel, with UVGI lamp, controller, Ballast etc.including repair / replacement of all required hardware, spares, compressor etc required to keep the unit in working condition, including painting etc. as per tender specifications complete as required. For Second Year [ 4 Nos x 12 month = 48 Each ] | 48.00 | Each |  | 1700.00 | 81600.00 | 3500.00 | 168000.00 | 2000.00 | 96000.00 | 2550.00 | 122400.00 | 5000.00 | 240000.00 | 81600.00 | Rudraksha Enterprise
3.00 | Annual Comprehensive Maintenance Contract of Voltas make 7.5 TR Capacity ductable split package AC Units, comprising of indoor & outdoor units with single compressor installed at security hold area alongwith ducting, control Panel etc. including repair / replacement of all required hardware, spares, compressor etc required to keep the unit in working condition, including painting etc. as per tender specifications complete as required. For First Year [ 3 Nos x 12 month = 36 Each ] | 36.00 | Each |  | 1000.00 | 36000.00 | 1800.00 | 64800.00 | 1100.00 | 39600.00 | 1125.00 | 40500.00 | 5000.00 | 180000.00 | 36000.00 | Rudraksha Enterprise
4.00 | Annual Comprehensive Maintenance Contract of Voltas make 7.5 TR Capacity ductable split package AC Units, comprising of indoor & outdoor units with single compressor installed at security hold area alongwith ducting, control Panel etc. including repair / replacement of all required hardware, spares, compressor etc required to keep the unit in working condition, including painting etc. as per tender specifications complete as required. For Second Year [ 3 Nos x 12 month = 36 Each ] | 36.00 | Each |  | 1000.00 | 36000.00 | 2000.00 | 72000.00 | 1100.00 | 39600.00 | 1125.00 | 40500.00 | 5000.00 | 180000.00 | 36000.00 | Rudraksha Enterprise
5.00 | Annual comprehensive maintenance contract of 1.5 TR capacity wall mounted Split type Single phase AC units of all makes & models at different locations including providing all necessary consumable items, spares, voltage stabilizer including compressor and painting etc. as per tender specifications complete as required. For First Year [ 23 Nos x 12 month = 276 Each ] | 276.00 | Each |  | 200.00 | 55200.00 | 350.00 | 96600.00 | 230.00 | 63480.00 | 225.00 | 62100.00 | 350.00 | 96600.00 | 55200.00 | Rudraksha Enterprise
6.00 | Annual comprehensive maintenance contract of 1.5 TR capacity wall mounted Split type Single phase AC units of all makes & models at different locations including providing all necessary consumable items, spares, voltage stabilizer including compressor and painting etc. as per tender specifications complete as required. For Second Year [ 23 Nos x 12 month = 276 Each ] | 276.00 | Each |  | 250.00 | 69000.00 | 350.00 | 96600.00 | 250.00 | 69000.00 | 225.00 | 62100.00 | 350.00 | 96600.00 | 62100.00 | BLUE STAR LIMITED
7.00 | Annual comprehensive maintenance contract of 1.5 TR capacity wall mounted Inverter Split type Single phase AC units of all makes & models at different locations including providing all necessary consumable items, spares, voltage stabilizer excluding compressor and painting etc. as per tender specifications complete as required. For First Year [ 01 Nos x 12 month = 12 Each ] | 12.00 | Each |  | 150.00 | 1800.00 | 375.00 | 4500.00 | 300.00 | 3600.00 | 188.00 | 2256.00 | 350.00 | 4200.00 | 1800.00 | Rudraksha Enterprise
8.00 | Annual comprehensive maintenance contract of 1.5 TR capacity wall mounted Inverter Split type Single phase AC units of all makes & models at different locations including providing all necessary consumable items, spares, voltage stabilizer excluding compressor and painting etc. as per tender specifications complete as required. For Second Year [ 01 Nos x 12 month = 12 Each ] | 12.00 | Each |  | 180.00 | 2160.00 | 400.00 | 4800.00 | 300.00 | 3600.00 | 200.00 | 2400.00 | 350.00 | 4200.00 | 2160.00 | Rudraksha Enterprise
9.00 | Annual comprehensive maintenance contract of 2 TR capacity wall mounted Inverter Split type Single phase AC units of all makes & models at different locations including providing all necessary consumable items, spares, voltage stabilizer excluding compressor and painting etc. as per tender specifications complete as required. For First Year [ 03 Nos x 12 month = 36 Each ] | 36.00 | Each |  | 250.00 | 9000.00 | 500.00 | 18000.00 | 350.00 | 12600.00 | 267.00 | 9612.00 | 450.00 | 16200.00 | 9000.00 | Rudraksha Enterprise
10.00 | Annual comprehensive maintenance contract of 2 TR capacity wall mounted Inverter Split type Single phase AC units of all makes & models at different locations including providing all necessary consumable items, spares, voltage stabilizer excluding compressor and painting etc. as per tender specifications complete as required. For Second Year [ 03 Nos x 12 month = 36 Each ] | 36.00 | Each |  | 250.00 | 9000.00 | 550.00 | 19800.00 | 350.00 | 12600.00 | 284.00 | 10224.00 | 450.00 | 16200.00 | 9000.00 | Rudraksha Enterprise
11.00 | Annual comprehensive maintenance of 3 TR 3 phase tower type Split AC units of all makes & models at different locations including providing all necessary consumable items, spares, voltage stabilizer including compressor and painting etc. as per tender specifications complete as required. For First Year [ 03 Nos x 12 Each = 36 Each ] | 36.00 | Each |  | 350.00 | 12600.00 | 1000.00 | 36000.00 | 420.00 | 15120.00 | 550.00 | 19800.00 | 500.00 | 18000.00 | 12600.00 | Rudraksha Enterprise
12.00 | Annual comprehensive maintenance of 3 TR 3 phase tower type Split AC units of all makes & models at different locations including providing all necessary consumable items, spares, voltage stabilizer including compressor and painting etc. as per tender specifications complete as required. For Second Year [ 03 Nos x 12 Each = 36 Each ] | 36.00 | Each |  | 350.00 | 12600.00 | 1200.00 | 43200.00 | 420.00 | 15120.00 | 575.00 | 20700.00 | 500.00 | 18000.00 | 12600.00 | Rudraksha Enterprise
13.00 | Annual comprehensive maintenance of Water Coolers of various capacities of all makes and models at different locations including providing all necessary consumable items & spares, including compressor and painting etc. as per tender specifications complete as required. For First Year [ 04 Nos x 12 month = 48 Each ] | 48.00 | Each |  | 350.00 | 16800.00 | 400.00 | 19200.00 | 150.00 | 7200.00 | 355.00 | 17040.00 | 500.00 | 24000.00 | 7200.00 | M K ENTERPRISES
14.00 | Annual comprehensive maintenance of Water Coolers of various capacities of all makes and models at different locations including providing all necessary consumable items & spares, including compressor and painting etc. as per tender specifications complete as required. For Second Year [ 04 Nos x 12 month = 48 Each ] | 48.00 | Each |  | 350.00 | 16800.00 | 450.00 | 21600.00 | 150.00 | 7200.00 | 375.00 | 18000.00 | 500.00 | 24000.00 | 7200.00 | M K ENTERPRISES
15.00 | Installation, Testing, Commissioning of split type AC of 1.5 / 2.0 TR. capacity including all necessary connections, gas charging (as per requirement) and making interconnection wiring between indoor & outdoor units etc. complete as per the instructions of engineer in charge. | 5.00 | Each |  | 400.00 | 2000.00 | 2500.00 | 12500.00 | 3500.00 | 17500.00 | 4000.00 | 20000.00 | 3000.00 | 15000.00 | 2000.00 | Rudraksha Enterprise
16.00 | Dismantling of 1.5 / 2.0 TR A/C including all necessary connections, wiring between indoor and outdoor units and hand over to AAI store etc. complete as per the instructions of engineer in charge. | 5.00 | Each |  | 400.00 | 2000.00 | 500.00 | 2500.00 | 600.00 | 3000.00 | 600.00 | 3000.00 | 1500.00 | 7500.00 | 2000.00 | Rudraksha Enterprise
17.00 | Providing & fixing extra refrigerant copper piping with Nitrile rubber insulation and copper cabling (2.5 sq.mm.) between indoor and outdoor units of split-type AC units (Upto 2 TR) etc. as required. | 20.00 | Mtr |  | 500.00 | 10000.00 | 700.00 | 14000.00 | 600.00 | 12000.00 | 1350.00 | 27000.00 | 600.00 | 12000.00 | 10000.00 | Rudraksha Enterprise
18.00 | Comprehensive maintenance Contract of ION - Exchange make 200 LPH Capacity Centralized R.O. Plant including consumables like RO Filters etc. (but excluding Membrane) & spare parts. The job includes visit charges of Service personnel from the Manufacturer or Authorised Service Dealer or Specialised Agency for carrying out Minimum 01 (One) Monthly Preventive Maintenance visit for satisfactory working condition of the system (OR) Breakdown maintenance visit as and when required basis till the complete rectification of the breakdown irrespective of number of visits to attend the same breakdown, complete as required. [ 01 Nos x 20 Month = 20 Each] | 20.00 | Each |  | 2000.00 | 40000.00 | 3000.00 | 60000.00 | 1200.00 | 24000.00 | 1250.00 | 25000.00 | 5000.00 | 100000.00 | 24000.00 | M K ENTERPRISES
19.00 | Submission of water potability report (i/c. chemical and becteriaological) from govt. lab / approved govt. lab of sample collected from the location as per instruction of E.I.C. report to be submitted once in three month. | 6.00 | Each |  | 1100.00 | 6600.00 | 2200.00 | 13200.00 | 1000.00 | 6000.00 | 10150.00 | 60900.00 | 10000.00 | 60000.00 | 6000.00 | M K ENTERPRISES
20.00 | Supply of R.O. Membrane HM 4040 suitable for 200 LPH Centralized R.O.System of ION Exchange Make, complete as required. | 2.00 | Each |  | 10000.00 | 20000.00 | 9000.00 | 18000.00 | 12183.00 | 24366.00 | 15000.00 | 30000.00 | 30000.00 | 60000.00 | 18000.00 | Manish Electricals
21.00 | Comprehensive Maintenance of VRF system (Make - Blue Star- Year of installation 2022) installed at arrival area,comprising of following i/c its indoor units allied accessories such as refrigerant piping,controller, ducting, i/c software,with UVGI lamp,controller, Ballast etc. complete including consumable items & spares, (attending complaint, preventive/ routine /breakdown maintenance) documentation etc as per tender specifications complete as required. Outdoor 24 HP - 1 22 HP - 2 Indoor Ductable Unit 18.0 TR - 3 Total Quantity [ 1Nos x 14 Month =14 Each ] | 14.00 | Each |  | 18000.00 | 252000.00 | 8000.00 | 112000.00 | 16000.00 | 224000.00 | 15542.00 | 217588.00 | 16500.00 | 231000.00 | 112000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 763160.00 |  | 1065300.00 |  | 786786.00 |  | 933520.00 |  | 1643500.00
Lowest Amount Quoted BY: Rudraksha Enterprise(763160.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract of VRF Package, Split ACs, Water Coolers and RO Plant for 02 Years at C.E., Jamnagar. Tender ID: 2022_AAI_130093_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Rudraksha Enterprise | 763160.00 | L1
| 2 | M K ENTERPRISES | 786786.00 | L2
| 3 | BLUE STAR LIMITED | 933520.00 | L3
| 4 | Manish Electricals | 1065300.00 | L4
| 5 | Zamzam Refrigeration and airconditioning | 1643500.00 | L5