## BoQ1
Government eProcurement System Created By: Biraj Kumar Ganguly Created Date/Time: 09-Nov-2022 03:59 PM Tender Title: Annual Maintenance of Electrical Mechanical Installations at NSCBI Airport Kolkata SH Day to Day Operation all Lagoons situated in operational area including Repair Maintenance of Various type of Pump Motor sets Iron Removal Plants Fans and geysers Tender ID: 2022_AAI_130098_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work: Annual Maintenance of Electrical & Mechanical Installations at NSCBI Airport, Kolkata. Sub Head: Day to Day Operation all Lagoons situated in operational area including Comprehensive Maintenance of Various type of Pump Motor sets, Iron Removal Plants, ,Fans and Geysers etc.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | EASTERN POWER ENGINEERING(GSTN-18AGUPD0421A2ZX) |  | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD(GSTN-19AAAAG2661G1ZU) |  | Youngmen Traders(GSTN-19AEIPB6323B1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & periodical maintenance of self-priming diesel operated pumps units of Lagoon No. 1 & 3 having discharge capacity of 1000 Cumtr/Hr involving operations, repairs and maintenance, attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records / documents etc by providing manpower in three shift including Sundays and holidays as per tender specifications, terms & conditions.
2.00 | 1st Year | 12.00 | Months | 10500.00 | 207000.00 | 2484000.00 | 200000.00 | 2400000.00 | 190000.00 | 2280000.00 | 2280000.00 | Youngmen Traders
3.00 | 2nd Year | 12.00 | Months | 10500.00 | 207000.00 | 2484000.00 | 200000.00 | 2400000.00 | 190000.00 | 2280000.00 | 2280000.00 | Youngmen Traders
4.00 | Operation & periodical maintainance of electrically operated dewatering centrifugal pump motor sets having discharge capacity of 800 Cumtr/Hr at lagoon No-04 and discharge capacity of 200 Cumtr/Hr at lagoon No-02 with attending to complaints / faults / breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records / documents etc by providing manpower in three shift including Sundays and holidays as per tender specifications, terms & conditions.
5.00 | First year | 12.00 | Months | 10500.00 | 203000.00 | 2436000.00 | 200000.00 | 2400000.00 | 158400.00 | 1900800.00 | 1900800.00 | Youngmen Traders
6.00 | Second Year | 12.00 | Months | 10500.00 | 203000.00 | 2436000.00 | 200000.00 | 2400000.00 | 158400.00 | 1900800.00 | 1900800.00 | Youngmen Traders
7.00 | Operation of Self priming centrifugal pumps/floating pump/sewage pumps units different capacity in operational area in one shift with 8 hours per shift by proving one operator (skilled) as on when required as per the instruction of Engg-in- Charge. | 50.00 | Sifts | 10500.00 | 850.00 | 42500.00 | 100.00 | 5000.00 | 900.00 | 45000.00 | 5000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
8.00 | Complete re-winding/repairing of burnt out 3 Phase 40 HP Pump induction motor meant for water supply/ dewatering of strom water by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper.
9.00 | First year | 4.00 | Jobs | 10500.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 30000.00 | 120000.00 | 20000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
10.00 | Second Year | 4.00 | Jobs | 10500.00 | 10000.00 | 40000.00 | 6000.00 | 24000.00 | 36000.00 | 144000.00 | 24000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
11.00 | Complete re-winding/repairing of burnt out 3 Phase 30 HP Pump induction motor by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper.
12.00 | First year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 30000.00 | 90000.00 | 15000.00 | EASTERN POWER ENGINEERING
13.00 | Second Year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 36000.00 | 108000.00 | 15000.00 | EASTERN POWER ENGINEERING
14.00 | Complete re-winding/repairing of burnt out 3 Phase 20 HP Pump induction Motors by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper.
15.00 | First year | 3.00 | Jobs |  | 4000.00 | 12000.00 | 10000.00 | 30000.00 | 19000.00 | 57000.00 | 12000.00 | EASTERN POWER ENGINEERING
16.00 | Second Year | 3.00 | Jobs |  | 4000.00 | 12000.00 | 10000.00 | 30000.00 | 20000.00 | 60000.00 | 12000.00 | EASTERN POWER ENGINEERING
17.00 | Complete re-winding/repairing of burnt out 3 Phase 10 HP Pump induction Motors by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper.
18.00 | First year | 2.00 | Jobs |  | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 16000.00 | 32000.00 | 6000.00 | EASTERN POWER ENGINEERING
19.00 | Second Year | 2.00 | Jobs |  | 3000.00 | 6000.00 | 6000.00 | 12000.00 | 18000.00 | 36000.00 | 6000.00 | EASTERN POWER ENGINEERING
20.00 | Complete re-winding and overhauling of burnt out of Centrifugal pump motor set for following capacity of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 1HP to 5 HP Pump.
21.00 | First year | 5.00 | Jobs |  | 2500.00 | 12500.00 | 5000.00 | 25000.00 | 11300.00 | 56500.00 | 12500.00 | EASTERN POWER ENGINEERING
22.00 | Second Year | 5.00 | Jobs |  | 2500.00 | 12500.00 | 5000.00 | 25000.00 | 12800.00 | 64000.00 | 12500.00 | EASTERN POWER ENGINEERING
23.00 | Complete repairing/rectification of 3 Phase 40 HP Pump centrifugal pump meant for water delivery by providing/replacement of necessary spares and lathe works as per site requirement and condition etc.complete as required.
24.00 | First year | 4.00 | Jobs |  | 2000.00 | 8000.00 | 15000.00 | 60000.00 | 20000.00 | 80000.00 | 8000.00 | EASTERN POWER ENGINEERING
25.00 | Second Year | 4.00 | Jobs |  | 2000.00 | 8000.00 | 15000.00 | 60000.00 | 22000.00 | 88000.00 | 8000.00 | EASTERN POWER ENGINEERING
26.00 | Complete repairing/rectification of 3 Phase 40 HP Pump centrifugal pump meant for dewatering of storm water by providing/replacement of necessary spares and lathe works as per site requirement and condition etc.complete as required.
27.00 | First year | 2.00 | Jobs |  | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 22500.00 | 45000.00 | 2000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
28.00 | Second Year | 2.00 | Jobs |  | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 24000.00 | 48000.00 | 4000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
29.00 | Complete repairing/rectification of 3 Phase 20 HP centrifugal pump of following capacity by providing/replacement of necessary spares and lathe works as per site requirement and condition etc.complete as required.
30.00 | First year | 4.00 | Jobs |  | 2000.00 | 8000.00 | 2000.00 | 8000.00 | 16000.00 | 64000.00 | 8000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
31.00 | Second Year | 4.00 | Jobs |  | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 18000.00 | 72000.00 | 8000.00 | EASTERN POWER ENGINEERING
32.00 | Complete repairing/rectification of 3 Phase 10 HP Pump centrifugal pump meant for dewatering of storm water by providing/replacement of necessary spares and lathe works as per site requirement and condition etc.complete as required.
33.00 | First year | 2.00 | Jobs |  | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 12000.00 | 24000.00 | 2000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
34.00 | Second Year | 2.00 | Jobs |  | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 12750.00 | 25500.00 | 4000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
35.00 | Lowering and lifting of following capacity submersible pump motors set from existing deep tube well i/c dismentalling and reinstalltion of the same etc. complete . as required. a) 15 HP to 30 HP
36.00 | First year | 10.00 | Jobs |  | 15000.00 | 150000.00 | 5000.00 | 50000.00 | 13500.00 | 135000.00 | 50000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
37.00 | Second Year | 10.00 | Jobs |  | 15000.00 | 150000.00 | 5000.00 | 50000.00 | 15000.00 | 150000.00 | 50000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
38.00 | Lowering and lifting of following capacity submersible pump motors set from existing deep tube well i/c dismentalling and reinstalltion of the same etc. complete . as required. b) 10 HP to 12.5 HP
39.00 | First year | 8.00 | Jobs |  | 15000.00 | 120000.00 | 5000.00 | 40000.00 | 12000.00 | 96000.00 | 40000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
40.00 | Second Year | 8.00 | Jobs |  | 15000.00 | 120000.00 | 5000.00 | 40000.00 | 13000.00 | 104000.00 | 40000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
41.00 | Lowering and lifting of following capacity submersible pump motors set from existing deep tube well i/c dismentalling and reinstalltion of the same etc. complete . as required. c) 2 HP to 7.5 HP
42.00 | First year | 4.00 | Jobs |  | 8000.00 | 32000.00 | 4000.00 | 16000.00 | 8000.00 | 32000.00 | 16000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
43.00 | Second Year | 4.00 | Jobs |  | 8000.00 | 32000.00 | 4000.00 | 16000.00 | 10000.00 | 40000.00 | 16000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
44.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. a) 25 HP
45.00 | First year | 1.00 | Jobs |  | 15000.00 | 15000.00 | 1000.00 | 1000.00 | 24000.00 | 24000.00 | 1000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
46.00 | Second Year | 1.00 | Jobs |  | 15000.00 | 15000.00 | 1000.00 | 1000.00 | 25000.00 | 25000.00 | 1000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
47.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. a) 20 HP
48.00 | First year | 3.00 | Jobs |  | 12000.00 | 36000.00 | 5000.00 | 15000.00 | 18500.00 | 55500.00 | 15000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
49.00 | Second Year | 3.00 | Jobs |  | 12000.00 | 36000.00 | 5000.00 | 15000.00 | 19500.00 | 58500.00 | 15000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
50.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. b) 15 HP
51.00 | First year | 3.00 | Jobs |  | 10000.00 | 30000.00 | 2000.00 | 6000.00 | 18000.00 | 54000.00 | 6000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
52.00 | Second Year | 3.00 | Jobs |  | 10000.00 | 30000.00 | 2000.00 | 6000.00 | 20000.00 | 60000.00 | 6000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
53.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. c) 12.5 HP
54.00 | First year | 6.00 | Jobs |  | 8000.00 | 48000.00 | 2000.00 | 12000.00 | 14500.00 | 87000.00 | 12000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
55.00 | Second Year | 6.00 | Jobs |  | 8000.00 | 48000.00 | 2000.00 | 12000.00 | 16000.00 | 96000.00 | 12000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
56.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. d) 10 HP
57.00 | First year | 2.00 | Jobs |  | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 12500.00 | 25000.00 | 10000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
58.00 | Second Year | 2.00 | Jobs |  | 8000.00 | 16000.00 | 6000.00 | 12000.00 | 13750.00 | 27500.00 | 12000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
59.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. d) 7.5 HP
60.00 | First year | 1.00 | Job |  | 7500.00 | 7500.00 | 1000.00 | 1000.00 | 11000.00 | 11000.00 | 1000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
61.00 | Second Year | 1.00 | Job |  | 7500.00 | 7500.00 | 1000.00 | 1000.00 | 12500.00 | 12500.00 | 1000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
62.00 | Dismantling the damaged Sub-mersible pump-motor and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. e) 1 to 5 HP
63.00 | First year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 8500.00 | 25500.00 | 15000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
64.00 | Second Year | 3.00 | Jobs |  | 5000.00 | 15000.00 | 5000.00 | 15000.00 | 9500.00 | 28500.00 | 15000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
65.00 | Dismantling complete overhauling, repairing, remetaling, machining, balancing of impeller, shaft, housing cover etc. for following capacity Booster pump painting and reassembling etc. a) 40 HP
66.00 | First year | 4.00 | Jobs |  | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 28000.00 | 112000.00 | 12000.00 | EASTERN POWER ENGINEERING
67.00 | Second Year | 4.00 | Jobs |  | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 30000.00 | 120000.00 | 12000.00 | EASTERN POWER ENGINEERING
68.00 | Dismantling complete overhauling, repairing, remetaling, machining, balancing of impeller, shaft, housing cover etc. for following capacity Booster pump painting and reassembling etc. b) 20 HP
69.00 | First year | 3.00 | Jobs |  | 3000.00 | 9000.00 | 10000.00 | 30000.00 | 19000.00 | 57000.00 | 9000.00 | EASTERN POWER ENGINEERING
70.00 | Second Year | 3.00 | Jobs |  | 3000.00 | 9000.00 | 10000.00 | 30000.00 | 20000.00 | 60000.00 | 9000.00 | EASTERN POWER ENGINEERING
71.00 | Replacement of pump shaft i/c metaling machining of impeller, housing cover etc. as reqd., for the following pumps: a) 40 HP
72.00 | First year | 4.00 | Jobs |  | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 24000.00 | 96000.00 | 12000.00 | EASTERN POWER ENGINEERING
73.00 | Second Year | 4.00 | Jobs |  | 3000.00 | 12000.00 | 6000.00 | 24000.00 | 25000.00 | 100000.00 | 12000.00 | EASTERN POWER ENGINEERING
74.00 | Replacement of pump shaft i/c metaling machining of impeller, housing cover etc. as reqd., for the following pumps: b) 20 HP
75.00 | First year | 2.00 | Jobs |  | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 16000.00 | 32000.00 | 4000.00 | EASTERN POWER ENGINEERING
76.00 | Second Year | 2.00 | Jobs |  | 2000.00 | 4000.00 | 6000.00 | 12000.00 | 17000.00 | 34000.00 | 4000.00 | EASTERN POWER ENGINEERING
77.00 | Complete re-winding of burnt out following capacity motor suitable for Air Blower meant for IRP plant of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 5 HP
78.00 | First year | 3.00 | Jobs |  | 15000.00 | 45000.00 | 2000.00 | 6000.00 | 9500.00 | 28500.00 | 6000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
79.00 | Second Year | 3.00 | Jobs |  | 15000.00 | 45000.00 | 2000.00 | 6000.00 | 10500.00 | 31500.00 | 6000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
80.00 | Complete re-winding of burnt out following capacity motor suitable for Air Blower meant for IRP plant of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 1.5 HP to 3 HP
81.00 | First year | 2.00 | Jobs |  | 15000.00 | 30000.00 | 1000.00 | 2000.00 | 6900.00 | 13800.00 | 2000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
82.00 | Second Year | 2.00 | Jobs |  | 15000.00 | 30000.00 | 1500.00 | 3000.00 | 7500.00 | 15000.00 | 3000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
83.00 | Complete re-winding of burnt out following capacity motor suitable for Air Compressor meant for IRP plant of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 1.5 HP to 5 HP
84.00 | First year | 2.00 | Jobs |  | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 8000.00 | 16000.00 | 4000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
85.00 | Second Year | 2.00 | Jobs |  | 3000.00 | 6000.00 | 2000.00 | 4000.00 | 8500.00 | 17000.00 | 4000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
86.00 | Complete re-winding of burnt out following capacity motor suitable for Air Compressor meant for IRP plant of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 7.5HP
87.00 | First year | 3.00 | Jobs |  | 3000.00 | 9000.00 | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 9000.00 | EASTERN POWER ENGINEERING
88.00 | Second Year | 3.00 | Jobs |  | 3000.00 | 9000.00 | 6000.00 | 18000.00 | 12000.00 | 36000.00 | 9000.00 | EASTERN POWER ENGINEERING
89.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size gate valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. a) 6 inch dia Gate Valve
90.00 | First year | 2.00 | Jobs |  | 3000.00 | 6000.00 | 500.00 | 1000.00 | 4200.00 | 8400.00 | 1000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
91.00 | Second Year | 2.00 | Jobs |  | 3000.00 | 6000.00 | 600.00 | 1200.00 | 4500.00 | 9000.00 | 1200.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
92.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size gate valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. a) 5 inch dia Gate Valve
93.00 | First year | 1.00 | Job |  | 3000.00 | 3000.00 | 500.00 | 500.00 | 3750.00 | 3750.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
94.00 | Second Year | 1.00 | Job |  | 3000.00 | 3000.00 | 500.00 | 500.00 | 4500.00 | 4500.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
95.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size gate valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. a) 4 inch dia Gate Valve
96.00 | First year | 2.00 | Jobs |  | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 6000.00 | EASTERN POWER ENGINEERING, Youngmen Traders
97.00 | Second Year | 2.00 | Jobs |  | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 3500.00 | 7000.00 | 6000.00 | EASTERN POWER ENGINEERING
98.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size gate valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. b) 3 inch dia Gate valve.
99.00 | First year | 1.00 | Job |  | 3000.00 | 3000.00 | 506.00 | 506.00 | 2500.00 | 2500.00 | 506.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
100.00 | Second Year | 1.00 | Job |  | 3000.00 | 3000.00 | 500.00 | 500.00 | 2600.00 | 2600.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
101.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size butterfly valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. a) 6 inch dia Butterfly Valve
102.00 | First year | 10.00 | Jobs |  | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 4000.00 | 40000.00 | 20000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
103.00 | Second Year | 10.00 | Jobs |  | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 4100.00 | 41000.00 | 20000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
104.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size butterfly valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. a) 5 inch dia butterfly valve
105.00 | First year | 3.00 | Jobs |  | 2000.00 | 6000.00 | 500.00 | 1500.00 | 3500.00 | 10500.00 | 1500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
106.00 | Second Year | 3.00 | Jobs |  | 2000.00 | 6000.00 | 500.00 | 1500.00 | 3700.00 | 11100.00 | 1500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
107.00 | Complete dismantling, Repairing, Overhauling and re-installation of the following size butterfly valve suitable for water pipe line i/c providing necessary accessories (if required) complete as reqd. a) 4 inch dia butterfly valve
108.00 | First year | 20.00 | Jobs |  | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 3500.00 | 70000.00 | 40000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
109.00 | Second Year | 20.00 | Jobs |  | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 3600.00 | 72000.00 | 40000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
110.00 | Complete dismantling, Repairing, Overhauling and re-installation of all damage Gate valve and Non-retun valve for various boewell of Submarsible pump and Booster pump of IRP i/c providing necessary accessories (if required) complete as reqd. b) 3 inch dia butterfly valve
111.00 | First year | 2.00 | Jobs |  | 2000.00 | 4000.00 | 100.00 | 200.00 | 2750.00 | 5500.00 | 200.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
112.00 | Second Year | 2.00 | Jobs |  | 2000.00 | 4000.00 | 100.00 | 200.00 | 2900.00 | 5800.00 | 200.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
113.00 | Disconnecting,dismantling & removing of different sizes of burnt-out/defective fans from existing location and then rewinding with suitable size of super enamelled copper wire, varnishining,baking & re-assembling the fan i/c painting the fan,overhauling, re-installation,testing etc. i/c replacement of G. M Bush,Ball Bearing, complete as required.
114.00 | 12" to 18" sweep, AC 230 V Exhaust Fan
115.00 | a) First year | 10.00 | EA |  | 1000.00 | 10000.00 | 300.00 | 3000.00 | 800.00 | 8000.00 | 3000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
116.00 | b) Second Year | 10.00 | EA |  | 1000.00 | 10000.00 | 300.00 | 3000.00 | 850.00 | 8500.00 | 3000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
117.00 | 48"/56" sweep, AC 230 V ceiling fan
118.00 | a) First year | 20.00 | EA |  | 1000.00 | 20000.00 | 200.00 | 4000.00 | 750.00 | 15000.00 | 4000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
119.00 | b) Second Year | 20.00 | EA |  | 1000.00 | 20000.00 | 200.00 | 4000.00 | 800.00 | 16000.00 | 4000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
120.00 | 12" to 18" sweep, AC 230 V Exhaust Fan i/c replacement of Static Shaft.
121.00 | a) First year | 10.00 | EA |  | 1000.00 | 10000.00 | 200.00 | 2000.00 | 650.00 | 6500.00 | 2000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
122.00 | b) Second Year | 10.00 | EA |  | 1000.00 | 10000.00 | 200.00 | 2000.00 | 700.00 | 7000.00 | 2000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
123.00 | 48"/56" sweep, AC 230 V ceiling fan i/c replacement Static Shaft.
124.00 | a) First year | 10.00 | EA |  | 1000.00 | 10000.00 | 10.00 | 100.00 | 225.00 | 2250.00 | 100.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
125.00 | b) Second Year | 10.00 | EA |  | 1000.00 | 10000.00 | 10.00 | 100.00 | 275.00 | 2750.00 | 100.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
126.00 | Reparing of existing Gysers of different capacity by replacing the following with new spare i/c dismantaling, re-installtion, disconnection & re-connection of power supply i/c testing, commissioning etc complete as required.
127.00 | Heating element
128.00 | a) First year | 10.00 | EA |  | 200.00 | 2000.00 | 200.00 | 2000.00 | 750.00 | 7500.00 | 2000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
129.00 | b) Second Year | 10.00 | EA |  | 200.00 | 2000.00 | 200.00 | 2000.00 | 800.00 | 8000.00 | 2000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
130.00 | Thermostat
131.00 | a) First year | 10.00 | EA |  | 200.00 | 2000.00 | 200.00 | 2000.00 | 700.00 | 7000.00 | 2000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
132.00 | b) Second Year | 10.00 | EA |  | 200.00 | 2000.00 | 200.00 | 2000.00 | 750.00 | 7500.00 | 2000.00 | EASTERN POWER ENGINEERING, GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
133.00 | Indicator lamp
134.00 | a) First year | 25.00 | EA |  | 200.00 | 5000.00 | 20.00 | 500.00 | 80.00 | 2000.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
135.00 | b) Second Year | 25.00 | EA |  | 200.00 | 5000.00 | 20.00 | 500.00 | 85.00 | 2125.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
136.00 | Connecting tube
137.00 | a) First year | 10.00 | EA |  | 200.00 | 2000.00 | 50.00 | 500.00 | 150.00 | 1500.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
138.00 | b) Second Year | 10.00 | EA |  | 200.00 | 2000.00 | 50.00 | 500.00 | 175.00 | 1750.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
139.00 | Supply of following spares suitable for 38 HP Kirloskar make pump motor set with model no-APM 350/40for as on when required as per instructions of Engg-in-Charge.(1st Year)
140.00 | Vaccum Oil ( SAE 140 APIGL-5) | 50.00 | Ltr |  | 250.00 | 12500.00 | 50.00 | 2500.00 | 170.00 | 8500.00 | 2500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
141.00 | Mobil ( KOEL Genuine Oil) | 100.00 | Ltr |  | 300.00 | 30000.00 | 50.00 | 5000.00 | 250.00 | 25000.00 | 5000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
142.00 | Gear Oil ( Servomesh SP220/SP320 ) | 50.00 | Ltr |  | 200.00 | 10000.00 | 10.00 | 500.00 | 190.00 | 9500.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
143.00 | Bearing Oil ( Servo system 317) | 50.00 | Ltr |  | 200.00 | 10000.00 | 10.00 | 500.00 | 160.00 | 8000.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
144.00 | Mobil Filter (Part No- 43601) | 15.00 | EA |  | 500.00 | 7500.00 | 100.00 | 1500.00 | 350.00 | 5250.00 | 1500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
145.00 | Diesel Filter ( Both primary and secondary element) (Part No:- 4811704/05 ) | 15.00 | EA |  | 400.00 | 6000.00 | 100.00 | 1500.00 | 800.00 | 12000.00 | 1500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
146.00 | Supply of following spares suitable for 38 HP Kirloskar make pump motor set with model no-APM 350/40for as on when required as per instructions of Engg-in-Charge.(2nd Year)
147.00 | Vaccum Oil ( SAE 140 APIGL-5) | 50.00 | Ltr |  | 250.00 | 12500.00 | 10.00 | 500.00 | 175.00 | 8750.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
148.00 | Mobil ( KOEL Genuine Oil) | 100.00 | Ltr |  | 300.00 | 30000.00 | 10.00 | 1000.00 | 275.00 | 27500.00 | 1000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
149.00 | Gear Oil ( Servomesh SP220/SP320 ) | 50.00 | Ltr |  | 200.00 | 10000.00 | 10.00 | 500.00 | 195.00 | 9750.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
150.00 | Bearing Oil ( Servo system 317) | 50.00 | Ltr |  | 200.00 | 10000.00 | 10.00 | 500.00 | 175.00 | 8750.00 | 500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
151.00 | Mobil Filter (Part No- 43601) | 15.00 | EA |  | 500.00 | 7500.00 | 10.00 | 150.00 | 358.00 | 5370.00 | 150.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
152.00 | Diesel Filter ( Both primary and secondary element) (Part No:- 4811704/05 ) | 15.00 | EA |  | 400.00 | 6000.00 | 10.00 | 150.00 | 825.00 | 12375.00 | 150.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
153.00 | Providing of SUV with minium four seater four wheeler vehicle with Valid Commercial license not more than 4 year old with driver, fuel, mobile indication light(suitable for operational area as instructed by the competent authority) for movement of engineering officials and lagoon's staff (inside and outside operational area of NSCBI Airport )on daily basis for 8 hours (One shift) to carry out day to day operation and Maintenance of Lagoon's and various borewell pumps including attending break-down at sites, respond to fault by the competent maintenance team available at suitable point as per direction of Engineer-in-charge (Average running per month is estimated as 3000 km and average time is minimum 240 hr. per month).Any difference in monthly running will be compensated an pro-rate data basis. Log book for daily use will be maintained".
154.00 | First year | 12.00 | Months |  | 42000.00 | 504000.00 | 20000.00 | 240000.00 | 40000.00 | 480000.00 | 240000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
155.00 | Second Year | 12.00 | Months |  | 42000.00 | 504000.00 | 20000.00 | 240000.00 | 48000.00 | 576000.00 | 240000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
156.00 | The execution of Delhi Schedule of Rates (E&M) 2022 of estimated amount of Rs 1,50,000.00 Items mentioned in Chapter 1 to Chapter 17 including Appendix-I & II as when required basis for repair/maintenance/ addition / alteration etc.of internal and External Electrical installations. [Quoting in the Rate 10% below the Estimated amount of Rs 1,50,000.00 means amount will be Rs.1,35,000/-. Similarly Quoting in the Rate 10% above the Estimated amount of Rs 1,50,000.00 means amount will be Rs. 1,65,000/- (Note: Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR-2022) (For 1st Year) | 150000.00 | % above or below | 10500.00 | 30.00 | 105000.00 | 82.50 | 26250.00 | 5.00 | 142500.00 | 26250.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
157.00 | The execution of Delhi Schedule of Rates (E&M) 2022 of estimated amount of Rs 1,60,000.00 Items mentioned in Chapter 1 to Chapter 17 including Appendix-I & II as when required basis for repair/maintenance/ addition / alteration etc.of internal and External Electrical installations. [Quoting in the Rate 10% below the Estimated amount of Rs 1,60,000.00 means amount will be Rs.1.34,,000/-. Similarly Quoting in the Rate 10% above the Estimated amount of Rs 1,60,000.00 means amount will be Rs. 1,,66,000/- (Note: Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR-2022) (For 2nd Year) | 160000.00 | % above or below | 10500.00 | 30.00 | 112000.00 | 80.00 | 32000.00 | 5.00 | 168000.00 | 32000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
| Total in Figures |  |  |  |  | 12969500.00 |  | 11273356.00 |  | 13476670.00
Lowest Amount Quoted BY: GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD(11273356.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance of Electrical Mechanical Installations at NSCBI Airport Kolkata SH Day to Day Operation all Lagoons situated in operational area including Repair Maintenance of Various type of Pump Motor sets Iron Removal Plants Fans and geysers Tender ID: 2022_AAI_130098_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD | 11273356.00 | L1
| 2 | EASTERN POWER ENGINEERING | 12969500.00 | L2
| 3 | Youngmen Traders | 13476670.00 | L3