## BoQ1
Government eProcurement System Created By: UMESH CHAURASIA Created Date/Time: 18-Jan-2023 12:46 PM Tender Title: Upgradation of Existing CAT-I to CAT-II Approach Lighting System (Runway 30) at Raja Bhoj Airport, Bhopal Tender ID: 2022_AAI_130558_1
Tender Inviting Authority: Sr. Manager (E-E), AAI, R. B. Airport, Bhopal
Name of Work: Upgradation of Existing CAT - I to CAT - II Approach Lighting System (Runway 30) at Raja Bhoj Airport, Bhopal.
Tender Id: 2022_AAI_130558
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited(GSTN-27AAACA1016F1ZE) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Vardhman Airport Solutions Pvt Ltd(GSTN-07AAECN5914F1ZK) |  | RAJASTHAN CRANE SERVICES(GSTN-NA) |  | JCC ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of elevated type uni-directional Approach Halogen light fitting suitable for aviation visual aids requirements complete with all standard accessories including clear lens and CI base plate suitable for 6.6 amps, meeting lCAO requirement for ISO candela as specified in Annexure-14. and meeting all technical specifications as mentioned in tender document, complete etc. as required. Uni-directional White | 131.00 | Each |  | 7700.00 | 1008700.00 | 9000.00 | 1179000.00 | 8652.00 | 1133412.00 | 4500.00 | 589500.00 | 8500.00 | 1113500.00 | 589500.00 | RAJASTHAN CRANE SERVICES
2.00 | Supply of 12 inch dia Inset type fittings suitable for Uni directional high intensity APPROACH CENTRE LINE Lights (White Color) light fitting for aviation visual aids requirements as per ICAO complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with pre-focused reflector halogen lamp of 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, clear lenses and all standard accessories and ready for site installation complete with all accessories, meeting all technical specifications as mentioned in tender document, complete etc. as required. Uni-directional White | 7.00 | Each |  | 67398.00 | 471786.00 | 75000.00 | 525000.00 | 84000.00 | 588000.00 | 42000.00 | 294000.00 | 75000.00 | 525000.00 | 294000.00 | RAJASTHAN CRANE SERVICES
3.00 | Supply of FAA CERTIFIED LED type Inset Bi-directional RUNWAY CENTRE LINE light fitting for aviation visual aids requirements complete with shallow base and matching body of the fitting with all standard accessories suitable for 6.6 amps, meeting ICAO requirement for ISO candela as specified in Annexure-14. and meeting all technical specifications as mentioned in tender document, complete etc. as required. Bi-directional clear/red | 93.00 | Each |  | 60363.00 | 5613759.00 | 54900.00 | 5105700.00 | 81200.00 | 7551600.00 | 42000.00 | 3906000.00 | 50000.00 | 4650000.00 | 3906000.00 | RAJASTHAN CRANE SERVICES
4.00 | Supply of FAA CERTIFIED LED type Inset Bi-directional RUNWAY CENTRE LINE light fitting for aviation visual aids requirements complete with shallow base and matching body of the fitting with all standard accessories suitable for 6.6 amps, meeting ICAO requirement for ISO candela as specified in Annexure-14. and meeting all technical specifications as mentioned in tender document, complete etc. as required. Bi-directional clear/clear(W /W) | 115.00 | Each |  | 60363.00 | 6941745.00 | 56500.00 | 6497500.00 | 81200.00 | 9338000.00 | 42000.00 | 4830000.00 | 50000.00 | 5750000.00 | 4830000.00 | RAJASTHAN CRANE SERVICES
5.00 | Supply of FAA CERTIFIED LED type Inset uni-directional RUNWAY SIMPLE TOUCHDOWN ZONE light fitting suitable for aviation visual aids requirements complete with shallow base and matching body of the fitting, complete with all standard accessories suitable for 6.6 amps, meeting ICAO requirement for ISO candela as specified in Annexure- 14. and meeting all technical specifications as mentioned in tender document, complete etc. as required. Uni-directional White | 207.00 | Each |  | 51695.00 | 10700865.00 | 65000.00 | 13455000.00 | 67200.00 | 13910400.00 | 42000.00 | 8694000.00 | 50000.00 | 10350000.00 | 8694000.00 | RAJASTHAN CRANE SERVICES
6.00 | Supply of 12 inch dia Inset type fittings suitable for Uni directional high intensity SIDEROW (SR) (RED Color) Approach light fitting for aviation visual aids requirements as per ICAO complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with pre-focused reflector halogen lamp of 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, red lenses and all standard accessories, meeting all technical specifications as mentioned in tender document, and ready for site installation, complete as required. Uni-directional RED | 14.00 | Each |  | 69988.00 | 979832.00 | 65000.00 | 910000.00 | 84000.00 | 1176000.00 | 48000.00 | 672000.00 | 75000.00 | 1050000.00 | 672000.00 | RAJASTHAN CRANE SERVICES
7.00 | Supply of Halogen type elevated uni-directional Side Row light fitting suitable for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover complete with all standard accessories suitable for 6.6 amps, meeting ICAO requirement for ISO candela as specified in Annexure-14 and meeting all technical specifications as mentioned in tender document, complete etc. as required Uni-directional RED | 48.00 | Each |  | 7700.00 | 369600.00 | 9000.00 | 432000.00 | 8652.00 | 415296.00 | 4500.00 | 216000.00 | 8500.00 | 408000.00 | 216000.00 | RAJASTHAN CRANE SERVICES
8.00 | Supply of 12 inch dia Inset type fittings unidirectional suitable for high intensity THRESHOLD (Green Color) light fitting for aviation visual aids requirements as per ICAO complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with pre focused reflector halogen lamp of 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, green prism / lenses and all standard accessories and ready for site installation complete with all accessories, meeting all technical specifications as mentioned in tender document, complete etc. as required. Uni-directional Green | 46.00 | Each |  | 66178.00 | 3044188.00 | 72500.00 | 3335000.00 | 72800.00 | 3348800.00 | 48000.00 | 2208000.00 | 65000.00 | 2990000.00 | 2208000.00 | RAJASTHAN CRANE SERVICES
9.00 | Supply of Inset type fittings unidirectional suitable for high intensity END light fitting (Red Color) for aviation visual aids requirements as per ICAO complete with shallow base and matching body of the fitting, inner body and outer cover made of die cast aluminium complete with pre focused reflector halogen lamp of 6.6 amps current with connected heat resistant accessories, prism assembly, optical assembly, "O" ring seal, pressure relief test plug, hardware, red prism / lenses and all standard accessories and ready for site installation complete with all accessories meeting all technical specifications as mentioned in tender document, complete etc. as required. Uni-directional Red | 24.00 | Each |  | 54385.00 | 1305240.00 | 72500.00 | 1740000.00 | 63000.00 | 1512000.00 | 48000.00 | 1152000.00 | 48000.00 | 1152000.00 | 1152000.00 | JCC ENGINEERS PRIVATE LIMITED, RAJASTHAN CRANE SERVICES
10.00 | Supply of FAA CERTIFIED LED type Inset uni-directional Stop bar light fitting suitable for aviation visual aids requirements complete with shallow base and matching body of the fitting, inner body and outer cover complete with all standard accessories suitable for 6.6 amps, meeting ICAO requirement for ISO candela as specified in Annexure-14 . and meeting all technical specifications as mentioned in tender document, complete etc. as required. Uni-directional Red | 36.00 | Each |  | 37750.00 | 1359000.00 | 51000.00 | 1836000.00 | 54600.00 | 1965600.00 | 42000.00 | 1512000.00 | 50000.00 | 1800000.00 | 1359000.00 | AMA Private Limited
11.00 | Supply of 2 X 4 sqmm secondary lead made out of multi stranded copper conductor EPR insulated PCP sheathed, anti termite & anti rodent treated 600 V grade cable as specified in particular specifications as required. | 12330.00 | Mtr |  | 140.00 | 1726200.00 | 160.00 | 1972800.00 | 182.00 | 2244060.00 | 255.00 | 3144150.00 | 180.00 | 2219400.00 | 1726200.00 | AMA Private Limited
12.00 | Supply of 4 sqmm, single core, FR-LS/LSH PVC insulated industrial grade copper conductor (Un-sheathed) flexible cables, 1100 volt conforming to IS 694 with upto date amendments complete etc. as required. | 12330.00 | Mtr |  | 60.00 | 739800.00 | 54.00 | 665820.00 | 44.00 | 542520.00 | 325.00 | 4007250.00 | 50.00 | 616500.00 | 542520.00 | Vardhman Airport Solutions Pvt Ltd
13.00 | Supply of 6 sqmm, 5 KV grade copper conductor XLPE insulated, polyethylene sheathed, single core, unscreened cable as specified in particular specifications as required. | 66033.00 | Mtr |  | 125.00 | 8254125.00 | 112.00 | 7395696.00 | 105.00 | 6933465.00 | 110.00 | 7263630.00 | 115.00 | 7593795.00 | 6933465.00 | Vardhman Airport Solutions Pvt Ltd
14.00 | Supply of 6 sqmm, 5 KV grade plug and receptacle of type I, class 'B' connector and suitable field attachment with 5 KV grade XLPE insulated, PE sheathed, single core copper conductor unscreened cable as specified in particular specifications as required. | 2803.00 | Each |  | 550.00 | 1541650.00 | 540.00 | 1513620.00 | 692.00 | 1939676.00 | 550.00 | 1541650.00 | 600.00 | 1681800.00 | 1513620.00 | Manish Electricals
15.00 | Supply of Indoor type air cooled constant current regulator of micro processor controlled, thyristor type suitable for operation on 230Volts, 50 Hz input AC supply with 6.6 amps output having 5 steps variation of current output and able to communicate with PC or PLC controlled system, with digital output ammeter(0- 10 Amps), over current, over voltage, open circuit and earth fault protection and earth leakage meter, two stage earth leakage detector, positive back indication equipments, hours run counter, LED display, complete as required for the following rating and confirm to specifications enclosed. 2.5 KW ( Stop Bar) | 4.00 | Each |  | 175000.00 | 700000.00 | 175000.00 | 700000.00 | 215600.00 | 862400.00 | 125000.00 | 500000.00 | 200000.00 | 800000.00 | 500000.00 | RAJASTHAN CRANE SERVICES
16.00 | Supply of Indoor type air cooled constant current regulator of micro process or controlled, thyristor type suitable for operation on 415 Volts, 50 Hz input AC supply with 6.6 amps output having 5 steps variation of current output and able to communicate with PC or PLC controlled system, with digital output ammeter(0- 10 Amps), over current, over voltage, open circuit and earth fault protection and earth leakage meter, two stage earth leakage detector, positive back indication equipments, hours run counter, LED display, complete as required for the following rating and confirm to specifications enclosed. 7.5 KW (Threshold, RCL & TDZ) | 8.00 | Each |  | 250000.00 | 2000000.00 | 325000.00 | 2600000.00 | 323400.00 | 2587200.00 | 175000.00 | 1400000.00 | 325000.00 | 2600000.00 | 1400000.00 | RAJASTHAN CRANE SERVICES
17.00 | Supply of Indoor type air cooled constant current regulator of micro processor controlled, thyristor type suitable for operation on 415 Volts, 50 Hz input AC supply with 6.6 amps output having 5 steps variation of current output and able to communicate with PC or PLC controlled system, with digital output ammeter(0- 10 Amps), over current, over voltage, open circuit and earth fault protection and earth leakage meter, two stage earth leakage detector, positive back indication equipments, hours run counter, LED display, complete as required for the following rating and confirm to specifications enclosed. 20KW ( APCL & Side Row) | 4.00 | Each |  | 365000.00 | 1460000.00 | 455000.00 | 1820000.00 | 492800.00 | 1971200.00 | 255000.00 | 1020000.00 | 500000.00 | 2000000.00 | 1020000.00 | RAJASTHAN CRANE SERVICES
18.00 | Design, Supply, Installation, testing & commissioning of ALCMS system by incorporating the control & operation of microprocessor CCRs meant for CAT I/II/IIIB operations i/c hardware & software, connections/interconnections, testing, commissioning etc as required. Supply of Touch-Screen LED type remote control panel cum display unit at Air traffic Control Tower suitable for remote operation of complete Airfield Lighting System. This item include complete hardware and software for CAT I/II/IIIB lighting system i/c interconnecting cables inside the system, switches, terminations etc. as required and capable of performing ON/OFF illuminated display, positive back indication, change over of circuits, mimic display of systems in operation and confirming to the specifications enclosed with event logging, the system should have point to point redundancy i/c double vault processor. Touch switch ON/OFF. All microprocessor/conventional CCR-40 Nos. iIluminated Landing Direction Indicator(ON/OFF), Illuminated Wind Cone (ON/OFF), Apron Flood Light Towers (ON/OFF), Isolation bay flood lights (ON/OFF) meeting all technical specifications as mentioned in tender document, complete etc. as required upto the satisfaction of E-I-C. | 1.00 | Job |  | 4960000.00 | 4960000.00 | 2485000.00 | 2485000.00 | 5670000.00 | 5670000.00 | 265000.00 | 265000.00 | 3500000.00 | 3500000.00 | 265000.00 | RAJASTHAN CRANE SERVICES
19.00 | Supply of following rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5 KV and all rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a base, meeting all technical specifications as mentioned in tender document, complete etc. as required 45Watt 6.6/6.6 Amps | 35.00 | Each |  | 3500.00 | 122500.00 | 4500.00 | 157500.00 | 3896.00 | 136360.00 | 2450.00 | 85750.00 | 5000.00 | 175000.00 | 85750.00 | RAJASTHAN CRANE SERVICES
20.00 | Supply of following rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5 KV and all rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a base, meeting all technical specifications as mentioned in tender document, complete etc. as required 65Watt 6.6/6.6 Amps | 415.00 | Each |  | 4000.00 | 1660000.00 | 7200.00 | 2988000.00 | 5219.00 | 2165885.00 | 2650.00 | 1099750.00 | 6000.00 | 2490000.00 | 1099750.00 | RAJASTHAN CRANE SERVICES
21.00 | Supply of following rating completely enclosed rubber covered isolating transformer for use of 6.6 amps series airport lighting circuits having nominal voltage rating of 5KV and all rated for operation on 50 Hz. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a base, meeting all technical specifications as mentioned in tender document, complete etc. as required 200Watt, 6.6/6.6 Amp | 214.00 | Each |  | 4800.00 | 1027200.00 | 6500.00 | 1391000.00 | 5880.00 | 1258320.00 | 3250.00 | 695500.00 | 8000.00 | 1712000.00 | 695500.00 | RAJASTHAN CRANE SERVICES
22.00 | Supply and laying of Single mode, 6 core armoured OFC cable through HDPE pipe. in CCR room and in ATC tower for communication. | 700.00 | Mtr |  | 250.00 | 175000.00 | 120.00 | 84000.00 | 29.00 | 20300.00 | 150.00 | 105000.00 | 300.00 | 210000.00 | 20300.00 | Vardhman Airport Solutions Pvt Ltd
23.00 | Fabrication, Supply, Installation, testing and commissioning of Slim Type Edge lit LED guidance sign boards having various sizes (as per ICAO standard) made of reinforced 2mm thick anodized aluminium profile with suitable angle support with 1.5mm thick aluminium back cover with signboard depth not more than 100mm. Signage sheet shall be minimum 2mm thick, long life non-specular, UV resistance surface polycarbonate and the letters & symbols made out from 3M film pasted from inside with required. coloring for mandatory / information guidance sign. suitable solid state circuit and mechanism shall be made to function on either two circuits of Runway/ Taxi way operated by CCR. Suitable arrangement shall be made for IP 67 water proof protection. Sign boards shall be uniformly internally illuminated with IP 67 grade LEDs and 5mm thick light guide panels to achieve required even illumination level, operated on input sources of 2.5Amps to 6.6Amps constant current supply its supporting frangible legs, base frame etc., complete as per latest ICAO/FAA requirement specification. | 20.00 | Sqm |  | 45000.00 | 900000.00 | 54000.00 | 1080000.00 | 45122.00 | 902440.00 | 27500.00 | 550000.00 | 50000.00 | 1000000.00 | 550000.00 | RAJASTHAN CRANE SERVICES
24.00 | Installation testing and Commissioning of inset type fitting with core cutting aligning and setting providing sealing material and installation of Isolating Transformer, switching device, crimping / jointing of Plug receptacles & other accessories repaired for commissioning it supply of all material except isolating transformer & switching device etc. complete as required. Fitting size up to 8" (For centre line, touch down and stop bars) | 391.00 | Job |  | 6000.00 | 2346000.00 | 9000.00 | 3519000.00 | 7000.00 | 2737000.00 | 2550.00 | 997050.00 | 8000.00 | 3128000.00 | 997050.00 | RAJASTHAN CRANE SERVICES
25.00 | Installation, testing and Commissioning of inset type fitting with core cutting, aligning and setting providing sealing material and installation of Isolating Transformer, switching device, Crimping / Jointing of Plug receptacles & other accessories required for commissioning i/c supply of all materials except isolating transformer & switching device etc. complete as required. Fitting so up to 12" (For Approach, Threshold & End Lights) | 72.00 | Job |  | 6000.00 | 432000.00 | 9000.00 | 648000.00 | 8400.00 | 604800.00 | 2550.00 | 183600.00 | 10000.00 | 720000.00 | 183600.00 | RAJASTHAN CRANE SERVICES
26.00 | Installation, testing & commissioning of elevated type approach/runway edge / threshold / end / taxiway light fixtures/ Runway Guard light on existing transformer housing boxes and installation of isolating transformers, switching device i/c supply of all materials except isolating transformer & switching device etc. complete as required. | 174.00 | Job |  | 350.00 | 60900.00 | 400.00 | 69600.00 | 140.00 | 24360.00 | 250.00 | 43500.00 | 300.00 | 52200.00 | 24360.00 | Vardhman Airport Solutions Pvt Ltd
27.00 | Installation, Testing, Commissioning of CCR (2.5 - 30 KVA) including termination of incoming and outgoing power and control cable, inter connection, making foundation, GI strip earthling etc. As required a) 2.5KVA/5 KVA/ 7.5 KVA CCR /15 KVA CCR/25 KVA CCR/ 30 KVA CCR | 16.00 | Job |  | 25000.00 | 400000.00 | 15000.00 | 240000.00 | 10500.00 | 168000.00 | 5000.00 | 80000.00 | 10000.00 | 160000.00 | 80000.00 | RAJASTHAN CRANE SERVICES
28.00 | Fabrication, supply & installation of MS transformer housing box of size 750mm x 330 mm x 450 mm ( H) made out 6 mm thick MS sheet and top cover 10 mm thick MS sheet with three compartment as per drawing and all inserts should be suitable for M-I0 size bolt shall be of 55 including painting of box with one coat of primer & two coats of black enamel paint and installation using cement concrete 1:2:4, 100 mm all around the box and pedestal of 0.30m & 0.10m thick all around the box making suitable slope to level of runway all around the housing box and painting, lettering, numbering as specified in particular specifications etc. as required. | 625.00 | Job |  | 16550.00 | 10343750.00 | 22000.00 | 13750000.00 | 19350.00 | 12093750.00 | 7500.00 | 4687500.00 | 15000.00 | 9375000.00 | 4687500.00 | RAJASTHAN CRANE SERVICES
29.00 | Kerf cutting with machine in taxiway/runway/apron of PQC/bituminous surface of depth of 50 mm and width of 15 mm (as per suitability of laying of secondary leads) for 1 or 2 nos. secondary lead along with earth cables and laying of secondary lead and supplying and laying of earth cable by wrapping cotton tape including refilling the same by suitable sealing material etc. complete as required. | 1200.00 | Mtr. |  | 375.00 | 450000.00 | 900.00 | 1080000.00 | 420.00 | 504000.00 | 440.00 | 528000.00 | 600.00 | 720000.00 | 450000.00 | AMA Private Limited
30.00 | Kerf cutting with machine in taxiway/runway/apron of PQC/ bituminous surface of depth of 60 mm and width of 15 mm (as per suitability of laying of secondary leads) for 3 or 4 nos. secondary lead along with earth cables and laying of secondary lead and earth cable by wrapping cotton tape i/c refilling the same by suitable sealing material etc. complete as required. | 1000.00 | Mtr. |  | 395.00 | 395000.00 | 1050.00 | 1050000.00 | 455.00 | 455000.00 | 600.00 | 600000.00 | 650.00 | 650000.00 | 395000.00 | AMA Private Limited
31.00 | Supply and Fixing of secondary Connectors (male & Female) of size 2 x 4 sq mm multi stranded annealed conductor CPE sheathed unshielded cable of 600 V grade on one end | 470.00 | Job |  | 750.00 | 352500.00 | 600.00 | 282000.00 | 1097.00 | 515590.00 | 550.00 | 258500.00 | 1000.00 | 470000.00 | 258500.00 | RAJASTHAN CRANE SERVICES
32.00 | Making connection of 5 KV grade, 6 Sq mm Copper conductor Screened cable with resin filled plug & receptacle i/c connecting continuity wire for screen etc. complete as required (Connector Kit will be supplied by AAI) | 1641.00 | Job |  | 250.00 | 410250.00 | 300.00 | 492300.00 | 175.00 | 287175.00 | 200.00 | 328200.00 | 100.00 | 164100.00 | 164100.00 | JCC ENGINEERS PRIVATE LIMITED
33.00 | Taking GPS based co-ordinates on complete length of main runway, cable route etc. by using total station and identifying the locations of light fixtures, route of cable etc. based on GPS co - ordinates and marking submission of reports / drawings. as required and as per directions of the Engineer In charge. | 1.00 | Job |  | 300000.00 | 300000.00 | 540000.00 | 540000.00 | 280000.00 | 280000.00 | 74981.00 | 74981.00 | 300000.00 | 300000.00 | 74981.00 | RAJASTHAN CRANE SERVICES
34.00 | Numbering of Light Fittings. | 625.00 | Nos. |  | 75.00 | 46875.00 | 50.00 | 31250.00 | 42.00 | 26250.00 | 50.00 | 31250.00 | 100.00 | 62500.00 | 26250.00 | Vardhman Airport Solutions Pvt Ltd
35.00 | Supply and laying of copper armoured control cable 8 core 1.0 sqmm each. | 450.00 | Mtr. |  | 650.00 | 292500.00 | 300.00 | 135000.00 | 244.00 | 109800.00 | 600.00 | 270000.00 | 200.00 | 90000.00 | 90000.00 | JCC ENGINEERS PRIVATE LIMITED
36.00 | Supply of heat shrinkable jointing kit of 6.0 sq. mm size, single core copper conductor, 5 KV grade for Airfield lighting cable complete etc. as required. | 20.00 | Each |  | 1500.00 | 30000.00 | 1000.00 | 20000.00 | 1126.00 | 22520.00 | 600.00 | 12000.00 | 2000.00 | 40000.00 | 12000.00 | RAJASTHAN CRANE SERVICES
37.00 | Supply of Following Size. XLPE insulated, PVC sheathed AI. conductor armoured power cable of 1.1 KV grade conforming to 15:7098 Part-I with upto date amendment etc. complete as required. 3.5 Core x 35 Sqmm. | 500.00 | Mtr. |  | 350.00 | 175000.00 | 235.00 | 117500.00 | 240.00 | 120000.00 | 750.00 | 375000.00 | 250.00 | 125000.00 | 117500.00 | Manish Electricals
38.00 | Providing and Installation of 50 mm Aluminium pipe with powder coating and threading to raise the height of elevated fittings to maintain required level complete etc. as required. | 375.00 | Mtr. |  | 2400.00 | 900000.00 | 800.00 | 300000.00 | 1172.00 | 439500.00 | 1200.00 | 450000.00 | 700.00 | 262500.00 | 262500.00 | JCC ENGINEERS PRIVATE LIMITED
39.00 | Supply of 50 mm breakable coupling for installation of elevated fittings and signage boards etc. complete as required | 86.00 | Each |  | 1000.00 | 86000.00 | 1250.00 | 107500.00 | 846.00 | 72756.00 | 900.00 | 77400.00 | 750.00 | 64500.00 | 64500.00 | JCC ENGINEERS PRIVATE LIMITED
40.00 | Supplying and laying of following size DWC HDPE pipe lSI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (80 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 25420.00 | Mtr. |  | 275.00 | 6990500.00 | 290.00 | 7371800.00 | 175.00 | 4448500.00 | 300.00 | 7626000.00 | 325.00 | 8261500.00 | 4448500.00 | Vardhman Airport Solutions Pvt Ltd
41.00 | Supplying and laying of following size DWC HDPE pipe lSI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. direct in ground (80 cm below ground level) in the same trench including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required. 63 mm dia (OD-63 mm & ID-51 mm nominal) | 32000.00 | Mtr. |  | 240.00 | 7680000.00 | 290.00 | 9280000.00 | 91.00 | 2912000.00 | 91.00 | 2912000.00 | 300.00 | 9600000.00 | 2912000.00 | RAJASTHAN CRANE SERVICES, Vardhman Airport Solutions Pvt Ltd
42.00 | Providing and Fixing of 50 mm dia (medium class) G. I. pipes i/c digging work of 2 feet depth & 1 feet width for the road crossing & filling the surface with 1:3:6 PCC complete as required. | 594.00 | Mtr. |  | 850.00 | 504900.00 | 2100.00 | 1247400.00 | 1623.00 | 964062.00 | 1100.00 | 653400.00 | 700.00 | 415800.00 | 415800.00 | JCC ENGINEERS PRIVATE LIMITED
43.00 | Laying of one number PVC insulated and PVC sheathed runway cable of 5 KV grade upto 16 sqmm size in the existing RCC/ HUME/ METAL pipe as required. | 58014.00 | Mtr. |  | 20.00 | 1160280.00 | 30.00 | 1740420.00 | 21.00 | 1218294.00 | 20.00 | 1160280.00 | 35.00 | 2030490.00 | 1160280.00 | AMA Private Limited, RAJASTHAN CRANE SERVICES
44.00 | Laying of one number PVC insulated and PVC sheathed runway cable of 5 KV grade upto 16 sqmm size in the existing masonry open duct as required. | 76.00 | Mtr. |  | 20.00 | 1520.00 | 50.00 | 3800.00 | 21.00 | 1596.00 | 45.00 | 3420.00 | 35.00 | 2660.00 | 1520.00 | AMA Private Limited
45.00 | Supplying and laying 6 SWG G.I. wire at 0.50 meter below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required | 66033.00 | Mtr. |  | 15.00 | 990495.00 | 30.00 | 1980990.00 | 29.00 | 1914957.00 | 255.00 | 16838415.00 | 23.00 | 1518759.00 | 990495.00 | AMA Private Limited
46.00 | Earthling with G.I. pipe 4.5 m long x 40 mm dia. (Drilling of 300 mm dia, 4.5 Mtr deep by using Borewell machine) including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. including charcoal or coke and salt complete as required | 79.00 | Set |  | 9000.00 | 711000.00 | 9000.00 | 711000.00 | 10920.00 | 862680.00 | 8400.00 | 663600.00 | 9000.00 | 711000.00 | 663600.00 | RAJASTHAN CRANE SERVICES
47.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut bolt spring. washer excavation and re-filling etc. as required. | 80.00 | Mtr. |  | 550.00 | 44000.00 | 780.00 | 62400.00 | 756.00 | 60480.00 | 200.00 | 16000.00 | 700.00 | 56000.00 | 16000.00 | RAJASTHAN CRANE SERVICES
48.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 80.00 | Mtr. |  | 250.00 | 20000.00 | 480.00 | 38400.00 | 245.00 | 19600.00 | 210.00 | 16800.00 | 200.00 | 16000.00 | 16000.00 | JCC ENGINEERS PRIVATE LIMITED
49.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required | 275.00 | Mtr. |  | 300.00 | 82500.00 | 270.00 | 74250.00 | 420.00 | 115500.00 | 350.00 | 96250.00 | 200.00 | 55000.00 | 55000.00 | JCC ENGINEERS PRIVATE LIMITED
50.00 | Earthling with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required, | 6.00 | Set |  | 15000.00 | 90000.00 | 24000.00 | 144000.00 | 39900.00 | 239400.00 | 20000.00 | 120000.00 | 20000.00 | 120000.00 | 90000.00 | AMA Private Limited
51.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut bolt spring washer excavation and re-filling etc. as required | 30.00 | Mtr. |  | 1250.00 | 37500.00 | 1400.00 | 42000.00 | 2254.00 | 67620.00 | 1700.00 | 51000.00 | 1500.00 | 45000.00 | 37500.00 | AMA Private Limited
52.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 30.00 | Mtr. |  | 1050.00 | 31500.00 | 900.00 | 27000.00 | 1736.00 | 52080.00 | 1750.00 | 52500.00 | 1000.00 | 30000.00 | 27000.00 | Manish Electricals
53.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required Upto 35 sq. Mm | 320.00 | Mtr. |  | 25.00 | 8000.00 | 40.00 | 12800.00 | 28.00 | 8960.00 | 70.00 | 22400.00 | 35.00 | 11200.00 | 8000.00 | AMA Private Limited
54.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of XLPE insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade as required 3.5 core x 35 Sq.mm (32mm) | 32.00 | Set |  | 325.00 | 10400.00 | 480.00 | 15360.00 | 920.00 | 29440.00 | 720.00 | 23040.00 | 500.00 | 16000.00 | 10400.00 | AMA Private Limited
55.00 | Supply of 120 KVA online UPS system with three phase input & three phase output, efficiency ≥ 95%, with unbalance load including with parallel redundant kit and accessories meeting all technical specifications mentioned in tender document, complete etc. as required.. | 2.00 | Nos. |  | 2055000.00 | 4110000.00 | 1790000.00 | 3580000.00 | 1246000.00 | 2492000.00 | 1000000.00 | 2000000.00 | 1600000.00 | 3200000.00 | 2000000.00 | RAJASTHAN CRANE SERVICES
56.00 | Supply of 12 V, 200 Ah, SMF batteries to provide 30 minutes of battery backup on parallel mode (80 - Nos.) for each UPS set. | 160.00 | Nos. |  | 15000.00 | 2400000.00 | 19500.00 | 3120000.00 | 23975.00 | 3836000.00 | 18000.00 | 2880000.00 | 16500.00 | 2640000.00 | 2400000.00 | AMA Private Limited
57.00 | Fabrication, supply & installation of MS angle rack to accommodate 12 V, 200 Ah, 80 - Nos. batteries with interlinks between 80 Nos. batteries | 2.00 | Set |  | 150000.00 | 300000.00 | 31000.00 | 62000.00 | 70000.00 | 140000.00 | 100000.00 | 200000.00 | 200000.00 | 400000.00 | 62000.00 | Manish Electricals
58.00 | ITC of 120 KVA online UPS system with three phase input & three phase output, efficiency ≥ 95%, with unbalance load including with parallel redundant kit and accessories | 2.00 | Job |  | 125000.00 | 250000.00 | 30000.00 | 60000.00 | 42000.00 | 84000.00 | 60000.00 | 120000.00 | 50000.00 | 100000.00 | 60000.00 | Manish Electricals
59.00 | Supply, installation, testing and commissioning of dust, damp and vermin proof cubicle free floor, indoor type factory built sheet steel enclosed modular bolted construction extendable Panel, suitable for operation on 415 ±10% volts, 50 Hz, AC 3 phase 4 wire supply system fabricated compartmentalised design and covered with CRCA sheet steel of 2mm thick for frame work and 1.6mm thick for doors/ covers, 3mm thick for gland plates, hinged type back door openable i/c cleaning & finishing complete with 9 tank process for powder coating in approved shade, having extensible type TPN Copper bus bars of high conductivity, DMC/SMC bus bar supports, bottom base channel of section not less than ISMC 75mm, fabrication shall be done in transportable sections, entire panel shall have a common copper earth bar of suitable size with 2 nos. earth studs, including control wiring with 1.5sqmm. PVC insulated FRLS copper conductor Single Core cable for voltage & 2.5sq.mm for current circuits, cable alleys, cable gland plates in two half, danger notice plates, etc. necessary metering protections & indications and mounted with the following switch gears as per drawing and technical specifications etc. complete as required. Incomers: i) 630 Amp. 4 - Pole, 36 KA,MCCB , Ics =Icu=100 % -01 nos. ii) 320 Amp. 4 - Pole,36 KA, MCCB , Ics =Icu=100 % -02 nos. iii) LED indication lamps for RYB, on & off for incomer with 2Amp control MCBs - 09 Nos. iv)) Digital Multifunction Meter -02 Nos. v) Extended rotary operating mechanism, terminal extension spreaders MCCB's. vi) Required length of 120 sq. mm single core copper cable from electrical panel to UPS input Bus Bar : TPN Copper extensible type main bus bars of minimum of 800 Amps. capacity & auxiliary Bus Bars of suitable capacity (if required) with heat shrinkable coloured sleeves and i/c DMC/SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 50KA capacity. Outgoing: i) 630 Amp. 4 - Pole, 36 KA,MCCB , Ics =Icu=100 % -01 nos. ii) 320 Amp. 4 - Pole,36 KA, MCCB , Ics =Icu=100 % -02 nos. iii) LED indication lamps for RYB, on & off for incomer with 2Amp control MCBs - 09 Nos. iv) Digital Multifunction Meter -02 Nos. v) Extended rotary operating mechanism, terminal extension spreaders MCCB's. vi) Required length of 120 sq. mm single core copper cable from UPS Output to electrical panel. | 1.00 | Job |  | 2550000.00 | 2550000.00 | 425000.00 | 425000.00 | 812032.00 | 812032.00 | 1250000.00 | 1250000.00 | 1055351.00 | 1055351.00 | 425000.00 | Manish Electricals
60.00 | SH - II ANNUAL OPERATION AND COMPREHENSIVE MAINTENANCE CONTRACT. Operation and routine maintenance of complete ALCMS system alongwith 40 Nos of CCRs, work stations, networking panel etc complete as specified. Minimum manpower ( 1 Supervisor (Highly skilled), 01 Engineer (Highly Skilled) and 1 helper (Unskilled) (OEM support is compulsory).
61.00 | First year (during DLP) | 12.00 | Month |  | 100000.00 | 1132080.00 | 90000.00 | 1018872.00 | 171864.00 | 1945637.97 | 90000.00 | 1018872.00 | 95000.00 | 1075476.00 | 1018872.00 | RAJASTHAN CRANE SERVICES, Manish Electricals
62.00 | Second year (during DLP) | 12.00 | Month |  | 107000.00 | 1142760.00 | 90000.00 | 961200.00 | 183894.00 | 1963987.92 | 95000.00 | 1014600.00 | 100000.00 | 1068000.00 | 961200.00 | Manish Electricals
63.00 | Third year (during first year of CMC) | 12.00 | Month |  | 114490.00 | 1153509.65 | 90000.00 | 906768.00 | 196767.00 | 1982466.88 | 97000.00 | 977294.40 | 105000.00 | 1057896.00 | 906768.00 | Manish Electricals
64.00 | Fourth year (during second year of CMC) | 12.00 | Month |  | 122504.30 | 1164427.87 | 90000.00 | 855468.00 | 210541.00 | 2001234.31 | 104000.00 | 988540.80 | 110000.00 | 1045572.00 | 855468.00 | Manish Electricals
65.00 | Fifth year (during third year of CMC) | 12.00 | Month |  | 131079.60 | 1175469.42 | 90000.00 | 807084.00 | 225279.00 | 2020211.96 | 112000.00 | 1004371.20 | 115000.00 | 1031274.00 | 807084.00 | Manish Electricals
66.00 | Sixth year (during fourth year of CMC) | 12.00 | Month |  | 140255.17 | 1186558.74 | 90000.00 | 761400.00 | 241048.00 | 2039266.08 | 120000.00 | 1015200.00 | 120000.00 | 1015200.00 | 761400.00 | Manish Electricals
67.00 | Seventh year (during fifth year of CMC) | 12.00 | Month |  | 150073.04 | 1197762.95 | 90000.00 | 718308.00 | 257922.00 | 2058527.07 | 129000.00 | 1029574.80 | 125000.00 | 997650.00 | 718308.00 | Manish Electricals
68.00 | All inclusive comprehensive maintenance contract of complete ALCMS System which includes supply & replacement of all faulty parts of ALCMS ( However, dismantle materials will be property of agency) as per specification immediately after the expiry of defects liability period (DLP). Rate quoted for 12 months ) (OEM support is compulsory).
69.00 | First Year after DLP | 12.00 | Month |  | 63000.00 | 713210.40 | 52500.00 | 594342.00 | 64890.00 | 734606.71 | 200000.00 | 2264160.00 | 45000.00 | 509436.00 | 509436.00 | JCC ENGINEERS PRIVATE LIMITED
70.00 | Second Year after DLP | 12.00 | Month |  | 67410.00 | 719938.80 | 56500.00 | 603420.00 | 69432.00 | 741533.76 | 214000.00 | 2285520.00 | 46000.00 | 491280.00 | 491280.00 | JCC ENGINEERS PRIVATE LIMITED
71.00 | Third Year after DLP | 12.00 | Month |  | 72128.70 | 726711.08 | 62500.00 | 629700.00 | 75735.00 | 763045.27 | 128980.00 | 1299499.30 | 47000.00 | 473534.40 | 473534.40 | JCC ENGINEERS PRIVATE LIMITED
72.00 | Fourth Year after DLP | 12.00 | Month |  | 77177.71 | 733589.57 | 67000.00 | 636848.40 | 79493.00 | 755596.86 | 245000.00 | 2328774.00 | 48000.00 | 456249.60 | 456249.60 | JCC ENGINEERS PRIVATE LIMITED
73.00 | Fifth Year after DLP | 12.00 | Month |  | 84123.70 | 754387.69 | 74000.00 | 663602.40 | 84971.00 | 761985.94 | 162200.00 | 1454544.72 | 49000.00 | 439412.40 | 439412.40 | JCC ENGINEERS PRIVATE LIMITED
74.00 | Annually comprehensive maintenance contract of Microprocessor based Constant Current Regulators (CCRs) of rating less than 10 KW which includes supply & replacement of all faulty parts of CCRs ( However, dismantle materials will be property of agency) as per specification immediately after the expiry of defects liability period (DLP). (Rate quoted for 12 months ) (12 Nos. of CCRs) (OEM support is compulsory).
75.00 | Fifth Year after DLP | 12.00 | Month |  | 65000.00 | 735852.00 | 15000.00 | 169812.00 | 57680.00 | 652983.74 | 40000.00 | 452832.00 | 20000.00 | 226416.00 | 169812.00 | Manish Electricals
76.00 | Fifth Year after DLP | 12.00 | Month |  | 69550.00 | 742794.00 | 18000.00 | 192240.00 | 61718.00 | 659148.24 | 42800.00 | 457104.00 | 21000.00 | 224280.00 | 192240.00 | Manish Electricals
77.00 | Fifth Year after DLP | 12.00 | Month |  | 74418.50 | 749781.27 | 21000.00 | 211579.20 | 66038.00 | 665346.06 | 45796.00 | 461403.86 | 22000.00 | 221654.40 | 211579.20 | Manish Electricals
78.00 | Fifth Year after DLP | 12.00 | Month |  | 79627.80 | 756878.16 | 24000.00 | 228124.80 | 70659.00 | 671627.93 | 49000.00 | 465754.80 | 23000.00 | 218619.60 | 218619.60 | JCC ENGINEERS PRIVATE LIMITED
79.00 | Fifth Year after DLP | 12.00 | Month |  | 85201.74 | 764055.12 | 29000.00 | 260060.40 | 75607.00 | 678013.33 | 52450.00 | 470350.62 | 24000.00 | 215222.40 | 215222.40 | JCC ENGINEERS PRIVATE LIMITED
80.00 | Annually comprehensive maintenance contract of Microprocessor based Constant Current Regulators (CCRs) of rating 10 KW to 20 KW which includes supply & replacement of all faulty parts of CCRs ( However, dismantle materials will be property of agency) as per specification immediately after the expiry of defects liability period (DLP). (Rate quoted for 12 months ) (4 Nos. of CCRs) (OEM support is compulsory).
81.00 | Fifth Year after DLP | 12.00 | Month |  | 75000.00 | 849060.00 | 18000.00 | 203774.40 | 28840.00 | 326491.87 | 50000.00 | 566040.00 | 20000.00 | 226416.00 | 203774.40 | Manish Electricals
82.00 | Fifth Year after DLP | 12.00 | Month |  | 80250.00 | 857070.00 | 21000.00 | 224280.00 | 30859.00 | 329574.12 | 53500.00 | 571380.00 | 21000.00 | 224280.00 | 224280.00 | JCC ENGINEERS PRIVATE LIMITED, Manish Electricals
83.00 | Fifth Year after DLP | 12.00 | Month |  | 85867.50 | 865132.24 | 24000.00 | 241804.80 | 33019.00 | 332673.03 | 57250.00 | 576805.20 | 22000.00 | 221654.40 | 221654.40 | JCC ENGINEERS PRIVATE LIMITED
84.00 | Fifth Year after DLP | 12.00 | Month |  | 91878.23 | 873320.95 | 29000.00 | 275650.80 | 35330.00 | 335818.72 | 61250.00 | 582193.50 | 23000.00 | 218619.60 | 218619.60 | JCC ENGINEERS PRIVATE LIMITED
85.00 | Fifth Year after DLP | 12.00 | Month |  | 98309.70 | 881602.07 | 34000.00 | 304898.40 | 37803.00 | 339002.18 | 65000.00 | 582894.00 | 24000.00 | 215222.40 | 215222.40 | JCC ENGINEERS PRIVATE LIMITED
| Total in Figures |  |  |  |  | 121930511.98 |  | 123718643.60 |  | 129671415.95 |  | 113320975.20 |  | 114928920.20
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | AMA Private Limited | 113320975.00 | Not Quoted | Not Quoted
2 | Manish Electricals | 113320975.00 | 81320975.00 | Eight Crore Thirteen Lakh Twenty Thousand Nine Hundred and Seventy Five
3 | Vardhman Airport Solutions Pvt Ltd | 113320975.00 | 87320975.00 | Eight Crore Seventy Three Lakh Twenty Thousand Nine Hundred and Seventy Five
4 | JCC ENGINEERS PRIVATE LIMITED | 113320975.00 | 82320975.00 | Eight Crore Twenty Three Lakh Twenty Thousand Nine Hundred and Seventy Five
5 | RAJASTHAN CRANE SERVICES | 113320975.00 | 84320975.00 | Eight Crore Fourty Three Lakh Twenty Thousand Nine Hundred and Seventy Five
Lowest Amount Quoted BY: Manish Electricals(81320975.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upgradation of Existing CAT-I to CAT-II Approach Lighting System (Runway 30) at Raja Bhoj Airport, Bhopal Tender ID: 2022_AAI_130558_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RAJASTHAN CRANE SERVICES | 113320975.20 | L1
| 2 | JCC ENGINEERS PRIVATE LIMITED | 114928920.20 | L2
| 3 | AMA Private Limited | 121930511.98 | L3
| 4 | Manish Electricals | 123718643.60 | L4
| 5 | Vardhman Airport Solutions Pvt Ltd | 129671415.95 | L5