## BoQ1
Government eProcurement System Created By: VIVEK SHRIVASTAVA Created Date/Time: 22-Nov-2022 11:24 AM Tender Title: Provision of CCTV work in external area like Entry gate and Parking Tender ID: 2022_AAI_130669_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Up-gradation of Jabalpur Airport to make it suitable for operation of AB-320 type of Aircraft. SH. Provision of CCTV work in external area like Entry gate & Parking area at Jabalpur Airport
Tender Id: 2022_AAI_130669_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.(GSTN-07AABCI1558D1ZW) |  | VIHAWK TECH SOLUTIONS PVT. LTD.(GSTN-36AAECV1301Q1Z7)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Database Primary Server:-Supply, installation, testing & commissioning of Database Primary Server for entire cameras-complete as per specifications & preferred make. | 1.00 | Each |  | 475865.00 | 475865.00 | 500000.00 | 500000.00 | 475865.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
2.00 | Database failover Server:-Supply, installation, testing & commissioning of Database Failover Server for entire cameras-complete as per specifications & preferred make | 1.00 | Each |  | 475865.00 | 475865.00 | 500000.00 | 500000.00 | 475865.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
3.00 | Video Recording Primary Server:- Supply, installation, testing & commissioning of Video Recording Servers. Each recording server shall support min of 50 camera and max. of 100 cameras. Each recording shall have min. 25% spare capacity to take additional cameras in future-complete as per specifications and preferred make. | 1.00 | Each |  | 475865.00 | 475865.00 | 700000.00 | 700000.00 | 475865.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
4.00 | Video Recording Failover Server:- Supply, installation, testing & commissioning of Video Recording Servers. All Failover recording servers kept at Secondary Data Center. Each recording servers shall support min of 50 cameras and max of 100 cameras. Each recording Server shall have min. 25% spare capacity to take additional cameras in future-complete as per specification and preferred make | 1.00 | Each |  | 475865.00 | 475865.00 | 700000.00 | 700000.00 | 475865.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
5.00 | SITC of Workstation (client PC ) including with keyboard, optical scroll mouse including operating system, licensed Anti-virus for life time and other accessories as per tendered specification and preferred make. Supply, installation, testing & commissioning of CCTV Client operator station with 1nos. 46" LED monitor complete as per specifications & preferred make. | 1.00 | Each |  | 176744.00 | 176744.00 | 125000.00 | 125000.00 | 125000.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
6.00 | Supply, installation, commissioning and testing of 100nos.Camera license in existing Video Management Software. | 1.00 | Job |  | 1162790.00 | 1162790.00 | 2000000.00 | 2000000.00 | 1162790.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
7.00 | Supply, installation, testing & commissioning of 2 Megapixel Varifocal outdoor fixed colour Dome Camera complete with camera mount and all accessories, outdoor weatherproof housing (IP-66) etc. with minimum 8 years CCTV license without any additional cost to AAI. Complete as per specifications & preferred make. | 35.00 | Each |  | 14883.00 | 520905.00 | 22500.00 | 787500.00 | 520905.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
8.00 | Supply, assembly, excavation, foundation ,erection, connecting, testing & commissioning of standards 4'' dia , 5 meter high above ground floor GI Pole with required accessories , provision of holes for installations/mounting of CCTV with base plate, anchor bolt with nuts ,washer complete as per requirement | 32.00 | Each |  | 17441.00 | 558112.00 | 22500.00 | 720000.00 | 558112.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
9.00 | SITC of Optical Fiber Cable-12 Core (SM) armoured and laying in existing HDPE Pipe/Hume pipe/metal pipe at 750mm below ground level. | 5250.00 | Meter |  | 85.00 | 446250.00 | 125.00 | 656250.00 | 446250.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
10.00 | SITC of 12 core fiber LIU loaded | 12.00 | Nos |  | 7609.00 | 91308.00 | 8000.00 | 96000.00 | 91308.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
11.00 | SITC of LC to LC fiber patch cord single mode 3 meter | 35.00 | Nos |  | 2084.00 | 72940.00 | 2000.00 | 70000.00 | 70000.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
12.00 | SITC of Category 6A 4 pair UTP cable | 1500.00 | Meter |  | 75.00 | 112500.00 | 70.00 | 105000.00 | 105000.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
13.00 | SITC of Cat 6A information outlet for field side | 35.00 | Nos |  | 583.00 | 20405.00 | 950.00 | 33250.00 | 20405.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
14.00 | SITC of Category 6A 24 port loaded patch panel with outlet | 6.00 | Nos |  | 10348.00 | 62088.00 | 3500.00 | 21000.00 | 21000.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
15.00 | SITC of Category 6A UTP patch cord 1 meter | 35.00 | Nos |  | 259.00 | 9065.00 | 250.00 | 8750.00 | 8750.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
16.00 | SITC of Category 6A UTP patch cord 3 meter | 35.00 | Nos |  | 319.00 | 11165.00 | 650.00 | 22750.00 | 11165.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
17.00 | Supply, installation ,testing & commissioning of Outdoor type IP65, 9U rack (600mm w X 600mm d ), filter with fan & hood, gland cover plate, metal cable manager -01U-plastic cable loops mountable power distribution unit-06 amp universal-06 socket-16amp, switch with indicator 06 amp fuse-06 amp, 3 pin plug with power cable 0.75 sq.mm. 1.5 meter length, mounting hardware packet, foundation for installation of Rack on suitable size of MS frame with all necessary mounting arrangement as per site requirement. | 6.00 | Nos |  | 19186.00 | 115116.00 | 20000.00 | 120000.00 | 115116.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
18.00 | Supply, installation, testing & commissioning of 6 port industrial grade active switch and rack mounting arrangement, stack cable as necessary power supply module, management port/module with 1 Gig fiber module for each switch. | 6.00 | Nos |  | 110465.00 | 662790.00 | 125000.00 | 750000.00 | 662790.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
19.00 | Supply, installation, testing & commissioning of single mode trans receiver module compatible with proposed switch, routers, WLC and Server: 1G. | 12.00 | Nos |  | 1744.00 | 20928.00 | 7500.00 | 90000.00 | 20928.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
20.00 | Supplying & laying of PE80, PN6, 40mm dia HDPE pipe ISI marked as per IS: 4984/2016 with latest amendment up to date along with all necessary accessories like coupler and other required accessories etc. direct in ground (750mm below ground level) including excavation and refilling the trench complete as required. | 6400.00 | Meter |  | 256.00 | 1638400.00 | 275.00 | 1760000.00 | 1638400.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
21.00 | Supply of 1.1kv grade FRLS multicore copper conductor XLPE insulated and PVC sheathed armored 3-core, 2.5 Sq. Mm. cable & laying in the existing HDPE Pipe/Hume pipe/metal pipe/trench and making termination with double compression ,heavy duty glands & lugs(qty-10/12nos) as per site requirement and testing. | 1800.00 | Meter |  | 140.00 | 252000.00 | 200.00 | 360000.00 | 252000.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
22.00 | SITC of 1KVA UPS with Single Phase Input and Single Phase Output and with 15 minute power backup along with IP67 enclosure. | 2.00 | Each |  | 37209.00 | 74418.00 | 12500.00 | 25000.00 | 25000.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
23.00 | Supply and creating of advance maintenance free Chemical Gel Earthing of Dual Pipe Technology (GI) of 3mtr long 50mm dia of outer shell (MS) with the 25mm dia inner shell (MS) of 80-100 microns galvanized earth electrode filled with highly conducting metallic compounds with the permanent sealing at both the ends with the lead terminal of 32X10mm size at the top along with 50 Kgs of Chemical mixture of Resistance Lowering Grounding Minerals. The loss on ignition by mass of the chemical compound shall be less than 20%. The Chemical compound should be tested and certified by any International accredited and BIS ( Bureau of Indian Standards) accredited laboratory. The earth electrode shall be fully tested & certified by CPRI (Central Power Research Institute), Govt. of India. The chemical earth electrode manufacturers should be an ISO 9001:2008 & ISO 14001: 2004 certified organization. The Earth pit should be covered with heavy duty poly-plastic weather proof chamber etc. as required & approved by the Engineer in Charge. | 5.00 | Job |  | 34883.00 | 174415.00 | 35000.00 | 175000.00 | 174415.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
24.00 | Supply, installation ,testing & commissioning of 46" full HD LCD wall for 24X7 video monitoring application ( 500 nits, 1920x1080) resolutions. | 4.00 | Nos |  | 104651.00 | 418604.00 | 125000.00 | 500000.00 | 418604.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
25.00 | Supply, installation, testing & commissioning of Generic Data Processing Machine controller for 2X2 configuration of a video wall with 8 DIV/HDMI input, Dual LAN port (with icon pro studio software). | 1.00 | Nos |  | 726744.00 | 726744.00 | 150000.00 | 150000.00 | 150000.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
26.00 | SITC of Standard wall Mount to accommodate 4nos. Of 46" full HD LCD display | 4.00 | Nos |  | 6976.00 | 27904.00 | 5000.00 | 20000.00 | 20000.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
27.00 | SITC of 10 meter DVI Cable set to connect a controller to LCD | 4.00 | Nos |  | 1744.00 | 6976.00 | 3000.00 | 12000.00 | 6976.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
28.00 | SITC of 12/15 RU 600x600 rack with power distribution unit, earthing, mounting accessories (wall/floor) and suitable to house all video wall equipment including power supply. | 1.00 | Nos |  | 14767.00 | 14767.00 | 18500.00 | 18500.00 | 14767.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
29.00 | Integration: Integration of the complete system with required accessories of all CCTV equipment’s including networking, cabling, etc. configuration of individual equipment as per specification. Integration, Training & Documents etc. | 1.00 | Lot |  | 232558.00 | 232558.00 | 500000.00 | 500000.00 | 232558.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
30.00 | Constructing brick masonry chamber of size 600mmx600mmx750mm(depth) with brick in cement mortar 1:4 (1 cement:4 coarse sand) including 600mmx600mm pre cast RCC with removable. With common burnt clay F.P.S (non modular) brick of class designation 7.5 with including excavation. | 5.00 | Nos |  | 17441.00 | 87205.00 | 15000.00 | 75000.00 | 75000.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
31.00 | Network Storage: Supply, installation testing & commissioning of Network Attached Storage as required (NAS) per TB usable capacity on SAS/SATA Disc (in rate RAID 6 configuration) complete with controller and accessories etc. as per tender specification and preferred make. Primary Storage (30 days). | 60.00 | TB |  | 23255.00 | 1395300.00 | 20000.00 | 1200000.00 | 1200000.00 | VIHAWK TECH SOLUTIONS PVT. LTD.
32.00 | All inclusive Comprehensive Maintenance Contract (AICMC): AICMC of all above mentioned the CCTV equipment’s including active and passive components any allied work etc, all required spares, tools, consumable, preventive and corrective maintenance and technical support as mentioned in the SCC, Technical Specifications of Operation & AICMC complete in all respect and to the approval of the Engineer-in charge.
32.01 | 1st year after DLP. | 1.00 | Year |  | 308000.00 | 290567.20 | 650000.00 | 613210.00 | 290567.20 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
32.02 | 2nd year after DLP. | 1.00 | Year |  | 411000.00 | 365790.00 | 725000.00 | 645250.00 | 365790.00 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
32.03 | 3rd year after DLP. | 1.00 | Year |  | 513000.00 | 430714.80 | 900000.00 | 755640.00 | 430714.80 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
32.04 | 4th year after DLP. | 1.00 | Year |  | 616400.00 | 488250.44 | 1200000.00 | 950520.00 | 488250.44 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
32.05 | 5th year after DLP. | 1.00 | Year |  | 719400.00 | 537607.62 | 1300000.00 | 971490.00 | 537607.62 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.
| Total in Figures |  |  |  |  | 13108787.06 |  | 16737110.00
Lowest Amount Quoted BY: INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD.(13108787.06)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of CCTV work in external area like Entry gate and Parking Tender ID: 2022_AAI_130669_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | INFOSOFT DIGITAL DESIGN AND SERVICES PVT. LTD. | 13108787.06 | L1
| 2 | VIHAWK TECH SOLUTIONS PVT. LTD. | 16737110.00 | L2