## BoQ1
Government eProcurement System Created By: Biraj Kumar Ganguly Created Date/Time: 09-Dec-2022 02:09 PM Tender Title: Annual Maintenance of Electrical and Mechanical Installations at NSCBI Airport Kolkata Sub Head Day to Day Operation of Sewerage Treatment Plants with associated E and M Installations etc at NSCBI Airport Kolkata for 2022 2024 Tender ID: 2022_AAI_130730_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work: Annual Maintenance of Electrical & Mechanical Installations at NSCBI Airport, Kolkata. Sub Head: Day to Day Operation of Sewerage Treatment Plants with associated E & M Installations etc. at NSCBI Airport, Kolkata for 2022-2024.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD(GSTN-19AAAAG2661G1ZU) |  | T K MAZUMDER(GSTN-19AADFT2150K1Z3) |  | SOM ENGINEERING WORKS(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Day to day Operation & Maintenance of Sewage Treatment Plant at Sarat colony i/c cleaning of jungles & up-rooting of rank vegetation grass , bush wood trees upto 30 cm measured at a height of 1.00 mtr above ground level and removal of rubbish outside the periphery of STP and Sump Well pump house by engagening manpower round the clock basis including holiday and Sunday.
2.00 | 1st Year | 12.00 | Months | 10500.00 | 74666.00 | 895992.00 | 117835.87 | 1414030.44 | 90601.00 | 1087212.00 | 895992.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
3.00 | 2nd Year | 12.00 | Months | 10500.00 | 74666.00 | 895992.00 | 88055.62 | 1056667.44 | 90601.00 | 1087212.00 | 895992.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
4.00 | Day to day Operation & Maintenance of raw sewage pump house no. 15 near Taj hotel i/c cleaning of jungles & up-rooting of rank vegetation grass , bush wood trees upto 30 cm measured at a height of 1.00 mtr above ground level and removal of rubbish outside the periphery of pumphouse by engagening manpower round the clock basis including holiday and Sunday.
5.00 | First year | 12.00 | Months | 10500.00 | 247911.00 | 2974932.00 | 287676.28 | 3452115.36 | 231177.00 | 2774124.00 | 2774124.00 | SOM ENGINEERING WORKS
6.00 | Second Year | 12.00 | Months | 10500.00 | 247911.00 | 2974932.00 | 220670.62 | 2648047.44 | 231177.00 | 2774124.00 | 2648047.44 | T K MAZUMDER
7.00 | Dismantling the damaged Sub-mersible pump-motor suitable for raw sewage and Complete rewinding and overhauling of following rated Sub-mersible motor set i/c varnishing of drive motor winding, cleaning, discaling of pumps, change of all bearings, re-assembling the set and painting with synthetic enamel painting testing commissioning etc. as reqd. a) 12.5 HP
8.00 | First year | 4.00 | Jobs | 10500.00 | 12000.00 | 48000.00 | 20000.00 | 80000.00 | 18500.00 | 74000.00 | 48000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
9.00 | Second Year | 4.00 | Jobs | 10500.00 | 12000.00 | 48000.00 | 20000.00 | 80000.00 | 18500.00 | 74000.00 | 48000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
10.00 | Complete re-winding of burnt out Motors for following capacity suitable for raw sewage ariation tank by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 25 HP
11.00 | First year | 3.00 | Jobs |  | 15000.00 | 45000.00 | 28500.00 | 85500.00 | 25000.00 | 75000.00 | 45000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
12.00 | Second Year | 3.00 | Jobs |  | 15000.00 | 45000.00 | 28500.00 | 85500.00 | 25000.00 | 75000.00 | 45000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
13.00 | Complete re-winding and overhauling of burnt out Raw Sewage Centrifugal pump motor set for following capacity of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 20 HP Pump
14.00 | First year | 4.00 | Jobs |  | 7500.00 | 30000.00 | 25000.00 | 100000.00 | 20000.00 | 80000.00 | 30000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
15.00 | Second Year | 4.00 | Jobs |  | 7500.00 | 30000.00 | 25000.00 | 100000.00 | 20000.00 | 80000.00 | 30000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
16.00 | Complete re-winding and overhauling of burnt out Raw Sewage Centrifugal pump motor set for following capacity of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 10 HP Pump
17.00 | First year | 3.00 | Jobs |  | 7500.00 | 22500.00 | 14000.00 | 42000.00 | 11000.00 | 33000.00 | 22500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
18.00 | Second Year | 3.00 | Jobs |  | 7500.00 | 22500.00 | 14000.00 | 42000.00 | 11000.00 | 33000.00 | 22500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
19.00 | Complete re-winding and overhauling of burnt out Raw Sewage Centrifugal pump motor set for following capacity of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 7.5 HP Pump
20.00 | First year | 1.00 | Job |  | 5000.66 | 5000.66 | 13500.00 | 13500.00 | 7500.00 | 7500.00 | 5000.66 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
21.00 | Second Year | 1.00 | Job |  | 5000.00 | 5000.00 | 13500.00 | 13500.00 | 7666.00 | 7666.00 | 5000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
22.00 | Complete re-winding and overhauling of burnt out Raw Sewage Centrifugal pump motor set for following capacity of by providing new super enamel coated copper wire with heat varnishing, backing, fitting etc. as reqd. for the following capacity of motors i/c less credit for the burnt copper. a) 1HP to 5 HP Pump
23.00 | First year | 3.00 | Jobs |  | 1000.00 | 3000.00 | 7000.00 | 21000.00 | 3000.00 | 9000.00 | 3000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
24.00 | Second Year | 3.00 | Jobs |  | 1000.00 | 3000.00 | 7000.00 | 21000.00 | 3000.00 | 9000.00 | 3000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
25.00 | Supply & Fixing of 150mm dia double flanged butterfly valve (KIRLOSKAR/AAI approved make) to the discharge line of drying beds etc as required.
26.00 | First year | 4.00 | Each |  | 1000.00 | 4000.00 | 4135.00 | 16540.00 | 3600.00 | 14400.00 | 4000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
27.00 | Second Year | 4.00 | Each |  | 1000.00 | 4000.00 | 4200.00 | 16800.00 | 3600.00 | 14400.00 | 4000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
28.00 | Supply & Fixing of 200mm dia double flanged butterfly valve (KIRLOSKAR/AAI approved make) to the discharge line of drying beds etc as required.
29.00 | First year | 8.00 | Each |  | 1000.00 | 8000.00 | 5500.00 | 44000.00 | 7500.00 | 60000.00 | 8000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
30.00 | Second Year | 8.00 | Each |  | 1000.00 | 8000.00 | 5800.00 | 46400.00 | 7500.00 | 60000.00 | 8000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
31.00 | Dewatering of sewage water from scrapper unit, screen chamber, Areator chamber, wet well of filter pump, inlet chamber of raw sewage pump house etc as required.
32.00 | First year | 450.00 | M3 |  | 10.00 | 4500.00 | 80.00 | 36000.00 | 20.00 | 9000.00 | 4500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
33.00 | Second Year | 450.00 | M3 |  | 50.00 | 22500.00 | 80.00 | 36000.00 | 20.00 | 9000.00 | 9000.00 | SOM ENGINEERING WORKS
34.00 | Removal of sludge from drying bed, scrapper chamber, Aerator chamber, wet well of filtrate pump, inlet chamber of raw sewage pump house etc as required.
35.00 | First year | 1250.00 | M3 |  | 10.00 | 12500.00 | 400.00 | 500000.00 | 99.00 | 123750.00 | 12500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
36.00 | Second Year | 1250.00 | M3 |  | 10.00 | 12500.00 | 400.00 | 500000.00 | 99.00 | 123750.00 | 12500.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
37.00 | Filling of filler media (sand) of different size in drying bed etc as required. a) Fine sand
38.00 | First year | 155.00 | M3 |  | 10.00 | 1550.00 | 500.00 | 77500.00 | 299.00 | 46345.00 | 1550.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
39.00 | Second Year | 155.00 | M3 |  | 10.00 | 1550.00 | 500.00 | 77500.00 | 299.00 | 46345.00 | 1550.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
40.00 | Filling of filler media (sand) of different size in drying bed etc as required. b) Course sand
41.00 | First year | 90.00 | M3 |  | 10.00 | 900.00 | 510.00 | 45900.00 | 299.00 | 26910.00 | 900.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
42.00 | Second Year | 90.00 | M3 |  | 10.00 | 900.00 | 510.00 | 45900.00 | 299.00 | 26910.00 | 900.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
43.00 | The execution of Delhi Schedule of Rates (E&M) 2022 of estimated amount of Rs 1,50,000.00 Items mentioned in Chapter 1 to Chapter 17 including Appendix-I & II as when required basis for repair/maintenance/ addition / alteration etc.of internal and External Electrical installations. [Quoting in the Rate 10% below the Estimated amount of Rs 1,50,000.00 means amount will be Rs.1,35,000/-. Similarly Quoting in the Rate 10% above the Estimated amount of Rs 1,50,000.00 means amount will be Rs. 1,65,000/- (Note: Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR-2022) (For 1st Year) | 150000.00 | % above or below | 10500.00 | 80.00 | 30000.00 | 20.00 | 120000.00 | 60.00 | 60000.00 | 30000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
44.00 | The execution of Delhi Schedule of Rates (E&M) 2022 of estimated amount of Rs 1,60,000.00 Items mentioned in Chapter 1 to Chapter 17 including Appendix-I & II as when required basis for repair/maintenance/ addition / alteration etc.of internal and External Electrical installations. [Quoting in the Rate 10% below the Estimated amount of Rs 1,60,000.00 means amount will be Rs.1.34,,000/-. Similarly Quoting in the Rate 10% above the Estimated amount of Rs 1,60,000.00 means amount will be Rs. 1,,66,000/- (Note: Payment of DSR rate will be made after deduction of GST considered in the Rate of DSR-2022) (For 2nd Year) | 160000.00 | % above or below | 10500.00 | 80.00 | 32000.00 | 20.00 | 128000.00 | 60.00 | 64000.00 | 32000.00 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD
| Total in Figures |  |  |  |  | 8191748.66 |  | 10945400.68 |  | 8964648.00
Lowest Amount Quoted BY: GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD(8191748.66)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance of Electrical and Mechanical Installations at NSCBI Airport Kolkata Sub Head Day to Day Operation of Sewerage Treatment Plants with associated E and M Installations etc at NSCBI Airport Kolkata for 2022 2024 Tender ID: 2022_AAI_130730_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | GANGA ACTION PLAN CONTRACT WORKERS CO-OP SOCIETY LTD | 8191748.66 | L1
| 2 | SOM ENGINEERING WORKS | 8964648.00 | L2
| 3 | T K MAZUMDER | 10945400.68 | L3