## BoQ1
Government eProcurement System Created By: Nirad Patra Created Date/Time: 21-Dec-2022 01:10 PM Tender Title: Operation and Maintenance Contract of 3x115 Tr HVAC system at VSS Airport, Jharsuguda for Two Years. (2022-24) Tender ID: 2022_AAI_130735_1
Tender Inviting Authority: Asst. Gen. Manager (Engg-Elect), VSS Airport, Jharsuguda.
Name of Work: - Operation & Maintenance Contract of 3x115 Tr HVAC system at VSS Airport, Jharsuguda for Two Years. (2022-24)
Contract No: - AAI/JSG/AGM(EE)/eNIT-8/2022 ( Tender Id : 2022_AAI_130735_1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLTAS LIMITED(GSTN-21AAACV2809D1ZY) |  | SNOWMEX ENGINEERS LIMITED(GSTN-07AAMCS8717P1ZF) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | Climate Control(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for Operation and daily maintenance of 3X115TR HVAC system along with all its acceessories and anciliairies viz. Chillers, Pumps, Cooling Towers, AHUs, Split ACs, VRV System, Valves and water lines etc. complete as required in two shifts ( one shift of 8 hours ), on all days including Sundays and Holidays etc. complete as required. | 24.00 | Month | 3933950.00 | 193000.00 | 4632000.00 | 186875.00 | 4485000.00 | 167460.00 | 4019040.00 | 224500.00 | 5388000.00 | 4019040.00 | M K ENTERPRISES
2.00 | Job Contract for comprehensive maintenance contract and unlimited Breakdown maintenance of Daikin make 3X115 TR ( actual with AHRI condition) Microprocessor based rotary screw type chillers including all spare parts, consumables, providing and refrigerent charging, overhauling, cleaning, reparing, testing, performance checking through OEM or its authorised service dealer etc. complete as required. | 24.00 | Month | 3933950.00 | 42350.00 | 1016400.00 | 36000.00 | 864000.00 | 36500.00 | 876000.00 | 10500.00 | 252000.00 | 252000.00 | Climate Control
3.00 | Job Contract for comprehensive maintenance contract and unlimited Breakdown maintenance of 3X115 TR HVAC System (excluding Chillers as detailes in item no.2 ) comprising of AHU, Primary Chilled Water pumps, Secondary Chilled water pumps, Condenser pumps, Cooling Tower, Fan Coil units, Valves, stainers, Pipe lines, insulations, ducting, grills, diffusers, control panels, Starters etc. as detailed in the Inventory including replacement of defective spares parts, consumables, sundry materials including rewinding of motor and repairing of pumps, breakable coupling, performance checking, repairing, overhauling, rewinding etc. complete as required as per successful running of HVAC system. | 24.00 | Month | 3933950.00 | 8583.00 | 205992.00 | 12000.00 | 288000.00 | 10000.00 | 240000.00 | 8000.00 | 192000.00 | 192000.00 | Climate Control
4.00 | Job Contract for comprehensive maintenance contract and unlimited Breakdown Maintenance contract including spare parts, consumables, sundry materials of 1.5 TR / 2 TR Window / split Airconditioing machines of diffrent makes along with all its accessories and anciliaries viz indoor unit, out door unit tc. including providing & charging refrigerent, insulation, gas and liquid lines, drain lines, replacement of defective Compressors / electronic board, blower motors, Voltage stabilizer etc. complete as required. Total 81 Nos. of AC 1.5 TR / 2 TR | 24.00 | Month | 3933950.00 | 8800.00 | 211200.00 | 7360.00 | 176640.00 | 10000.00 | 240000.00 | 1100.00 | 26400.00 | 26400.00 | Climate Control
5.00 | Job contract for comprehensive maintenance contract and unlimited Break down maintenance contract for Eureka forbes make 80SS water cooler cum purifier with all accessories like filters, compressors etc. complete as required. Total 12 Nos. of Water Coolers | 24.00 | Month | 3933950.00 | 12600.00 | 302400.00 | 3000.00 | 72000.00 | 1500.00 | 36000.00 | 1100.00 | 26400.00 | 26400.00 | Climate Control
6.00 | Supply and fixing of copper refrigerant piping of following size comprising suction and discharge pipes complete with suitable size PVC FR Cu wire & nitrile rubber insulation sleeves, brazing including providing of clamps etc. |  |  | 3933950.00
6.10 | Size 1/2" & 1/4" for 1.5 TR Air-conditioning complete as required. | 120.00 | Mtr. | 3933950.00 | 1250.00 | 150000.00 | 10.00 | 1200.00 | 500.00 | 60000.00 | 200.00 | 24000.00 | 1200.00 | SNOWMEX ENGINEERS LIMITED
6.20 | Size 5/8" & 3/8" for 2.0/3.0 TR Air-conditioning complete as required. | 120.00 | Mtr. | 3933950.00 | 1850.00 | 222000.00 | 10.00 | 1200.00 | 500.00 | 60000.00 | 355.00 | 42600.00 | 1200.00 | SNOWMEX ENGINEERS LIMITED
7.00 | Supply and fixing of 25 mm PVC drain pipe connection from indoor to outside of wall including bends,water seal materials & necessary accessories on surface / recess for drain water outlets of AC units etc. complete as required. | 100.00 | Mtr. | 3933950.00 | 670.00 | 67000.00 | 10.00 | 1000.00 | 80.00 | 8000.00 | 255.00 | 25500.00 | 1000.00 | SNOWMEX ENGINEERS LIMITED
| Total in Figures |  |  |  |  | 6806992.00 |  | 5889040.00 |  | 5539040.00 |  | 5976900.00
Lowest Amount Quoted BY: M K ENTERPRISES(5539040.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance Contract of 3x115 Tr HVAC system at VSS Airport, Jharsuguda for Two Years. (2022-24) Tender ID: 2022_AAI_130735_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 5539040.00 | L1
| 2 | SNOWMEX ENGINEERS LIMITED | 5889040.00 | L2
| 3 | Climate Control | 5976900.00 | L3
| 4 | VOLTAS LIMITED | 6806992.00 | L4