## BoQ1
Government eProcurement System Created By: Krishna Kumar Soni Created Date/Time: 10-Nov-2022 12:40 PM Tender Title: Extension of runway at 24 beginning, expansion of apron suitable for C category of aircraft and other associated works at S.V. Airport, Raipur. SH Provision of Perimeter lighting and allied works Phase II. Tender ID: 2022_AAI_130792_1
Tender Inviting Authority: Sr. Manager (E-E), Airports Authority of India, S.V. Airport, Raipur
Name of Work: Extension of runway at 24 beginning, expansion of apron suitable for C- category of aircraft and other associated works at S.V. Airport, Raipur.SH: - Provision of Perimeter lighting & allied works (Phase-II).
Contract No: 2022_AAI_130792
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | GIRI ENTERPRISES(GSTN-20ACEPG3920H1ZA) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Shree Krishna Infradeveloper(GSTN-22ACFFS8142N2ZS) |  | M/S R.K. LALA(GSTN-22ABLFM0669B1ZK) |  | HPL Electric and Power Limited(GSTN-06AAACH0165J2ZT) |  | SAURABH ENTERPRISES(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 300 mm sweep wall fan having Aerodynamically designed, Balanced Blade, suitable for use on 230 volts, 50 Hz, single phase, A.C. supply etc. complete as required. | 8.00 | Each | 2525.00 | 3450.00 | 27600.00 | 2200.00 | 17600.00 | 2200.00 | 17600.00 | 1900.00 | 15200.00 | 1975.00 | 15800.00 | 1910.00 | 15280.00 | 2200.00 | 17600.00 | 15200.00 | Shree Krishna Infradeveloper
2.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 6A to 32 A 240 V DP MCB complete with connections, testing and commissioning etc. as required | 8.00 | Each | 1902.00 | 752.00 | 6016.00 | 1000.00 | 8000.00 | 900.00 | 7200.00 | 1400.00 | 11200.00 | 1000.00 | 8000.00 | 527.00 | 4216.00 | 680.00 | 5440.00 | 4216.00 | HPL Electric and Power Limited
3.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with piano type switch, phenolic laminated sheet, suitable size M.S. box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required.
4.00 | (a) Group C | 40.00 | Point | 1392.00 | 2100.00 | 84000.00 | 700.00 | 28000.00 | 1200.00 | 48000.00 | 1020.00 | 40800.00 | 1500.00 | 60000.00 | 1140.00 | 45600.00 | 800.00 | 32000.00 | 28000.00 | GIRI ENTERPRISES
5.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
6.00 | (a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 20.00 | Mtr. | 285.00 | 180.00 | 3600.00 | 220.00 | 4400.00 | 250.00 | 5000.00 | 200.00 | 4000.00 | 185.00 | 3700.00 | 162.00 | 3240.00 | 130.00 | 2600.00 | 2600.00 | SAURABH ENTERPRISES
7.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 16.00 | Each | 709.00 | 280.00 | 4480.00 | 600.00 | 9600.00 | 600.00 | 9600.00 | 500.00 | 8000.00 | 1000.00 | 16000.00 | 553.00 | 8848.00 | 500.00 | 8000.00 | 4480.00 | jaydeep agency corporation
8.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
9.00 | (a) Single pole | 300.00 | Each | 308.00 | 145.00 | 43500.00 | 210.00 | 63000.00 | 125.00 | 37500.00 | 250.00 | 75000.00 | 185.00 | 55500.00 | 137.00 | 41100.00 | 150.00 | 45000.00 | 37500.00 | Manish Electricals
10.00 | Erection of 3 mtr. height street light pole of above S.No.1 pole including the RCC foundation made from cement concrete 1:2:4 (1 cement : 2 coarse sand :4 graded stone agregate 20mm nominal size) as per OEM design including excavation and refilling etc. as required. | 280.00 | Job | 3201.00 | 2250.00 | 630000.00 | 2000.00 | 560000.00 | 2100.00 | 588000.00 | 1500.00 | 420000.00 | 3000.00 | 840000.00 | 1823.00 | 510440.00 | 2000.00 | 560000.00 | 420000.00 | Shree Krishna Infradeveloper
11.00 | Installation, testing and commissioning of street light fixtures on existing street light pole of height not more than 3 mtr. complete with providing and laying of 3 x 1.5 sqmm PVC insulated flexible copper conductor cable from terminal box to fitting, connections etc. as required. | 280.00 | Each | 382.00 | 185.00 | 51800.00 | 250.00 | 70000.00 | 180.00 | 50400.00 | 50.00 | 14000.00 | 150.00 | 42000.00 | 456.00 | 127680.00 | 100.00 | 28000.00 | 14000.00 | Shree Krishna Infradeveloper
12.00 | Installation, testing and commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/ LED lamps per fitting/wall fan, complete with all accessories including connections etc. as required. | 32.00 | Each | 95.00 | 100.00 | 3200.00 | 80.00 | 2560.00 | 150.00 | 4800.00 | 50.00 | 1600.00 | 125.00 | 4000.00 | 240.00 | 7680.00 | 50.00 | 1600.00 | 1600.00 | SAURABH ENTERPRISES, Shree Krishna Infradeveloper
13.00 | Supply of following sizes of XLPE insulated and PVC sheathed XLPE aluminum conductor armoured cable of 1.1KV grade conforming to IS 7098 (Part-I) with up to date amendments as required.
14.00 | (a) 3.5 x 185 Sq.mm | 3945.00 | Mtr. | 1352.00 | 1050.00 | 4142250.00 | 820.00 | 3234900.00 | 802.00 | 3163890.00 | 1060.00 | 4181700.00 | 1300.00 | 5128500.00 | 687.00 | 2710215.00 | 980.00 | 3866100.00 | 2710215.00 | HPL Electric and Power Limited
15.00 | (b) 4 X 10 Sq.mm | 7606.00 | Mtr. | 186.00 | 146.00 | 1110476.00 | 100.00 | 760600.00 | 106.00 | 806236.00 | 165.00 | 1254990.00 | 175.00 | 1331050.00 | 95.00 | 722570.00 | 180.00 | 1369080.00 | 722570.00 | HPL Electric and Power Limited
16.00 | (c) 3C X 6 Sq.mm | 2138.00 | Mtr. | 137.00 | 110.00 | 235180.00 | 75.00 | 160350.00 | 73.00 | 156074.00 | 120.00 | 256560.00 | 125.00 | 267250.00 | 71.00 | 151798.00 | 135.00 | 288630.00 | 151798.00 | HPL Electric and Power Limited
17.00 | Supply of HDPE Pipe of size 160 mm OD, PE-63, PN-6 as per IS:4984 of wall thikness not less than 11.2 mm complete as required. | 4730.00 | Mtr. | 837.00 | 1280.00 | 6054400.00 | 1100.00 | 5203000.00 | 950.00 | 4493500.00 | 690.00 | 3263700.00 | 1000.00 | 4730000.00 | 773.00 | 3656290.00 | 810.00 | 3831300.00 | 3263700.00 | Shree Krishna Infradeveloper
18.00 | Laying of 160 mm outer dia HDPE Pipe with HDD trenchless method direct in ground in all type soil including 4 mm PP rope coupling of pipe, etc. complete (3 mtr below in normal roads/soil and 6 mtr below runways and taxiways) in all respect as per specification. (Cost of HDPE Pipe is not included in the item) | 4730.00 | Mtr. | 922.00 | 250.00 | 1182500.00 | 700.00 | 3311000.00 | 525.00 | 2483250.00 | 865.00 | 4091450.00 | 900.00 | 4257000.00 | 756.00 | 3575880.00 | 405.00 | 1915650.00 | 1182500.00 | jaydeep agency corporation
19.00 | Supply of following size HDPE pipe (PN8, PE 80 grade) ISI marked along with all accessories like socket, bend, couplers etc. conforming to ISI marked as per IS 4984:2016 with up to date amendment and technical specification with fitting and cutting, jointing etc. complete as required.
20.00 | (a) 63 mm dia. (OD-63 mm & ID-51 mm nominal) | 9000.00 | Mtr. | 203.00 | 308.00 | 2772000.00 | 220.00 | 1980000.00 | 210.00 | 1890000.00 | 110.00 | 990000.00 | 150.00 | 1350000.00 | 152.00 | 1368000.00 | 160.00 | 1440000.00 | 990000.00 | Shree Krishna Infradeveloper
21.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
22.00 | (a) Above 95 sq. mm and upto 185 sq. mm | 30.00 | Mtr. | 49.00 | 45.00 | 1350.00 | 40.00 | 1200.00 | 30.00 | 900.00 | 10.00 | 300.00 | 20.00 | 600.00 | 102.00 | 3060.00 | 30.00 | 900.00 | 300.00 | Shree Krishna Infradeveloper
23.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL / HDPE pipe as required.
24.00 | (a) Upto 35 sq. mm | 9744.00 | Mtr. | 29.00 | 35.00 | 341040.00 | 25.00 | 243600.00 | 20.00 | 194880.00 | 10.00 | 97440.00 | 15.00 | 146160.00 | 42.00 | 409248.00 | 20.00 | 194880.00 | 97440.00 | Shree Krishna Infradeveloper
25.00 | (b) Above 95 sq. mm and upto 185 sq. mm | 4743.00 | Mtr. | 60.00 | 45.00 | 213435.00 | 50.00 | 237150.00 | 30.00 | 142290.00 | 10.00 | 47430.00 | 20.00 | 94860.00 | 102.00 | 483786.00 | 30.00 | 142290.00 | 47430.00 | Shree Krishna Infradeveloper
26.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
27.00 | (a) Upto 35 sq. mm (clamped with 1mm thick saddle) | 32.00 | Mtr. | 37.00 | 38.00 | 1216.00 | 30.00 | 960.00 | 120.00 | 3840.00 | 10.00 | 320.00 | 20.00 | 640.00 | 29.00 | 928.00 | 50.00 | 1600.00 | 320.00 | Shree Krishna Infradeveloper
28.00 | Supplying and making end termination with brass compression gland and aluminum lugs for following size of PVC insulated and PVC sheathed/ XLPE aluminum conductor cable of 1.1 KV grade as required.
29.00 | (a) 4 X 6 sq. mm (22 mm) | 16.00 | SET | 244.00 | 165.00 | 2640.00 | 200.00 | 3200.00 | 300.00 | 4800.00 | 100.00 | 1600.00 | 120.00 | 1920.00 | 201.00 | 3216.00 | 200.00 | 3200.00 | 1600.00 | Shree Krishna Infradeveloper
30.00 | (b) 4 X 16 sq. mm (28mm) | 8.00 | SET | 353.00 | 200.00 | 1600.00 | 300.00 | 2400.00 | 400.00 | 3200.00 | 120.00 | 960.00 | 150.00 | 1200.00 | 332.00 | 2656.00 | 250.00 | 2000.00 | 960.00 | Shree Krishna Infradeveloper
31.00 | (c) 4 X 16 sq. mm (Excluding Gland) | 670.00 | SET | 105.00 | 135.00 | 90450.00 | 100.00 | 67000.00 | 200.00 | 134000.00 | 120.00 | 80400.00 | 25.00 | 16750.00 | 40.00 | 26800.00 | 100.00 | 67000.00 | 16750.00 | M/S R.K. LALA
32.00 | (d) 3.5 X 185 sq. mm (57mm) | 10.00 | SET | 1186.00 | 2100.00 | 21000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 550.00 | 5500.00 | 500.00 | 5000.00 | 1433.00 | 14330.00 | 500.00 | 5000.00 | 5000.00 | SAURABH ENTERPRISES, M/S R.K. LALA
33.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminum conductor cable of 1.1 KV grade as required.
34.00 | (a) 3.5 X 185 sq. mm | 3.00 | SET | 4064.00 | 2850.00 | 8550.00 | 9000.00 | 27000.00 | 4000.00 | 12000.00 | 1400.00 | 4200.00 | 3000.00 | 9000.00 | 11720.00 | 35160.00 | 2500.00 | 7500.00 | 4200.00 | Shree Krishna Infradeveloper
35.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 12.00 | Each | 4795.00 | 5950.00 | 71400.00 | 10000.00 | 120000.00 | 7200.00 | 86400.00 | 3200.00 | 38400.00 | 5000.00 | 60000.00 | 10800.00 | 129600.00 | 6000.00 | 72000.00 | 38400.00 | Shree Krishna Infradeveloper
36.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 48.00 | Mtr. | 755.00 | 695.00 | 33360.00 | 750.00 | 36000.00 | 675.00 | 32400.00 | 140.00 | 6720.00 | 600.00 | 28800.00 | 607.00 | 29136.00 | 500.00 | 24000.00 | 6720.00 | Shree Krishna Infradeveloper
37.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 18.00 | Mtr. | 209.00 | 195.00 | 3510.00 | 200.00 | 3600.00 | 300.00 | 5400.00 | 120.00 | 2160.00 | 125.00 | 2250.00 | 116.00 | 2088.00 | 120.00 | 2160.00 | 2088.00 | HPL Electric and Power Limited
38.00 | Supply of 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 9744.00 | Mtr. | 9.00 | 32.00 | 311808.00 | 20.00 | 194880.00 | 18.00 | 175392.00 | 22.00 | 214368.00 | 15.00 | 146160.00 | 11.00 | 107184.00 | 20.00 | 194880.00 | 107184.00 | HPL Electric and Power Limited
39.00 | Supply of 5 HP, 11 Stage, 3 Ph, 415 Volts tube well submersible pump set suitable for 150 mm dia bore well having Head range 20-104 m for Discharge 270-60 LPM etc. complete as required. (Make Kirloskar, Model KS6B-0511 or equivalent). | 4.00 | Each | 33311.00 | 50500.00 | 202000.00 | 35000.00 | 140000.00 | 39000.00 | 156000.00 | 27000.00 | 108000.00 | 35000.00 | 140000.00 | 42112.00 | 168448.00 | 25000.00 | 100000.00 | 100000.00 | SAURABH ENTERPRISES
40.00 | Supply of 3 core, 4 sqmm, 1.1 KV Flat sheathed submersible copper conductor cable of 1.1KV grade conforming to IS:694-1990 etc. complete as required. | 250.00 | Meter | 191.00 | 110.00 | 27500.00 | 120.00 | 30000.00 | 180.00 | 45000.00 | 90.00 | 22500.00 | 150.00 | 37500.00 | 108.00 | 27000.00 | 150.00 | 37500.00 | 22500.00 | Shree Krishna Infradeveloper
41.00 | Supply of 50 mm dia., UPVC High pressure threaded pipes confirming to ASTM - D-1785, Such 80, etc. complete as required. | 250.00 | Meter | 50.00 | 370.00 | 92500.00 | 150.00 | 37500.00 | 70.00 | 17500.00 | 40.00 | 10000.00 | 50.00 | 12500.00 | 112.00 | 28000.00 | 110.00 | 27500.00 | 10000.00 | Shree Krishna Infradeveloper
42.00 | Installation, testing and commissioning of submersible pump in the existing borewell by laying and fixing of UPVC pipe with socket, submersible cable including providing & fixing steel rope two runs, forged brass Ball Valve, Bronze Non-Return Valve etc. MS-clamp of required size for supporting pump-set with pipes etc. complete as required. | 4.00 | Job | 13813.00 | 2850.00 | 11400.00 | 40000.00 | 160000.00 | 6500.00 | 26000.00 | 1000.00 | 4000.00 | 7000.00 | 28000.00 | 42000.00 | 168000.00 | 1265.50 | 5062.00 | 4000.00 | Shree Krishna Infradeveloper
43.00 | Providing and laying in position specified grade of reinforced cement concrete (above ground level), including the cost of centering, shuttering, finishing and reinforcement - up to road level + 200 mm: -1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 12.00 | cum | 6818.00 | 2850.00 | 34200.00 | 8000.00 | 96000.00 | 7500.00 | 90000.00 | 3800.00 | 45600.00 | 5000.00 | 60000.00 | 9640.00 | 115680.00 | 3500.00 | 42000.00 | 34200.00 | jaydeep agency corporation
44.00 | Installation,Testing & Commissioning of outdoor type cubical panel with suitable slope on top, double door front opening made out of 14 SWG CRCA sheet steel, Gland plate shall be 3mm thick, totally enclosed with IP 54 protection, dust and vermin proof, compartmentalized with powder quoted painting on suitable cement concrete foundation made up of 1 : 2: 4 (1 Cement: 2 Coarse Sand : 4 Grade Stone agreegate 20 mm nominal size) as recommended by OEM including wiring, inter connections, earthing etc. as required. | 6.00 | Each | 12002.00 | 1850.00 | 11100.00 | 10000.00 | 60000.00 | 7000.00 | 42000.00 | 2000.00 | 12000.00 | 2000.00 | 12000.00 | 10800.00 | 64800.00 | 5000.00 | 30000.00 | 11100.00 | jaydeep agency corporation
45.00 | Laying of following size HDPE pipe (PN8, PE 80 grade) DWC / HDPE ISI marked along with all accessory like socket, bend, coupler etc. complete with fitting and cutting joints etc. direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
46.00 | (a) 63 mm dia. (OD-63 mm & ID-51 mm nominal) | 9000.00 | Mtr. | 53.00 | 70.00 | 630000.00 | 50.00 | 450000.00 | 110.00 | 990000.00 | 10.00 | 90000.00 | 80.00 | 720000.00 | 78.00 | 702000.00 | 60.00 | 540000.00 | 90000.00 | Shree Krishna Infradeveloper
47.00 | Laying of 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 17350.00 | Mtr. | 23.00 | 32.00 | 555200.00 | 20.00 | 347000.00 | 4.00 | 69400.00 | 5.00 | 86750.00 | 5.00 | 86750.00 | 6.00 | 104100.00 | 5.00 | 86750.00 | 69400.00 | Manish Electricals
48.00 | Supply, Installation, Testing and Commissioning of IP65 Mi combinable type Bus BarsJB with 250 amps (tinned Cu) bus bars, should be made of high quality Polycarbonate PC-GFS (totally insulated class II ) (shock proof, rust free, corrosion free, acid and chemical resistant, fire retardant, having high impact, made of halogen and silica free recyclable material),UV resistant, having high grade gasket made of Polyurethane, should withstand glow wire test at 960˚C, should be flame retardant,materials suitable for outdoor application and the enclosure should have pre-moulded knock out for cable entry on side walls and enclosure should have PC hinged option. For cable entry from bottom part a de-touchable type PC flange should be fitted with plain wall. The plain wall of flange can be drilled as per cable size. Lid screws should be made of polyamide spring loaded half turn type and to open a triangular key or tool will be required. Inside enclosure should have lot of self-threaded holes so that mounting plate/bus bars can be mounted easily. Degree of Protection : IP 65 Busbar rating: 250 A (RYBN: 40 X 06) MM CU Dimensions : 500 [L] x 985 [H] x 610 [D] mm Given Cable Size : 4C X 185 Sq.mm AL. Cable (Loop In / Loop Out) Mounting Type : Outdoor / Floor Mounting ( FRP Angled Frame) | 5.00 | Each | 30909.00 | 11500.00 | 57500.00 | 30000.00 | 150000.00 | 25000.00 | 125000.00 | 12000.00 | 60000.00 | 40000.00 | 200000.00 | 93736.00 | 468680.00 | 5000.00 | 25000.00 | 25000.00 | SAURABH ENTERPRISES
49.00 | Providing of rectangular type chamber having size 2 meter x 1.5 meter x 1.5 meter including brick works with position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) of size 2 meter x 1.5 meter x 20 cm in bottom for foundation and rectangular type RCC 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cover on top having thickness of 15 cm and minor civil work such as plastering and finishing etc. as required. | 20.00 | Job | 13542.00 | 12800.00 | 256000.00 | 25000.00 | 500000.00 | 12500.00 | 250000.00 | 5000.00 | 100000.00 | 9800.00 | 196000.00 | 24000.00 | 480000.00 | 10000.00 | 200000.00 | 100000.00 | Shree Krishna Infradeveloper
| Total in Figures |  |  |  |  | 19329761.00 |  | 18330500.00 |  | 16377452.00 |  | 15666848.00 |  | 20114890.00 |  | 16522737.00 |  | 15222222.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(15222222.00)

## BOQ Summary
BOQ Summary Details Tender Title: Extension of runway at 24 beginning, expansion of apron suitable for C category of aircraft and other associated works at S.V. Airport, Raipur. SH Provision of Perimeter lighting and allied works Phase II. Tender ID: 2022_AAI_130792_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 15222222.00 | L1
| 2 | Shree Krishna Infradeveloper | 15666848.00 | L2
| 3 | Manish Electricals | 16377452.00 | L3
| 4 | HPL Electric and Power Limited | 16522737.00 | L4
| 5 | GIRI ENTERPRISES | 18330500.00 | L5
| 6 | jaydeep agency corporation | 19329761.00 | L6
| 7 | M/S R.K. LALA | 20114890.00 | L7