## BoQ1
Government eProcurement System Created By: ARUN KUMAR K Created Date/Time: 02-Nov-2022 03:42 PM Tender Title: Annual Maintenance Contract of Electrical and Mechanical Installations of HAL Airport (City Side and Nav Aids buildings) and AAI Residential Colony (Ulsoor), Bengaluru during the year 2022-24 Tender ID: 2022_AAI_130889_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: Annual Maintenance Contract of Electrical and Mechanical Installations of HAL Airport (City Side & Nav-Aids buildings) and AAI Residential Colony (Ulsoor), Bengaluru during the year 2022-24.
Contract No: ­2022_AAI_130889_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GLOBAL TECH SERVICES(GSTN-29BFQPD1799R2Z9) |  | M K ENTERPRISES(GSTN-27AMDPK7085L1ZJ) |  | KALKI ELECTRICALS(GSTN-29AGGPD2370J1ZE) |  | Sterling and wilson pvt ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: MAINTENANCE OF E&M INSTALLATIONS
1.10 | Job Contract for Operation and maintenance of Electrical and Mechanical installations of HAL Airport (City Side & Nav-Aids Buildings) and AAI Residential colony (Ulsoor) on round the clock basis and for all days of the month including sundays and holidays in Three shifts, which involves repairs & maintenance, attending day to day complaints, faults, breakdowns and taking rectification action, ensuring the serviceability & satisfactory working condition of the installations i/c preventive maintenance, maintenance of records & documentations etc., The agency is required to deploy minimum manpower in each shift as detailed in special condition of contract and as per the instruction of Engineer-inc-charge complete as required. | 24.00 | Months |  | 240000.00 | 5760000.00 | 227326.00 | 5455824.00 | 248000.00 | 5952000.00 | 237621.00 | 5702904.00 | 5455824.00 | M K ENTERPRISES
2.00 | SH-II:- Other Maintenance Works
2.10 | Painting of electrical LT indoor,Outdoor panels,Fire hydrant boxes,Exposed Fire hydrant pipe line, Diesel pipe line,Exposed Water ,pumps , earth pit covers etc located in powerhouse, AC Plant, switch rooms ,fire pump room, pump room etc., with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc , of required color to give an even shade complete as required. | 150.00 | Sqmeter |  | 100.00 | 15000.00 | 70.00 | 10500.00 | 200.00 | 30000.00 | 200.00 | 30000.00 | 10500.00 | M K ENTERPRISES
2.20 | Rewinding of 7.5 HP capacity Monoblock motor with copper conductor of suitable size i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning. (dismantled material / wire shall be property of tenderer) | 1.00 | Jobs |  | 12000.00 | 12000.00 | 7000.00 | 7000.00 | 8000.00 | 8000.00 | 6825.00 | 6825.00 | 6825.00 | Sterling and wilson pvt ltd
2.30 | Servicing & overhauling of submersible borewell of 7.5HP capacity i/c replacement of wornout bushes, bearings, impellers, steel shaft and other internal parts etc complete as required.. | 1.00 | Jobs |  | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 4400.00 | 4400.00 | 6825.00 | 6825.00 | 4400.00 | KALKI ELECTRICALS
2.40 | Rewinding of 7.5HP submersible borewell pump motor with copper conductor of suitable size i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning. (dismantled material / wire shall be property of tenderer) | 2.00 | Job |  | 12000.00 | 24000.00 | 6000.00 | 12000.00 | 6800.00 | 13600.00 | 6825.00 | 13650.00 | 12000.00 | M K ENTERPRISES
2.50 | Servicing & overhauling of submersible borewell pump of all sizes upto 7.5HP replacement of wornout bushes, bearings, impellers, steel shaft and other internal parts etc complete as required. | 2.00 | Job |  | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 4400.00 | 8800.00 | 3500.00 | 7000.00 | 7000.00 | Sterling and wilson pvt ltd
2.60 | Lifting and lowering of submersible pumpset 7.5 HP from the depth upto 200 feet including dismantling of the column pipe, cable etc and re-installation of pump and motor set in the bore well along with all necessary work like providing and fixing of required gasket & nut bolts, and welding & threading of GI Pipe and Flanges etc as required and making connection to the discharge line after dry revolution test complete as required. | 2.00 | Job |  | 15000.00 | 30000.00 | 4000.00 | 8000.00 | 4000.00 | 8000.00 | 3500.00 | 7000.00 | 7000.00 | Sterling and wilson pvt ltd
3.00 | SH:III Supply of spares
3.10 | Supplying of following sizes ISI marked PVC insulated, single core, FRLS grade stranded copper cables of 690/1100 volts grade confirming to relevant IS of standard length etc as required
3.20 | 1.5 Sq. mm (90Mtr Roll) | 3.00 | Roll |  | 3000.00 | 9000.00 | 1500.00 | 4500.00 | 1240.00 | 3720.00 | 1348.20 | 4044.60 | 3720.00 | KALKI ELECTRICALS
3.30 | 2.5 Sq. mm (90Mtr Roll) | 3.00 | Roll |  | 4000.00 | 12000.00 | 2000.00 | 6000.00 | 1880.00 | 5640.00 | 2621.50 | 7864.50 | 5640.00 | KALKI ELECTRICALS
4.00 | Supply of following types of lamps suitable for operation on 230 V, 50Hz, AC system as requried.
4.10 | 20W LED tube( T8 type) | 100.00 | Each |  | 150.00 | 15000.00 | 390.00 | 39000.00 | 400.00 | 40000.00 | 267.50 | 26750.00 | 15000.00 | GLOBAL TECH SERVICES
4.20 | 9 watt LED Bulb | 200.00 | Each |  | 100.00 | 20000.00 | 230.00 | 46000.00 | 122.00 | 24400.00 | 75.00 | 15000.00 | 15000.00 | Sterling and wilson pvt ltd
5.00 | Supply of following modular type switches and other miscellaneous items
5.10 | 5/6 A one way switch | 20.00 | Job |  | 45.00 | 900.00 | 50.00 | 1000.00 | 32.00 | 640.00 | 39.00 | 780.00 | 640.00 | KALKI ELECTRICALS
5.20 | 15 A one Switch | 20.00 | Each |  | 25.00 | 500.00 | 45.00 | 900.00 | 120.00 | 2400.00 | 96.00 | 1920.00 | 500.00 | GLOBAL TECH SERVICES
5.30 | 5/6 A Socket | 20.00 | Each |  | 25.00 | 500.00 | 50.00 | 1000.00 | 55.00 | 1100.00 | 79.56 | 1591.20 | 500.00 | GLOBAL TECH SERVICES
5.40 | 15 A Socket | 20.00 | Each |  | 25.00 | 500.00 | 50.00 | 1000.00 | 140.00 | 2800.00 | 139.60 | 2792.00 | 500.00 | GLOBAL TECH SERVICES
6.00 | Supply of 25X 15mm size casing and caping medium class as per relevent IS etc of standard lengh 2mtrs etc., as required. | 100.00 | Each |  | 25.00 | 2500.00 | 60.00 | 6000.00 | 44.00 | 4400.00 | 49.00 | 4900.00 | 2500.00 | GLOBAL TECH SERVICES
7.00 | Supply of following rating HRC Fuses suitable for operation on 230 Volts,50 Hz, AC System as per site requirement
7.10 | 2 Amps | 5.00 | Each |  | 150.00 | 750.00 | 210.00 | 1050.00 | 50.00 | 250.00 | 54.00 | 270.00 | 250.00 | KALKI ELECTRICALS
7.20 | 4 Amps | 5.00 | Each |  | 150.00 | 750.00 | 290.00 | 1450.00 | 60.00 | 300.00 | 53.00 | 265.00 | 265.00 | Sterling and wilson pvt ltd
8.00 | Supply of DOL Starter suitable for 7.5HP Submersible/Monoblock Pumpset in sheet steel enclosure with voltmeter, ammeter, ON/OFF pushbuttons, indications, contactors, O/L relays etc complete suitable for 3 phase, 415V, 50Hz AC supply | 1.00 | Each |  | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 6300.00 | 6300.00 | 2193.50 | 2193.50 | 2193.50 | Sterling and wilson pvt ltd
9.00 | Supply of following sizes of XLPE insulated,Cores , PVC sheathed, Armoured Aluminium cables of 1.1KV Grade as per IS 7098(Part 1) 1988 with upto date amndments.
9.10 | 4 core x 10sqmm | 200.00 | Meter |  | 100.00 | 20000.00 | 95.00 | 19000.00 | 92.00 | 18400.00 | 110.00 | 22000.00 | 18400.00 | KALKI ELECTRICALS
9.20 | 3.5 core x 35 sqmm | 200.00 | Meter |  | 380.00 | 76000.00 | 170.00 | 34000.00 | 160.00 | 32000.00 | 190.00 | 38000.00 | 32000.00 | KALKI ELECTRICALS
9.30 | 3.5 core x 185 sqmm | 50.00 | Meter |  | 1500.00 | 75000.00 | 665.00 | 33250.00 | 450.00 | 22500.00 | 794.00 | 39700.00 | 22500.00 | KALKI ELECTRICALS
10.00 | SH-IV DSR Item
10.10 | Execution of items of schedule of rates E&M CPWD DSR-2022 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations at different locations od HAL Airport (City Side and Nav-Aids buildings) and Ulsoor residential colony as per direction of E-I-C. The bidder shall quote percentage (%) above / below the DSR 2022 rates in the form of multiplication factor. i.e. (for eg :- If the bidder desries to quote 5% above on DSR 2022 rates, the rate column shall be filled as 1.05 and 5% below, the rate column shall be filled as 0.95). | 100000.00 | % |  | .80 | 80000.00 | .80 | 80000.00 | .95 | 95000.00 | .60 | 60000.00 | 60000.00 | Sterling and wilson pvt ltd
| Total in Figures |  |  |  |  | 6187400.00 |  | 5785474.00 |  | 6284650.00 |  | 6002274.80
Lowest Amount Quoted BY: M K ENTERPRISES(5785474.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Electrical and Mechanical Installations of HAL Airport (City Side and Nav Aids buildings) and AAI Residential Colony (Ulsoor), Bengaluru during the year 2022-24 Tender ID: 2022_AAI_130889_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M K ENTERPRISES | 5785474.00 | L1
| 2 | Sterling and wilson pvt ltd | 6002274.80 | L2
| 3 | GLOBAL TECH SERVICES | 6187400.00 | L3
| 4 | KALKI ELECTRICALS | 6284650.00 | L4