## BoQ1
Government eProcurement System Created By: UJAWAL KATHALE Created Date/Time: 11-Nov-2022 03:48 PM Tender Title: Refurbishment of Rest rooms and toilets at ATS Complex, Mumbai Tender ID: 2022_AAI_131004_1
Tender Inviting Authority: AGM (E-C), O/o. ATS Complex, Andheri (East) Mumbai-400099
Name of Work: Refurbishment of Rest rooms and Toilets at ATS Complex, Mumbai.
Contract No: AAI/WR/MUM/ATS/E-C/146/2022
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M I CONSTRUCTIONS(GSTN-27AAQFM9668LIZ5) |  | patwa and co(GSTN-27ANJPS1845B1ZO) |  | Classion Projects (I) Pvt. Ltd.(GSTN-27AADCC9548B1ZO) |  | M K CONSTRUCTION(GSTN-NA) |  | K N RAI(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 8.00 | each |  | 100.00 | 800.00 | 50.00 | 400.00 | 100.00 | 800.00 | 400.00 | 3200.00 | 250.00 | 2000.00 | 400.00 | patwa and co
2.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. a) In cement mortar | 10.00 | Cum |  | 150.00 | 1500.00 | 100.00 | 1000.00 | 500.00 | 5000.00 | 800.00 | 8000.00 | 400.00 | 4000.00 | 1000.00 | patwa and co
3.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : a) Of area 3 sq. meters and below | 26.00 | each |  | 50.00 | 1300.00 | 200.00 | 5200.00 | 200.00 | 5200.00 | 250.00 | 6500.00 | 100.00 | 2600.00 | 1300.00 | M I CONSTRUCTIONS
4.00 | Dismantling tile work in wall laid in cement mortar including stacking material within 50 metres lead. a) For thickness of tiles 10 mm to 25 mm | 353.20 | sqm |  | 55.00 | 19426.00 | 35.00 | 12362.00 | 70.00 | 24724.00 | 20.00 | 7064.00 | 90.00 | 31788.00 | 7064.00 | M K CONSTRUCTION
5.00 | Dismantling C.I. or asbestos rain water pipe with fittings and clamps including stacking the material within 50 metres lead : a) 100 mm dia pipe | 10.00 | metre |  | 50.00 | 500.00 | 40.00 | 400.00 | 50.00 | 500.00 | 25.00 | 250.00 | 100.00 | 1000.00 | 250.00 | M K CONSTRUCTION
6.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 110.35 | sqm |  | 50.00 | 5517.50 | 40.00 | 4414.00 | 50.00 | 5517.50 | 125.00 | 13793.75 | 65.00 | 7172.75 | 4414.00 | patwa and co
7.00 | Dismantling of White vitreous china flat back half stall urinal pot & disposal of the dismantled materials all as per direction of Engg- in Charge. | 10.00 | Each |  | 100.00 | 1000.00 | 70.00 | 700.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 200.00 | 2000.00 | 700.00 | patwa and co
8.00 | Removing existing concealed flush valve for wc & urinal flush valve with removing connection properly all as per direction of Engg- in Charge. | 8.00 | Each |  | 100.00 | 800.00 | 80.00 | 640.00 | 200.00 | 1600.00 | 250.00 | 2000.00 | 400.00 | 3200.00 | 640.00 | patwa and co
9.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : a) Cement mortar 1:4 (1 cement : 4 coarse sand) | 10.00 | Cum |  | 9000.00 | 90000.00 | 7800.00 | 78000.00 | 6200.00 | 62000.00 | 5900.00 | 59000.00 | 5800.00 | 58000.00 | 58000.00 | K N RAI
10.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade a) Area of slab over 0.50 sqm | 16.35 | sqm |  | 3500.00 | 57225.00 | 3500.00 | 57225.00 | 3300.00 | 53955.00 | 3800.00 | 62130.00 | 2800.00 | 45780.00 | 45780.00 | K N RAI
11.00 | Providing edge moulding to 18 mm thick marble stone counters, Vanities etc., including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-Charge. a) Granite work | 44.50 | metre |  | 300.00 | 13350.00 | 300.00 | 13350.00 | 200.00 | 8900.00 | 250.00 | 11125.00 | 200.00 | 8900.00 | 8900.00 | K N RAI, Classion Projects (I) Pvt. Ltd.
12.00 | Extra for fixing marble /granite stone over and above corresponding basic item, in facia and drops of width upto 150 mm with epoxy resin based adhesive including cleaning etc. complete. | 100.00 | metre |  | 400.00 | 40000.00 | 400.00 | 40000.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 85.00 | 8500.00 | 8500.00 | K N RAI
13.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 16.00 | each |  | 500.00 | 8000.00 | 650.00 | 10400.00 | 500.00 | 8000.00 | 400.00 | 6400.00 | 180.00 | 2880.00 | 2880.00 | K N RAI
14.00 | Providing and fixing Ist quality Kajaria / Johnson / RAK ceramic glazed printed wall tiles of size 450 x 300 mm (thickness to be specified by the manufacturer), in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3 kg per sqm, including pointing in white cement mixed with pigment of matching shade complete as per the directions of Engineer-in-charge. | 277.00 | sqm |  | 950.00 | 263150.00 | 900.00 | 249300.00 | 1000.00 | 277000.00 | 1050.00 | 290850.00 | 630.00 | 174510.00 | 174510.00 | K N RAI
15.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). a) Sal wood | .40 | cum |  | 95000.00 | 38000.00 | 60000.00 | 24000.00 | 90000.00 | 36000.00 | 95000.00 | 38000.00 | 180000.00 | 72000.00 | 24000.00 | patwa and co
16.00 | Providing wood work in frames of false ceiling, partitions etc. sawn and fixed in position with necessary stainless steel screws etc. a) Sal wood | 1.00 | cum |  | 90000.00 | 90000.00 | 60000.00 | 60000.00 | 85000.00 | 85000.00 | 90000.00 | 90000.00 | 170000.00 | 170000.00 | 60000.00 | patwa and co
17.00 | Extra for providing frosted glass panes 4 mm thick instead of ordinary float glass panes 4 mm thick in doors, windows and clerestory window shutters. (Area of opening for glass panes excluding portion inside rebate shall be measured). | 2.20 | sqm |  | 2500.00 | 5500.00 | 1500.00 | 3300.00 | 150.00 | 330.00 | 3500.00 | 7700.00 | 300.00 | 660.00 | 330.00 | Classion Projects (I) Pvt. Ltd.
18.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: a) 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 19.00 | sqm |  | 2800.00 | 53200.00 | 2000.00 | 38000.00 | 1700.00 | 32300.00 | 3050.00 | 57950.00 | 3600.00 | 68400.00 | 32300.00 | Classion Projects (I) Pvt. Ltd.
19.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 19.00 | sqm |  | 400.00 | 7600.00 | 200.00 | 3800.00 | 250.00 | 4750.00 | 275.00 | 5225.00 | 200.00 | 3800.00 | 3800.00 | K N RAI, patwa and co
20.00 | Providing and fixing aluminium die cast body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 35 kg and door width upto 700 mm), with necessary accessories and screws etc. complete. | 14.00 | Each |  | 1000.00 | 14000.00 | 1000.00 | 14000.00 | 750.00 | 10500.00 | 1200.00 | 16800.00 | 1100.00 | 15400.00 | 10500.00 | Classion Projects (I) Pvt. Ltd.
21.00 | Providing and fixing partition upto ceiling height consisting of G.I. frame and required board, including providing and fixing of frame work made of special section power pressed/ roll form G.I. sheet with zinc coating of 120 gms/ sqm(both side inclusive), consisting of floor and ceiling channel 50mm wide having equal flanges of 32 mm and 0.50 mm thick, fixed to the floor and ceiling at the spacing of 610 mm centre to centre with dash fastener of 12.5 mm dia meter 50 mm length or suitable anchor fastener or metal screws with nylon plugs and the studs 48 mm wide having one flange of 34 mm and other flange 36 mm and 0.50 mm thick fixed vertically within flanges of floor and ceiling channel and placed at a spacing of 610 mm centre to centre by 6 mm dia bolts and nuts, including fixing of studs along both ends of partition fixed flush to wall with suitable anchor fastener or metal screws with nylon plugs at spacing of 450 mm centre to centre, and fixing of boards to both side of frame work by 25 mm long dry wall screws on studs, floor and ceiling channels at the spacing of 300 mm centre to centre. The boards are to be fixed to the frame work with joints staggered to avoid through cracks, Galvanised M.S. fixing channel of 99 mm width (0.9 mm thick having two flanges of 9.5 mm each with zinc coating of 120 gms/sqm(both side inclusive)) to be provided at the horizontal joints of two boards, fixed to the studs using metal to metal flat head screws, including jointing and finishing to a flush finish with recommended jointing compound, jointing tape, angle beads at corners (25 mm x 25 mm x 0.5 mm), joint finisher and two coats of primer suitable for board as per manufacture's specification and direction of Engineer in charge all complete. a) 75mm overall thickness partition with 12.5 mm thick double skin tapered edged plain Gypsum plaster board conforming : to IS 2095: (part 1) : 1996 (Board with BIS certification marks) | 61.00 | sqm |  | 1100.00 | 67100.00 | 1500.00 | 91500.00 | 1300.00 | 79300.00 | 1450.00 | 88450.00 | 1000.00 | 61000.00 | 61000.00 | K N RAI
22.00 | Providing and fixing Fiber Glass Reinforced plastic (FRP) Door Frames of cross-section 90 mm x 45 mm having single rebate of 32 mm x 15 mm to receive shutter of 30 mm thickness. The laminate shall be moulded with fire resistant grade unsaturated polyester resin and chopped mat. Door frame laminate shall be 2mm thick and shall be filled with suitable wooden block in all the three legs. The frame shall be covered with fiber glass from all sides. M.S. stay shall be provided at the bottom to steady the frame. | 101.00 | metre |  | 700.00 | 70700.00 | 679.00 | 68579.00 | 500.00 | 50500.00 | 405.00 | 40905.00 | 360.00 | 36360.00 | 36360.00 | K N RAI
23.00 | Providing and fixing to existing door frames. a) 30 mm thick Fiberglass Reinforced Plastic (F.R.P.) flush door shutter in different plain and wood finish made with fire retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate all around, with suitable wooden blocks inside at required places for fixing of fittings and polyurethane foam (PUF)/Polystyrene foam to be used as filler material throughout the hollow panel, casted monolithically with testing parameters of F.R.P. laminate conforming to table - 3 of IS: 14856, complete as per direction of Engineer-in-charge. | 40.00 | sqm |  | 3500.00 | 140000.00 | 3930.00 | 157200.00 | 3000.00 | 120000.00 | 3600.00 | 144000.00 | 3800.00 | 152000.00 | 120000.00 | Classion Projects (I) Pvt. Ltd.
24.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. a) 1.5 mm thick | 60.50 | Sqm |  | 850.00 | 51425.00 | 842.00 | 50941.00 | 850.00 | 51425.00 | 650.00 | 39325.00 | 1150.00 | 69575.00 | 39325.00 | M K CONSTRUCTION
25.00 | Providing and fixing cup board shutters 25 mm thick, with Pre-laminated flat pressed three layer particle board or graded wood particle board IS: 12823 marked, exterior grade (Grade l Type ll), having one side decorative lamination and other side balancing lamination, including IInd class teak wood lipping of 25 mm wide x12 mm thick with necessary screws and bright finished stainless steel piano hinges, complete as per direction of the Engineer-in-Charge | 25.00 | sqm |  | 1950.00 | 48750.00 | 1928.00 | 48200.00 | 1800.00 | 45000.00 | 1600.00 | 40000.00 | 3000.00 | 75000.00 | 40000.00 | M K CONSTRUCTION
26.00 | Providing and fixing fly proof stainless steel grade 304 wire gauge, to windows and clerestory windows using wire gauge with average width of aperture 1.4 mm in both directions with wire of dia. 0.50 mm all complete. a) With 12 mm mild steel U beading | 3.00 | sqm |  | 1200.00 | 3600.00 | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 350.00 | 1050.00 | 1000.00 | 3000.00 | 1050.00 | M K CONSTRUCTION
27.00 | Providing and fixing in wall lining medium density fibre board IS: 14587:1998 marked, Pre-laminated one side decorative lamination and other side balancing lamination, with necessary fixing arrangement and screws etc. complete. a)18 mm thick. | 512.00 | sqm |  | 2000.00 | 1024000.00 | 1249.00 | 639488.00 | 1400.00 | 716800.00 | 1200.00 | 614400.00 | 1300.00 | 665600.00 | 614400.00 | M K CONSTRUCTION
28.01 | Providing & fixing commercial plywood of approved brand at any location fixed with fevicol, nail & screw etc. complete as per the directions of Engineer-in-charge. a) 18 mm thick plywood | 14.00 | sqm |  | 915.00 | 12810.00 | 1200.00 | 16800.00 | 1220.00 | 17080.00 | 1250.00 | 17500.00 | 1200.00 | 16800.00 | 12810.00 | M I CONSTRUCTIONS
28.02 | Providing & fixing commercial plywood of approved brand at any location fixed with fevicol, nail & screw etc. complete as per the directions of Engineer-in-charge. b) 12 mm thick plywood | 30.00 | sqm |  | 850.00 | 25500.00 | 1000.00 | 30000.00 | 1050.00 | 31500.00 | 860.00 | 25800.00 | 750.00 | 22500.00 | 22500.00 | K N RAI
29.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joints with white cement and matching pigments etc., complete. a) Size of Tile 600 x 600 mm | 117.00 | Sqm |  | 1200.00 | 140400.00 | 1400.00 | 163800.00 | 1150.00 | 134550.00 | 1200.00 | 140400.00 | 800.00 | 93600.00 | 93600.00 | K N RAI
30.00 | Providing and fixing of 1.5 mm thick vinyl flooring tile of 'Wonder Floor' 'Robust' or equivalent make on existing flooring using Fevicol SR-998 / 505 or equivalent adhesive having proper sealing & adhering property complete as per the directions of Engineer-in-charge | 320.00 | sqm |  | 550.00 | 176000.00 | 890.00 | 284800.00 | 550.00 | 176000.00 | 950.00 | 304000.00 | 1300.00 | 416000.00 | 176000.00 | M I CONSTRUCTIONS, Classion Projects (I) Pvt. Ltd.
31.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/ sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at 1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I. wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/ partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound, jointing tapes, finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : a) 12.5 mm thick tapered edge gypsum plain board conforming to IS: 2095- (Part I) : 2011 (Board with BIS certification marks) | 390.00 | sqm |  | 1000.00 | 390000.00 | 1100.00 | 429000.00 | 850.00 | 331500.00 | 1050.00 | 409500.00 | 1450.00 | 565500.00 | 331500.00 | Classion Projects (I) Pvt. Ltd.
32.00 | 12 mm cement plaster of mix : a) 1:4 (1 cement: 4 coarse sand) | 72.00 | Sqm |  | 450.00 | 32400.00 | 300.00 | 21600.00 | 280.00 | 20160.00 | 241.00 | 17352.00 | 350.00 | 25200.00 | 17352.00 | M K CONSTRUCTION
33.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: a) 1:4 (1 cement: 4 coarse sand) | 56.00 | Sqm |  | 550.00 | 30800.00 | 350.00 | 19600.00 | 320.00 | 17920.00 | 280.00 | 15680.00 | 400.00 | 22400.00 | 15680.00 | M K CONSTRUCTION
34.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade: a) Two or more coats on new work | 665.00 | sqm |  | 80.00 | 53200.00 | 70.00 | 46550.00 | 100.00 | 66500.00 | 75.00 | 49875.00 | 80.00 | 53200.00 | 46550.00 | patwa and co
35.00 | Providing Cera / Kohlar/ Jaquar or equivalent under counter wash basin of size 560x400mm, including the cost installing the same as sandwitch between top granite & bottom khaddappa with cement mortar & finishing the lining with white cement all complete.as per direction in Engineer in charge. | 8.00 | each |  | 2600.00 | 20800.00 | 8000.00 | 64000.00 | 4500.00 | 36000.00 | 5500.00 | 44000.00 | 3200.00 | 25600.00 | 20800.00 | M I CONSTRUCTIONS
36.00 | Providing and fixing C.P. brass pillar cock with aerator of Jaquar make product code ALI-CHR-85001 or equivalent. all complete as per direction of Engineer-in-charge. a) 15mm nominal bore. | 8.00 | each |  | 3100.00 | 24800.00 | 3300.00 | 26400.00 | 2200.00 | 17600.00 | 2500.00 | 20000.00 | 1500.00 | 12000.00 | 12000.00 | K N RAI
37.00 | Providing and fixing white vitreous china water closet squatting pan (Indian type) : a) Orissa pattern W.C. pan of size 580x440 mm | 1.00 | each |  | 3500.00 | 3500.00 | 2544.00 | 2544.00 | 3100.00 | 3100.00 | 2500.00 | 2500.00 | 4000.00 | 4000.00 | 2500.00 | M K CONSTRUCTION
38.00 | Providing and fixing white vitreous china pedestal type (European type/ wash down type) water closet pan. | 7.00 | each |  | 4000.00 | 28000.00 | 2276.00 | 15932.00 | 3000.00 | 21000.00 | 2100.00 | 14700.00 | 4500.00 | 31500.00 | 14700.00 | M K CONSTRUCTION
39.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineer-in-charge. | 8.00 | each |  | 1000.00 | 8000.00 | 650.00 | 5200.00 | 2000.00 | 16000.00 | 700.00 | 5600.00 | 1150.00 | 9200.00 | 5200.00 | patwa and co
40.01 | Providing and fixing soil, waste and vent pipes : a) 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 25.00 | metre |  | 100.00 | 2500.00 | 950.00 | 23750.00 | 900.00 | 22500.00 | 900.00 | 22500.00 | 900.00 | 22500.00 | 2500.00 | M I CONSTRUCTIONS
40.02 | Providing and fixing soil, waste and vent pipes : b) 75 mm diameter : Sand cast iron S&S pipe as per IS: 1729 | 25.00 | metre |  | 90.00 | 2250.00 | 920.00 | 23000.00 | 800.00 | 20000.00 | 800.00 | 20000.00 | 800.00 | 20000.00 | 2250.00 | M I CONSTRUCTIONS
41.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes : a) 100 mm dia pipe | 20.00 | each |  | 500.00 | 10000.00 | 140.00 | 2800.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 120.00 | 2400.00 | 2000.00 | M K CONSTRUCTION
42.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100 mm dia a) Sand cast iron S&S as per IS - 1729 | 8.00 | each |  | 350.00 | 2800.00 | 450.00 | 3600.00 | 500.00 | 4000.00 | 400.00 | 3200.00 | 800.00 | 6400.00 | 2800.00 | M I CONSTRUCTIONS
43.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet a) Sand cast iron S&S as per IS: 3989 | 15.00 | each |  | 600.00 | 9000.00 | 1512.00 | 22680.00 | 1200.00 | 18000.00 | 1400.00 | 21000.00 | 950.00 | 14250.00 | 9000.00 | M I CONSTRUCTIONS
44.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 8.00 | each |  | 150.00 | 1200.00 | 150.00 | 1200.00 | 100.00 | 800.00 | 300.00 | 2400.00 | 550.00 | 4400.00 | 800.00 | Classion Projects (I) Pvt. Ltd.
45.00 | Providing and fixing PTMT towel rail complete with brackets fixed to wooden cleats with CP brass screws with concealed fittings arrangement of approved quality and colour. a) 600 mm long towel rail with total length of 645 mm, width 78 mm and effective height of 88 mm, weighing not less than 190 gms. | 10.00 | each |  | 500.00 | 5000.00 | 595.00 | 5950.00 | 500.00 | 5000.00 | 450.00 | 4500.00 | 650.00 | 6500.00 | 4500.00 | M K CONSTRUCTION
46.00 | Providing and fixing 30 mm thick Kadappa stone in floor / wash basin platform with cement mortar 1 : 4 (1 cement : 4 coarse sand) etc. all complete as per the direction of Engineer-in-charge | 5.00 | Sqm |  | 1200.00 | 6000.00 | 900.00 | 4500.00 | 1000.00 | 5000.00 | 1800.00 | 9000.00 | 2250.00 | 11250.00 | 4500.00 | patwa and co
47.00 | Providing & Fixing Jaquar OHS-CHR-1709 or equivalent over head shower 105 mm round shape all complete as per the direction of Engineer-in-charge | 3.00 | each |  | 3600.00 | 10800.00 | 3600.00 | 10800.00 | 2500.00 | 7500.00 | 2300.00 | 6900.00 | 1210.00 | 3630.00 | 3630.00 | K N RAI
48.00 | Providing and fixing Urinal partition (1050 mm x 450 mm ) with 8 mm thick toughened, screen printed glass and two CP brass brackets all complete as per direction of Engineer-in-charge. | 8.00 | each |  | 4300.00 | 34400.00 | 700.00 | 5600.00 | 6500.00 | 52000.00 | 1500.00 | 12000.00 | 3200.00 | 25600.00 | 5600.00 | patwa and co
49.00 | Providing and fixing Jaquar urinal of size 480 x 300 x 740 mm (URS-WHT-13255) or equivalent including all fixing accessories set complete as per direction of Engineer-in-charge. | 10.00 | each |  | 10000.00 | 100000.00 | 15000.00 | 150000.00 | 11000.00 | 110000.00 | 11000.00 | 110000.00 | 6800.00 | 68000.00 | 68000.00 | K N RAI
50.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : a) Rectangular shape 1500x450 mm | 35.00 | each |  | 2000.00 | 70000.00 | 1786.00 | 62510.00 | 1400.00 | 49000.00 | 1800.00 | 63000.00 | 2600.00 | 91000.00 | 49000.00 | Classion Projects (I) Pvt. Ltd.
51.00 | Providing and fixing Jaquar or equivalent make concealed Flush valve for EWC & IWC including the cost of cutting of wall and making it finish all complete as desired by direction in Engineer in charge. | 8.00 | Each |  | 3500.00 | 28000.00 | 5000.00 | 40000.00 | 3700.00 | 29600.00 | 3450.00 | 27600.00 | 4700.00 | 37600.00 | 27600.00 | M K CONSTRUCTION
52.00 | Providing and fixing Ceramic P-trap to orissa pan all complete as per direction in Engineer in charge. | 1.00 | Each |  | 3600.00 | 3600.00 | 3600.00 | 3600.00 | 1000.00 | 1000.00 | 2500.00 | 2500.00 | 110.00 | 110.00 | 110.00 | K N RAI
53.00 | Providing and fixing brass waste coupling of size 38 mm for Wash Basin of approved quality and colour all complete as per direction and satisfaction of Engineer in charge. | 8.00 | Each |  | 300.00 | 2400.00 | 80.00 | 640.00 | 570.00 | 4560.00 | 450.00 | 3600.00 | 550.00 | 4400.00 | 640.00 | patwa and co
54.00 | Providing and fixing C.P. brass flanges with necessary fittings and fixtures, etc. all complete as per direction of Engineer-in-Charge | 12.00 | Each |  | 100.00 | 1200.00 | 150.00 | 1800.00 | 70.00 | 840.00 | 135.00 | 1620.00 | 35.00 | 420.00 | 420.00 | K N RAI
55.00 | Providing and fixing CPVC Brass FT & MT make all complete as per direction and satisfaction of Engineer in charge. | 20.00 | Each |  | 80.00 | 1600.00 | 150.00 | 3000.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 120.00 | 2400.00 | 1600.00 | M I CONSTRUCTIONS
56.01 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. a) 15 mm nominal outer dia Pipes | 48.00 | metre |  | 400.00 | 19200.00 | 320.00 | 15360.00 | 350.00 | 16800.00 | 190.00 | 9120.00 | 220.00 | 10560.00 | 9120.00 | M K CONSTRUCTION
56.02 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. b) 20 mm nominal outer dia Pipes | 60.00 | metre |  | 480.00 | 28800.00 | 400.00 | 24000.00 | 400.00 | 24000.00 | 219.00 | 13140.00 | 350.00 | 21000.00 | 13140.00 | M K CONSTRUCTION
56.03 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. c) 25 mm nominal outer dia Pipes | 48.00 | metre |  | 560.00 | 26880.00 | 480.00 | 23040.00 | 500.00 | 24000.00 | 260.00 | 12480.00 | 680.00 | 32640.00 | 12480.00 | M K CONSTRUCTION
56.04 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. d) 32 mm nominal outer dia Pipes | 24.00 | metre |  | 680.00 | 16320.00 | 590.00 | 14160.00 | 600.00 | 14400.00 | 275.00 | 6600.00 | 1080.00 | 25920.00 | 6600.00 | M K CONSTRUCTION
57.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : a) 25 to 40 mm nominal bore | 8.00 | each |  | 500.00 | 4000.00 | 675.00 | 5400.00 | 800.00 | 6400.00 | 700.00 | 5600.00 | 240.00 | 1920.00 | 1920.00 | K N RAI
58.01 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : a) 25 mm nominal bore | 8.00 | Each |  | 450.00 | 3600.00 | 450.00 | 3600.00 | 800.00 | 6400.00 | 550.00 | 4400.00 | 1040.00 | 8320.00 | 3600.00 | M I CONSTRUCTIONS, patwa and co
58.02 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : b) 20 mm nominal bore | 8.00 | Each |  | 400.00 | 3200.00 | 400.00 | 3200.00 | 600.00 | 4800.00 | 600.00 | 4800.00 | 850.00 | 6800.00 | 3200.00 | M I CONSTRUCTIONS, patwa and co
58.03 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : c) 32 mm nominal bore | 8.00 | each |  | 850.00 | 6800.00 | 500.00 | 4000.00 | 1000.00 | 8000.00 | 800.00 | 6400.00 | 1800.00 | 14400.00 | 4000.00 | patwa and co
59.01 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length a) 15 mm nominal bore | 8.00 | each |  | 120.00 | 960.00 | 60.00 | 480.00 | 100.00 | 800.00 | 60.00 | 480.00 | 210.00 | 1680.00 | 480.00 | patwa and co, M K CONSTRUCTION
59.02 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length b) 20 mm nominal bore | 8.00 | each |  | 90.00 | 720.00 | 50.00 | 400.00 | 130.00 | 1040.00 | 80.00 | 640.00 | 320.00 | 2560.00 | 400.00 | patwa and co
60.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. a) 15 mm nominal bore | 16.00 | each |  | 650.00 | 10400.00 | 600.00 | 9600.00 | 550.00 | 8800.00 | 1200.00 | 19200.00 | 1260.00 | 20160.00 | 8800.00 | Classion Projects (I) Pvt. Ltd.
61.00 | Providing and fixing C.P. Brass extension nipple (size 15mmx50mm) of approved make and quality as per direction of Engineer-in-charge. | 12.00 | each |  | 100.00 | 1200.00 | 50.00 | 600.00 | 100.00 | 1200.00 | 50.00 | 600.00 | 115.00 | 1380.00 | 600.00 | patwa and co, M K CONSTRUCTION
62.00 | Providing and fixing PTMT stop cock of approved quality and colour. a) Concealed stop cock, 15 mm nominal bore, 108 mm long, weighing not less than 108 gms | 14.00 | each |  | 250.00 | 3500.00 | 115.00 | 1610.00 | 200.00 | 2800.00 | 300.00 | 4200.00 | 590.00 | 8260.00 | 1610.00 | patwa and co
63.00 | Providing and laying Double Flanged (screwed / welded) Centrifugally (Spun) Cast Iron, Class B (IS : 1536) : a) 100 mm dia C.I. Double Flanged Pipe | 16.00 | metre |  | 250.00 | 4000.00 | 1827.00 | 29232.00 | 1500.00 | 24000.00 | 200.00 | 3200.00 | 2200.00 | 35200.00 | 3200.00 | M K CONSTRUCTION
64.01 | Providing and fixing CPVC Union in CPVC pipe including cutting and threading the pipe and making long screws etc. complete (New work) : a) 15 mm nominal bore. | 16.00 | Each |  | 200.00 | 3200.00 | 100.00 | 1600.00 | 120.00 | 1920.00 | 250.00 | 4000.00 | 140.00 | 2240.00 | 1600.00 | patwa and co
64.02 | Providing and fixing CPVC Union in CPVC pipe including cutting and threading the pipe and making long screws etc. complete (New work) : b) 20 mm nominal bore. | 16.00 | Each |  | 250.00 | 4000.00 | 125.00 | 2000.00 | 140.00 | 2240.00 | 125.00 | 2000.00 | 165.00 | 2640.00 | 2000.00 | patwa and co, M K CONSTRUCTION
64.03 | Providing and fixing CPVC Union in CPVC pipe including cutting and threading the pipe and making long screws etc. complete (New work) : c) 25 mm nominal bore. | 16.00 | Each |  | 300.00 | 4800.00 | 150.00 | 2400.00 | 170.00 | 2720.00 | 150.00 | 2400.00 | 270.00 | 4320.00 | 2400.00 | patwa and co, M K CONSTRUCTION
64.04 | Providing and fixing CPVC Union in CPVC pipe including cutting and threading the pipe and making long screws etc. complete (New work) : d) 32 mm nominal bore. | 16.00 | Each |  | 350.00 | 5600.00 | 225.00 | 3600.00 | 200.00 | 3200.00 | 175.00 | 2800.00 | 360.00 | 5760.00 | 2800.00 | M K CONSTRUCTION
65.00 | Providing and fixing PTMT extension nipple for water tank pipe, fittings of approved quality and colour. a) 25mm nominal bore, weighing not less than 62 gms | 12.00 | Each |  | 300.00 | 3600.00 | 113.00 | 1356.00 | 150.00 | 1800.00 | 150.00 | 1800.00 | 200.00 | 2400.00 | 1356.00 | patwa and co
66.00 | Providing and fixing PVC Nahani Trap Jali in rectangular size and desired shade with mesh and cover all complete as desired by direction in Engineer in charge. | 20.00 | Each |  | 60.00 | 1200.00 | 500.00 | 10000.00 | 230.00 | 4600.00 | 175.00 | 3500.00 | 180.00 | 3600.00 | 1200.00 | M I CONSTRUCTIONS
67.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 1140.00 | Kg |  | 450.00 | 513000.00 | 490.00 | 558600.00 | 550.00 | 627000.00 | 455.00 | 518700.00 | 500.00 | 570000.00 | 513000.00 | M I CONSTRUCTIONS
68.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): a) With float glass panes of 4.0 mm thickness (weight not less than 10kg/sqm) | 6.25 | Sqm |  | 1000.00 | 6250.00 | 999.00 | 6243.75 | 900.00 | 5625.00 | 850.00 | 5312.50 | 1000.00 | 6250.00 | 5312.50 | M K CONSTRUCTION
69.00 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side, having 12 mm air gap, including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings and direction of Engineer-in-charge complete. | 50.00 | sqm |  | 3000.00 | 150000.00 | 3905.00 | 195250.00 | 3500.00 | 175000.00 | 3000.00 | 150000.00 | 3800.00 | 190000.00 | 150000.00 | M I CONSTRUCTIONS, M K CONSTRUCTION
70.00 | Providing and inserting 12mm dia galvanised steel injection nipple in honey comb area and along crack line including drilling of holes of required diametre (20mm to 30mm) up to depth from 30mm to 80mm at required spacing and making the hole & crack dust free by blowing compressed air, sealing the distance between injection nipple with adhesive chemical of approved make and allow it to cure complete as per direction of Engineer-In-Charge. | 100.00 | each |  | 190.00 | 19000.00 | 190.00 | 19000.00 | 100.00 | 10000.00 | 75.00 | 7500.00 | 250.00 | 25000.00 | 7500.00 | M K CONSTRUCTION
71.00 | Providing & fixing Vertical blinds of approved make, fabric, colour, design etc. with supporing system (Roller type or channel type) and operating fixture etc. all complete as per the directions of Engineer-in-charge | 50.00 | sqm |  | 1200.00 | 60000.00 | 200.00 | 10000.00 | 1000.00 | 50000.00 | 750.00 | 37500.00 | 1100.00 | 55000.00 | 10000.00 | patwa and co
72.00 | Providing & Fixing of Dorma handle with lock PLUS 8100/6500/6612 8MM 38-63MM SSS, 281a CE Sash lock backset 55mm, PCK 93 - 70MM PROFILE - SATIN NICKELor equivalent all complete as per direction of Engineer-in-charge. | 16.00 | each |  | 3800.00 | 60800.00 | 3500.00 | 56000.00 | 2200.00 | 35200.00 | 4500.00 | 72000.00 | 4500.00 | 72000.00 | 35200.00 | Classion Projects (I) Pvt. Ltd.
73.00 | Extra for applying Water proofing compound "POLYALK WP" of M/s. Sunanada Speciality Coating Pvt. Ltd. or equivlent in proportion of cement in 1:1.25 ratio for water profing tretment and walls upto depth 300 mm at the interval of 24 hours i/c curing, etc. Coverage of WP to be 1 kg per 5 Sqm per coat | 77.00 | Sqm |  | 200.00 | 15400.00 | 100.00 | 7700.00 | 300.00 | 23100.00 | 340.00 | 26180.00 | 115.00 | 8855.00 | 7700.00 | patwa and co
74.00 | Supply, installation, balancing and commissioning of factory fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings andspecifications of following sheet thickness complete as required.T a) Thicknes 0.63 mm (24 Gauge) sheet | 100.00 | Sqm |  | 850.00 | 85000.00 | 500.00 | 50000.00 | 1350.00 | 135000.00 | 1200.00 | 120000.00 | 1020.00 | 102000.00 | 50000.00 | patwa and co
75.00 | Supplying & fixing of powder coated extruded aluminium Supply Air Grills with aluminium volume control dampers as per specifications. | 4.50 | Sqm |  | 5000.00 | 22500.00 | 8480.00 | 38160.00 | 15000.00 | 67500.00 | 6480.00 | 29160.00 | 8600.00 | 38700.00 | 22500.00 | M I CONSTRUCTIONS
76.00 | Supplying & fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required. | 4.50 | Sqm |  | 5000.00 | 22500.00 | 5507.00 | 24781.50 | 7500.00 | 33750.00 | 4072.00 | 18324.00 | 5600.00 | 25200.00 | 18324.00 | M K CONSTRUCTION
77.00 | Supplying and fixing of following thickness duly laminated aluminum foil of mat finish closed cell Nitrile rubber (Class “O”) insulation on existing duct after applying suitable adhesive for Nitrile rubber. The joints shall be sealed with 50 mm wide and 3 mm thick self adhesive nitrile rubber tape insulation complete as per specifications and as required. a) Thickness- 9 mm | 100.00 | Sqm |  | 550.00 | 55000.00 | 697.00 | 69700.00 | 800.00 | 80000.00 | 650.00 | 65000.00 | 720.00 | 72000.00 | 55000.00 | M I CONSTRUCTIONS
78.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. a) Upto 35 Sq mm | 40.00 | Mtr |  | 60.00 | 2400.00 | 323.00 | 12920.00 | 60.00 | 2400.00 | 300.00 | 12000.00 | 360.00 | 14400.00 | 2400.00 | M I CONSTRUCTIONS, Classion Projects (I) Pvt. Ltd.
79.00 | Supplying and fixing of 8 way (8 + 24), Double door vertical type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/ Isolator) | 1.00 | Each |  | 13000.00 | 13000.00 | 4601.00 | 4601.00 | 9000.00 | 9000.00 | 10165.00 | 10165.00 | 5500.00 | 5500.00 | 4601.00 | patwa and co
80.00 | Supply and fixing of the 63 Amp, Four Pole MCB of 240/415 Volts, 'C' curve type, having breaking capacity of 10 kA, with suitable MCB MS enclosure complete with interconnections, testing and commissioning etc. complete as reqd. | 1.00 | Each |  | 3000.00 | 3000.00 | 850.00 | 850.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 2200.00 | 2200.00 | 850.00 | patwa and co
81.00 | Supplying and fixing 5 A to 32 A rating DP MCB, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 12.00 | Each |  | 700.00 | 8400.00 | 1000.00 | 12000.00 | 650.00 | 7800.00 | 1200.00 | 14400.00 | 560.00 | 6720.00 | 6720.00 | K N RAI
82.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch on existing modular plateand GI box and earthing the point with 1.5 Sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. a) Group C | 67.00 | Each |  | 1400.00 | 93800.00 | 1213.00 | 81271.00 | 1000.00 | 67000.00 | 1845.00 | 123615.00 | 1700.00 | 113900.00 | 67000.00 | Classion Projects (I) Pvt. Ltd.
83.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLSH PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a) 2 x 2.5 Sq.mm + 1 x 2.5 Sq.mm Earth Wire | 200.00 | Mtr |  | 340.00 | 68000.00 | 229.00 | 45800.00 | 350.00 | 70000.00 | 275.00 | 55000.00 | 260.00 | 52000.00 | 45800.00 | patwa and co
84.01 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches in recess etc. as required. a) 8 Module (125 X 125 mm) | 6.00 | Each |  | 600.00 | 3600.00 | 383.00 | 2298.00 | 500.00 | 3000.00 | 455.00 | 2730.00 | 410.00 | 2460.00 | 2298.00 | patwa and co
84.02 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches in recess etc. as required. b) 4 Module (125 X 75 mm) | 37.00 | Each |  | 400.00 | 14800.00 | 287.00 | 10619.00 | 400.00 | 14800.00 | 343.00 | 12691.00 | 330.00 | 12210.00 | 10619.00 | patwa and co
85.01 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. a) 5/6 A switch | 37.00 | Each |  | 110.00 | 4070.00 | 85.00 | 3145.00 | 150.00 | 5550.00 | 103.00 | 3811.00 | 105.00 | 3885.00 | 3145.00 | patwa and co
85.02 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. b) 15/16 A switch | 6.00 | Each |  | 150.00 | 900.00 | 110.00 | 660.00 | 230.00 | 1380.00 | 156.00 | 936.00 | 140.00 | 840.00 | 660.00 | patwa and co
85.03 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. c) 6 pin 5/6 A socket outlet | 37.00 | Each |  | 175.00 | 6475.00 | 150.00 | 5550.00 | 160.00 | 5920.00 | 122.00 | 4514.00 | 115.00 | 4255.00 | 4255.00 | K N RAI
85.04 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. d) 6 pin 15/16 A socket outlet | 6.00 | Each |  | 220.00 | 1320.00 | 175.00 | 1050.00 | 240.00 | 1440.00 | 197.00 | 1182.00 | 185.00 | 1110.00 | 1050.00 | patwa and co
86.00 | Supply of 30 Watt recess/suspended slim LED 2' x 2' panel integral light luminaries with powder coated rim complete including LED driver as required suitable for the operation on 230V, 50 Hz AC supply with all accessories complete as required & as specified. | 20.00 | Each |  | 13000.00 | 260000.00 | 3000.00 | 60000.00 | 2000.00 | 40000.00 | 3000.00 | 60000.00 | 2080.00 | 41600.00 | 40000.00 | Classion Projects (I) Pvt. Ltd.
87.00 | Installation, testing and commissioning of pre-wired, LED fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 Sq.mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 20.00 | Each |  | 200.00 | 4000.00 | 168.00 | 3360.00 | 300.00 | 6000.00 | 2200.00 | 44000.00 | 620.00 | 12400.00 | 3360.00 | patwa and co
88.00 | Supply, installation, testing and commissioning of 220-240 Volt, 3 W Indoor Built in LED flexible wall light spot type with all accessories complete as required & as specified. [ Make : Philips or equivalent as approved by Engineer-in-Charge ] | 37.00 | Each |  | 1700.00 | 62900.00 | 600.00 | 22200.00 | 700.00 | 25900.00 | 2500.00 | 92500.00 | 850.00 | 31450.00 | 22200.00 | patwa and co
89.00 | Supply, installation, testing and commissioning of 220-240 Volt, 2 W Indoor Built in LED wall light with bi-directional spot beam type with all accessories complete as required & as specified. [ Make : Philips or equivalent as approved by Engineer-in-Charge ] | 10.00 | Each |  | 2400.00 | 24000.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 2500.00 | 25000.00 | 800.00 | 8000.00 | 3000.00 | Classion Projects (I) Pvt. Ltd.
90.00 | SITC of Conventional type photo electric smoke detector complete with base. | 10.00 | Each |  | 2100.00 | 21000.00 | 1500.00 | 15000.00 | 2150.00 | 21500.00 | 3000.00 | 30000.00 | 1900.00 | 19000.00 | 15000.00 | patwa and co
91.00 | SITC of Conventional manual call point complete. | 1.00 | Each |  | 1700.00 | 1700.00 | 5000.00 | 5000.00 | 2600.00 | 2600.00 | 2500.00 | 2500.00 | 1700.00 | 1700.00 | 1700.00 | K N RAI, M I CONSTRUCTIONS
92.00 | Integration of detectors and fire alarm system with existing Fire Alarm control panel including wiring etc complete as required. | 1.00 | Job |  | 33000.00 | 33000.00 | 200000.00 | 200000.00 | 8000.00 | 8000.00 | 30000.00 | 30000.00 | 35000.00 | 35000.00 | 8000.00 | Classion Projects (I) Pvt. Ltd.
| Total in Figures |  |  |  |  | 5141198.50 |  | 4849452.25 |  | 4642696.50 |  | 4746425.25 |  | 5108880.75
Lowest Amount Quoted BY: Classion Projects (I) Pvt. Ltd.(4642696.50)

## BOQ Summary
BOQ Summary Details Tender Title: Refurbishment of Rest rooms and toilets at ATS Complex, Mumbai Tender ID: 2022_AAI_131004_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Classion Projects (I) Pvt. Ltd. | 4642696.50 | L1
| 2 | M K CONSTRUCTION | 4746425.25 | L2
| 3 | patwa and co | 4849452.25 | L3
| 4 | K N RAI | 5108880.75 | L4
| 5 | M I CONSTRUCTIONS | 5141198.50 | L5