## BoQ1
Government eProcurement System Created By: Naveen Kumar Marwaha Created Date/Time: 29-Nov-2022 12:12 PM Tender Title: Provision of Solar Power Plant at Lilabari Airport Tender ID: 2022_AAI_131515_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Provision of Solar Power Plant at Lilabari Airport.
Contract No: 2022_AAI_131515_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Samved Energy Systems Private Limited(GSTN-27AAMCS4640P1ZN) |  | M/s Shiva Enterprises(GSTN-NA) |  | Current Infraprojects Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, Detailed Engineering, Supply, Installation, Testing and Commissioning of Grid Connected Carport type Solar PV Power Generation Plant of 170 KWp capacity with structure made up of aesthetically appealing hot dip GaIvanised GI steel structure of min. 85 micron with PV modules of minimum 540Wp, Mono PERC half cut, Minimum Efficiency: 20.90%, suitable for 1500 VDC, fixed in anodized aluminium frame complete as required including elevated structural support systems, foundation for all components after proper soil investigation/treatment as per site conditions, proper Communication, Data, Control, Power Cables & Safety System for reverse power protection, min. IP65 rated DC DB/JB for connection of modules to inverters through DC copper cables of suitable capacity laid in heavy duty CPVC/UPVC /HDPE pipes, Power Conditioning Units, String Monitoring Units, Meters, Surge & Lightning Protection System (as per NBC 2016), Earthing of modules & structures, Water cleaning system with proper drainage, LT/HT evacuation & injection at suitable injection point as per site conditions through cables, switchgears of suitable capacity for minimal voltage drop/losses, End terminations including modification of existing LT Panel (if required) (cable laying should be in HDPE pipes of suitable size as per site conditions, MNRE guidlines & revelent IEC 62548 & IEC 61215 ,62804), Auxiliary & Control Supply System, Data Acquisition system (complete with Hardware, Software, Switchgear, Cabling, Air Conditioning of room etc.) for local & remote monitoring, communication & control cabling alongwith providing Fire Extinguishers of required numbers & capacity, LED type Lighting for general illumination in the car shed i/c wiring / cabling, MCBs, DBs, Switchs etc, Plant Solar Radiation & Environment Monitoring System, Shadow Analysis, Glare Analysis for safe flight operations, Clearance from DISCOM and approvals from other Statuatory Agencies, Transportation & Insurance of material etc. and any other items/accessories/clearances/services required for successful commissioning of power plant on "Turnkey basis" complete in all respects as per the technical specifications, terms & conditions specified in the tender document and handing over the Solar PV Power Generation System to AAI. The complete system shall be under Defect Liability Period (DLP) of 02 years. Location: Lilabari Airport, North Lakhimpur, Assam Distance between LT Evacuation point and nearest point of solar power plant installation : 75 mtrs. approx. (45 mtrs approx. in ground in DWC HDPE pipe and 30 mtrs approx. in hard surface in HDPE/GI pipe to be laid by suitable means as per site conditions). | 1.00 | JOB | 0.00 | 16522632.48 | 16522632.48 | 14000000.00 | 14000000.00 | 18193375.00 | 18193375.00 | 14000000.00 | M/s Shiva Enterprises
2.00 | All inclusive Comprehensive Maintenance for 08 years (after completion of DLP of 02 years) and Operation for 10 years (from date of commissioning & Handing over) of the above installed complete Solar PV Power Plant with all installations/accessories as mentioned in Item No-1 including providing of required manpower for Operation & Routine maintenance (min. 01 no. skilled Technician) including cleaning of modules, monitoring / recording the solar energy generation data and maintenance of proper records etc. as required as per the directions of EIC.
2.01 | 1st Year (1st year during DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 216000.00 | 216000.00 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
2.02 | 2nd Year (2nd year during DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 231120.00 | 231120.00 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
2.03 | 3rd Year (1st year after DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 247298.40 | 247298.40 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
2.04 | 4th Year (2nd year after DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 264609.29 | 264609.29 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
2.05 | 5th Year (3rd year after DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 283131.94 | 283131.94 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
2.06 | 6th Year (4th year after DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 302951.17 | 302951.17 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
2.07 | 7th Year (5th year after DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 324157.76 | 324157.76 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
2.08 | 8th Year (6th year after DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 346848.80 | 346848.80 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
2.09 | 9th Year (7th year after DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 371128.21 | 371128.21 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
2.10 | 10th Year (8th year after DLP ) | 1.00 | Year | 0.00 | 120000.00 | 120000.00 | 397107.19 | 397107.19 | 150000.00 | 150000.00 | 120000.00 | Samved Energy Systems Private Limited
| Total in Figures |  |  |  |  | 17722632.48 |  | 16984352.76 |  | 19693375.00
Lowest Amount Quoted BY: M/s Shiva Enterprises(16984352.76)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Solar Power Plant at Lilabari Airport Tender ID: 2022_AAI_131515_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Shiva Enterprises | 16984352.76 | L1
| 2 | Samved Energy Systems Private Limited | 17722632.48 | L2
| 3 | Current Infraprojects Private Limited | 19693375.00 | L3