## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 14-Dec-2022 02:05 PM Tender Title: Running operation and maintenance of pump set, Int. and Ext. Electrical installations of INA Residential Colony Pocket- A and B, Guest House, Medical Centre etc. at Safdarjung Airport, New Delhi. (for the year of 2022-24). Tender ID: 2022_AAI_131767_1
Tender Inviting Authority: Asstt. Gen. Mgr., Airports Authority of India, Safdarjung Airport, New Delhi-110003
Name of Work: Running operation & maintenance of pump set, Int. & Ext. Electrical installations of INA Residential Colony Pocket- A & B, Guest House, Medical Centre etc. at Safdarjung Airport, New Delhi. (for the year of 2022-24).
Contract No: AAI/SAP/Engg.(E)/ARMO-INA/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ABSFA7035P1ZP) |  | SWASTIK ELECTROTECH PRIVATE LIMITED(GSTN-07AANCS9215R1ZF) |  | SRS ENGINEERS(GSTN-07AETPG0981P1ZR) |  | CIS GLOBAL INFRATECH PRIVATE LIMITED(GSTN-NA) |  | RD INFRATECH ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I- Operation & maintenance
2.00 | Running operation and maintenance of Internal and External Electrical installations, water supply pumps and DG sets etc. at INA colony pocket A & B, Guest House, Medical Centre etc, i/c on all working days i/c Saturdays, Sundays, Gazetted holidays & National holidays i/c carrying out routine preventive/ breakdown maintenance and record keeping etc. by deploying the following minimum man power as per specification, terms and conditions of tender document complete as required for one month in shift basis (round the clock) as per the requirement of works. The agency has to quote the rate in conformity with para no. 12 of special condition of contract. Note: Supervisor is required to be deployed on all working days i/c Saturdays, Gazetted holidays & National holidays except Sundays and for Data entry operator required to be deployed on all working days i/c Saturdays & Gazetted holidays except Sundays & National holidays. i) Supervisor – 1 ii) Data Entry Operator (Highly Skilled) – 1 iii) Wireman (Skilled) – 7 iv) Wireman cum DG operator (Skilled) - 6 v) Pump Operator (Skilled) – 03 vi) Khallasi (Unskilled) – 14 | 24.00 | Month | 0.00 | 679000.00 | 16296000.00 | 750000.00 | 18000000.00 | 743424.00 | 17842176.00 | 719500.00 | 17268000.00 | 592000.00 | 14208000.00 | 14208000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
3.00 | SH-II: Miscellaneous minor repair works for E&M installations, as per specification, as & when required with prior approval of Engineer in charge.
4.00 | Complete servicing of different type & model ceiling fans i/c greasing, replacement of cotter pin, rubber bush, bolts & nuts i/c dismantling, reinstallation of fan at the existing location as reqd.(excluding replacement of bearing ) | 150.00 | Each | 0.00 | 20.00 | 3000.00 | 250.00 | 37500.00 | 5.00 | 750.00 | 1.00 | 150.00 | 300.00 | 45000.00 | 150.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
5.00 | Painting of following installations in position with synthetic enamelled paint by spray/ brush painting by one or more coats including scraping, cleaning of surface & writing actual nomenclature with highlighted colour on the installation after painting etc.
5.01 | Distribution boards /out door panel/ Feedar piller etc. | 150.00 | Sq.mtr. | 0.00 | 200.00 | 30000.00 | 50.00 | 7500.00 | 150.00 | 22500.00 | 1.00 | 150.00 | 200.00 | 30000.00 | 150.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
5.02 | Post top poles single /double Arms, height up to 4 mtr | 300.00 | Each | 0.00 | 225.00 | 67500.00 | 100.00 | 30000.00 | 200.00 | 60000.00 | 1.00 | 300.00 | 400.00 | 120000.00 | 300.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
5.03 | Street light pole height upto 7 to 9 mtrs | 45.00 | Each | 0.00 | 300.00 | 13500.00 | 150.00 | 6750.00 | 250.00 | 11250.00 | 1.00 | 45.00 | 400.00 | 18000.00 | 45.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
6.00 | Labour charges for lowering & lifting i/c dismantling of different sizes submersible pump set/ jet assembly alongwith pipe lines, cable from the existing bore, as & when reqd. re-installing back of the same i/c cost of cable joint & minor items such as nut bolt & rubber packing etc. (charges for repairing or rectification of fault of pump/ motor will be paid separately). | 10.00 | Each | 0.00 | 5000.00 | 50000.00 | 12000.00 | 120000.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 10000.00 | 100000.00 | 10000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.00 | Providing & replacement of top and bottom bearing / bush of ceiling fans i/c associated work as per the requirment of following fans i/c dismantling and reinstallation of fan with testing, commissioning etc.as reqd.(Dismantled material shall be the property of tenderer)
7.01 | Light weight ceiling fan/ Exhaust fan | 200.00 | Each | 0.00 | 100.00 | 20000.00 | 250.00 | 50000.00 | 100.00 | 20000.00 | 1.00 | 200.00 | 500.00 | 100000.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.02 | Medium weight ceiling fan | 100.00 | Each | 0.00 | 100.00 | 10000.00 | 300.00 | 30000.00 | 100.00 | 10000.00 | 1.00 | 100.00 | 500.00 | 50000.00 | 100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
7.03 | 12" Exhaust fan | 50.00 | Each | 0.00 | 100.00 | 5000.00 | 400.00 | 20000.00 | 100.00 | 5000.00 | 1.00 | 50.00 | 500.00 | 25000.00 | 50.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
8.00 | Providing and replacement of damage/ rusted GI pipe line of submersible/ monoblock pump set, as & when reqd. with following size i/c threading cutting and accessories such as flange, socket, gasket, nut - bolts, washer etc. as reqd. I/c transportation to site of work.( make: Tata/Jindal)
8.01 | 2" dia GI 'B' class Pipe | 20.00 | Metre | 0.00 | 750.00 | 15000.00 | 455.00 | 9100.00 | 1200.00 | 24000.00 | 1.00 | 20.00 | 780.00 | 15600.00 | 20.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
8.02 | 3" dia GI 'B' class Pipe | 20.00 | Metre | 0.00 | 1000.00 | 20000.00 | 855.00 | 17100.00 | 1350.00 | 27000.00 | 1.00 | 20.00 | 1150.00 | 23000.00 | 20.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
9.00 | Providing and fixing wood wool pads (1 set of 3 nos.) of good quality of suitable size for 4000 cum/hr capacity desert cooler at different locations & floors i/c dismantling, existing pads if reqd. | 6.00 | Set | 0.00 | 100.00 | 600.00 | 350.00 | 2100.00 | 200.00 | 1200.00 | 5.00 | 30.00 | 500.00 | 3000.00 | 30.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
10.00 | Rewinding of the following ceiling fan, desert cooler motors etc i/c dismantling, transportation to workshop & back i/c connection, testing & commissioning as reqd. (Dismantled material shall be the property of tenderer)
10.01 | Ceiling fan of all makes and models. | 200.00 | Each | 0.00 | 300.00 | 60000.00 | 300.00 | 60000.00 | 250.00 | 50000.00 | 300.00 | 60000.00 | 300.00 | 60000.00 | 50000.00 | SRS ENGINEERS
10.02 | Desert cooler fan motor of all makes and models. | 10.00 | Each | 0.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 100.00 | 1000.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 1000.00 | SRS ENGINEERS
10.03 | Exhaust Fan of all makes & model up to 300mm. | 180.00 | Each | 0.00 | 450.00 | 81000.00 | 400.00 | 72000.00 | 450.00 | 81000.00 | 300.00 | 54000.00 | 500.00 | 90000.00 | 54000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
10.04 | Exhaust Fan of all makes & model of size more then 300mm & up to 450mm. | 5.00 | Each | 0.00 | 500.00 | 2500.00 | 500.00 | 2500.00 | 650.00 | 3250.00 | 300.00 | 1500.00 | 800.00 | 4000.00 | 1500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
11.00 | Rewinding of the following water pump motors and replacement of Bearing , bushes, water seal of pump motors etc i/c dismantling, transportation to workshop & back i/c connection, testing & commissioning as reqd. (Dismantled material shall be the property of tenderer)
11.01 | 12.5 HP, 3-Phase, Monoset Openwell pump | 5.00 | Each | 0.00 | 6000.00 | 30000.00 | 15000.00 | 75000.00 | 2000.00 | 10000.00 | 1.00 | 5.00 | 10000.00 | 50000.00 | 5.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
11.02 | 7.5 HP, 3- Phase, Monoblock/ booster pump set | 4.00 | Each | 0.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 1500.00 | 6000.00 | 1.00 | 4.00 | 9000.00 | 36000.00 | 4.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
11.03 | 5 to 6 HP, 3- Phase, Submersible pump set | 10.00 | Each | 0.00 | 4000.00 | 40000.00 | 8500.00 | 85000.00 | 1300.00 | 13000.00 | 1.00 | 10.00 | 7500.00 | 75000.00 | 10.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.00 | Repairing of following capacity of submersible/ monoblock water supply pumps & replacement of all required unserviceable parts such as discharge bowl/ discharge bearing, intermediate bowl/ impeller/ upthrust collar/ intermediate ball bearing/ pump shaft/ Suction inlet/ suction adapter/ pump motor coupling / water seal /rotor polishing & tuning of rotor etc i/c lathe work, dismantling, transportation to workshop & back and reinstallation i/c testing & commissioning as reqd. (Dismantled material shall be the property of tenderer)
12.01 | 12.5 HP, 3-Phase, Monoset Openwell pump | 5.00 | Each | 0.00 | 3000.00 | 15000.00 | 3500.00 | 17500.00 | 2000.00 | 10000.00 | 1.00 | 5.00 | 10000.00 | 50000.00 | 5.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.02 | 5 to 6 HP, 3-Phase submersible pump set | 10.00 | Each | 0.00 | 2000.00 | 20000.00 | 2500.00 | 25000.00 | 3500.00 | 35000.00 | 1.00 | 10.00 | 9000.00 | 90000.00 | 10.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
12.03 | 7.5 HP, 3- Phase Monoblock/ booster pump set | 4.00 | Each | 0.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1.00 | 4.00 | 7500.00 | 30000.00 | 4.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
13.00 | Detection of LT cable fault by using LT cable fault locator machine on the route of cable laying at site & locate the fault at pin-pointing i/c excavation of soil etc as required. | 6.00 | Job | 0.00 | 8000.00 | 48000.00 | 11500.00 | 69000.00 | 5000.00 | 30000.00 | 4500.00 | 27000.00 | 8000.00 | 48000.00 | 27000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
14.00 | SH-III- Supply of the following items as per specifications & reqired Makes, as and when required with prior approval of engineer in charge.
15.00 | 36 watt Electronic Ballast suitable for 36 watt FTL. (Make: Havells or equivalent) | 400.00 | Each | 0.00 | 210.00 | 84000.00 | 155.00 | 62000.00 | 135.00 | 54000.00 | 100.00 | 40000.00 | 110.00 | 44000.00 | 40000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
16.00 | 36 watt fluorescent tube light. | 150.00 | Each | 0.00 | 75.00 | 11250.00 | 75.00 | 11250.00 | 45.00 | 6750.00 | 36.00 | 5400.00 | 35.00 | 5250.00 | 5250.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
17.00 | 36/40 Watt FTL Starter. (Make: Universal/Bajaj/ Philiphs/Havells) | 800.00 | Each | 0.00 | 12.00 | 9600.00 | 20.00 | 16000.00 | 10.00 | 8000.00 | 9.00 | 7200.00 | 12.00 | 9600.00 | 7200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
18.00 | 1x36/40 W FTL fixture with domestic electronic ballast (without lamp). | 150.00 | Each | 0.00 | 190.00 | 28500.00 | 250.00 | 37500.00 | 475.00 | 71250.00 | 50.00 | 7500.00 | 280.00 | 42000.00 | 7500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
19.00 | Supply of 40 Amp double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA. (Make: L&T or equivalent) | 100.00 | Each | 0.00 | 1200.00 | 120000.00 | 2100.00 | 210000.00 | 1700.00 | 170000.00 | 1520.00 | 152000.00 | 1505.00 | 150500.00 | 120000.00 | ANAND AND COMPANTY
20.00 | Supplying of following rating, 240/415 V, 10 kA, "C" curve miniature circuit breaker (MCB):- (Make: L&T or equivalent)
20.01 | 6 A to 32 A, SP MCB. | 100.00 | Each | 0.00 | 150.00 | 15000.00 | 145.00 | 14500.00 | 140.00 | 14000.00 | 100.00 | 10000.00 | 110.00 | 11000.00 | 10000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
20.02 | 32 Amp., DP MCB. | 50.00 | Each | 0.00 | 400.00 | 20000.00 | 506.00 | 25300.00 | 550.00 | 27500.00 | 550.00 | 27500.00 | 357.00 | 17850.00 | 17850.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
20.03 | 40 Amp., DP MCB. | 50.00 | Each | 0.00 | 625.00 | 31250.00 | 819.00 | 40950.00 | 800.00 | 40000.00 | 550.00 | 27500.00 | 567.00 | 28350.00 | 27500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
20.04 | 63 Amp., DP MCB. | 2.00 | Each | 0.00 | 650.00 | 1300.00 | 819.00 | 1638.00 | 900.00 | 1800.00 | 550.00 | 1100.00 | 567.00 | 1134.00 | 1100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
20.05 | 100 Amp., DP MCB. | 10.00 | Each | 0.00 | 1500.00 | 15000.00 | 3800.00 | 38000.00 | 980.00 | 9800.00 | 1.00 | 10.00 | 3405.00 | 34050.00 | 10.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.00 | Providing of following rating, breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders:- (Make: L&T or equivalent)
21.01 | 63 Amp., 25 KA,4 Pole MCCB. | 10.00 | Each | 0.00 | 1900.00 | 19000.00 | 5456.00 | 54560.00 | 1000.00 | 10000.00 | 100.00 | 1000.00 | 4602.00 | 46020.00 | 1000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.02 | 125 Amp,36 KA ,4 Pole MCCB. | 5.00 | Each | 0.00 | 4500.00 | 22500.00 | 9071.00 | 45355.00 | 1000.00 | 5000.00 | 100.00 | 500.00 | 6425.00 | 32125.00 | 500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.03 | 160 Amp,36 KA,4 Pole MCCB. | 5.00 | Each | 0.00 | 10000.00 | 50000.00 | 12136.00 | 60680.00 | 1000.00 | 5000.00 | 100.00 | 500.00 | 7465.00 | 37325.00 | 500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
21.04 | 250 Amp.,36 KA 4 Pole MCCB. | 2.00 | Each | 0.00 | 11000.00 | 22000.00 | 13533.00 | 27066.00 | 1000.00 | 2000.00 | 100.00 | 200.00 | 14755.00 | 29510.00 | 200.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.00 | Supplying of following piano type switch/ socket:-
22.01 | 5/6 amps switch. (Make: Anchor or equivalent) | 1200.00 | Each | 0.00 | 25.00 | 30000.00 | 18.00 | 21600.00 | 25.00 | 30000.00 | 13.00 | 15600.00 | 11.00 | 13200.00 | 13200.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
22.02 | 5/6 Amps. Bell push switch. (Make: Anchor or equivalent) | 200.00 | Each | 0.00 | 35.00 | 7000.00 | 26.00 | 5200.00 | 45.00 | 9000.00 | 24.00 | 4800.00 | 27.00 | 5400.00 | 4800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.03 | 15/16 A switch. (Make: Anchor or equivalent) | 400.00 | Each | 0.00 | 85.00 | 34000.00 | 64.00 | 25600.00 | 55.00 | 22000.00 | 60.00 | 24000.00 | 55.00 | 22000.00 | 22000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED, SRS ENGINEERS
22.04 | 3 pin 5/6 A socket outlet. (Make: Anchor or equivalent) | 300.00 | Each | 0.00 | 50.00 | 15000.00 | 30.00 | 9000.00 | 50.00 | 15000.00 | 25.00 | 7500.00 | 27.00 | 8100.00 | 7500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
22.05 | 6 pin 15/16 A socket outlet. (Make: Anchor or equivalent) | 400.00 | Each | 0.00 | 120.00 | 48000.00 | 64.00 | 25600.00 | 90.00 | 36000.00 | 60.00 | 24000.00 | 58.00 | 23200.00 | 23200.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
23.00 | Supplying following modular switch/ socket:-
23.01 | 10A switch. (Make: Anchor or equivalent) | 100.00 | Each | 0.00 | 45.00 | 4500.00 | 40.00 | 4000.00 | 60.00 | 6000.00 | 25.00 | 2500.00 | 19.20 | 1920.00 | 1920.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
23.02 | 10A Bell push switch. (Make: Anchor or equivalent) | 20.00 | Each | 0.00 | 45.00 | 900.00 | 90.00 | 1800.00 | 85.00 | 1700.00 | 45.00 | 900.00 | 44.00 | 880.00 | 880.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
23.03 | 20A switch. (Make: Anchor or equivalent) | 100.00 | Each | 0.00 | 85.00 | 8500.00 | 85.00 | 8500.00 | 80.00 | 8000.00 | 65.00 | 6500.00 | 52.00 | 5200.00 | 5200.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
23.04 | 3 pin 5/6A socket outlet. (Make: Anchor or equivalent) | 50.00 | Each | 0.00 | 95.00 | 4750.00 | 70.00 | 3500.00 | 100.00 | 5000.00 | 65.00 | 3250.00 | 60.00 | 3000.00 | 3000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
23.05 | 6 pin 15/16A Shuttered socket outlet. (Make: Anchor or equivalent) | 100.00 | Each | 0.00 | 150.00 | 15000.00 | 130.00 | 13000.00 | 130.00 | 13000.00 | 95.00 | 9500.00 | 90.00 | 9000.00 | 9000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
24.00 | Door bell ding-dong suitable to operate at 220-240 volt ,50 Hz. (Make: Anchor or equivalent) | 200.00 | Each | 0.00 | 150.00 | 30000.00 | 140.00 | 28000.00 | 125.00 | 25000.00 | 105.00 | 21000.00 | 110.00 | 22000.00 | 21000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
25.00 | 6/16 Amp plate type switch socket assembly (Without box). (Make: Anchor or equivalent) | 50.00 | Each | 0.00 | 250.00 | 12500.00 | 130.00 | 6500.00 | 140.00 | 7000.00 | 55.00 | 2750.00 | 95.00 | 4750.00 | 2750.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
26.00 | Supply of 6/16 Amp SS combine shutter type with box and fixing holes. (Make: Anchor or equivalent) | 100.00 | Each | 0.00 | 250.00 | 25000.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 45.00 | 4500.00 | 110.00 | 11000.00 | 4500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
27.00 | 3 pin ,15/16 Amps Plug top. (Make: Anchor or equivalent) | 50.00 | Each | 0.00 | 60.00 | 3000.00 | 75.00 | 3750.00 | 75.00 | 3750.00 | 45.00 | 2250.00 | 55.00 | 2750.00 | 2250.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
28.00 | 12 watt surface mounted round type LED down lighter fitting with IP-54. | 300.00 | Each | 0.00 | 480.00 | 144000.00 | 750.00 | 225000.00 | 950.00 | 285000.00 | 290.00 | 87000.00 | 415.00 | 124500.00 | 87000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
29.00 | 7 to 9 watt LED bulb (pin type). | 100.00 | Each | 0.00 | 130.00 | 13000.00 | 95.00 | 9500.00 | 100.00 | 10000.00 | 85.00 | 8500.00 | 63.00 | 6300.00 | 6300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
30.00 | 20W (±10%) T8 4 feet LED tube light rod | 100.00 | Each | 0.00 | 150.00 | 15000.00 | 265.00 | 26500.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 170.00 | 17000.00 | 15000.00 | ANAND AND COMPANTY
31.00 | 20W (±10%) T8 4 feet LED tube light fitting (i/c batten & tube rod) | 50.00 | Each | 0.00 | 250.00 | 12500.00 | 491.00 | 24550.00 | 700.00 | 35000.00 | 320.00 | 16000.00 | 280.00 | 14000.00 | 12500.00 | ANAND AND COMPANTY
32.00 | Supply of 12 volt , 25 plate 180 AH storage type lead acid battery etc as reqd. (as and when required). (Make: Exide, Model: Xpress or equivalent) | 10.00 | Each | 0.00 | 15000.00 | 150000.00 | 18000.00 | 180000.00 | 13700.00 | 137000.00 | 50.00 | 500.00 | 18000.00 | 180000.00 | 500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
33.00 | Battery water (Pack of 5 Ltrs.). (Make: Exide, Model: Distillo or equivalent) | 10.00 | Each | 0.00 | 75.00 | 750.00 | 90.00 | 900.00 | 70.00 | 700.00 | 4.00 | 40.00 | 500.00 | 5000.00 | 40.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
34.00 | Batten holder (Polycarbonate). (Make: Anchor or equivalent) | 400.00 | Each | 0.00 | 35.00 | 14000.00 | 27.00 | 10800.00 | 15.00 | 6000.00 | 27.00 | 10800.00 | 27.00 | 10800.00 | 6000.00 | SRS ENGINEERS
35.00 | 100 Watt Stepped type Fan regulator (1 module), suitable to operate at 220-240 volt, 50 Hz. (Make: Anchor or equivalent) | 100.00 | Each | 0.00 | 175.00 | 17500.00 | 150.00 | 15000.00 | 175.00 | 17500.00 | 1.00 | 100.00 | 147.00 | 14700.00 | 100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
36.00 | 100 Watt Stepped type fan regulator (2 module), suitable to operate at 220-240 volt, 50 Hz. (Make: Anchor or equivalent) | 300.00 | Each | 0.00 | 250.00 | 75000.00 | 190.00 | 57000.00 | 190.00 | 57000.00 | 180.00 | 54000.00 | 163.00 | 48900.00 | 48900.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
37.00 | 100 Watt Stepped type Modular Fan regulator (1 module), suitable to operate at 220-240 volt, 50 Hz. (Make: Anchor or equivalent) | 50.00 | Each | 0.00 | 200.00 | 10000.00 | 200.00 | 10000.00 | 185.00 | 9250.00 | 1.00 | 50.00 | 166.00 | 8300.00 | 50.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
38.00 | 100 Watt Stepped type Modular Fan regulator (2 module), suitable to operate at 220-240 volt, 50 Hz. (Make: Anchor or equivalent) | 50.00 | Each | 0.00 | 350.00 | 17500.00 | 275.00 | 13750.00 | 195.00 | 9750.00 | 180.00 | 9000.00 | 196.00 | 9800.00 | 9000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
39.00 | 5/6 Amp, Four outlet socket power strip with fuse protection , switch and having extension cord of minimum 1.5 mtrs. (Make: Anchor or equivalent) | 5.00 | Each | 0.00 | 450.00 | 2250.00 | 700.00 | 3500.00 | 400.00 | 2000.00 | 1.00 | 5.00 | 380.00 | 1900.00 | 5.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
40.00 | 15/16 Amp, Four outlet socket power strip with fuse protection , switch and having extension cord of minimum 1.5 mtrs. Cord. (Make: Anchor or equivalent) | 5.00 | Each | 0.00 | 550.00 | 2750.00 | 900.00 | 4500.00 | 450.00 | 2250.00 | 1.00 | 5.00 | 480.00 | 2400.00 | 5.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
41.00 | Supply of capacitor of following rating:- (Make: Havells or equivalent)
41.01 | 1.75 MFD Capacitor. | 150.00 | Each | 0.00 | 25.00 | 3750.00 | 25.00 | 3750.00 | 1.00 | 150.00 | 20.00 | 3000.00 | 27.00 | 4050.00 | 150.00 | SRS ENGINEERS
41.02 | 2.5 MFD Capacitor. | 350.00 | Each | 0.00 | 30.00 | 10500.00 | 27.00 | 9450.00 | 2.00 | 700.00 | 30.00 | 10500.00 | 28.00 | 9800.00 | 700.00 | SRS ENGINEERS
42.00 | 18 watt submersible pump for Desert Cooler suitable to operate at 220-240 volt ,50 Hz. (Make: Khaitan Zolta or equivalent) | 5.00 | Each | 0.00 | 250.00 | 1250.00 | 300.00 | 1500.00 | 200.00 | 1000.00 | 1.00 | 5.00 | 180.00 | 900.00 | 5.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
43.00 | Supply of FR-LSH,PVC insulated single core, industrial grade copper conductor (Unsheathed) flexible cables,1100 Volts confirming to IS-694:-
43.01 | 1.5 Sqmm (90 mtr. length). | 16.00 | Each | 0.00 | 1350.00 | 21600.00 | 1404.00 | 22464.00 | 1400.00 | 22400.00 | 1200.00 | 19200.00 | 1125.00 | 18000.00 | 18000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
43.02 | 2.5 Sqmm (90 mtr. length). | 10.00 | Each | 0.00 | 2150.00 | 21500.00 | 2457.00 | 24570.00 | 1650.00 | 16500.00 | 2000.00 | 20000.00 | 1921.00 | 19210.00 | 16500.00 | SRS ENGINEERS
43.03 | 4.0 Sqmm (90 mtr. length). | 6.00 | Each | 0.00 | 3150.00 | 18900.00 | 3510.00 | 21060.00 | 2650.00 | 15900.00 | 2500.00 | 15000.00 | 3000.00 | 18000.00 | 15000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
43.04 | 6.0 Sqmm (90 mtr. length). | 2.00 | Each | 0.00 | 4100.00 | 8200.00 | 6786.00 | 13572.00 | 3250.00 | 6500.00 | 10.00 | 20.00 | 4320.00 | 8640.00 | 20.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
44.00 | Supply of PVC insulated and FR PVC Round Sheathed, Copper Conductor (flexible) industrial cable, 1100 Volt, conforming to IS 694:-
44.01 | 3 core , 1.5 sq mm cable (100 Mtr). | 3.00 | Each | 0.00 | 4500.00 | 13500.00 | 6500.00 | 19500.00 | 7000.00 | 21000.00 | 3600.00 | 10800.00 | 4535.00 | 13605.00 | 10800.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
44.02 | 3 core , 2.5 sq mm cable (100 Mtr). | 3.00 | Each | 0.00 | 7500.00 | 22500.00 | 9900.00 | 29700.00 | 8500.00 | 25500.00 | 1.00 | 3.00 | 7200.00 | 21600.00 | 3.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
45.00 | Supply of flat 3 core 4 sq mm (100 Mtr) PVC insulated and PVC sheathed industrial or submersible pump motor cable, 1100 volts, confirming to IS 694 | 3.00 | Each | 0.00 | 13500.00 | 40500.00 | 9900.00 | 29700.00 | 11000.00 | 33000.00 | 1.00 | 3.00 | 11500.00 | 34500.00 | 3.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
46.00 | Supply of following sizes of 1.1kv grade multicore Aluminium conductor XLPE insulated PVC sheathed armoured cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications:-
46.01 | 2x6 sq.mm. | 500.00 | Metre | 0.00 | 75.00 | 37500.00 | 87.00 | 43500.00 | 62.00 | 31000.00 | 40.00 | 20000.00 | 67.00 | 33500.00 | 20000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
46.02 | 2x10 sq.mm. | 500.00 | Metre | 0.00 | 90.00 | 45000.00 | 102.00 | 51000.00 | 72.00 | 36000.00 | 60.00 | 30000.00 | 79.00 | 39500.00 | 30000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
46.03 | 3.5 core, 35 Sqmm, Aluminium cable | 200.00 | Metre | 0.00 | 205.00 | 41000.00 | 239.00 | 47800.00 | 170.00 | 34000.00 | 218.00 | 43600.00 | 184.00 | 36800.00 | 34000.00 | SRS ENGINEERS
46.04 | 3.5 core, 95 Sqmm, Aluminium cable | 100.00 | Metre | 0.00 | 460.00 | 46000.00 | 546.00 | 54600.00 | 390.00 | 39000.00 | 1.00 | 100.00 | 420.00 | 42000.00 | 100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
46.05 | 3.5 core, 150 Sqmm, Aluminium cable | 100.00 | Metre | 0.00 | 665.00 | 66500.00 | 789.00 | 78900.00 | 580.00 | 58000.00 | 1.00 | 100.00 | 607.00 | 60700.00 | 100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
47.00 | PVC Gang Box for the following switches / Sockets:-
47.01 | 1 no. 5 Amp switch. (Make: Anchor or equivalent) | 10.00 | Each | 0.00 | 30.00 | 300.00 | 18.00 | 180.00 | 75.00 | 750.00 | 22.00 | 220.00 | 40.00 | 400.00 | 180.00 | SWASTIK ELECTROTECH PRIVATE LIMITED
47.02 | 1 no. 5 Amp switch & 1 no. 5 Amp socket. (Make: Anchor or equivalent) | 100.00 | Each | 0.00 | 50.00 | 5000.00 | 70.00 | 7000.00 | 110.00 | 11000.00 | 60.00 | 6000.00 | 50.00 | 5000.00 | 5000.00 | ANAND AND COMPANTY, RD INFRATECH ENGINEERS PRIVATE LIMITED
47.03 | 2 no. 5 Amp switch & 2 no. 5 Amp socket. (Make: Anchor or equivalent) | 100.00 | Each | 0.00 | 75.00 | 7500.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 100.00 | 10000.00 | 60.00 | 6000.00 | 6000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
48.00 | PVC Channel of ISI marked heavy duty 1.6 mm thick of following sizes (one channel of 2 mtr. Length):- (Make: AKG or equivalent)
48.01 | 20 mm. | 100.00 | Each | 0.00 | 25.00 | 2500.00 | 60.00 | 6000.00 | 35.00 | 3500.00 | 41.00 | 4100.00 | 32.00 | 3200.00 | 2500.00 | ANAND AND COMPANTY
48.02 | 25 mm. | 100.00 | Each | 0.00 | 30.00 | 3000.00 | 80.00 | 8000.00 | 45.00 | 4500.00 | 56.00 | 5600.00 | 45.00 | 4500.00 | 3000.00 | ANAND AND COMPANTY
48.03 | 32 mm. | 100.00 | Each | 0.00 | 35.00 | 3500.00 | 130.00 | 13000.00 | 55.00 | 5500.00 | 59.00 | 5900.00 | 65.00 | 6500.00 | 3500.00 | ANAND AND COMPANTY
49.00 | Twin Twisted Flexible copper wire 23/76 (90 mtr length). | 4.00 | Each | 0.00 | 600.00 | 2400.00 | 600.00 | 2400.00 | 650.00 | 2600.00 | 1000.00 | 4000.00 | 650.00 | 2600.00 | 2400.00 | ANAND AND COMPANTY, SWASTIK ELECTROTECH PRIVATE LIMITED
50.00 | Supplying and fixing of phenolic laminated sheet cover on existing metal box of following sizes (nominal size) on surface or in recess with suitable size as required.
50.01 | 125 mm X 125 mm | 100.00 | Each | 0.00 | 30.00 | 3000.00 | 10.00 | 1000.00 | 125.00 | 12500.00 | 1.00 | 100.00 | 20.00 | 2000.00 | 100.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
50.02 | 200 mm X 125 mm | 150.00 | Each | 0.00 | 44.00 | 6600.00 | 15.00 | 2250.00 | 175.00 | 26250.00 | 1.00 | 150.00 | 25.00 | 3750.00 | 150.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
50.03 | 275 mm X 175 mm | 150.00 | Each | 0.00 | 85.00 | 12750.00 | 20.00 | 3000.00 | 220.00 | 33000.00 | 1.00 | 150.00 | 30.00 | 4500.00 | 150.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
51.00 | Industrial plug Top 3 Pin, 20 amp. (Make: Anchor or equivalent) | 10.00 | Each | 0.00 | 150.00 | 1500.00 | 80.00 | 800.00 | 150.00 | 1500.00 | 90.00 | 900.00 | 90.00 | 900.00 | 800.00 | SWASTIK ELECTROTECH PRIVATE LIMITED
52.00 | Industrial Socket 3 Pin, 20 amp. (Make: Anchor or equivalent) | 10.00 | Each | 0.00 | 200.00 | 2000.00 | 80.00 | 800.00 | 150.00 | 1500.00 | 90.00 | 900.00 | 90.00 | 900.00 | 800.00 | SWASTIK ELECTROTECH PRIVATE LIMITED
53.00 | 3P MNX 32 power contactor. (Make: L&T or equivalent) | 5.00 | Each | 0.00 | 1500.00 | 7500.00 | 2000.00 | 10000.00 | 2350.00 | 11750.00 | 1900.00 | 9500.00 | 6800.00 | 34000.00 | 7500.00 | ANAND AND COMPANTY
54.00 | Overload relay:- (Make: L&T or equivalent)
54.01 | Relay range 6-10 amp. | 1.00 | Each | 0.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 300.00 | 300.00 | 1.00 | 1.00 | 1250.00 | 1250.00 | 1.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
54.02 | Relay range 9-15 amp. | 1.00 | Each | 0.00 | 1200.00 | 1200.00 | 1900.00 | 1900.00 | 375.00 | 375.00 | 1.00 | 1.00 | 1850.00 | 1850.00 | 1.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
54.03 | Relay range 14-23 amp. | 1.00 | Each | 0.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 450.00 | 450.00 | 1.00 | 1.00 | 3541.00 | 3541.00 | 1.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
55.00 | Single Phase Preventor. (Make: L&T or equivalent) | 2.00 | Each | 0.00 | 800.00 | 1600.00 | 700.00 | 1400.00 | 990.00 | 1980.00 | 1.00 | 2.00 | 1100.00 | 2200.00 | 2.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
56.00 | Star Delta Starter for 12.5HP 3Phase motor. (Make: L&T or equivalent) | 2.00 | Each | 0.00 | 6500.00 | 13000.00 | 25000.00 | 50000.00 | 100.00 | 200.00 | 1.00 | 2.00 | 9800.00 | 19600.00 | 2.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
57.00 | SS Cordless 1.2 Litres Electric Kettle. (Make: Bajaj or equivalent) | 5.00 | Each | 0.00 | 2500.00 | 12500.00 | 1500.00 | 7500.00 | 2200.00 | 11000.00 | 1.00 | 5.00 | 850.00 | 4250.00 | 5.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
58.00 | Heat Convector of 2000W suitable to operate at 220-240V, 50Hz. (Make: Havells/ Bajaj or equivalent) | 5.00 | Each | 0.00 | 2500.00 | 12500.00 | 3000.00 | 15000.00 | 2575.00 | 12875.00 | 1.00 | 5.00 | 2040.00 | 10200.00 | 5.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
59.00 | Room Heater (oil type) having 11 wave fins, 2900W with fan ,suitable to operate at 220-240V, 50Hz. (Make: Havells/ Bajaj or equivalent) | 5.00 | Each | 0.00 | 14000.00 | 70000.00 | 12000.00 | 60000.00 | 11500.00 | 57500.00 | 10000.00 | 50000.00 | 8300.00 | 41500.00 | 41500.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
60.00 | Room Heater of 800W having double rod suitable to operate at 220-240V, 50Hz. (Make: Havells/ Bajaj or equivalent) | 5.00 | Each | 0.00 | 1200.00 | 6000.00 | 3500.00 | 17500.00 | 1550.00 | 7750.00 | 1000.00 | 5000.00 | 1450.00 | 7250.00 | 5000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
61.00 | 15 Litre capacity vertical type water heater, rated power 2KW, suitable to operate at 220-240V, 50Hz, (Geyser). (Make: Havells Model: MONZA DX or equivalent) | 5.00 | Each | 0.00 | 6000.00 | 30000.00 | 9000.00 | 45000.00 | 10500.00 | 52500.00 | 10000.00 | 50000.00 | 7628.00 | 38140.00 | 30000.00 | ANAND AND COMPANTY
62.00 | Ceiling Fan of size 1200mm sweep including all accessories, suitable to operate at 220-240V,50Hz. (Make: Havells, Model: Velocity or equivalent) | 10.00 | Each | 0.00 | 1400.00 | 14000.00 | 1900.00 | 19000.00 | 1750.00 | 17500.00 | 1500.00 | 15000.00 | 1695.00 | 16950.00 | 14000.00 | ANAND AND COMPANTY
63.00 | Wall Fan having 400mm sweep,suitable to operate at 220-240V, 50Hz. (Make: Havells, Model: Swing or equivalent) | 10.00 | Each | 0.00 | 2800.00 | 28000.00 | 1900.00 | 19000.00 | 2200.00 | 22000.00 | 1900.00 | 19000.00 | 1865.00 | 18650.00 | 18650.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
64.00 | Pedestal Fan 450mm sweep,suitable to operate at 220-240V, 50Hz. (Make: Havells, Model: Sprint Hi-Speed or equivalent) | 5.00 | Each | 0.00 | 5500.00 | 27500.00 | 2900.00 | 14500.00 | 2550.00 | 12750.00 | 1900.00 | 9500.00 | 2290.00 | 11450.00 | 9500.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
65.00 | Exhaust fan having 200mm sweep, Non metallic body suitable to operate at 220-240V, 50Hz. (Make: Havells, Model: Ventil Air DX White or equivalent) | 10.00 | Each | 0.00 | 1600.00 | 16000.00 | 1200.00 | 12000.00 | 1600.00 | 16000.00 | 1300.00 | 13000.00 | 1060.00 | 10600.00 | 10600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
66.00 | Exhaust Fan , 300 mm sweep, 1300-1400 rpm, heavy duty type, metal body,suitable to operate at 220-240V, 50Hz. (Make: Havells, Model: Turbo Force SP or equivalent) | 20.00 | Each | 0.00 | 2200.00 | 44000.00 | 2500.00 | 50000.00 | 1850.00 | 37000.00 | 1500.00 | 30000.00 | 1860.00 | 37200.00 | 30000.00 | CIS GLOBAL INFRATECH PRIVATE LIMITED
67.00 | SH-IV Misc. Electrical Works
68.00 | Execution of works as per CPWD schedule of work and specification as and when reqd. DSR (Electrical) 2018, items of Rs.5,00,000/- (Five Lakhs only ) (Rate should be quoted in the Indian rupees only) The payment of DSR items shall be released on the basis of perctange calcuation between qutoted amount and fixed amount of Rs. 5,00,000/- NOTE: Guideline for quoting percentage rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 500000/-of DSR 2018 (electrical) and same shall be converted into percentage above/below on the DSR 2018 (considering the rates of DSR 2018 as base rates). 2. For Example if bidder quotes Rs. 525000/- in rates column then same shall be converted into percentage of DSR 2018 as under ((525000 - 500000) / 500000) i.e. 5% above on DSR 2018 and accordingly payment shall be made by applying the percentage i.e. 5% above on DSR 2018 rates for items covered in DSR 2018. | 1.00 | Job | 0.00 | 250000.00 | 250000.00 | 600000.00 | 600000.00 | 200000.00 | 200000.00 | 250000.00 | 250000.00 | 500000.00 | 500000.00 | 200000.00 | SRS ENGINEERS
| Total in Figures |  |  |  |  | 19006450.00 |  | 21624695.00 |  | 20432306.00 |  | 18706431.00 |  | 17500000.00
Lowest Amount Quoted BY: RD INFRATECH ENGINEERS PRIVATE LIMITED(17500000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Running operation and maintenance of pump set, Int. and Ext. Electrical installations of INA Residential Colony Pocket- A and B, Guest House, Medical Centre etc. at Safdarjung Airport, New Delhi. (for the year of 2022-24). Tender ID: 2022_AAI_131767_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RD INFRATECH ENGINEERS PRIVATE LIMITED | 17500000.00 | L1
| 2 | CIS GLOBAL INFRATECH PRIVATE LIMITED | 18706431.00 | L2
| 3 | ANAND AND COMPANTY | 19006450.00 | L3
| 4 | SRS ENGINEERS | 20432306.00 | L4
| 5 | SWASTIK ELECTROTECH PRIVATE LIMITED | 21624695.00 | L5