## BoQ1
Government eProcurement System Created By: Rudra Prasad Acharya Created Date/Time: 05-Dec-2022 05:47 PM Tender Title: Annual Maintenance job contract of E and M installations of GLF Systems NAVAIDS ATC Building and associated areas at BPl Airport Bhubaneswar Tender ID: 2022_AAI_132344_1
Tender Inviting Authority: Senior Manager Engg (E), Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Annual Maintenance job contract of E & M installations of GLF Systems, NAV-AIDS, ATC Building and associated areas at B.P. International Airport, Bhubaneswar (2022-24).
Contract No: 2022_AAI_132344_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED(GSTN-07ABDCS2796Q1ZH) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance and operation of all Electrical & Mechanical Installations and power supply system of operational area such as GLF Systems, NAV-AID units, ATC Tower, Operational area including DG Sets in CCR with AMF panels etc. involving operation, repairs & maintenance, faults / breakdowns rectifications, ensuring serviceability /satisfactory working condition of the systems, preventive maintenance on daily/ weekly/ monthly/ quarterly/ half yearly/yearly basis, maintenance of records/documentation including supervision of all ongoing capital and maintenance works etc. as per scope of work given in tender specifications of contract on all days including Sundays & Holidays. The services of DG Sets, AMF Panel & the services of all other E & M installation shall be ensured round the clock as per the directions of EIC. | 24.00 | Month |  | 755500.00 | 18132000.00 | 652778.00 | 15666672.00 | 741888.00 | 17805312.00 | 15666672.00 | Manish Electricals
2.00 | Provision of Sr Supervisor every day throughout the contract period for overall supervision and administration of the contract as direction by EIC. | 24.00 | Month |  | 31500.00 | 756000.00 | 27800.00 | 667200.00 | 28000.00 | 672000.00 | 667200.00 | Manish Electricals
3.00 | Additional Manpower team during VVIP ( I / II & III) visit for operation, monitoring and meeting exigency consisting as per the technical specification/ special condition of contract and as per direction of E.I.C(Rate for each shift of 01 No. Electrician & 01 No. Helper) | 10.00 | Each |  | 1410.00 | 14100.00 | 1360.00 | 13600.00 | 1461.00 | 14610.00 | 13600.00 | Manish Electricals
4.00 | Rewinding, repairing and complete overhauling of 1 to 3HP mono-block motor pump set, transportation of same from site to work shop and taking back the same, including installation, testing & commissioning etc as required. | 4.00 | Job |  | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 1100.00 | 4400.00 | 4400.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Repairing, rewinding & complete overhauling of following submersible pumps including transportation of motor, dismantling and rewinding with the same gauge insulated copper wire including replacement of all the internal worn-out/ defective parts i.e. bushes, impellers, sleeves, upper and lower bush sets, thrust bearings, oil seals, rotor grinding and balancing , assembling, testing, transportation etc. complete as required.
5.01 | 1 HP upto 5 HP | 2.00 | Job |  | 2500.00 | 5000.00 | 4000.00 | 8000.00 | 1100.00 | 2200.00 | 2200.00 | ABHISHEK INTEGRATIONS LIMITED
5.02 | Above 5 HP upto 10 HP | 2.00 | Job |  | 2500.00 | 5000.00 | 6000.00 | 12000.00 | 1500.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
6.00 | Lifting & lowering of submersible motor pump set up to 10.0 HP capacities including dismantling & re-fitting of pump, discharge pipe, steel rope, clamp etc. complete as required. | 10.00 | Job |  | 6500.00 | 65000.00 | 5000.00 | 50000.00 | 2500.00 | 25000.00 | 25000.00 | ABHISHEK INTEGRATIONS LIMITED
7.00 | Painting of LT panels / feeder pillars with one coat metal primer on rusted surface and two coats approved synthetic enamel paint , lettering etc., as required upto the satisfaction of the Engineer-in-charge as and when required. | 50.00 | sqm |  | 210.00 | 10500.00 | 170.00 | 8500.00 | 60.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
8.00 | Painting of street light poles with one coat of red oxide and two coats of approved aluminum paint i/c dismantling, re-fixing of fittings and scraping the surface as required to the satisfaction of the Engineer-in-charge as and when required. Pole height upto 12mtrs. approximately. | 200.00 | Each |  | 300.00 | 60000.00 | 250.00 | 50000.00 | 300.00 | 60000.00 | 50000.00 | Manish Electricals
9.00 | Quarterly Maintenance and Servicing of 415V, 4 Pole ACB of following rating including complete servicing and cleaning of breaker mechanism parts, checking all electrical and mechanical components ,checking and servicing of draw-out mechanism including removal of worn-out electrical and mechanical parts, replacement works,relay testing etc, complete as required and break down calls should be attended within 04 hours. (Maintenance shall be carried out through OEM / authorized dealer/ asdirected by EIC) and spares will be provided by AAI. (a) 800A / 4Pole ACB Out-going - 06 Nos. | 8.00 | Job |  | 12000.00 | 96000.00 | 19000.00 | 152000.00 | 22800.00 | 182400.00 | 96000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
10.00 | Rate for each one rupee value of work executed from the DSR-2018 (Electrical) Schedule & cost worked out on the basis of DSR-2018 (Electrical) rates. {For example, if the quoted rate for this item is Rs.0.90, then for executing DSR-2018 (Electrical) schedule works of value Rs.1,00,000.00 at DSR-2018 (Electrical) rates, the quoted amount will be Rs.90,000.00. And if quoted rate for this item is Rs.1.25, then quoted amount for the same will be Rs.1,25,000.00} | 600000.00 | Each |  | .90 | 540000.00 | .70 | 420000.00 | .90 | 540000.00 | 420000.00 | Manish Electricals
11.00 | Supply of HT Tape for Insulation of Runway AFL Cable with suitable thickness as per AAI specificatons and directions of Engineer In -Charge. | 200.00 | Nos. |  | 200.00 | 40000.00 | 450.00 | 90000.00 | 450.00 | 90000.00 | 40000.00 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED
12.00 | Supply of Rubber Tape for Insulation of GLF Cables with suitable thickness as per AAI specificatons and directions of Engineer In-Charge. | 25.00 | Kgs |  | 650.00 | 16250.00 | 450.00 | 11250.00 | 400.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Visit of Specialised Engineer for emergency breakdown of E&M /installation of GLF of LT panels / AMF Panels / other associated sites as per direction of Engineer In-charge. | 5.00 | Job |  | 12000.00 | 60000.00 | 7000.00 | 35000.00 | 1000.00 | 5000.00 | 5000.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 19809850.00 |  | 17196222.00 |  | 19416922.00
Lowest Amount Quoted BY: Manish Electricals(17196222.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance job contract of E and M installations of GLF Systems NAVAIDS ATC Building and associated areas at BPl Airport Bhubaneswar Tender ID: 2022_AAI_132344_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 17196222.00 | L1
| 2 | ABHISHEK INTEGRATIONS LIMITED | 19416922.00 | L2
| 3 | S. N. ELECTRIC & MAINTENANCE PRIVATE LIMITED | 19809850.00 | L3