## BoQ1
Government eProcurement System Created By: Rudra Prasad Acharya Created Date/Time: 24-Jan-2023 05:09 PM Tender Title: SITC of Elevator and Escalator. Tender ID: 2022_AAI_132736_1
Tender Inviting Authority: Senior Manager Engg (E), Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Construction of Link Building between Terminal T1 & T2 for integrated Operations using passenger boarding bridge facility and expansion/renovation work of Terminal T2 at B.P. International Airport, Bhubaneswar. SH: SITC of Elevator and Escalator.
Contract No: 2022_AAI_132736_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD) |  | ORBIS ELEVATOR CO LTD(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation, testing & commissioning of following capacity Machine room less electric traction type Elevators suitable for following travel height, 2 stops & 2 openings [Ground floor & First floor] and entrance at front side and exit on same side, automatic centre opening door, car enclosure provided with following: side glass doors / Stainless steel panel suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable voltage and variable frequency type traction control,speed of 1.00 Mtr/sec, electromagnetic brake system, simple operations, operating panel with Braille Luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for suitalbe height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, suitable protocol for BMS connentivity, light fixtures, ventilation fan, etc Complete with all accessories including automatic rescue device in the event of power failure etc and confirming to tender requirment. (Glass panel wherever be used shall be one hour fire rated) along with floor announciation in local, hindi and English language. 16 passenger (minimum capacity 1088 Kgs), 5.35 mtr travel height, following side glass panel: Glass panel door (front) & glass panel (back) [Glass door with Stainless steel frame, glass panel with stainless steel frame on back side, car enclosure provided with anti scratching stainless steel panel on rest of the side and entrance & exit at front side] same Side Opening as per site condition and specification given and as direction of EIC. | 2.00 | Job |  | 2038000.00 | 4076000.00 | 2000000.00 | 4000000.00 | 4000000.00 | ORBIS ELEVATOR CO LTD
2.00 | Supply, installation, testing & commissioning of following capacity Machine room less electric traction type Elevators suitable for following travel height, 2 stops & 2 openings [Ground floor & First floor] and entrance at front side and exit on opposite side, automatic centre opening door, car enclosure provided with following: side glass doors /stainless steel panel suitable for operation on 415 V, 3 phase, 50 Hz AC supply, having AC variable voltage and variable frequency type traction control,speed of 1.00 Mtr/sec, electromagnetic brake system, simple operations, operating panel with Braille Luminous buttons, overload warning indicator, battery operated alarm bell, LED type emergency light, intercom suitable for hook up to AAI’s EPABX, infrared ray sensing door protection for suitalbe height, reverse phase relay on controller, fireman’s switch at ground floor, digital car positions indicator in car and at all positions indicator in car and at all floors with UP/DOWN direction, suitable protocol for BMS connentivity, light fixtures, ventilation fan, etc Complete with all accessories including automatic rescue device in the event of power failure etc and confirming to tender requirment. (Glass panel wherever be used shall be one hour fire rated) along with floor announciation in local, hindi and English language. 16 passenger (minimum capacity 1088 Kgs), 6.45 mtr travel height, following side glass panel: Glass panel door (front) & glass panel (back) [Glass door with Stainless steel frame, glass panel with stainless steel frame on back side, car enclosure provided with anti scratching stainless steel panel on rest of the side and entrance & exit at front side] opposite Side Opening as per site condition and specification given and as direction of EIC. | 1.00 | Job |  | 2055000.00 | 2055000.00 | 1900000.00 | 1900000.00 | 1900000.00 | ORBIS ELEVATOR CO LTD
3.00 | Supply, installation, Testing & Commissioning of monolithic step reversible type Escalator with an inclination of 35 deg from horizontal for ascending and descending passenger service from Ground floor to first floor having following vertical height and with three horizontal steps on top as well as bottom, suitable for indoor installation. The escalator shall have a capacity of 9000 persons/hour at a linear speed of 0.5 M/Sec. operating on 3 phase, 415 volts, 50 Hz AC supply with suitable protocol for BMS connentivity conforming to the tender requirement and specification.Vertical height 5.5 mtr as per site condition and specification given and as direction of EIC. (a) Rise: 5.5 Meter(Vertical heigh) (b) Capacity: 9000 persons/hour (c) Horizontal Step: Three(03) at Top & Bottom (d) Auto Stop /Start (e) Speed: 0.5 m/s (f) inclination of 35 deg from horizontal (g) Rise: 12665 Meter(Horizontal Length) (h) Drive: VR Regenerative (Closed Loop) | 2.00 | Job |  | 4200000.00 | 8400000.00 | 4485000.00 | 8970000.00 | 8400000.00 | Johnson Lifts Pvt Ltd
4.00 | Supply, installation, Testing & Commissioning of monolithic step reversible type Escalator with an inclination of 30 deg from horizontal for ascending and descending passenger service from Ground floor to first floor having following vertical height and with three horizontal steps on top as well as bottom, suitable for indoor installation. The escalator shall have a capacity of 9000 persons/hour at a linear speed of 0.5 M/Sec. operating on 3 phase, 415 volts, 50 Hz AC supply with suitable protocol for BMS connentivity conforming to the tender requirement and specification.Vertical height 6.45 mtr as per site condition and specification given and as direction of EIC. (a) Rise: 6.45 Meter(Vertical heigh) (b) Capacity: 9000 persons/hour (c) Horizontal Step: Three(03) at Top & Bottom (d) Auto Stop /Start (e) Speed: 0.5 m/s (f) inclination of 30 deg from horizontal (g) Rise: 16822 Meter(Horizontal Length) (h) Drive: VR Regenerative (Closed Loop) | 1.00 | Job |  | 4778000.00 | 4778000.00 | 3995000.00 | 3995000.00 | 3995000.00 | ORBIS ELEVATOR CO LTD
5.00 | All Inclusive Comprehensive Maintenance Contract(AICMC) of above 02 No. passenger lifts, 16 passenger Machine Room Less Lift for Item number 1 which include routine, monthly visit, preventive & break down maintenance including repair and replacement of all worn out items i/c batteries & mechanical damage parts with minimum downtime and warranty & guaranty of repaired and replaced items after completion of Two year defect liability period as per specifications given & as per direction of EIC.
5.10 | 1st Year @ 7% of SITC cost
5.11 | For Item no.-1 | 2.00 | Job/Year |  | 142660.00 | 285320.00 | 140000.00 | 280000.00 | 280000.00 | ORBIS ELEVATOR CO LTD
5.12 | For Item no.-2 | 1.00 | Job/Year |  | 143850.00 | 143850.00 | 133000.00 | 133000.00 | 133000.00 | ORBIS ELEVATOR CO LTD
5.20 | 2nd Year @ 9% escalation on 1 st year AICMC rate
5.21 | For Item no.-1 | 2.00 | Job/Year |  | 155499.40 | 310998.80 | 152600.00 | 305200.00 | 305200.00 | ORBIS ELEVATOR CO LTD
5.22 | For Item no.-2 | 1.00 | Job/Year |  | 156796.50 | 156796.50 | 144970.00 | 144970.00 | 144970.00 | ORBIS ELEVATOR CO LTD
5.30 | 3rd Year @ 9% escalation on 2nd year AICMC rate
5.31 | For Item no.-1 | 2.00 | Job/Year |  | 169494.35 | 338988.70 | 166334.00 | 332668.00 | 332668.00 | ORBIS ELEVATOR CO LTD
5.32 | For Item no.-2 | 1.00 | Job/Year |  | 170908.19 | 170908.19 | 158017.30 | 158017.30 | 158017.30 | ORBIS ELEVATOR CO LTD
5.40 | 4th Year @ 9% escalation on 3rd year AICMC rate
5.41 | For Item no.-1 | 2.00 | Job/Year |  | 184748.84 | 369497.68 | 181304.06 | 362608.12 | 362608.12 | ORBIS ELEVATOR CO LTD
5.42 | For Item no.-2 | 1.00 | Job/Year |  | 186289.93 | 186289.93 | 172238.86 | 172238.86 | 172238.86 | ORBIS ELEVATOR CO LTD
5.50 | 5th Year @ 9% escalation on 4th year AICMC rate
5.51 | For Item no.-1 | 2.00 | Job/Year |  | 201376.24 | 402752.48 | 197621.43 | 395242.86 | 395242.86 | ORBIS ELEVATOR CO LTD
5.52 | For Item no.-2 | 1.00 | Job/Year |  | 203056.02 | 203056.02 | 187740.36 | 187740.36 | 187740.36 | ORBIS ELEVATOR CO LTD
6.00 | All Inclusive Comprehensive Maintenance Contract(AICMC) of above 01 No. passenger lifts, 16 passenger Machine Room Less Lift for Item number 2 which include routine, monthly visit, preventive & break down maintenance including repair and replacement of all worn out items i/c batteries & mechanical damage parts with minimum downtime and warranty & guaranty of repaired and replaced items after completion of Two years defect liability period as per specifications given & as per direction of EIC.
6.10 | 1st Year @ 8% of SITC cost
6.11 | For Item no.-3 | 2.00 | Job/Year |  | 336000.00 | 672000.00 | 358800.00 | 717600.00 | 672000.00 | Johnson Lifts Pvt Ltd
6.12 | For Item no.-4 | 1.00 | Job/Year |  | 382240.00 | 382240.00 | 319600.00 | 319600.00 | 319600.00 | ORBIS ELEVATOR CO LTD
6.20 | 2nd Year @ 9% escalation on 1 st year AICMC rate
6.21 | For Item no.-3 | 2.00 | Job/Year |  | 366240.00 | 732480.00 | 391092.00 | 782184.00 | 732480.00 | Johnson Lifts Pvt Ltd
6.22 | For Item no.-4 | 1.00 | Job/Year |  | 416641.60 | 416641.60 | 348364.00 | 348364.00 | 348364.00 | ORBIS ELEVATOR CO LTD
6.30 | 3rd Year @ 9% escalation on 2nd year AICMC rate
6.31 | For Item no.-3 | 2.00 | Job/Year |  | 399201.60 | 798403.20 | 426290.28 | 852580.56 | 798403.20 | Johnson Lifts Pvt Ltd
6.32 | For Item no.-4 | 1.00 | Job/Year |  | 454139.34 | 454139.34 | 379716.76 | 379716.76 | 379716.76 | ORBIS ELEVATOR CO LTD
6.40 | 4th Year @ 9% escalation on 3rd year AICMC rate
6.41 | For Item no.-3 | 2.00 | Job/Year |  | 435129.74 | 870259.48 | 464656.41 | 929312.82 | 870259.48 | Johnson Lifts Pvt Ltd
6.42 | For Item no.-4 | 1.00 | Job/Year |  | 495011.88 | 495011.88 | 413891.27 | 413891.27 | 413891.27 | ORBIS ELEVATOR CO LTD
6.50 | 5th Year @ 9% escalation on 4th year AICMC rate
6.51 | For Item no.-3 | 2.00 | Job/Year |  | 474291.42 | 948582.84 | 506475.49 | 1012950.98 | 948582.84 | Johnson Lifts Pvt Ltd
6.52 | For Item no.-4 | 1.00 | Job/Year |  | 539562.95 | 539562.95 | 451141.48 | 451141.48 | 451141.48 | ORBIS ELEVATOR CO LTD
| Total in Figures |  |  |  |  | 28186779.59 |  | 27544027.37
Lowest Amount Quoted BY: ORBIS ELEVATOR CO LTD(27544027.37)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Elevator and Escalator. Tender ID: 2022_AAI_132736_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ORBIS ELEVATOR CO LTD | 27544027.37 | L1
| 2 | Johnson Lifts Pvt Ltd | 28186779.59 | L2