## BoQ1
Government eProcurement System Created By: Lakhan Pal Singh Solanki Created Date/Time: 09-Dec-2022 02:34 PM Tender Title: Running maintenance of Electrical installations of Safdarjung Airport and Residential Colony of Jorbagh and Airport lane, etc. at Safdarjung Airport, New Delhi (For the year 2022-24). Tender ID: 2022_AAI_132759_1
Tender Inviting Authority: Asstt. Gen. Mgr., Airports Authority of India, Safdarjung Airport, New Delhi-110003
Name of Work: Running maintenance of Electrical installations of Safdarjung Airport & Residential Colony of Jorbagh & Airport lane, etc. at Safdarjung Airport, New Delhi. (for the year 2022-24).
Contract No: AAI/SAP/AGM(E-E)/ARMO-SAP/2022-23
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ANAND AND COMPANTY(GSTN-07ABSFA7035P1ZP) |  | Trishul Enterprises(GSTN-07AQOPS2079M1Z0) |  | NATIONAL SAFETY ENGINEERS(GSTN-07ADCPT3599E3Z6) |  | RD INFRATECH ENGINEERS PRIVATE LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I- Operation & maintenance
2.00 | Running, operation & maintenance of Internal and External electrical installations, water supply pumps and DG sets, etc. on all days at Safdarjung Airport, Residential colony of Jorbagh, Karbala lane, Airport lane i/c carrying out routine preventive/breakdown maintenance & record keeping, etc. by deploying following minimum manpower for one month in shift basis (round the clock) as per the requirement of works. The agency has to quote the rate in conformity with para no. 12 of special condition of contract. Note: Supervisor is required to be deployed on all working days i/c Saturdays, Gazetted holidays & National holidays except Sundays and Data entry operator is required to be deployed on all working days i/c Saturdays & Gazetted holidays except Sundays & National holidays. i) Supervisor (Highly skilled) – 1 No. (Excluding Sunday) ii) Data Entry Operator (Highlly skilled) – 1 No (Excluding Sunday & National Holiday) iii) Electrician (Skilled) – 6 Nos iv) Electrician cum DG Operator (Skilled) – 3 Nos v) Pump Operator (Skilled) – 3 Nos vi) Khallasi (Unskilled) – 6 Nos | 24.00 | Month | 0.00 | 430000.00 | 10320000.00 | 558136.00 | 13395264.00 | 502000.00 | 12048000.00 | 430100.00 | 10322400.00 | 10320000.00 | ANAND AND COMPANTY
3.00 | Extra hour of duty for 01 No. Supervisor beyond normal duty as & when required as per direction of E-I-C. | 200.00 | Hours | 0.00 | 100.00 | 20000.00 | 220.00 | 44000.00 | 120.00 | 24000.00 | 20.00 | 4000.00 | 4000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
4.00 | SH-II: Miscellaneous minor repair works for E&M installations, as per specification, as & when required with prior approval of Engineer in charge.
5.00 | Complete servicing of different type & model ceiling fans i/c greasing, replacement of cotter pin, rubber bush, bolts & nuts as reqd.(excluding replacement of bearing ) | 40.00 | Each | 0.00 | 50.00 | 2000.00 | 250.00 | 10000.00 | 50.00 | 2000.00 | 200.00 | 8000.00 | 2000.00 | ANAND AND COMPANTY, NATIONAL SAFETY ENGINEERS
6.00 | Providing & replacement of bearing / bush i/c associated work as per the requirment of following fans as reqd. (Dismantled material shall be retained by the contractor)
6.01 | Ceiling fan of all makes and models | 40.00 | Each | 0.00 | 100.00 | 4000.00 | 450.00 | 18000.00 | 150.00 | 6000.00 | 200.00 | 8000.00 | 4000.00 | ANAND AND COMPANTY
6.02 | Exhaust fan of all makes and models up to 450mm | 20.00 | Each | 0.00 | 120.00 | 2400.00 | 450.00 | 9000.00 | 200.00 | 4000.00 | 200.00 | 4000.00 | 2400.00 | ANAND AND COMPANTY
6.03 | Wall fan of all makes and models | 25.00 | Each | 0.00 | 150.00 | 3750.00 | 350.00 | 8750.00 | 150.00 | 3750.00 | 200.00 | 5000.00 | 3750.00 | ANAND AND COMPANTY, NATIONAL SAFETY ENGINEERS
7.00 | Rewinding of the following fan motors etc i/c transportation to workshop & back. (Dismantled material shall be the property of tenderer)
7.01 | Ceiling fan of all makes and models. | 50.00 | Each | 0.00 | 300.00 | 15000.00 | 600.00 | 30000.00 | 250.00 | 12500.00 | 200.00 | 10000.00 | 10000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
7.02 | Desert cooler fan motor of all makes and models. | 10.00 | Each | 0.00 | 300.00 | 3000.00 | 800.00 | 8000.00 | 350.00 | 3500.00 | 200.00 | 2000.00 | 2000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
7.03 | Exhaust Fan of all makes & model up to 300mm. | 30.00 | Each | 0.00 | 450.00 | 13500.00 | 600.00 | 18000.00 | 350.00 | 10500.00 | 200.00 | 6000.00 | 6000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
7.04 | Exhaust Fan of all makes & model above 300mm & up to 450mm. | 5.00 | Each | 0.00 | 500.00 | 2500.00 | 1200.00 | 6000.00 | 500.00 | 2500.00 | 200.00 | 1000.00 | 1000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
7.05 | Wall fan of all makes and models | 25.00 | Each | 0.00 | 500.00 | 12500.00 | 450.00 | 11250.00 | 350.00 | 8750.00 | 200.00 | 5000.00 | 5000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
8.00 | Painting of following installations in position with synthetic enamelled paint by spray/ brush painting by two coats including scraping, cleaning of surface & writting actual nomenclature with highlighted colour on the installation after painting etc.
8.01 | Distribution boards /out door panel/ Feedar piller etc. | 200.00 | Sq.mtr. | 0.00 | 150.00 | 30000.00 | 125.00 | 25000.00 | 80.00 | 16000.00 | 200.00 | 40000.00 | 16000.00 | NATIONAL SAFETY ENGINEERS
8.02 | Post top poles singal /double Arms, height up to 4 mtr | 25.00 | Each | 0.00 | 250.00 | 6250.00 | 450.00 | 11250.00 | 350.00 | 8750.00 | 400.00 | 10000.00 | 6250.00 | ANAND AND COMPANTY
8.03 | Street light pole height above 7 to 9 mtrs | 50.00 | Each | 0.00 | 300.00 | 15000.00 | 1200.00 | 60000.00 | 700.00 | 35000.00 | 500.00 | 25000.00 | 15000.00 | ANAND AND COMPANTY
9.00 | Labour charges for lowering & lifting i/c dismantling of different sizes submersible pump set/ jet assembly alongwith pipe lines, cable from the existing bore, as & when reqd. re-installing back of the same i/c cost of cable joint & minor items such as nut bolt & rubber packing etc. (charges for repairing or rectification of fault of pump/ motor will be paid separately). | 6.00 | Each | 0.00 | 5000.00 | 30000.00 | 12000.00 | 72000.00 | 3000.00 | 18000.00 | 3000.00 | 18000.00 | 18000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
10.00 | Providing and replacement of damage/ rusted GI pipe line of submersible/ monoblock pump set, as & when reqd. with following size i/c threading cutting and accessories such as flange, socket, gasket, nut - bolts, washer etc. as reqd. I/c transportation to site of work.( make: Tata/Jindal)
10.01 | 1.5" dia GI 'B' class Pipe | 10.00 | Metre | 0.00 | 750.00 | 7500.00 | 600.00 | 6000.00 | 400.00 | 4000.00 | 580.00 | 5800.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
10.02 | 2" dia GI 'B' class Pipe | 10.00 | Metre | 0.00 | 900.00 | 9000.00 | 900.00 | 9000.00 | 550.00 | 5500.00 | 780.00 | 7800.00 | 5500.00 | NATIONAL SAFETY ENGINEERS
10.03 | 3" dia GI 'B' class Pipe | 5.00 | Metre | 0.00 | 1800.00 | 9000.00 | 1400.00 | 7000.00 | 800.00 | 4000.00 | 1150.00 | 5750.00 | 4000.00 | NATIONAL SAFETY ENGINEERS
11.00 | Rewinding of the following water pump motors and replacement of Bearing , bushes, water seal of pump motors etc i/c dismanteling, transportation to workshop & back i/c connection, testing & commissioning as reqd. (Dismantled material shall be retained by the contractor)
11.01 | Single Phase mono block pump Motor upto 2 HP | 10.00 | Each | 0.00 | 1500.00 | 15000.00 | 3500.00 | 35000.00 | 1500.00 | 15000.00 | 300.00 | 3000.00 | 3000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.02 | Three Phase mono block pump Motor 5 HP | 2.00 | Each | 0.00 | 4000.00 | 8000.00 | 7500.00 | 15000.00 | 3000.00 | 6000.00 | 300.00 | 600.00 | 600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.03 | Single Phase submersible pump Motor upto 2 HP | 2.00 | Each | 0.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 300.00 | 600.00 | 600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.04 | Three Phase submersible pump Motor 3 HP | 1.00 | Each | 0.00 | 3500.00 | 3500.00 | 6500.00 | 6500.00 | 3000.00 | 3000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.05 | Three Phase submersible pump Motor 5 HP | 1.00 | Each | 0.00 | 4500.00 | 4500.00 | 9500.00 | 9500.00 | 4000.00 | 4000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.06 | Three Phase submersible pump Motor 7.5 HP | 2.00 | Each | 0.00 | 5500.00 | 11000.00 | 10500.00 | 21000.00 | 4500.00 | 9000.00 | 300.00 | 600.00 | 600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.07 | Single Phase 1 HP open well submersible pump motor | 1.00 | Each | 0.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 1200.00 | 1200.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.08 | Three Phase 3 HP open well submersible pump motor | 1.00 | Each | 0.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.09 | Three Phase 5 HP open well submersible pump motor | 1.00 | Each | 0.00 | 4000.00 | 4000.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.10 | Three Phase 20 HP open well submersible pump motor | 1.00 | Each | 0.00 | 15000.00 | 15000.00 | 14000.00 | 14000.00 | 4000.00 | 4000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
11.11 | Three Phase 3 HP sewerage submersible pump motor | 1.00 | Each | 0.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.00 | Repairing of following capacity of submersible/ monoblock water supply pumps & replacement of all required unserviceable parts such as discharge bowl/ discharge bearing, intermediate bowl/ impeller/ upthrust coller/ intermediate bowl bearing/ pump shaft/ Suction inlet/ suction adopter/ pump motor coupling / water seal /rotar polishing & tunning of roter etc i/c lath work, dismanteling, transportation to workshop & back and reinstallation i/c , testing & commissioning as reqd. (Dismantled material shall be retained by the contractor)
12.01 | Single Phase mono block pump Motor upto 2 HP | 10.00 | Each | 0.00 | 500.00 | 5000.00 | 2200.00 | 22000.00 | 1000.00 | 10000.00 | 300.00 | 3000.00 | 3000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.02 | Three Phase mono block pump Motor 5 HP | 2.00 | Each | 0.00 | 1500.00 | 3000.00 | 3200.00 | 6400.00 | 1500.00 | 3000.00 | 300.00 | 600.00 | 600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.03 | Single Phase submersible pump Motor upto 2 HP | 2.00 | Each | 0.00 | 1000.00 | 2000.00 | 2800.00 | 5600.00 | 1500.00 | 3000.00 | 300.00 | 600.00 | 600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.04 | Three Phase submersible pump Motor 3 HP | 1.00 | Each | 0.00 | 1500.00 | 1500.00 | 2800.00 | 2800.00 | 2000.00 | 2000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.05 | Three Phase submersible pump Motor 5 HP | 1.00 | Each | 0.00 | 2000.00 | 2000.00 | 3200.00 | 3200.00 | 2500.00 | 2500.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.06 | Three Phase submersible pump Motor 7.5 HP | 2.00 | Each | 0.00 | 1500.00 | 3000.00 | 7500.00 | 15000.00 | 3000.00 | 6000.00 | 300.00 | 600.00 | 600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.07 | Single Phase 1 HP open well submersible pump motor | 1.00 | Each | 0.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 1000.00 | 1000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.08 | Three Phase 3 HP open well submersible pump motor | 1.00 | Each | 0.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.09 | Three Phase 5 HP open well submersible pump motor | 1.00 | Each | 0.00 | 1500.00 | 1500.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.10 | Three Phase 20 HP open well submersible pump motor | 1.00 | Each | 0.00 | 2500.00 | 2500.00 | 4200.00 | 4200.00 | 3000.00 | 3000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
12.11 | Three Phase 3 HP sewerage submersible pump motor | 1.00 | Each | 0.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
13.00 | Detection of LT cable fault by using LT cable fault locator machine on the route of cable laying at site & locate the fault at pin-pointing i/c excavation of soil etc as required. | 5.00 | Each | 0.00 | 7000.00 | 35000.00 | 10000.00 | 50000.00 | 4000.00 | 20000.00 | 5000.00 | 25000.00 | 20000.00 | NATIONAL SAFETY ENGINEERS
14.00 | SH-III- Supply of the following items as per specifications & reqired makes, as and when required with prior approval of engineer in charge.
15.00 | Supply of following types of light fitting:-
15.01 | 9-10 watt B22 LED lamp, min 100 lm/W, in-built surge protection >2kV, pf 0.9 or more, min IP 20 (Make: Havells/Bajaj/Osram/Philips/ Halonix or equivalent) | 25.00 | Each | 0.00 | 125.00 | 3125.00 | 150.00 | 3750.00 | 140.00 | 3500.00 | 63.00 | 1575.00 | 1575.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
15.02 | 5 watt B22 LED lamp, min 100 lm/W, in-built surge protection >2kV, pf 0.9 or more, min IP 20 (Make: Havells/Bajaj/Osram/Philips/ Halonix or equivalent) | 25.00 | Each | 0.00 | 125.00 | 3125.00 | 110.00 | 2750.00 | 100.00 | 2500.00 | 60.00 | 1500.00 | 1500.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
15.03 | 10-12W recess mounted round LED downlighter, in-built surge protection >2kV, CRI min 80, pf 0.9 or more, min IP 20, (Make: Havells/Bajaj/Osram/Jaquar/ Philips or equivalent) | 4.00 | Each | 0.00 | 550.00 | 2200.00 | 550.00 | 2200.00 | 1000.00 | 4000.00 | 466.00 | 1864.00 | 1864.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
15.04 | 10-12W surface mounted round LED downlighter, in-built surge protection >2kV, CRI min 80, pf 0.9 or more, min IP 20, (Make: Havells/Bajaj/Osram/Jaquar /Philips or equivalent) | 8.00 | Each | 0.00 | 700.00 | 5600.00 | 550.00 | 4400.00 | 1200.00 | 9600.00 | 380.00 | 3040.00 | 3040.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
15.05 | 36 W fully diffused Recess mounting 36 W LED light fixture of size 2' X 2' made of CRCA sheet steel duly powder coated, min 100 lm/W, CRI min 80, (Make: Havells/Bajaj/Osram/Jaquar/ Philips or equivalent) | 30.00 | Each | 0.00 | 1500.00 | 45000.00 | 5000.00 | 150000.00 | 1800.00 | 54000.00 | 1170.00 | 35100.00 | 35100.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
15.06 | 18-22 watt LED tube with aluminium extrusion, min 100lm/W, CRI min 80, inbuilt surge protection >2kV (Make: Jaquar/ Halonix or Equivalent) | 50.00 | Each | 0.00 | 350.00 | 17500.00 | 2650.00 | 132500.00 | 450.00 | 22500.00 | 350.00 | 17500.00 | 17500.00 | ANAND AND COMPANTY, RD INFRATECH ENGINEERS PRIVATE LIMITED
15.07 | 70W, HPSV lamp, min 70 lm/W, (Make: Havells/Bajaj/Osram/ Philips or equivalent) | 40.00 | Each | 0.00 | 150.00 | 6000.00 | 200.00 | 8000.00 | 200.00 | 8000.00 | 380.00 | 15200.00 | 6000.00 | ANAND AND COMPANTY
15.08 | 9/10W tube light 2 feet, min 100lm/W, in-built surge protection >2kV (Make: Jaquar/ Halonix or Equivalent) | 10.00 | Each | 0.00 | 300.00 | 3000.00 | 450.00 | 4500.00 | 60.00 | 600.00 | 160.00 | 1600.00 | 600.00 | NATIONAL SAFETY ENGINEERS
15.09 | 20 watt LED light for bollards, min 110lm/W, min IP 65, CRI min 70, surge protection >4kV, min IK 07, driver efficiency min 85%, (Make: Philips/ Havells/Jaquar/Osram/ Halonix or Equivalent) | 10.00 | Each | 0.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 2000.00 | 20000.00 | 165.00 | 1650.00 | 1650.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
15.10 | 50 watt LED flood light , min 110lm/W, min IP 65, CRI min 70, surge protection >4kV, min IK 07, driver efficiency min 85%, (Make: Philips/ Havells/Jaquar/Osram/ Halonix or Equivalent) | 4.00 | Each | 0.00 | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 1225.00 | 4900.00 | 4900.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
15.11 | 100 watt LED flood light, min 110lm/W, min IP 65, CRI min 70, surge protection >4kV, min IK 07, driver efficiency min 85%, (Make: Philips/ Havells/Jaquar/Osram/ Halonix or Equivalent) | 4.00 | Each | 0.00 | 4500.00 | 18000.00 | 3800.00 | 15200.00 | 4000.00 | 16000.00 | 3220.00 | 12880.00 | 12880.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
15.12 | 70W LED street light, min 110lm/W, min IP 65, CRI min 70, surge protection >4kV, min IK 07, driver efficiency min 85%, (Make: Philips/ Havells/Jaquar/Osram/ Halonix or Equivalent) | 4.00 | Each | 0.00 | 3000.00 | 12000.00 | 2800.00 | 11200.00 | 3500.00 | 14000.00 | 3220.00 | 12880.00 | 11200.00 | Trishul Enterprises
16.00 | 36/40 Watt FTL Starter (Make: Universal/Bajaj/ Philiphs/Havells or equivalent) | 40.00 | Each | 0.00 | 15.00 | 600.00 | 30.00 | 1200.00 | 15.00 | 600.00 | 12.00 | 480.00 | 480.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
17.00 | 70/150/250/400 watt. SON ignitor Make :Bajaj or equivalent) | 50.00 | Each | 0.00 | 200.00 | 10000.00 | 250.00 | 12500.00 | 200.00 | 10000.00 | 260.00 | 13000.00 | 10000.00 | ANAND AND COMPANTY, NATIONAL SAFETY ENGINEERS
18.00 | 36 watt Electronic Ballast suitable for 36 watt FTL, Make-Bajaj or equivalent. | 40.00 | Each | 0.00 | 180.00 | 7200.00 | 150.00 | 6000.00 | 150.00 | 6000.00 | 110.00 | 4400.00 | 4400.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
19.00 | Copper ballast for 70W SV/MH | 50.00 | Each | 0.00 | 750.00 | 37500.00 | 450.00 | 22500.00 | 300.00 | 15000.00 | 1950.00 | 97500.00 | 15000.00 | NATIONAL SAFETY ENGINEERS
20.00 | Batton holder (Polycarbonate) (Make: Anchor or equivalent) | 50.00 | Each | 0.00 | 35.00 | 1750.00 | 40.00 | 2000.00 | 40.00 | 2000.00 | 27.00 | 1350.00 | 1350.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
21.00 | Supply of following types of fans:-
21.01 | 1200 mm sweep ceiling fan, 220-240V, 50Hz, 3 blade, single phase, Air delivery min 210 cmm, max power input 80 W (Make: Anchor/ Halonix/ GM/ RR or equivalent) | 10.00 | Each | 0.00 | 1500.00 | 15000.00 | 1800.00 | 18000.00 | 2500.00 | 25000.00 | 1060.00 | 10600.00 | 10600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
21.02 | 400 mm sweep wall fan, 220-240V, 50Hz, single phase, Air delivery min 70 cmm, max power input 70 W, speed and oscillation control (Make: Anchor/ Halonix/ GM/ RR or equivalent) | 20.00 | Each | 0.00 | 2700.00 | 54000.00 | 3500.00 | 70000.00 | 3000.00 | 60000.00 | 1780.00 | 35600.00 | 35600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
21.03 | 450 mm Pedestal fan, 220-240V, 50Hz, single phase, Air delivery min 80 cmm, max power input 150W (Make: Anchor/ Halonix/ GM/ RR or equivalent) | 10.00 | Each | 0.00 | 3500.00 | 35000.00 | 3900.00 | 39000.00 | 4500.00 | 45000.00 | 2162.00 | 21620.00 | 21620.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
21.04 | 200 mm Exhaust fan, Non metallic body, 220-240V, 50Hz, single phase, Air delivery min 450 cmh, max power input 50W (Make: Anchor/ Halonix/ GM/ RR or equivalent) | 10.00 | Each | 0.00 | 1500.00 | 15000.00 | 1350.00 | 13500.00 | 1200.00 | 12000.00 | 975.00 | 9750.00 | 9750.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
21.05 | 300 mm Exhaust fan, metallic body, 220-240V, 50Hz, single phase, Air delivery min 1250 cmh, max power input 70W (Make: Anchor/ Halonix/ GM/ RR or equivalent) | 10.00 | Each | 0.00 | 2200.00 | 22000.00 | 1800.00 | 18000.00 | 1500.00 | 15000.00 | 1229.00 | 12290.00 | 12290.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
21.06 | Desert cooler of tank capacity of 70 Ltrs., having ON/OFF switch & fan control, suitable to operate on single phase AC supply with stand complete as required (Make: Symphony Jumbo 70Ltr or equivalent) | 5.00 | Each | 0.00 | 7500.00 | 37500.00 | 8000.00 | 40000.00 | 13000.00 | 65000.00 | 11210.00 | 56050.00 | 37500.00 | ANAND AND COMPANTY
22.00 | 100W Mini Fan electronic type regulator, rotary step. | 50.00 | Each | 0.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 150.00 | 7500.00 | 150.00 | 7500.00 | 7500.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
23.00 | Supply of following Piano type switches/sockets:-
23.01 | 5/6 Amps., one way piano type switch. | 300.00 | Each | 0.00 | 20.00 | 6000.00 | 20.00 | 6000.00 | 30.00 | 9000.00 | 11.00 | 3300.00 | 3300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
23.02 | 5/6 Amps. Bell push piano type switch. | 30.00 | Each | 0.00 | 25.00 | 750.00 | 65.00 | 1950.00 | 35.00 | 1050.00 | 22.00 | 660.00 | 660.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
23.03 | 15/16 Amps., one way piano type switch | 100.00 | Each | 0.00 | 50.00 | 5000.00 | 120.00 | 12000.00 | 60.00 | 6000.00 | 55.00 | 5500.00 | 5000.00 | ANAND AND COMPANTY
23.04 | 3 pin 5 /6 Amps., piano type Socket outlet | 150.00 | Each | 0.00 | 30.00 | 4500.00 | 60.00 | 9000.00 | 50.00 | 7500.00 | 27.00 | 4050.00 | 4050.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
23.05 | 6 pin 15/16 Amp piano type Socket outlet with safety shutter | 100.00 | Each | 0.00 | 35.00 | 3500.00 | 150.00 | 15000.00 | 75.00 | 7500.00 | 58.00 | 5800.00 | 3500.00 | ANAND AND COMPANTY
24.00 | Door bell ding-dong, 240V, 50Hz | 30.00 | Each | 0.00 | 160.00 | 4800.00 | 450.00 | 13500.00 | 200.00 | 6000.00 | 110.00 | 3300.00 | 3300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
25.00 | Electronic Remote Bell with One No. Remote Switch | 30.00 | Each | 0.00 | 600.00 | 18000.00 | 450.00 | 13500.00 | 200.00 | 6000.00 | 480.00 | 14400.00 | 6000.00 | NATIONAL SAFETY ENGINEERS
26.00 | Supply of following Modular type switches/sockets:-
26.01 | 5/6 Amps., one way Modular type switch, 1Module | 60.00 | Each | 0.00 | 40.00 | 2400.00 | 65.00 | 3900.00 | 80.00 | 4800.00 | 19.20 | 1152.00 | 1152.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
26.02 | 5/6 Amps, Modular type Bell push switch, 1Module | 15.00 | Each | 0.00 | 50.00 | 750.00 | 150.00 | 2250.00 | 90.00 | 1350.00 | 44.00 | 660.00 | 660.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
26.03 | 15/16 Amps.,one way Modular type switch, 1Module | 60.00 | Each | 0.00 | 75.00 | 4500.00 | 95.00 | 5700.00 | 130.00 | 7800.00 | 52.00 | 3120.00 | 3120.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
26.04 | 3 pin 5/6 Amps. Modular type Socket outlet, 2Module | 60.00 | Each | 0.00 | 45.00 | 2700.00 | 120.00 | 7200.00 | 100.00 | 6000.00 | 60.00 | 3600.00 | 2700.00 | ANAND AND COMPANTY
26.05 | 6 pin 15/16 Amps., Modular type Socket outlet with safety shutter, 2Module | 60.00 | Each | 0.00 | 60.00 | 3600.00 | 165.00 | 9900.00 | 140.00 | 8400.00 | 90.00 | 5400.00 | 3600.00 | ANAND AND COMPANTY
27.00 | 16 Amps., 240V, 50 Hz, extension board with Four outlet sockets, one master switch, overload and short circuit protection with replaceable fuse, min. 1.5 m cable length with 3 pin plug top (Make : Havells/ Anchor/ Philips or equivalent) | 10.00 | Each | 0.00 | 650.00 | 6500.00 | 675.00 | 6750.00 | 450.00 | 4500.00 | 480.00 | 4800.00 | 4500.00 | NATIONAL SAFETY ENGINEERS
28.00 | 6 Amps., 240V, 50 Hz, extension board with Four outlet sockets, one master switch, overload and short circuit protection with replaceable fuse, min. 1.5 m cable length with 3 pin plug top (Make : Havells/ Anchor/ Philips or equivalent) | 15.00 | Each | 0.00 | 550.00 | 8250.00 | 575.00 | 8625.00 | 350.00 | 5250.00 | 380.00 | 5700.00 | 5250.00 | NATIONAL SAFETY ENGINEERS
29.00 | Supply of PVC Gang Box/ surface mounting box for the following switches / Sockets-
29.01 | 1 no. 5/6 Amps. switch (Make- Anchor, code- 7010 or equivalent ) | 25.00 | Each | 0.00 | 20.00 | 500.00 | 35.00 | 875.00 | 20.00 | 500.00 | 25.00 | 625.00 | 500.00 | ANAND AND COMPANTY, NATIONAL SAFETY ENGINEERS
29.02 | 2 nos. 5/6 Amps. switch (Make- Anchor, code- 7021 or equivalent ). | 25.00 | Each | 0.00 | 35.00 | 875.00 | 35.00 | 875.00 | 30.00 | 750.00 | 25.00 | 625.00 | 625.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
29.03 | 1 no. 5/6 Amps. switch & 1 no. 5/6 Amps. socket. (Make- Anchor, code- 7112 or equivalent ). | 25.00 | Each | 0.00 | 35.00 | 875.00 | 35.00 | 875.00 | 35.00 | 875.00 | 35.00 | 875.00 | 875.00 | ANAND AND COMPANTY, Trishul Enterprises, RD INFRATECH ENGINEERS PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
29.04 | 2 nos. 5/6 Amps. switch & 1 no. 5/6 Amps. socket. (Make- Anchor, code- 7123 or equivalent ). | 25.00 | Each | 0.00 | 45.00 | 1125.00 | 65.00 | 1625.00 | 60.00 | 1500.00 | 40.00 | 1000.00 | 1000.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
29.05 | 2 nos. 5/6 Amps. switch & 2 nos. 5/6 Amps. socket. (Make- Anchor, code- 7203 or equivalent ). | 25.00 | Each | 0.00 | 55.00 | 1375.00 | 65.00 | 1625.00 | 80.00 | 2000.00 | 45.00 | 1125.00 | 1125.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
30.00 | Supply of 6 Amps., 3pin Switch Socket combined unit with box and 4 fixing holes. (Make- Anchor, code- 4056 or equivalent ). | 30.00 | Each | 0.00 | 110.00 | 3300.00 | 250.00 | 7500.00 | 170.00 | 5100.00 | 60.00 | 1800.00 | 1800.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
31.00 | Supply of 6/16 Amps. Switch Socket combined unit with box, shutter and 4 fixing holes. (Make- Anchor, code- 14310 or equivalent ). | 30.00 | Each | 0.00 | 150.00 | 4500.00 | 275.00 | 8250.00 | 250.00 | 7500.00 | 110.00 | 3300.00 | 3300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
32.00 | 3 pin 5/6 Amps plug top ISI Mark (Make: Anchor or equivalent) | 40.00 | Each | 0.00 | 75.00 | 3000.00 | 95.00 | 3800.00 | 50.00 | 2000.00 | 45.00 | 1800.00 | 1800.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
33.00 | 3 pin 15/16 Amps plug top ISI Mark (Make: Anchor or equivalent) | 40.00 | Each | 0.00 | 85.00 | 3400.00 | 180.00 | 7200.00 | 80.00 | 3200.00 | 55.00 | 2200.00 | 2200.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
34.00 | Industrial plug Top 3 Pin, 20 amp, ISI mark | 5.00 | Each | 0.00 | 200.00 | 1000.00 | 250.00 | 1250.00 | 350.00 | 1750.00 | 110.00 | 550.00 | 550.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
35.00 | Industrial plug base 3 Pin, 20 amp, ISI mark | 5.00 | Each | 0.00 | 250.00 | 1250.00 | 550.00 | 2750.00 | 350.00 | 1750.00 | 110.00 | 550.00 | 550.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
36.00 | Supply of MCB's of following rating:-
36.01 | 6 amps to 32 amps rating SP MCB, 240 volts, 10 kA breaking capacity, “C” curve, suitable for inductive load | 120.00 | Each | 0.00 | 150.00 | 18000.00 | 150.00 | 18000.00 | 150.00 | 18000.00 | 110.00 | 13200.00 | 13200.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
36.02 | 32 amps rating DP MCB, 240 volts, 10 kA breaking capacity, “C” curve, suitable for inductive load | 20.00 | Each | 0.00 | 400.00 | 8000.00 | 750.00 | 15000.00 | 350.00 | 7000.00 | 357.00 | 7140.00 | 7000.00 | NATIONAL SAFETY ENGINEERS
36.03 | 40 amps to 63 amps rating DP MCB, 240 volts, 10 kA breaking capacity, “C” curve, suitable for inductive load | 30.00 | Each | 0.00 | 600.00 | 18000.00 | 1150.00 | 34500.00 | 400.00 | 12000.00 | 585.00 | 17550.00 | 12000.00 | NATIONAL SAFETY ENGINEERS
36.04 | 40 amps to 63 amps rating TPN MCB, 415 volts, 10 kA breaking capacity, “C” curve, suitable for inductive load | 30.00 | Each | 0.00 | 950.00 | 28500.00 | 1450.00 | 43500.00 | 1000.00 | 30000.00 | 1125.00 | 33750.00 | 28500.00 | ANAND AND COMPANTY
37.00 | Supply of following rating and breaking capacity MCCB with thermomagnetic release and terminal spreaders, Ics=100% of Icu
37.01 | 4P 63 A, 30 kA | 5.00 | Each | 0.00 | 5500.00 | 27500.00 | 5100.00 | 25500.00 | 2000.00 | 10000.00 | 5240.00 | 26200.00 | 10000.00 | NATIONAL SAFETY ENGINEERS
37.02 | 4P 100 A, 30 kA | 2.00 | Each | 0.00 | 5500.00 | 11000.00 | 5200.00 | 10400.00 | 3000.00 | 6000.00 | 5240.00 | 10480.00 | 6000.00 | NATIONAL SAFETY ENGINEERS
37.03 | 4P 125 A, 36 kA | 2.00 | Each | 0.00 | 6500.00 | 13000.00 | 10200.00 | 20400.00 | 4000.00 | 8000.00 | 6420.00 | 12840.00 | 8000.00 | NATIONAL SAFETY ENGINEERS
37.04 | 4P 160 A, 36 kA | 2.00 | Each | 0.00 | 8000.00 | 16000.00 | 11200.00 | 22400.00 | 5500.00 | 11000.00 | 7460.00 | 14920.00 | 11000.00 | NATIONAL SAFETY ENGINEERS
37.05 | 4P 400 A, 50 kA | 2.00 | Each | 0.00 | 9000.00 | 18000.00 | 18180.00 | 36360.00 | 12000.00 | 24000.00 | 19220.00 | 38440.00 | 18000.00 | ANAND AND COMPANTY
37.06 | 4P 630 A, 50 kA | 1.00 | Each | 0.00 | 14000.00 | 14000.00 | 38880.00 | 38880.00 | 15000.00 | 15000.00 | 26195.00 | 26195.00 | 14000.00 | ANAND AND COMPANTY
38.00 | Supply of following types of wires:-
38.01 | 1.5 sqmm, FRLS, PVC insulated single core copper conductor flexible, 1100 volts conforming to IS 694 | 1350.00 | Metre | 0.00 | 16.00 | 21600.00 | 21.00 | 28350.00 | 15.00 | 20250.00 | 13.00 | 17550.00 | 17550.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
38.02 | 2.5 sqmm, FRLS, PVC insulated single core copper conductor flexible, 1100 volts conforming to IS 694 | 450.00 | Metre | 0.00 | 24.00 | 10800.00 | 29.00 | 13050.00 | 20.00 | 9000.00 | 21.10 | 9495.00 | 9000.00 | NATIONAL SAFETY ENGINEERS
38.03 | 4.0 sqmm, FRLS, PVC insulated single core copper conductor flexible, 1100 volts conforming to IS 694 | 450.00 | Metre | 0.00 | 32.00 | 14400.00 | 50.00 | 22500.00 | 35.00 | 15750.00 | 32.00 | 14400.00 | 14400.00 | ANAND AND COMPANTY, RD INFRATECH ENGINEERS PRIVATE LIMITED
38.04 | 3 core having 1.5 sqmm. nominal area of conductor PVC insulated and PVC round sheathed, copper conductor flexible 1100 volts to IS 694 | 800.00 | Metre | 0.00 | 40.00 | 32000.00 | 70.00 | 56000.00 | 50.00 | 40000.00 | 45.30 | 36240.00 | 32000.00 | ANAND AND COMPANTY
38.05 | 3 core having 2.5 sqmm. nominal area of conductor PVC insulated and PVC round sheathed, copper conductor flexible 1100 volts to IS 694 | 200.00 | Metre | 0.00 | 45.00 | 9000.00 | 90.00 | 18000.00 | 70.00 | 14000.00 | 72.00 | 14400.00 | 9000.00 | ANAND AND COMPANTY
38.06 | 2 core having 0.75 sqmm. nominal area of conductor PVC insulated copper conductor flexible, unsheated two in parallel 1100 volts to IS 694 | 200.00 | Metre | 0.00 | 17.00 | 3400.00 | 40.00 | 8000.00 | 25.00 | 5000.00 | 26.60 | 5320.00 | 3400.00 | ANAND AND COMPANTY
38.07 | 2 core having 1.5 sqmm. nominal area of conductor PVC insulated and PVC round sheathed, copper conductor flexible 1100 volts to IS 694 | 200.00 | Metre | 0.00 | 24.00 | 4800.00 | 50.00 | 10000.00 | 45.00 | 9000.00 | 32.65 | 6530.00 | 4800.00 | ANAND AND COMPANTY
38.08 | 2 core Flexible twin twisted copper wire 23/76 | 900.00 | Metre | 0.00 | 6.00 | 5400.00 | 50.00 | 45000.00 | 30.00 | 27000.00 | 11.00 | 9900.00 | 5400.00 | ANAND AND COMPANTY
39.00 | Supply of following sizes of 1.1kv grade multicore Aluminium conductor XLPE insulated PVC sheathed armoured cable (as per IS : 7098:1988 with upto date amendments) complete as requried as per specifications.
39.01 | 2 core, 06 sq.mm. | 200.00 | Metre | 0.00 | 100.00 | 20000.00 | 92.00 | 18400.00 | 70.00 | 14000.00 | 67.32 | 13464.00 | 13464.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
39.02 | 2 core, 10 sq.mm. | 200.00 | Metre | 0.00 | 120.00 | 24000.00 | 108.00 | 21600.00 | 80.00 | 16000.00 | 79.00 | 15800.00 | 15800.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
39.03 | 3.5 core, 35 sq.mm. | 200.00 | Metre | 0.00 | 260.00 | 52000.00 | 253.00 | 50600.00 | 190.00 | 38000.00 | 184.00 | 36800.00 | 36800.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
40.00 | Supply of 3 core, 4 sq.mm. PVC insulated & PVC sheathed copper submersible flat cable confirming to IS 694, 1100 volts | 100.00 | Metre | 0.00 | 125.00 | 12500.00 | 144.00 | 14400.00 | 90.00 | 9000.00 | 115.00 | 11500.00 | 9000.00 | NATIONAL SAFETY ENGINEERS
41.00 | Supply of capacitor of following rating:-
41.01 | 2.25 MFD capacitor | 20.00 | Each | 0.00 | 40.00 | 800.00 | 50.00 | 1000.00 | 30.00 | 600.00 | 28.00 | 560.00 | 560.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
41.02 | 2.5 MFD capacitor | 60.00 | Each | 0.00 | 45.00 | 2700.00 | 50.00 | 3000.00 | 35.00 | 2100.00 | 28.00 | 1680.00 | 1680.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
41.03 | 3.15 MFD capacitor | 30.00 | Each | 0.00 | 55.00 | 1650.00 | 80.00 | 2400.00 | 40.00 | 1200.00 | 32.00 | 960.00 | 960.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
41.04 | 4.0 MFD capacitor | 10.00 | Each | 0.00 | 65.00 | 650.00 | 120.00 | 1200.00 | 50.00 | 500.00 | 50.00 | 500.00 | 500.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
41.05 | 6.0 MFD capacitor | 5.00 | Each | 0.00 | 100.00 | 500.00 | 150.00 | 750.00 | 60.00 | 300.00 | 75.00 | 375.00 | 300.00 | NATIONAL SAFETY ENGINEERS
41.06 | 10.0 MFD capacitor | 5.00 | Each | 0.00 | 120.00 | 600.00 | 200.00 | 1000.00 | 75.00 | 375.00 | 260.00 | 1300.00 | 375.00 | NATIONAL SAFETY ENGINEERS
42.00 | Heat Convector 2000W, 220-240V, 50Hz, single phase AC (Model: Havells cista; Bajaj RX-8 or equivalent) | 10.00 | Each | 0.00 | 3000.00 | 30000.00 | 3200.00 | 32000.00 | 2000.00 | 20000.00 | 2033.00 | 20330.00 | 20000.00 | NATIONAL SAFETY ENGINEERS
43.00 | Room Heater Halogen type (800W), 220-240V, 50Hz, single phase AC ( Model Bajaj RHX-2 or equivalent) | 20.00 | Each | 0.00 | 1800.00 | 36000.00 | 1800.00 | 36000.00 | 1200.00 | 24000.00 | 1440.00 | 28800.00 | 24000.00 | NATIONAL SAFETY ENGINEERS
44.00 | Oil filled room heater 2500-2900W, 220-240V, 50Hz, single phase, 11 fins, 400W PTC fan heater with adjustable thermostat, caster wheels, over heat protection & Tilt over protection (Make: Havells 11 FIN OFR; Crompton ACGRH-INSTAFERVE11 ; Bajaj or equivalent) | 4.00 | Each | 0.00 | 12500.00 | 50000.00 | 18000.00 | 72000.00 | 9000.00 | 36000.00 | 8300.00 | 33200.00 | 33200.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
45.00 | 25 Litre capacity water heater (Geyser), 2000W, 220-240V, 50 Hz, single phase, 5 star rating as per BEE standard, auto cut off, rust free body, PUF insulation Make: Havells Model: Monza DX; Bajaj Caldia NXG 25L; Crompton ASWH-3025 or equivalent | 2.00 | Each | 0.00 | 8500.00 | 17000.00 | 14000.00 | 28000.00 | 10500.00 | 21000.00 | 8150.00 | 16300.00 | 16300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
46.00 | 108 Litre Capacity M. S. body powder coated sliding glass door, 3 rack Hot Case (Make: Robustix or equivalent) | 3.00 | Each | 0.00 | 5500.00 | 16500.00 | 5500.00 | 16500.00 | 4000.00 | 12000.00 | 10.00 | 30.00 | 30.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
47.00 | Centrifugal pump 1.0 HP (monoblock pump & motor set), single phase, 25 mm delivery & suction size, head range 6-30 m, discharge range 900-3000 lph | 2.00 | Each | 0.00 | 3500.00 | 7000.00 | 7500.00 | 15000.00 | 4500.00 | 9000.00 | 5500.00 | 11000.00 | 7000.00 | ANAND AND COMPANTY
48.00 | Single phase Submersible Pump Controller 1.5 HP with encloser, relay range 9-14A, start capacitor 275V 50Hz 150/200MFD, run capacitor 440V 50Hz 2x36MFD, IP 54, indicating lamp, ammeter, Voltmeter, contactor with wide voltage band, conforming to IS/IEC 60947-4-1 (Make L&T Model MR-G2 or equivallent) | 3.00 | Each | 0.00 | 1200.00 | 3600.00 | 4200.00 | 12600.00 | 3000.00 | 9000.00 | 10500.00 | 31500.00 | 3600.00 | ANAND AND COMPANTY
49.00 | Three Phase Submersible Pump Controllers (DOL) 7.5 HP with encloser, 415V, 50Hz with protection from single phase preventer & water level controller, relay range 9-14A, wide band coil with coil voltage 415V, IP 54, indicating lamp & ammeter, voltmeter, conforming to IS/IEC 60947-4-1 (Make L&T Model MU-G10WDOL or equivallent) | 1.00 | Each | 0.00 | 1900.00 | 1900.00 | 8000.00 | 8000.00 | 8000.00 | 8000.00 | 14200.00 | 14200.00 | 1900.00 | ANAND AND COMPANTY
50.00 | 18 watt, single phase submersible pump for Desert Cooler, total head 2.5m, flow rate 50 lph (Make Khaitan aqua or equivalent) | 20.00 | Each | 0.00 | 250.00 | 5000.00 | 250.00 | 5000.00 | 300.00 | 6000.00 | 180.00 | 3600.00 | 3600.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
51.00 | Three phase whole current trivector Energy Meter, range 10-60A, LCD display with optical part & box, class 1 accuracy as per IS/IEC, bidirectional energy recording, anti-tamper feature (Make : L&T Model No. ER300P or equivalent) | 2.00 | Each | 0.00 | 2500.00 | 5000.00 | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 2204.00 | 4408.00 | 4408.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
52.00 | Single phase whole current Energy Meter, range 05-30A, LCD display with optical part & box, class 1 accuracy as per IS/IEC, forward energy recording irrespective of current direction, indication for power on, current reversal & ELT, anti-tamper feature (Make : L&T Model No. EM101 or equivalent) | 2.00 | Each | 0.00 | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 1000.00 | 2000.00 | 805.00 | 1610.00 | 1610.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
53.00 | Supply of 12 volt , 25 plate 180 AH storage type lead acid, maintenance free VRLA battery i/c charging etc as reqd.(as and when required) (Make Exide or equivalent). | 10.00 | Each | 0.00 | 15500.00 | 155000.00 | 14000.00 | 140000.00 | 15000.00 | 150000.00 | 20000.00 | 200000.00 | 140000.00 | Trishul Enterprises
54.00 | Battery terminal | 10.00 | Each | 0.00 | 65.00 | 650.00 | 50.00 | 500.00 | 60.00 | 600.00 | 500.00 | 5000.00 | 500.00 | Trishul Enterprises
55.00 | Battery water | 100.00 | Liter | 0.00 | 7.00 | 700.00 | 10.00 | 1000.00 | 15.00 | 1500.00 | 20.00 | 2000.00 | 700.00 | ANAND AND COMPANTY
56.00 | PVC Channel of ISI marked heavy duty 1.6 mm thick of following sizes (one channel of 2 mtr. Length)
56.01 | 20 mm | 150.00 | Each | 0.00 | 28.00 | 4200.00 | 90.00 | 13500.00 | 25.00 | 3750.00 | 32.00 | 4800.00 | 3750.00 | NATIONAL SAFETY ENGINEERS
56.02 | 25 mm | 100.00 | Each | 0.00 | 30.00 | 3000.00 | 120.00 | 12000.00 | 30.00 | 3000.00 | 40.00 | 4000.00 | 3000.00 | ANAND AND COMPANTY, NATIONAL SAFETY ENGINEERS
56.03 | 32 mm | 50.00 | Each | 0.00 | 40.00 | 2000.00 | 150.00 | 7500.00 | 35.00 | 1750.00 | 45.00 | 2250.00 | 1750.00 | NATIONAL SAFETY ENGINEERS
57.00 | 6MM PVC clip (100 Piece each) | 10.00 | Each | 0.00 | 50.00 | 500.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 30.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
58.00 | 6MM PVC gutties (good quality) (1000 piece each) | 2.00 | Each | 0.00 | 300.00 | 600.00 | 400.00 | 800.00 | 350.00 | 700.00 | 160.00 | 320.00 | 320.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
59.00 | Batten clip (100 piece in each) | 15.00 | Each | 0.00 | 20.00 | 300.00 | 60.00 | 900.00 | 25.00 | 375.00 | 30.00 | 450.00 | 300.00 | ANAND AND COMPANTY
60.00 | Supply of following types of screws:-
60.01 | 1.5 Inches Wooden screw (1000 pieces each) | 2.00 | Each | 0.00 | 150.00 | 300.00 | 550.00 | 1100.00 | 300.00 | 600.00 | 460.00 | 920.00 | 300.00 | ANAND AND COMPANTY
60.02 | 2.5 Inches Wooden screw (100 pieces each) | 2.00 | Each | 0.00 | 200.00 | 400.00 | 100.00 | 200.00 | 450.00 | 900.00 | 70.00 | 140.00 | 140.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
60.03 | 1 inch Gypsum screw (1000 pieces each) | 1.00 | Each | 0.00 | 500.00 | 500.00 | 800.00 | 800.00 | 300.00 | 300.00 | 300.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
60.04 | 1.5 inch Gypsum screw (1000 pieces each) | 1.00 | Each | 0.00 | 500.00 | 500.00 | 1200.00 | 1200.00 | 350.00 | 350.00 | 350.00 | 350.00 | 350.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED, NATIONAL SAFETY ENGINEERS
60.05 | 2.5 inch Gypsum screw (1000 pieces each) | 1.00 | Each | 0.00 | 550.00 | 550.00 | 2000.00 | 2000.00 | 450.00 | 450.00 | 380.00 | 380.00 | 380.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.00 | Aluminium Lugs of following size
61.01 | 6 sq. mm, reducer terminal | 20.00 | Each | 0.00 | 5.00 | 100.00 | 8.00 | 160.00 | 20.00 | 400.00 | 3.00 | 60.00 | 60.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.02 | 10 sq. mm., tube terminal | 20.00 | Each | 0.00 | 7.00 | 140.00 | 12.00 | 240.00 | 25.00 | 500.00 | 5.00 | 100.00 | 100.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.03 | 25 sq.mm., tube terminal | 10.00 | Each | 0.00 | 8.00 | 80.00 | 15.00 | 150.00 | 30.00 | 300.00 | 8.00 | 80.00 | 80.00 | ANAND AND COMPANTY, RD INFRATECH ENGINEERS PRIVATE LIMITED
61.04 | 35 sq. mm., tube terminal | 30.00 | Each | 0.00 | 18.00 | 540.00 | 18.00 | 540.00 | 35.00 | 1050.00 | 10.00 | 300.00 | 300.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.05 | 50 sq. mm, tube terminal | 10.00 | Each | 0.00 | 25.00 | 250.00 | 22.00 | 220.00 | 40.00 | 400.00 | 13.00 | 130.00 | 130.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.06 | 70 sq. mm., tube terminal | 10.00 | Each | 0.00 | 40.00 | 400.00 | 25.00 | 250.00 | 50.00 | 500.00 | 16.00 | 160.00 | 160.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.07 | 95 sq.mm., tube terminal | 30.00 | Each | 0.00 | 50.00 | 1500.00 | 30.00 | 900.00 | 70.00 | 2100.00 | 28.00 | 840.00 | 840.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.08 | 120 sq. mm., tube terminal | 20.00 | Each | 0.00 | 65.00 | 1300.00 | 40.00 | 800.00 | 100.00 | 2000.00 | 32.00 | 640.00 | 640.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.09 | 150 sq. mm., tube terminal | 20.00 | Each | 0.00 | 70.00 | 1400.00 | 50.00 | 1000.00 | 120.00 | 2400.00 | 35.00 | 700.00 | 700.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.10 | 240 sq. mm., tube terminal | 20.00 | Each | 0.00 | 75.00 | 1500.00 | 90.00 | 1800.00 | 150.00 | 3000.00 | 41.00 | 820.00 | 820.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.11 | 300 sq. mm., tube terminal | 10.00 | Each | 0.00 | 80.00 | 800.00 | 140.00 | 1400.00 | 170.00 | 1700.00 | 55.00 | 550.00 | 550.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
61.12 | 400 sq. mm., tube terminal | 10.00 | Each | 0.00 | 85.00 | 850.00 | 160.00 | 1600.00 | 200.00 | 2000.00 | 78.00 | 780.00 | 780.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
62.00 | Copper Lugs of following size
62.01 | 1.5 sq. mm, reducer terminal | 200.00 | Each | 0.00 | 2.00 | 400.00 | 3.00 | 600.00 | 10.00 | 2000.00 | 2.00 | 400.00 | 400.00 | ANAND AND COMPANTY, RD INFRATECH ENGINEERS PRIVATE LIMITED
62.02 | 2.5 sq. mm, reducer terminal | 100.00 | Each | 0.00 | 2.00 | 200.00 | 3.00 | 300.00 | 20.00 | 2000.00 | 2.00 | 200.00 | 200.00 | ANAND AND COMPANTY, RD INFRATECH ENGINEERS PRIVATE LIMITED
62.03 | 4 sq. mm., reducer terminal | 100.00 | Each | 0.00 | 3.00 | 300.00 | 6.00 | 600.00 | 30.00 | 3000.00 | 4.00 | 400.00 | 300.00 | ANAND AND COMPANTY
62.04 | 6 sq.mm., reducer terminal | 25.00 | Each | 0.00 | 3.00 | 75.00 | 8.00 | 200.00 | 40.00 | 1000.00 | 4.00 | 100.00 | 75.00 | ANAND AND COMPANTY
62.05 | 6 sq.mm., tube terminal (Heavy Duty) | 25.00 | Each | 0.00 | 5.00 | 125.00 | 10.00 | 250.00 | 45.00 | 1125.00 | 8.00 | 200.00 | 125.00 | ANAND AND COMPANTY
62.06 | 10 sq.mm., reducer terminal | 25.00 | Each | 0.00 | 5.00 | 125.00 | 16.00 | 400.00 | 50.00 | 1250.00 | 6.00 | 150.00 | 125.00 | ANAND AND COMPANTY
62.07 | 10 sq.mm., tube terminal (Heavy Duty) | 25.00 | Each | 0.00 | 7.00 | 175.00 | 18.00 | 450.00 | 55.00 | 1375.00 | 14.00 | 350.00 | 175.00 | ANAND AND COMPANTY
63.00 | 6mm Dia. 6X19mm Stainless Steel Wire Rope (50 Meter each) Make: Usha Martin or equivallent | 1.00 | Each | 0.00 | 4000.00 | 4000.00 | 2500.00 | 2500.00 | 3500.00 | 3500.00 | 292.00 | 292.00 | 292.00 | RD INFRATECH ENGINEERS PRIVATE LIMITED
64.00 | Water proof insulating rubber submersible tape (6 inch X 3 Mtrs.) | 4.00 | Each | 0.00 | 100.00 | 400.00 | 300.00 | 1200.00 | 150.00 | 600.00 | 350.00 | 1400.00 | 400.00 | ANAND AND COMPANTY
65.00 | Wood wool pads (1 set of 3 nos.) of good quality of suitable size for upto 5000 cum/hr capacity desert cooler as reqd. | 30.00 | Set | 0.00 | 100.00 | 3000.00 | 250.00 | 7500.00 | 200.00 | 6000.00 | 180.00 | 5400.00 | 3000.00 | ANAND AND COMPANTY
66.00 | SH-IV- Execution of works as per CPWD schedule of work and specification as and when reqd.(DSR Works)
67.00 | DSR(Electrical) - 2018 Item for Rs 4,00,000/- (Rupees Four Lakhs Only) [NOTE: The rate should be qouted in Indian Ruppees only] The payment of DSR items shall be released on the basis of percentage calculation between qouted amount and fixed amount of Rs.4,00,000/- NOTE: Guideline for quoting percentage rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 400000/-of DSR 2018 (electrical) and same shall be converted into percentage above/below on the DSR 2018 (considering the rates of DSR 2018 as base rates). 2. For Example if bidder quotes Rs. 420000/- in rates column then same shall be converted into percentage of DSR 2018 as under ((420000 - 400000) / 400000) i.e. 5% above on DSR 2018 and accordingly payment shall be made by applying the percentage i.e. 5% above on DSR 2018 rates for items covered in DSR 2018. | 1.00 | Job | 0.00 | 200000.00 | 200000.00 | 350000.00 | 350000.00 | 320000.00 | 320000.00 | 420000.00 | 420000.00 | 200000.00 | ANAND AND COMPANTY
| Total in Figures |  |  |  |  | 12061610.00 |  | 16124764.00 |  | 13908375.00 |  | 12200000.00
Lowest Amount Quoted BY: ANAND AND COMPANTY(12061610.00)

## BOQ Summary
BOQ Summary Details Tender Title: Running maintenance of Electrical installations of Safdarjung Airport and Residential Colony of Jorbagh and Airport lane, etc. at Safdarjung Airport, New Delhi (For the year 2022-24). Tender ID: 2022_AAI_132759_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANAND AND COMPANTY | 12061610.00 | L1
| 2 | RD INFRATECH ENGINEERS PRIVATE LIMITED | 12200000.00 | L2
| 3 | NATIONAL SAFETY ENGINEERS | 13908375.00 | L3
| 4 | Trishul Enterprises | 16124764.00 | L4