## BoQ1
Government eProcurement System Created By: JOSEPHINE JULIANA Created Date/Time: 28-Nov-2022 01:41 PM Tender Title: Rate contract for SITC of Split, Cassette and Tower type Air conditioners, Water Coolers, Water Dispensers and Air curtains for various locations at CIA for the period of One Year 2022 23 Tender ID: 2022_AAI_132773_1
Tender Inviting Authority: DGM Engg(Elect)-II,AMED-VIII,Operational Offices,Chennai Airport.
Name of Work: Rate contract for SITC of Split, Cassette & Tower type Air conditioners, Water Coolers Water Dispensers and Air curatins for various locations at CIA for the period of One Year (2022-23)
Tender Id: 2022_AAI_ 132773_1) - (SECOND CALL)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Cooltec(GSTN-33CZOPS9421C1Z6) |  | Aqua Cool Co.Pvt Ltd(GSTN-27AAICA1835E1ZX) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following capacity wall mounted type Split AC unit (5 star rating invertor type) fitted with hermetically sealed compressor operating on 220 V +10% 50 Hz Single phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, copper piping for both suction and discharge of 4 metres length, power and control cabling of 4 meters length etc complete on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work)
1.01 | (i) 1.5 TR | 10.00 | Nos |  | 46000.00 | 460000.00 | 52027.00 | 520270.00 | 33599.00 | 335990.00 | 335990.00 | DElite System Engineering (India) Pvt. Ltd.
1.02 | (ii) 2.0 TR | 15.00 | Nos |  | 52000.00 | 780000.00 | 69227.00 | 1038405.00 | 45999.00 | 689985.00 | 689985.00 | DElite System Engineering (India) Pvt. Ltd.
2.00 | ITC of following capacity wall mounted type Split AC unit including all accessories as per above item complete etc. on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work)
2.01 | (i) 1.5 TR | 10.00 | Jobs |  | 4000.00 | 40000.00 | 3477.00 | 34770.00 | 1200.00 | 12000.00 | 12000.00 | DElite System Engineering (India) Pvt. Ltd.
2.02 | (ii) 2.0 TR | 15.00 | Jobs |  | 4500.00 | 67500.00 | 3477.00 | 52155.00 | 1200.00 | 18000.00 | 18000.00 | DElite System Engineering (India) Pvt. Ltd.
3.00 | SITC of following capacity voltage stabilizers with copper wound coil having range of 200 to 275 voltage single phase, 50 Hz AC supply i/c necessary fixing arrangements, clamps, screws, metal clad top, connecting 3 core cable of 1 metre length, complete, etc on as and when required basis as per specifications complete as required. (Prices shall be firm for 1 year period from the date of start of work)
3.01 | (i) 4 KVA | 10.00 | Jobs |  | 1700.00 | 17000.00 | 20857.00 | 208570.00 | 2500.00 | 25000.00 | 17000.00 | M/s Cooltec
3.02 | (ii) 5 KVA | 15.00 | Jobs |  | 1750.00 | 26250.00 | 27807.00 | 417105.00 | 3599.00 | 53985.00 | 26250.00 | M/s Cooltec
4.00 | Supply and Installation of required Angle frame for mounting condensing units of upto 2.0 TR capacity with all accessories etc. etc on as and when required basis as per specifications complete as required. (Prices shall be firm for 1 year period from the date of start of work) | 25.00 | Jobs |  | 550.00 | 13750.00 | 4177.00 | 104425.00 | 2000.00 | 50000.00 | 13750.00 | M/s Cooltec
5.00 | Supply of 4TR capacity ceiling suspended Cassette type AC unit fitted with hermetically sealed compressor operating on 415 V +10% 50 Hz 3 phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, Angle iron wall / floor stand for condensing unit, complete etc. on as and when required basis as per specifications complete as required. (Prices shall be firm for 1 year period from the date of start of work) | 3.00 | Nos |  | 118000.00 | 354000.00 | 138007.00 | 414021.00 | 109999.00 | 329997.00 | 329997.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | ITC of 4TR capacity ceiling suspended Cassette type AC unit including all accessories as per above item complete etc. on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work) | 3.00 | Jobs |  | 4500.00 | 13500.00 | 6957.00 | 20871.00 | 2500.00 | 7500.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | Supply of 4TR capacity Floor standing tower type Split AC unit fitted with hermetically sealed compressor operating on 415 V +10% 50 Hz 3 phase AC supply with evaporator and condensing unit made of copper tubes with aluminium fins i/c cordless remote control, Angle iron floor stand for indoor unit, Angle iron wall / floor stand for condensing unit, etc complete as required. (Prices shall be firm for 1 year period from the date of start of work) | 4.00 | Nos |  | 126000.00 | 504000.00 | 107817.00 | 431268.00 | 98999.00 | 395996.00 | 395996.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | ITC of 4TR capacity Floor standing tower type Split AC unit including all accessories as per above item complete etc, as required. (Prices shall be firm for 1 year period from the date of start of work) | 4.00 | Jobs |  | 5000.00 | 20000.00 | 6957.00 | 27828.00 | 2500.00 | 10000.00 | 10000.00 | DElite System Engineering (India) Pvt. Ltd.
9.00 | Supply and Installation of additional Copper pipe for 1.5TR, 2TR Split ACs(beyond 4 meters per Split AC unit) and Copper pipe for 4TR capacity Cassette, floor standing tower type ACs including suction and delivery line with all accessories such as insulation, power & control cabling, etc. on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work)
9.01 | (i) 1.5 TR Split type AC unit | 25.00 | RM |  | 950.00 | 23750.00 | 1187.00 | 29675.00 | 900.00 | 22500.00 | 22500.00 | DElite System Engineering (India) Pvt. Ltd.
9.02 | (ii) 2.0 TR Split type AC unit | 70.00 | RM |  | 1050.00 | 73500.00 | 1187.00 | 83090.00 | 900.00 | 63000.00 | 63000.00 | DElite System Engineering (India) Pvt. Ltd.
9.03 | (iii) 4.0 TR Cassette / Floor Standing type AC unit | 70.00 | RM |  | 1100.00 | 77000.00 | 1187.00 | 83090.00 | 900.00 | 63000.00 | 63000.00 | DElite System Engineering (India) Pvt. Ltd.
10.00 | Supplying & laying of condensate water drain pipe made of PVC having size of 40mm 6kg/cm capacity, for additional requirement for AC units i/c necessary clamps, screws, supports, etc on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work) | 200.00 | RM |  | 150.00 | 30000.00 | 207.00 | 41400.00 | 339.00 | 67800.00 | 30000.00 | M/s Cooltec
11.00 | Supplying & fixing of following sized PVC trunking profile on wall / surface to facilitate installation of copper piping, insulation, power cabling, control cabling, condensate drain water piping and as directed by the Engineer - in - Charge on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work)
11.01 | (i) 75 X 50 mm | 50.00 | RM |  | 1150.00 | 57500.00 | 487.00 | 24350.00 | 199.00 | 9950.00 | 9950.00 | DElite System Engineering (India) Pvt. Ltd.
11.02 | (ii) 100 X 50 mm | 10.00 | RM |  | 1250.00 | 12500.00 | 487.00 | 4870.00 | 199.00 | 1990.00 | 1990.00 | DElite System Engineering (India) Pvt. Ltd.
12.00 | Supplying of following rated Cyclic timer for Split / Tower type air conditioners, suitable for cycle the air conditioners between duty and standby units at predetermined intervals that are settable between 1 to 12 hours, with necessary buttons, display, inbuilt power and control contactors, control circuits, terminals, on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work)
12.01 | (i) Cyclic timer for split AC having 2 TR capacity, AC Single Phase power supply. Similar to Model No. A-MCT-02, make of Presevi Industries Pvt Ltd | 20.00 | Nos |  | 2000.00 | 40000.00 | 11817.00 | 236340.00 | 7000.00 | 140000.00 | 40000.00 | M/s Cooltec
12.02 | (ii) Cyclic timer for split AC (Floor standing, Tower type) having 4 TR capacity, AC, 3 Phase power supply. Similar to Model No. A-MCT-02-AM, make of Presevi Industries Pvt Ltd | 4.00 | Nos |  | 2000.00 | 8000.00 | 13207.00 | 52828.00 | 7000.00 | 28000.00 | 8000.00 | M/s Cooltec
13.00 | Supply of floor mounted type water cooler having following capacities with RO + UV purification, Stainless steel 304 Grade body, Non-CFC refrigerant, fitted with hermetically sealed compressor operating on 220 V +10% 50 Hz Single phase AC supply with evaporator and condenser made of copper tubes, HOT/ COLD/ NORMAL water taps, suitable pre-filters (spun & carbon), necessary piping / hose connections with nearby water source,power cable connections complete etc. on as and when required basis as per technical specifications complete as required (Prices shall be firm for 1 year period from the date of start of work)
13.01 | Purification capacity : Not less than 80 ltr/hour Cool water tank : Not less than 40 ltr Normal water tank : Not less than 40 ltr Hot water tank : Not less than 5 ltr Cooling capacity : Not less than 40 ltr/hour | 12.00 | Nos |  | 80000.00 | 960000.00 | 166807.00 | 2001684.00 | 99999.00 | 1199988.00 | 960000.00 | M/s Cooltec
14.00 | ITC of 80 ltr purification capacity (Per hour) floor mounted type water cooler as per above item on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work) | 12.00 | Jobs |  | 500.00 | 6000.00 | 6957.00 | 83484.00 | 5000.00 | 60000.00 | 6000.00 | M/s Cooltec
15.00 | Supply of floor mounted type water cooler having following capacities, Stainless steel 304 Grade body, Non-CFC refrigerant, fitted with hermetically sealed compressor operating on 220 V +10% 50 Hz Single phase AC supply with evaporator and condenser made of copper tubes, HOT/ COLD/ NORMAL water taps, suitable pre-filters (spun & carbon), necessary piping / hose connections with nearby water source,power cable connections complete etc. on as and when required basis as per technical specifications complete as required (Prices shall be firm for 1 year period from the date of start of work)
15.01 | Cool water tank : Not less than 20 ltr Normal water tank : Not less than 20 ltr Hot water tank : Not less than 3 ltr Cooling capacity : Not less than 20 ltr/hour | 3.00 | Nos |  | 52000.00 | 156000.00 | 83407.00 | 250221.00 | 59999.00 | 179997.00 | 156000.00 | M/s Cooltec
16.00 | ITC of 20 ltr Cooling capacity (Per hour) floor mounted type water cooler as per above item on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work) | 3.00 | Jobs |  | 500.00 | 1500.00 | 6957.00 | 20871.00 | 3500.00 | 10500.00 | 1500.00 | M/s Cooltec
17.00 | Supply of 20 ltr capacity floor mounted type water dispenser having Stainless Steel 304 Grade / Plastic body, Non-CFC refrigerant, fitted with hermetically sealed compressor operating on 220 V +10% 50 Hz Single phase AC supply with HOT/ COLD/ NORMAL water taps with provision for spill water inbuilt drainage , necessary power / control / piping / hose connections for operation with 20 ltr water can / bottle source, provision to keep the 20 ltr water can/bottle within the unit, complete on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work) | 5.00 | Nos |  | 32000.00 | 160000.00 | 27807.00 | 139035.00 | 69999.00 | 349995.00 | 139035.00 | Aqua Cool Co.Pvt Ltd
18.00 | ITC of 20 ltr capacity floor mounted type water dispenser as per above item on as and when required basis as per specifications complete as required (Prices shall be firm for 1 year period from the date of start of work) | 5.00 | Nos |  | 500.00 | 2500.00 | 6950.00 | 34750.00 | 3999.00 | 19995.00 | 2500.00 | M/s Cooltec
19.00 | Supply of following size Aircurtains having continuous rated motor, min 9-10 m/sec air velocity and less noise up to 67 db level suitable for operation on 230V, 50Hz AC single phase power supply on 24x7 basis, including adjustable speed, adjustable louvers to control the direction of air flow, thermal overload protection for motor, Powder coated MS body, etc as complete as required and as per the technical specifications.(Prices shall be firm for 1 year period from the date of start of work)
19.01 | (i) 3 feet length | 6.00 | Nos |  | 17000.00 | 102000.00 | 41707.00 | 250242.00 | 9500.00 | 57000.00 | 57000.00 | DElite System Engineering (India) Pvt. Ltd.
19.02 | (ii) 6 feet length | 2.00 | Nos |  | 25500.00 | 51000.00 | 55607.00 | 111214.00 | 26999.00 | 53998.00 | 51000.00 | M/s Cooltec
19.03 | (iii) 2 mtr length | 6.00 | Nos |  | 11000.00 | 66000.00 | 69507.00 | 417042.00 | 29000.00 | 174000.00 | 66000.00 | M/s Cooltec
20.00 | ITC of above Aircurtains at various entry and Exit gates, trolley gates of terminal buildings including necessary drilling,tapping, suitable fixing arrangements, clamps, bolt nuts, screws, electrical power supply cable with Plug top etc., and as per technical specifications.(Prices shall be firm for 1 year period from the date of start of work)
20.01 | (i) Up to 1 Mtr length | 6.00 | Jobs |  | 1000.00 | 6000.00 | 6957.00 | 41742.00 | 3500.00 | 21000.00 | 6000.00 | M/s Cooltec
20.02 | (ii) Above 1 Mtr up to 2 Mtr Length | 8.00 | Jobs |  | 1500.00 | 12000.00 | 10427.00 | 83416.00 | 4000.00 | 32000.00 | 12000.00 | M/s Cooltec
| Total in Figures |  |  |  |  | 4141250.00 |  | 7259032.00 |  | 4483166.00
Lowest Amount Quoted BY: M/s Cooltec(4141250.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rate contract for SITC of Split, Cassette and Tower type Air conditioners, Water Coolers, Water Dispensers and Air curtains for various locations at CIA for the period of One Year 2022 23 Tender ID: 2022_AAI_132773_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Cooltec | 4141250.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 4483166.00 | L2
| 3 | Aqua Cool Co.Pvt Ltd | 7259032.00 | L3