## BoQ1
Government eProcurement System Created By: Anand Gupta Created Date/Time: 04-Jan-2023 12:17 PM Tender Title: SITC of Elevators at Technical Block and Transit accommodation at Shillong Airport, Barapani Tender ID: 2022_AAI_132905_1
Tender Inviting Authority: AAI, Shillong Airport
Name of Work: SITC of Elevators at Technical Block and Transit accommodation at Shillong Airport, Barapani.
Contract No: Tender ID: 2022_AAI_132905_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Johnson Lifts Pvt Ltd(GSTN-33AAACJ0838Q1ZD) |  | OMEGA ELEVATORS(GSTN-24ADFPD4986L1Z9)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying, installation, testing and commissioning of 6 Passenger (408 kg) lift (Gearless Machine room less) having speed of 1 meter per sec. serving different floors in the lift shaft as per following floors to be served and complete as required as mentioned below and in the technical specifications. Power - 415 V, 3 Phase, 50 Hz, AC Speed - 1.00 MPS Machine - Gearless machine with permanent magnet synchronous motor (Directly placed above hoist way) Control - Microprocessor based Variable Voltage Variable Frequency ARD System Car Enclosure - SS Cabin Hair line finish with Glass Door in cabin (2/3 height glass door) Door Operation - Power Operated Automatic (a). Floors to be served - Ground + 3 Travel - 09.1 Meters (approx.) Stops & Opening - Four ( G + 3 ) on same side | 2.00 | Each |  | 1326000.00 | 2652000.00 | 1430000.00 | 2860000.00 | 2652000.00 | Johnson Lifts Pvt Ltd
2.00 | Supplying, installation, testing and commissioning of 6 Passenger (408 kg) lift (Gearless Machine room less) having speed of 1 meter per sec. serving different floors in the lift shaft as per following floors to be served and complete as required as mentioned below and in the technical specifications. Power - 415 V, 3 Phase, 50 Hz, AC Speed - 1.00 MPS Machine - Gearless machine with permanent magnet synchronous motor (Directly placed above hoist way) Control - Microprocessor based Variable Voltage Variable Frequency ARD System Car Enclosure - SS Cabin Hair line finish with Glass Door in cabin (2/3 height glass door) Door Operation - Power Operated Automatic (b). Floors to be served - Ground + 5 Travel - 16 Meters (approx.) Stops & Opening - Six ( G + 5 ) on same side | 1.00 | Each |  | 1472000.00 | 1472000.00 | 1575000.00 | 1575000.00 | 1472000.00 | Johnson Lifts Pvt Ltd
3.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+3 Elevators after completion of defect liability period of Complete ( G+3 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (a). First Year after Completion of DLP (Considered rate 5% of SITC Cost of item No. 01) | 2.00 | Per Year |  | 66300.00 | 132600.00 | 71500.00 | 143000.00 | 132600.00 | Johnson Lifts Pvt Ltd
4.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+3 Elevators after completion of defect liability period of Complete ( G+3 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (b). Second Year (Considered Yearly rate 10% cumulative enhancement on 1st year AICMC cost. | 2.00 | Per Year |  | 72930.00 | 145860.00 | 78650.00 | 157300.00 | 145860.00 | Johnson Lifts Pvt Ltd
5.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+3 Elevators after completion of defect liability period of Complete ( G+3 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (c). Third Year (Considered Yearly rate 10% cumulative enhancement on 2nd year ALCMC cost. | 2.00 | Per Year |  | 80223.00 | 160446.00 | 86515.00 | 173030.00 | 160446.00 | Johnson Lifts Pvt Ltd
6.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+3 Elevators after completion of defect liability period of Complete ( G+3 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (d). Fourth Year (Considered Yearly rate 10% cumulative enhancement on 3rd year ALCMC cost. | 2.00 | Per Year |  | 88245.30 | 176490.60 | 95166.50 | 190333.00 | 176490.60 | Johnson Lifts Pvt Ltd
7.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+3 Elevators after completion of defect liability period of Complete ( G+3 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (e). Fifth Year (Considered Yearly rate 10% cumulative enhancement on 4th year ALCMC cost. | 2.00 | Per Year |  | 97069.83 | 194139.66 | 104683.15 | 209366.30 | 194139.66 | Johnson Lifts Pvt Ltd
8.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+5 Elevators lift after completion of defect liability period of Complete ( G+5 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (a). First Year after Completion of DLP (Considered rate 5% of SITC Cost of item No. 02) | 1.00 | Per Year |  | 73600.00 | 73600.00 | 78750.00 | 78750.00 | 73600.00 | Johnson Lifts Pvt Ltd
9.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+5 Elevators lift after completion of defect liability period of Complete ( G+5 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (b). Second Year (Considered Yearly rate 10% cumulative enhancement on 1st year ALCMC cost. | 1.00 | Per Year |  | 80960.00 | 80960.00 | 86625.00 | 86625.00 | 80960.00 | Johnson Lifts Pvt Ltd
10.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+5 Elevators lift after completion of defect liability period of Complete ( G+5 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (c). Third Year (Considered Yearly rate 10% cumulative enhancement on 2nd year ALCMC cost. | 1.00 | Per Year |  | 89056.00 | 89056.00 | 95287.50 | 95287.50 | 89056.00 | Johnson Lifts Pvt Ltd
11.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+5 Elevators lift after completion of defect liability period of Complete ( G+5 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (d). Fourth Year (Considered Yearly rate 10% cumulative enhancement on 3rd year ALCMC cost. | 1.00 | Per Year |  | 97961.60 | 97961.60 | 104816.25 | 104816.25 | 97961.60 | Johnson Lifts Pvt Ltd
12.00 | All Inclusive Comprehensive Maintenance Contract for above mentioned G+5 Elevators lift after completion of defect liability period of Complete ( G+5 Elevators) & other related hardwares and softwares including all spares and consumables, providing full support during breakdown & trouble shooting, programming, carrying out Quarterly routine maintenance checks, preventive and breakdown maintenance etc. as required as per good engineering practices, recommendations of the respective Original Equipment Manufacturer (OEM) and instructions of Engineer-in-Charge for maintaining the systems. This includes keeping the system in acceptable functional and serviceable state etc. as specified including cost of all spare parts. (e). Fifth Year (Considered Yearly rate 10% cumulative enhancement on 4th year ALCMC cost. | 1.00 | Per Year |  | 107757.76 | 107757.76 | 115297.88 | 115297.88 | 107757.76 | Johnson Lifts Pvt Ltd
| Total in Figures |  |  |  |  | 5382871.62 |  | 5788805.93
Lowest Amount Quoted BY: Johnson Lifts Pvt Ltd(5382871.62)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Elevators at Technical Block and Transit accommodation at Shillong Airport, Barapani Tender ID: 2022_AAI_132905_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Johnson Lifts Pvt Ltd | 5382871.62 | L1
| 2 | OMEGA ELEVATORS | 5788805.93 | L2