## BoQ1
Government eProcurement System Created By: VETRISELVI JAGADEESAN Created Date/Time: 06-Dec-2022 05:07 PM Tender Title: Upgradation of Fire Alarm System in Line Maintenance Building and Rewiring of Fire Alarm System in Administrative Building at Chennai Airport Tender ID: 2022_AAI_132970_1
Tender Inviting Authority: DGM (Engg-Elect)-III, Airports Authority of India, Chennai Airport, Chennai-600027.
Name of Work: Upgradation of Fire alarm system in line maintenance building and Rewiring of Fire alarm system in administrative building at Chennai airport.
Contract No: AAI/CHE/AMED-V/2022-23/01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Ponmani International (India) Pvt Ltd(GSTN-33AADCP6242R2ZZ) |  | DOGRA AND DOGRA ENTERPRISES(GSTN-07AIFPD1861P2Z1) |  | Yercaud Electronics Pvt Ltd(GSTN-33AAACY0307R1Z8) |  | Mazenet Solution Private Limited(GSTN-NA) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA) |  | SES Projects Private Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissioning of UL / EN listed (latest version) Modular Microprocessor based expandable intellegent Addressable Type Fire Alarm Control Panel with min two loops, capable of controlling minimum 99 addressable detectors and 99 devices per loop, with minimum 320 character graphics / LCD display with keypad and minimum 999 events history log in the non volatile memory (EPROM), the panel should be equipped with loop capacity to take minimum 99 intelligent addressable detectors and 99 devices in one loop; Four access levels, capable of taking Protocol Devices, Graphical Display, suitable for operation on 230 volts, 50 Hz AC power supply, inbuilt/external automatic battery charger with 24 volts, minimum 7 AH sealed maintenance free lead acid batteries capable of providing minimum 30 minutes backup during emegency along with suitable battery stand if necessary. The panel shall have facility for seamless integration with PA system. The panel shall also be compatible for Building Management System with open protocol BACNET / MODBUS etc. as per relevant standard/specifications i/c dismantling the existing panel and handing over to AAI stores, etc. complete as required. (Make : Morley ZX2Se /EST 3 or Equivalent as per AAI list of approved makes) | 1.00 | Each |  | 323940.00 | 323940.00 | 186250.00 | 186250.00 | 248759.00 | 248759.00 | 417659.41 | 417659.41 | 179999.00 | 179999.00 | 154993.75 | 154993.75 | 154993.75 | SES Projects Private Limited
2.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat} with base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with standard base & housing made up of LEXAN or polycarbonate complete with connections etc. as required. The detectors shall be installed on surface with 100 mm X 100 mm X 40 mm Metal Junction box made of 16 SWG Sheet Steel for mounting of Detectors i/c dismantling the existing devices and handing over to AAI stores etc complete as required. (Make: Morely or Equivalent as per AAI list of approved makes). | 120.00 | Each |  | 2837.00 | 340440.00 | 3151.80 | 378216.00 | 2890.00 | 346800.00 | 3564.03 | 427683.60 | 2999.00 | 359880.00 | 2922.00 | 350640.00 | 340440.00 | Ponmani International (India) Pvt Ltd
3.00 | SITC of Fire Alarm Mimic Panel with metal enclosure of size 1.2mtrs x 1.2mtrs x 0.15mtrs(LXBXH), Including designing of graphic and programing with Autocad drawing with standard level of illumination, installation of panel with suitable metal fixing frame i/c connection, testing and commisioning etc as required. exisiting old panel shall be dismantled and handing over to AAI stores.(Make: Panel shall be of reputed make with prior approval of AAI | 1.00 | Each |  | 97000.00 | 97000.00 | 11250.00 | 11250.00 | 166791.00 | 166791.00 | 22275.17 | 22275.17 | 59999.00 | 59999.00 | 82181.25 | 82181.25 | 11250.00 | DOGRA AND DOGRA ENTERPRISES
4.00 | SITC auto Dialler with GSM compatible including necessary interconnection with the fire alarm panel and testing etc. as required. (Make: Securico /Equivalent as per AAI list of approved makes). | 5.00 | Jobs |  | 8150.00 | 40750.00 | 9900.00 | 49500.00 | 10534.00 | 52670.00 | 20047.65 | 100238.25 | 11500.00 | 57500.00 | 11800.00 | 59000.00 | 40750.00 | Ponmani International (India) Pvt Ltd
5.00 | Supply of PVC insulated FRLS 2C x 1.5sq.mm copper conductor armoured control cable complied with latest standard/specification BS 7629-1, BS EN 50200 suitable for Fire detection & alarm devices etc as required. (Make: As per AAI list of approved makes). | 3500.00 | Mtrs |  | 73.00 | 255500.00 | 108.00 | 378000.00 | 63.00 | 220500.00 | 200.48 | 701680.00 | 82.00 | 287000.00 | 77.25 | 270375.00 | 220500.00 | Yercaud Electronics Pvt Ltd
6.00 | Laying of PVC insulated FRLS 2C x 1.5sq.mm copper conductor armoured control cabling on surface for Fire detection & alarm devices as required. | 3000.00 | Mtrs |  | 36.00 | 108000.00 | 85.80 | 257400.00 | 43.00 | 129000.00 | 55.69 | 167070.00 | 29.00 | 87000.00 | 50.00 | 150000.00 | 87000.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | Laying of PVC insulated FRLS 2C x 1.5sq.mm copper conductor armoured control cabling in closed duct and above false ceiling including provision of suitable clamping as per relevant standards and specification for Fire detection & alarm system control cabling etc as required. | 500.00 | Mtrs |  | 44.00 | 22000.00 | 85.80 | 42900.00 | 53.00 | 26500.00 | 55.69 | 27845.00 | 29.00 | 14500.00 | 30.00 | 15000.00 | 14500.00 | DElite System Engineering (India) Pvt. Ltd.
8.00 | Supplying & fixing of MS junction box made of 14SWG sheet steel and size 100mm x 150mm x 100mm (LXWXH) with required number of knock out hole suitable for laying 1.5 sq.mm FRLS armoured Cable including painting and fixing on the surface as per standard specification with suitable screws etc as required. | 8.00 | Each |  | 400.00 | 3200.00 | 189.00 | 1512.00 | 772.00 | 6176.00 | 2784.40 | 22275.20 | 1999.00 | 15992.00 | 936.88 | 7495.04 | 1512.00 | DOGRA AND DOGRA ENTERPRISES
| Total in Figures |  |  |  |  | 1190830.00 |  | 1305028.00 |  | 1197196.00 |  | 1886726.63 |  | 1061870.00 |  | 1089685.04
Lowest Amount Quoted BY: DElite System Engineering (India) Pvt. Ltd.(1061870.00)

## BOQ Summary
BOQ Summary Details Tender Title: Upgradation of Fire Alarm System in Line Maintenance Building and Rewiring of Fire Alarm System in Administrative Building at Chennai Airport Tender ID: 2022_AAI_132970_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | DElite System Engineering (India) Pvt. Ltd. | 1061870.00 | L1
| 2 | SES Projects Private Limited | 1089685.04 | L2
| 3 | Ponmani International (India) Pvt Ltd | 1190830.00 | L3
| 4 | Yercaud Electronics Pvt Ltd | 1197196.00 | L4
| 5 | DOGRA AND DOGRA ENTERPRISES | 1305028.00 | L5
| 6 | Mazenet Solution Private Limited | 1886726.63 | L6