## BoQ1
Government eProcurement System Created By: Swapan Kumar Karmakar Created Date/Time: 30-Nov-2022 04:05 PM Tender Title: Provision for Misc Unforeseen works SH Upgradation of Type-IV quarter No. 598 to New Guest House in New Quarter Residential Complex at NSCBI Airport, Kolkata Tender ID: 2022_AAI_133136_1
Tender Inviting Authority: S.K. Karmakar, AGM (E-C), AAI, NSCBI Airport, Kolkata - 700 052.
Name of Work: Provision for Misc. Unforeseen works ( SH:- Upgradation of Type-IV quarter No. 598 to New Guest House in New Quarter Residential Complex at NSCBI Airport, Kolkata).
Contract No: 2022_AAI_133136_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s. A S Traders(GSTN-19AKDPR7595N1ZA) |  | M/S BHATTACHARYYA CONSTRUCTION(GSTN-19AAFFM4885Q1ZA) |  | M/s. Sharma Traders(GSTN-19ADIFS2532G1Z0) |  | KONARAK ENTERPRISE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 510.00 | Cum |  | 100.00 | 51000.00 | 140.00 | 71400.00 | 195.00 | 99450.00 | 150.00 | 76500.00 | 51000.00 | M/s. A S Traders
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 140.00 | Cum |  | 20.00 | 2800.00 | 20.00 | 2800.00 | 205.00 | 28700.00 | 120.00 | 16800.00 | 2800.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:3:6 (1 Cement : 3 coarse sand (zone-III) derived from natural sources : 6 graded stone aggregate 20 mm nominal size derived from natural sources) | 130.00 | Cum |  | 4500.00 | 585000.00 | 5000.00 | 650000.00 | 5900.00 | 767000.00 | 4800.00 | 624000.00 | 585000.00 | M/s. A S Traders
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:5:10 (1 cement : 5 coarse sand (zone-III) derived from natural sources : 10 graded stone aggregate 40 mm nominal size derived from natural sources) | 31.00 | Cum |  | 4000.00 | 124000.00 | 4500.00 | 139500.00 | 5100.00 | 158100.00 | 4450.00 | 137950.00 | 124000.00 | M/s. A S Traders
5.00 | Centering and shuttering including strutting, propping etc. and removal of form work for : Foundations, footings, bases for columns | 125.00 | Sqm |  | 200.00 | 25000.00 | 200.00 | 25000.00 | 325.00 | 40625.00 | 180.00 | 22500.00 | 22500.00 | KONARAK ENTERPRISE
6.00 | Centering and shuttering including strutting, propping etc. and removal of form for Foundations, footings, bases of columns, etc. for mass concrete | 40.00 | Sqm |  | 150.00 | 6000.00 | 10.00 | 400.00 | 425.00 | 17000.00 | 110.00 | 4400.00 | 400.00 | M/S BHATTACHARYYA CONSTRUCTION
7.00 | Centering and shuttering including strutting, propping etc. and removal of form for Lintels, beams, plinth beams, girders, bressumers and cantilevers | 225.00 | Sqm |  | 250.00 | 56250.00 | 250.00 | 56250.00 | 400.00 | 90000.00 | 230.00 | 51750.00 | 51750.00 | KONARAK ENTERPRISE
8.00 | Centering and shuttering including strutting, propping etc. and removal of form for Columns, Pillars, Piers, Abutments, Posts and Struts | 65.00 | Sqm |  | 250.00 | 16250.00 | 200.00 | 13000.00 | 395.00 | 25675.00 | 210.00 | 13650.00 | 13000.00 | M/S BHATTACHARYYA CONSTRUCTION
9.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 12270.00 | Kg. |  | 68.00 | 834360.00 | 72.00 | 883440.00 | 74.00 | 907980.00 | 70.00 | 858900.00 | 834360.00 | M/s. A S Traders
10.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500D or more. | 400.00 | Kg. |  | 69.00 | 27600.00 | 72.00 | 28800.00 | 73.00 | 29200.00 | 70.00 | 28000.00 | 27600.00 | M/s. A S Traders
11.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size de rived from natural sources) | 125.00 | Cum |  | 5200.00 | 650000.00 | 6100.00 | 762500.00 | 7100.00 | 887500.00 | 6000.00 | 750000.00 | 650000.00 | M/s. A S Traders
12.00 | Reinforced cement concrete work in walls (any thickness), including attached pilasters, buttresses, plinth and string courses, fillets, columns, pillars, piers, abutments, posts and struts etc. above plinth level up to floor five level, excluding cost of centering, shuttering, finishing and reinforcement : 1:1.5:3 (1 cement : 1.5 coarse sand(zone-III) derived from natural sources : 3 graded stone aggregate 20 mm nominal size derived from natural sources) | 4.00 | Cum |  | 6200.00 | 24800.00 | 6500.00 | 26000.00 | 7300.00 | 29200.00 | 5300.00 | 21200.00 | 21200.00 | KONARAK ENTERPRISE
13.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 40.00 | Qtl. |  | 50.00 | 2000.00 | 20.00 | 800.00 | 50.00 | 2000.00 | 150.00 | 6000.00 | 800.00 | M/S BHATTACHARYYA CONSTRUCTION
14.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 25.00 | Cum |  | 5000.00 | 125000.00 | 6500.00 | 162500.00 | 5900.00 | 147500.00 | 6100.00 | 152500.00 | 125000.00 | M/s. A S Traders
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 5.00 | Cum |  | 5500.00 | 27500.00 | 6000.00 | 30000.00 | 5800.00 | 29000.00 | 5800.00 | 29000.00 | 27500.00 | M/s. A S Traders
16.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) | 20.00 | Sqm |  | 850.00 | 17000.00 | 700.00 | 14000.00 | 1100.00 | 22000.00 | 720.00 | 14400.00 | 14000.00 | M/S BHATTACHARYYA CONSTRUCTION
17.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red Area of slab upto 0.50 sqm | 35.00 | Sqm |  | 3100.00 | 108500.00 | 2800.00 | 98000.00 | 3950.00 | 138250.00 | 2900.00 | 101500.00 | 98000.00 | M/S BHATTACHARYYA CONSTRUCTION
18.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite stone slab colour black, Cherry/Ruby red Area of slab over 0.50 sqm | 100.00 | Sqm |  | 3000.00 | 300000.00 | 2900.00 | 290000.00 | 3900.00 | 390000.00 | 3050.00 | 305000.00 | 290000.00 | M/S BHATTACHARYYA CONSTRUCTION
19.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. b) Providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc. c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 540.00 | Sqm |  | 3000.00 | 1620000.00 | 2100.00 | 1134000.00 | 2000.00 | 1080000.00 | 2030.00 | 1096200.00 | 1080000.00 | M/s. Sharma Traders
20.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). Second class teak wood | 2.25 | Cum |  | 100000.00 | 225000.00 | 100000.00 | 225000.00 | 112000.00 | 252000.00 | 104000.00 | 234000.00 | 225000.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
21.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 60.00 | Sqm |  | 2200.00 | 132000.00 | 2700.00 | 162000.00 | 2200.00 | 132000.00 | 2200.00 | 132000.00 | 132000.00 | M/s. A S Traders, KONARAK ENTERPRISE, M/s. Sharma Traders
22.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to steel windows by welding | 6750.00 | Kg. |  | 90.00 | 607500.00 | 85.00 | 573750.00 | 107.00 | 722250.00 | 81.00 | 546750.00 | 546750.00 | KONARAK ENTERPRISE
23.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 250x10 mm | 28.00 | Each |  | 350.00 | 9800.00 | 350.00 | 9800.00 | 450.00 | 12600.00 | 310.00 | 8680.00 | 8680.00 | KONARAK ENTERPRISE
24.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete : 200x10 mm | 8.00 | Each |  | 300.00 | 2400.00 | 300.00 | 2400.00 | 400.00 | 3200.00 | 280.00 | 2240.00 | 2240.00 | KONARAK ENTERPRISE
25.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 28.00 | Each |  | 2500.00 | 70000.00 | 750.00 | 21000.00 | 2000.00 | 56000.00 | 780.00 | 21840.00 | 21000.00 | M/S BHATTACHARYYA CONSTRUCTION
26.00 | Providing and fixing bright finished brass handles with screws etc. complete: 125 mm | 56.00 | Each |  | 250.00 | 14000.00 | 300.00 | 16800.00 | 250.00 | 14000.00 | 270.00 | 15120.00 | 14000.00 | M/s. A S Traders, M/s. Sharma Traders
27.00 | Providing and fixing bright finished brass handles with screws etc. complete: 100 mm | 28.00 | Each |  | 200.00 | 5600.00 | 250.00 | 7000.00 | 170.00 | 4760.00 | 220.00 | 6160.00 | 4760.00 | M/s. Sharma Traders
28.00 | Providing and fixing Fiber Glass Reinforced plastic (FRP) Door Frames of cross-section 90 mm x 45 mm having single rebate of 32 mm x 15 mm to receive shutter of 30 mm thickness. The laminate shall be moulded with fire resistant grade unsaturated polyester resin and chopped mat Door frame laminate shall be 2mm thick and shall be filled with suitable wooden block in all the three legs. The frame shall be covered with fiber glass from all sides. M.S. stay shall be provided at the bottom to steady the frame. | 84.00 | Mtr. |  | 680.00 | 57120.00 | 550.00 | 46200.00 | 730.00 | 61320.00 | 530.00 | 44520.00 | 44520.00 | KONARAK ENTERPRISE
29.00 | Providing and fixing to existing door frames. 30 mm thick Fiberglass Reinforced Plastic (F.R.P.) flush door shutter in different plain and wood finish made with fire retardant grade unsaturated polyester resin, moulded to 3 mm thick FRP laminate all around, with suitable wooden blocks inside at required places for fixing of fittings and polyurethane foam (PUF)/Polystyrene foam to be used as filler material throughout the hollow panel, casted monolithically with testing parameters of F.R.P. laminate conforming to table - 3 of IS: 14856, complete as per direction of Engineer-in-charge. | 27.00 | Sqm |  | 5060.00 | 136620.00 | 3100.00 | 83700.00 | 4500.00 | 121500.00 | 3100.00 | 83700.00 | 83700.00 | M/S BHATTACHARYYA CONSTRUCTION, KONARAK ENTERPRISE
30.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 115.00 | Sqm |  | 1050.00 | 120750.00 | 550.00 | 63250.00 | 540.00 | 62100.00 | 550.00 | 63250.00 | 62100.00 | M/s. Sharma Traders
31.00 | Providing and fixing in position collapsible steel shutters with vertical channels 20x10x2 mm and braced with flat iron diagonals 20x5 mm size, with top and bottom rail of T-iron 40x40x6 mm, with 40 mm dia steel pulleys, complete with bolts, nuts, locking arrangement, stoppers, handles, including applying a priming coat of approved steel primer. | 16.00 | sqm |  | 5500.00 | 88000.00 | 6000.00 | 96000.00 | 5100.00 | 81600.00 | 6250.00 | 100000.00 | 81600.00 | M/s. Sharma Traders
32.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 28000.00 | Kg. |  | 87.00 | 2436000.00 | 84.00 | 2352000.00 | 110.00 | 3080000.00 | 81.00 | 2268000.00 | 2268000.00 | KONARAK ENTERPRISE
33.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete. | 600.00 | Kg. |  | 75.00 | 45000.00 | 90.00 | 54000.00 | 85.00 | 51000.00 | 85.00 | 51000.00 | 45000.00 | M/s. A S Traders
34.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1000.00 | Kg. |  | 75.00 | 75000.00 | 85.00 | 85000.00 | 90.00 | 90000.00 | 81.00 | 81000.00 | 75000.00 | M/s. A S Traders
35.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 500.00 | Kg. |  | 80.00 | 40000.00 | 85.00 | 42500.00 | 95.00 | 47500.00 | 81.00 | 40500.00 | 40000.00 | M/s. A S Traders
36.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge, (for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts, fasteners etc.). | 300.00 | Kg. |  | 750.00 | 225000.00 | 500.00 | 150000.00 | 670.00 | 201000.00 | 510.00 | 153000.00 | 150000.00 | M/S BHATTACHARYYA CONSTRUCTION
37.00 | Chequerred precast cement concrete tiles 22 mm thick in footpath & courtyard, jointed with neat cement slurry mixed with pigment to match the shade of tiles, including rubbing and cleaning etc. complete, on 20 mm thick bed of cement mortar 1:4 (1 cement: 4 coarse sand). Dark shade pigment using ordinary cement | 800.00 | Sqm |  | 850.00 | 680000.00 | 700.00 | 560000.00 | 760.00 | 608000.00 | 695.00 | 556000.00 | 556000.00 | KONARAK ENTERPRISE
38.00 | Providing and laying Vitrified (Digital) tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed vitrified floor tiles polished finish of size Size of Tile 600 x 600 mm | 430.00 | Sqm |  | 1200.00 | 516000.00 | 800.00 | 344000.00 | 1450.00 | 623500.00 | 780.00 | 335400.00 | 335400.00 | KONARAK ENTERPRISE
39.00 | Providing and laying Vitrified tiles in floor in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS:15622, of approved brand & manufacturer, in all colours and shade, laid on 20 mm thick cement mortar 1:4 (1 cement: 4 coarse sand) jointing with grey cement slurry @3.3 kg/sqm including grouting the joints with white cement and matching pigments etc. The tiles must be cut with the zero chipping diamond cutter only . Laying of tiles will be done with the notch trowel, plier, wedge, clips of required thickness, leveling system and rubber mallet for placing the tiles gently and easily. Glazed Vitrified tiles Matt/Antiskid finish of size Size of Tile 600 x 600 mm | 130.00 | Sqm |  | 1400.00 | 182000.00 | 950.00 | 123500.00 | 1250.00 | 162500.00 | 940.00 | 122200.00 | 122200.00 | KONARAK ENTERPRISE
40.00 | Providing and laying Vitrified (Digital) tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in wall, skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3 kg/ sqm including grouting the joint with white cement & matching pigments etc. complete. Size of Tile 600x600 mm | 320.00 | Sqm |  | 800.00 | 256000.00 | 850.00 | 272000.00 | 950.00 | 304000.00 | 820.00 | 262400.00 | 256000.00 | M/s. A S Traders
41.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 280.00 | Mtr. |  | 380.00 | 106400.00 | 300.00 | 84000.00 | 405.00 | 113400.00 | 280.00 | 78400.00 | 78400.00 | KONARAK ENTERPRISE
42.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 110x110x110 mm | 30.00 | Each |  | 200.00 | 6000.00 | 250.00 | 7500.00 | 205.00 | 6150.00 | 210.00 | 6300.00 | 6000.00 | M/s. A S Traders
43.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° 110 mm bend | 35.00 | Each |  | 250.00 | 8750.00 | 270.00 | 9450.00 | 225.00 | 7875.00 | 220.00 | 7700.00 | 7700.00 | KONARAK ENTERPRISE
44.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Shoe (Plain) 110 mm Shoe | 15.00 | Each |  | 150.00 | 2250.00 | 150.00 | 2250.00 | 105.00 | 1575.00 | 110.00 | 1650.00 | 1575.00 | M/s. Sharma Traders
45.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 250.00 | Sqm |  | 300.00 | 75000.00 | 175.00 | 43750.00 | 325.00 | 81250.00 | 160.00 | 40000.00 | 40000.00 | KONARAK ENTERPRISE
46.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 215.00 | Sqm |  | 300.00 | 64500.00 | 180.00 | 38700.00 | 340.00 | 73100.00 | 185.00 | 39775.00 | 38700.00 | M/S BHATTACHARYYA CONSTRUCTION
47.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 160.00 | Sqm |  | 100.00 | 16000.00 | 10.00 | 1600.00 | 225.00 | 36000.00 | 95.00 | 15200.00 | 1600.00 | M/S BHATTACHARYYA CONSTRUCTION
48.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete | 2720.00 | Sqm |  | 160.00 | 435200.00 | 110.00 | 299200.00 | 110.00 | 299200.00 | 95.00 | 258400.00 | 258400.00 | KONARAK ENTERPRISE
49.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface : Water thinnable cement primer | 2720.00 | Sqm |  | 30.00 | 81600.00 | 35.00 | 95200.00 | 25.00 | 68000.00 | 40.00 | 108800.00 | 68000.00 | M/s. Sharma Traders
50.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 2720.00 | Sqm |  | 50.00 | 136000.00 | 65.00 | 176800.00 | 90.00 | 244800.00 | 62.00 | 168640.00 | 136000.00 | M/s. A S Traders
51.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 640.00 | Sqm |  | 50.00 | 32000.00 | 70.00 | 44800.00 | 85.00 | 54400.00 | 72.00 | 46080.00 | 32000.00 | M/s. A S Traders
52.00 | French spirit polishing : Two or more coats on new works including a coat of wood filler | 55.00 | Sqm |  | 250.00 | 13750.00 | 100.00 | 5500.00 | 325.00 | 17875.00 | 120.00 | 6600.00 | 5500.00 | M/S BHATTACHARYYA CONSTRUCTION
53.00 | Removing white or colour wash by scrapping and sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete | 1910.00 | Sqm |  | 5.00 | 9550.00 | 6.77 | 12930.70 | 15.00 | 28650.00 | 7.20 | 13752.00 | 9550.00 | M/s. A S Traders
54.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 745.00 | Sqm |  | 70.00 | 52150.00 | 70.00 | 52150.00 | 75.00 | 55875.00 | 72.00 | 53640.00 | 52150.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
55.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per direction of Engineer-in-Charge. With cement mortar 1:4 (1cement: 4 coarse sand) | 470.00 | Sqm |  | 300.00 | 141000.00 | 200.00 | 94000.00 | 325.00 | 152750.00 | 210.00 | 98700.00 | 94000.00 | M/S BHATTACHARYYA CONSTRUCTION
56.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick | 380.00 | Sqm |  | 350.00 | 133000.00 | 400.00 | 152000.00 | 425.00 | 161500.00 | 410.00 | 155800.00 | 133000.00 | M/s. A S Traders
57.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 60.00 | Cum |  | 500.00 | 30000.00 | 500.00 | 30000.00 | 950.00 | 57000.00 | 550.00 | 33000.00 | 30000.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
58.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar | 40.00 | Cum |  | 500.00 | 20000.00 | 100.00 | 4000.00 | 500.00 | 20000.00 | 135.00 | 5400.00 | 4000.00 | M/S BHATTACHARYYA CONSTRUCTION
59.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area 3 sq. metres and below | 80.00 | Each |  | 160.00 | 12800.00 | 200.00 | 16000.00 | 125.00 | 10000.00 | 190.00 | 15200.00 | 10000.00 | M/s. Sharma Traders
60.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 40.00 | Each |  | 100.00 | 4000.00 | 200.00 | 8000.00 | 120.00 | 4800.00 | 100.00 | 4000.00 | 4000.00 | M/s. A S Traders, KONARAK ENTERPRISE
61.00 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 704.00 | Sqm |  | 25.00 | 17600.00 | 25.00 | 17600.00 | 35.00 | 24640.00 | 30.00 | 21120.00 | 17600.00 | M/s. A S Traders, M/S BHATTACHARYYA CONSTRUCTION
62.00 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. | 470.00 | Sqm |  | 10.00 | 4700.00 | 15.00 | 7050.00 | 30.00 | 14100.00 | 20.00 | 9400.00 | 4700.00 | M/s. A S Traders
63.00 | Providing and laying factory made chamfered edge Cement Concrete paver blocks (Coloured) in footpath, parks, lawns, drive ways or light traffic parking etc, of required strength, thickness & size/ shape, made by table vibratory method using PU mould, laid in required colour & pattern over 50mm thick compacted bed of sand, compacting and proper embedding/laying of inter locking paver blocks into the sand bedding layer through vibratory compaction by using plate vibrator, filling the joints with sand and cutting of paver blocks as per required size and pattern, finishing and sweeping extra sand. complete all as per direction of Engineer-in-Charge. 80 mm thick C.C. paver block of M-30 grade with approved color design and pattern. | 105.00 | Sqm |  | 1050.00 | 110250.00 | 900.00 | 94500.00 | 1050.00 | 110250.00 | 850.00 | 89250.00 | 89250.00 | KONARAK ENTERPRISE
64.00 | Providing and fixing Stainless Steel A ISI 304 (18/8) kitchen sink as per IS:13983 with C.I. brackets and stainless steel plug, 40 mm C.P. brass waste complete, including painting of fittings and brackets, cutting and making good the walls wherever required : Kitchen sink without drain board 470x420 mm bowl depth 178 mm | 8.00 | Each |  | 2800.00 | 22400.00 | 3000.00 | 24000.00 | 5000.00 | 40000.00 | 2800.00 | 22400.00 | 22400.00 | M/s. A S Traders, KONARAK ENTERPRISE
65.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 24.00 | Each |  | 75.00 | 1800.00 | 60.00 | 1440.00 | 25.00 | 600.00 | 75.00 | 1800.00 | 600.00 | M/s. Sharma Traders
66.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. | 16.00 | Each |  | 1000.00 | 16000.00 | 600.00 | 9600.00 | 650.00 | 10400.00 | 650.00 | 10400.00 | 9600.00 | M/S BHATTACHARYYA CONSTRUCTION
67.00 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : 15 mm dia nominal bore | 160.00 | Mtr. |  | 350.00 | 56000.00 | 190.00 | 30400.00 | 450.00 | 72000.00 | 210.00 | 33600.00 | 30400.00 | M/S BHATTACHARYYA CONSTRUCTION
68.00 | Providing and fixing G.I. Pipes complete with G.I. fittings and clamps, i/c making good the walls etc. concealed pipe, including painting with anti corrosive bitumastic paint, cutting chases and making good the wall : 20 mm dia nominal bore | 50.00 | Mtr. |  | 400.00 | 20000.00 | 230.00 | 11500.00 | 550.00 | 27500.00 | 240.00 | 12000.00 | 11500.00 | M/S BHATTACHARYYA CONSTRUCTION
69.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 20 mm dia nominal bore | 50.00 | Mtr. |  | 280.00 | 14000.00 | 230.00 | 11500.00 | 450.00 | 22500.00 | 210.00 | 10500.00 | 10500.00 | KONARAK ENTERPRISE
70.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 25 mm dia nominal bore | 50.00 | Mtr. |  | 300.00 | 15000.00 | 250.00 | 12500.00 | 700.00 | 35000.00 | 255.00 | 12750.00 | 12500.00 | M/S BHATTACHARYYA CONSTRUCTION
71.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 40 mm dia nominal bore | 50.00 | Mtr. |  | 550.00 | 27500.00 | 450.00 | 22500.00 | 900.00 | 45000.00 | 410.00 | 20500.00 | 20500.00 | KONARAK ENTERPRISE
72.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 20 mm nominal bore | 16.00 | Each |  | 600.00 | 9600.00 | 700.00 | 11200.00 | 950.00 | 15200.00 | 620.00 | 9920.00 | 9600.00 | M/s. A S Traders
73.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 40 mm nominal bore | 2.00 | Each |  | 800.00 | 1600.00 | 2500.00 | 5000.00 | 1950.00 | 3900.00 | 1300.00 | 2600.00 | 1600.00 | M/s. A S Traders
74.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 15 mm nominal bore | 8.00 | Each |  | 350.00 | 2800.00 | 500.00 | 4000.00 | 590.00 | 4720.00 | 430.00 | 3440.00 | 2800.00 | M/s. A S Traders
75.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 15 mm nominal bore | 15.00 | Each |  | 5.00 | 75.00 | 100.00 | 1500.00 | 250.00 | 3750.00 | 120.00 | 1800.00 | 75.00 | M/s. A S Traders
76.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 20 mm nominal bore | 5.00 | Each |  | 200.00 | 1000.00 | 155.00 | 775.00 | 300.00 | 1500.00 | 200.00 | 1000.00 | 775.00 | M/S BHATTACHARYYA CONSTRUCTION
77.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 40 mm nominal bore | 5.00 | Each |  | 500.00 | 2500.00 | 300.00 | 1500.00 | 350.00 | 1750.00 | 350.00 | 1750.00 | 1500.00 | M/S BHATTACHARYYA CONSTRUCTION
78.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. | 5000.00 | Per Ltr. |  | 13.00 | 65000.00 | 7.00 | 35000.00 | 12.50 | 62500.00 | 7.50 | 37500.00 | 35000.00 | M/S BHATTACHARYYA CONSTRUCTION
79.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 16.00 | Each |  | 900.00 | 14400.00 | 800.00 | 12800.00 | 750.00 | 12000.00 | 900.00 | 14400.00 | 12000.00 | M/s. Sharma Traders
80.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore | 16.00 | Each |  | 1100.00 | 17600.00 | 900.00 | 14400.00 | 1010.00 | 16160.00 | 970.00 | 15520.00 | 14400.00 | M/S BHATTACHARYYA CONSTRUCTION
81.00 | Providing and fixing C.P. brass angle valve (Angular Stop Cock) for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 72.00 | Each |  | 800.00 | 57600.00 | 700.00 | 50400.00 | 610.00 | 43920.00 | 680.00 | 48960.00 | 43920.00 | M/s. Sharma Traders
82.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 1500.00 | Kg. |  | 400.00 | 600000.00 | 430.00 | 645000.00 | 460.00 | 690000.00 | 420.00 | 630000.00 | 600000.00 | M/s. A S Traders
83.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 220.00 | Kg. |  | 450.00 | 99000.00 | 410.00 | 90200.00 | 490.00 | 107800.00 | 430.00 | 94600.00 | 90200.00 | M/S BHATTACHARYYA CONSTRUCTION
84.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 135.00 | Sqm |  | 1000.00 | 135000.00 | 3500.00 | 472500.00 | 1150.00 | 155250.00 | 3200.00 | 432000.00 | 135000.00 | M/s. A S Traders
85.00 | Providing and fixing anodised aluminium grill (anodised transparent or dyed to required shade according to IS: 1868 with minimum anodic coating of grade AC 15) of approved design/pattern, with approved standard section and fixed to the existing window frame with C.P. brass/ stainless steel screws @ 200 mm centre to centre, including cutting the grill to proper opening size for fixing and operation of handles and fixing approved anodised aluminium standard section around the opening, all complete as per requirement and direction of Engineer-in-charge. (Only weight of grill to be measured for payment). | 25.00 | Kg. |  | 600.00 | 15000.00 | 500.00 | 12500.00 | 670.00 | 16750.00 | 530.00 | 13250.00 | 12500.00 | M/S BHATTACHARYYA CONSTRUCTION
86.00 | Grading roof for water proofing treatment with Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size) | 16.00 | Cum |  | 4500.00 | 72000.00 | 5000.00 | 80000.00 | 6000.00 | 96000.00 | 5000.00 | 80000.00 | 72000.00 | M/s. A S Traders
87.00 | Providing and fixing 12mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & double acting hydraulic floor spring type fixing arrangement and making necessary holes etc. for fixingrequired door fittings, all complete as per direction of Engineer in charge (Door handle, lock and stopper etc. to be paid separately) | 225.00 | Sqm |  | 6800.00 | 1530000.00 | 100.00 | 22500.00 | 2900.00 | 652500.00 | 1700.00 | 382500.00 | 22500.00 | M/S BHATTACHARYYA CONSTRUCTION
88.00 | Providing and fixing Vertical blinds of approved quality, shade and pattern of vista make or equivalent with necessary holding frames, brackets, screws etc complete as per direction of engineer -in-charge. | 90.00 | Sqm |  | 800.00 | 72000.00 | 800.00 | 72000.00 | 1510.00 | 135900.00 | 650.00 | 58500.00 | 58500.00 | KONARAK ENTERPRISE
89.00 | Providing and fixing C.P. brass shower rose with 15 or 20 mm inlet : 100 mm diameter | 8.00 | Each |  | 600.00 | 4800.00 | 800.00 | 6400.00 | 1200.00 | 9600.00 | 750.00 | 6000.00 | 4800.00 | M/s. A S Traders
90.00 | Providing and fixing C.P. brass water Mixture of approved quality conforming to IS standards. | 16.00 | Each |  | 3500.00 | 56000.00 | 4000.00 | 64000.00 | 2200.00 | 35200.00 | 3200.00 | 51200.00 | 35200.00 | M/s. Sharma Traders
91.00 | Design, Manufacture, Supply and Installation of roof with standing seam polycarbonate panel system. The complete assembly should be of co-extruded UV protected 16mm thick (minimum) multi-layered multicell polycarbonate panels incorporated into a complete system. Panels with multilayers in a combination of alternate angular translucent clear and opaque walls for angular daylighting to achieve required Lux Levels with improved variable shading throughout the day for better ambient temperature below the roof. Panels shall have minimum six layers. Panels shall be with grip-lock standing seam running lengthwise to accommodate the connectors with SS fastener resting on the base of the standing seam for better stability of the system. Panel system shall be assembled & installed on MS Structure (paid separately) with 3 numbers self-drilling screws & trapezoid SS fasteners to ensure a pull-out load of min. 7000N (7KN) tested as per ISO 6892:1998 and IS 1608: 2005. Panel widths shall be 1050-1200mm (as approved). Panels shall pass dart drop impact test as per IS 14443-97, shall show no sign of breakage on Polycarbonate sheets which have been exposed to UV for a min. of 500 Hours as per ASTM G 155. Panels shall not have Yellowness Index as per ASTM D 1925 of 15 units when tested on a sample exposed to UV for 500 Hours as per ASTM G 155. All the above-mentioned test certificates shall be submitted by the manufacturer. U value shall not be more than 2.1 W/m2K as per EN ISO 10077-2:2018. Panel shall be with additional End cap / Aluminium U / F Profile / Glazing Bar (mill finish) for ends as required. Panel shall be fixed over M S structural steel / MS purlin (MS work paid separately) conforming to the detail technical specifications as per approved architectural drawings. Fixed with Trained and factory authorized labour with supervision to complete the entire panel installation as per drawing & direction of the engineer in charge. Colour: Clear & white or As Approved Approved Make: Flux/ DPI Daylighting | 360.00 | Sqm |  | 4200.00 | 1512000.00 | 3000.00 | 1080000.00 | 5100.00 | 1836000.00 | 2800.00 | 1008000.00 | 1008000.00 | KONARAK ENTERPRISE
92.00 | Providing and fixing stainless steel chromium plates glass door patch lock system with nuts and screws etc. complete as per direction of engineer in charge. | 20.00 | Each |  | 320.00 | 6400.00 | 1000.00 | 20000.00 | 950.00 | 19000.00 | 950.00 | 19000.00 | 6400.00 | M/s. A S Traders
93.00 | Providing and fixing stainless steel chromium plated glass pulls door handle back to back fixing 25 mm dia, with nuts and screws etc. complete : (a) 450 mm as per direction of engineer in charge. | 2.00 | Each |  | 2000.00 | 4000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 4000.00 | M/s. A S Traders
94.00 | Providing and fixing C.P. brass 2-way chrome finish bib cock of approved quality as per E-I-C. 15 mm nominal bore | 8.00 | Each |  | 1600.00 | 12800.00 | 1000.00 | 8000.00 | 1200.00 | 9600.00 | 950.00 | 7600.00 | 7600.00 | KONARAK ENTERPRISE
95.00 | Providing and fixing white vitreous china Wall Hang type water closet (European type W.C. pan Single Piece) with seat and lid, flushing cistern etc. with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan single piece including cistern (Model: Verve AM C022N Closet, ENGMA Cat No.: 92535 (P-18.5) Cist.: 92130 or equivalent) | 16.00 | Each |  | 13000.00 | 208000.00 | 17000.00 | 272000.00 | 9000.00 | 144000.00 | 16800.00 | 268800.00 | 144000.00 | M/s. Sharma Traders
96.00 | Providing and fixing table top wash basin, 32 mm C.P. brass waste of standard pattern as per E-I-C. White Vitreous China Wash basin size L-550, B-370-390, H-150 mm (Model.: Luxury 600/550, IMMACULA Cat. No.: 91205 or equivalent) | 16.00 | Each |  | 6500.00 | 104000.00 | 4000.00 | 64000.00 | 6000.00 | 96000.00 | 3500.00 | 56000.00 | 56000.00 | KONARAK ENTERPRISE
97.00 | Providing and fixing C.P. brass Pillar Cock (Swan Neck) of approved quality as per E-I-C. 15 mm nominal bore | 16.00 | Each |  | 1500.00 | 24000.00 | 2000.00 | 32000.00 | 1200.00 | 19200.00 | 1800.00 | 28800.00 | 19200.00 | M/s. Sharma Traders
98.00 | Providing and fixing Health Faucet with long CP Flexible Tube (Chrome Finish) of approved quality as per E-I-C. 15 mm nominal bore | 24.00 | Each |  | 1600.00 | 38400.00 | 1200.00 | 28800.00 | 1800.00 | 43200.00 | 1150.00 | 27600.00 | 27600.00 | KONARAK ENTERPRISE
99.00 | Consultancy charges for providing detailed stractural design and drawings of Boundary wall, roof truss and footings, beam, column to support profile sheet including vetting from IIT, NIT or any Govt. Engineering Colleges. (3 sets of each approved drawings by AAI are to be submitted.) | 1.00 | Job |  | 80000.00 | 80000.00 | 50000.00 | 50000.00 | 120000.00 | 120000.00 | 60000.00 | 60000.00 | 50000.00 | M/S BHATTACHARYYA CONSTRUCTION
| Total in Figures |  |  |  |  | 16957625.00 |  | 14275185.70 |  | 17833600.00 |  | 14206507.00
Lowest Amount Quoted BY: KONARAK ENTERPRISE(14206507.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision for Misc Unforeseen works SH Upgradation of Type-IV quarter No. 598 to New Guest House in New Quarter Residential Complex at NSCBI Airport, Kolkata Tender ID: 2022_AAI_133136_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | KONARAK ENTERPRISE | 14206507.00 | L1
| 2 | M/S BHATTACHARYYA CONSTRUCTION | 14275185.70 | L2
| 3 | M/s. A S Traders | 16957625.00 | L3
| 4 | M/s. Sharma Traders | 17833600.00 | L4