## BoQ1
Government eProcurement System Created By: Shweta Verma Created Date/Time: 14-Dec-2022 04:21 PM Tender Title: ARMO of Electrical and Mechanical Installations, AC Units, Water Tender ID: 2022_AAI_133739_1
Tender Inviting Authority: AAI
Name of Work: ARMO of Electrical and Mechanical Installations, AC Units, Water cooler, Water purifiers , Fire Alarm and Detection Systems at Shimla Airport for the year 2022-2024
Contract No: 2022_AAI_133739_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | R.K. Enterprises(GSTN-07AAHFR6825P1ZI) |  | Anil Kumar Sharma(GSTN-01AIWPS0647K1ZU) |  | M/s BHARAT ELECTRIC, NAGPUR(GSTN-27ALSPP1335N1ZG) |  | M/s AL-HUDA ELECTRICAL AND MAINTENANCE(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | SH-A(I): OPERATION AND MAINTENANCE WORK OF E&M INSTALLATION Periodical maintenance and operation of all electrical & mechanical installations of Terminal Building, Ancillary Building, Fire Station, Perimeter/street lighting , Carpark lighting, AFL ,DVOR, substation equipments (DG set, HT & LT Panels , AMF Panels, APFC Panel ,transformers ,CCR etc), pump sets, GLF installations & E&M installations etc. on daily/weekly/monthly/quarterly/yearly basis as per maintenance schedule including preparation & maintenance of records /documents etc as per scope of work given in special conditions and technical specifications of contract etc complete as required. The contractor is required to deploy following minimum manpower in shift of eight hours on all days including holidays except on weekly off day : 1) Supervisor Cum Wireman- 01 Nos (Skilled) 2) Wireman - 03 Nos (Skilled) 3)DG Operator & AC operator - 02 Nos. (Semi-skilled) 4)Helper - 04 Nos.( Un-skilled) | 24.00 | Month |  | 181744.00 | 4361856.00 | 162000.00 | 3888000.00 | 165200.00 | 3964800.00 | 195696.00 | 4696704.00 | 3888000.00 | Anil Kumar Sharma
1.20 | Generation of reports with computer & other data handling related to office documention works such as upkeeping of records etc. by deploying following adequate manpower for all days excluding saturday, sunday & national holidays : 1)Com. Operator Cum Office attendant - 01 Nos. (Skilled) | 24.00 | Month |  | 18650.00 | 447600.00 | 18500.00 | 444000.00 | 16000.00 | 384000.00 | 17000.00 | 408000.00 | 384000.00 | M/s BHARAT ELECTRIC, NAGPUR
1.30 | Provision of additional Hours for operation due to delay in flight, emergency,major maintenance work beyong the scope of item no :- 1 on hourly basis :- 1) Skilled manpower :- 1 No. | 50.00 | Hours |  | 30.00 | 1500.00 | 30.00 | 1500.00 | 90.00 | 4500.00 | 100.00 | 5000.00 | 1500.00 | R.K. Enterprises, Anil Kumar Sharma
1.40 | Provision of additional Hours for operation due to delay in flight, emergency,major maintenance work beyong the scope of item no :- 1 on hourly basis :- 1) Semi-Skilled manpower :- 1 No. | 50.00 | Hours |  | 30.00 | 1500.00 | 30.00 | 1500.00 | 75.00 | 3750.00 | 90.00 | 4500.00 | 1500.00 | R.K. Enterprises, Anil Kumar Sharma
1.50 | Provision of additional Hours for operation due to delay in flight, emergency,major maintenance work beyong the scope of item no :- 1 on hourly basis :- 1) Un-Skilled manpower :- 1 No. | 50.00 | Hours |  | 30.00 | 1500.00 | 30.00 | 1500.00 | 65.00 | 3250.00 | 80.00 | 4000.00 | 1500.00 | R.K. Enterprises, Anil Kumar Sharma
1.60 | SH-A(II): Minor/Special Repairs/Preventive Maintenance Works Inspection , overhauling and servicing, of 3 Ph, 11KV 400/600 A ALSTROM make HT Oil circuit breaker and testing of dielectric strength of oil upto 60 KV and submmission of report etc complete as required. | 6.00 | Job |  | 1000.00 | 6000.00 | 4000.00 | 24000.00 | 5000.00 | 30000.00 | 1000.00 | 6000.00 | 6000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
1.70 | Checking, servicing, callibration testing & submmission of report of Alstrom make following protection relays provided on 11 KV, oil circuit breaker panel complete as per site requirment - 1) IDMT relays a) Over Current:-6 Nos. b) Earth Fault:- 3 Nos. 2) Auxillary Relay ( Type-VAA/VAX/VAJH) for transformer protection -03 Nos 3) Current/PT Transformer | 2.00 | Job |  | 1000.00 | 2000.00 | 4000.00 | 8000.00 | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 2000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
1.80 | Inspection, overhauling, servicing & testing of 630 A M-Pact make Air circuit breaker and submission of report etc complete as required. | 6.00 | Job |  | 1000.00 | 6000.00 | 4000.00 | 24000.00 | 1000.00 | 6000.00 | 500.00 | 3000.00 | 3000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
1.90 | Checking, servicing, callibration testing & submmission of report of Alstrom/English electricals make following protection relays provided on , LT Air circuit breaker panel complete as per site requirment - 1) IDMT relays a) Over Current:-4 Nos. b) Earth Fault:- 2 Nos. | 2.00 | Job |  | 1000.00 | 2000.00 | 4000.00 | 8000.00 | 2500.00 | 5000.00 | 500.00 | 1000.00 | 1000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
2.00 | De-hydration/centrifuging and testing of transformer oil by using filtration machine for installed transformer of 250 KVA capacity and oil capacity of Approx. 240 ltrs to get desired dielectric strength of oil upto 60 KV BDV etc as required. | 4.00 | Job |  | 20000.00 | 80000.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 600.00 | 2400.00 | 2400.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
2.10 | Supply and topping up the transformer/OCB with new transformer oil after dedydration/centrifuging and testing of dielectric strength of oil upto 60 KV BDV etc as required. | 600.00 | Ltr |  | 125.00 | 75000.00 | 250.00 | 150000.00 | 90.00 | 54000.00 | 50.00 | 30000.00 | 30000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
2.20 | Servicing of 250 KVA Capacity oil type transformer of (Make- Kirloskar) including replacement of complete gasket set and 4 Nos LV bushing , testing , commissioning and submission of report etc complete as required. | 1.00 | Job |  | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 7500.00 | 7500.00 | 5000.00 | 5000.00 | 1000.00 | R.K. Enterprises
2.30 | Attending the breakdown maintenance of 11 KV HT panel of Alstrom make OCBs including Inspection,fault dettection,fault rectification and restoration of Panel to normal workinf condition and submission of report to AAI etc complete as required. | 2.00 | Job |  | 1000.00 | 2000.00 | 5000.00 | 10000.00 | 7500.00 | 15000.00 | 1000.00 | 2000.00 | 2000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
2.40 | Supply and replacing the Silica gel 250 KVA Transformer Breathers installed in power transformer at various locations at Shimla Airport. | 2.00 | Job |  | 1000.00 | 2000.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 1000.00 | 2000.00 | 1000.00 | Anil Kumar Sharma, M/s BHARAT ELECTRIC, NAGPUR
2.50 | Inspection , servicing and calibration of CCR & senstivity relay on 4KW CCR of Youyang make including testing & submission of report etc complete as required. | 4.00 | Job |  | 1500.00 | 6000.00 | 5000.00 | 20000.00 | 750.00 | 3000.00 | 1000.00 | 4000.00 | 3000.00 | M/s BHARAT ELECTRIC, NAGPUR
2.60 | Inspection , servicing and calibration of CCR & senstivity relay on 20 KW CCR of NASU make including testing & submission of report etc complete as required. | 2.00 | Job |  | 1500.00 | 3000.00 | 9000.00 | 18000.00 | 750.00 | 1500.00 | 1000.00 | 2000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
2.70 | Inspection , servicing and calibration of CCR & senstivity relay on 20 KW CCR of Youyang make including testing & submission of report etc complete as required. | 2.00 | Job |  | 1200.00 | 2400.00 | 9000.00 | 18000.00 | 750.00 | 1500.00 | 1000.00 | 2000.00 | 1500.00 | M/s BHARAT ELECTRIC, NAGPUR
2.80 | Inspection ,overhauling,servicing & ground calibration of AMA make PAPI Units A,B,C & D (Set of 4) installed at Shimla Airport Runaway 32/14 through OEM or authorized service provider of OEM.Job Includes Overhauling of PAPI Units , cleaning of reflector,primary and secondary lenses,adjustment of lenses (if required) with following testings and calibration of PAPI Units as per required angle and submission of report/Calibration certificate etc complete as required :- 1) Reference Level check through spirit level/Clino meter. 2)Reference level setting (wherever required) 3)PAPI Unit angle check through Clino meter 4) PAPI Unit angle setting. 5) Angle check through PAPI checkstick. | 2.00 | Job |  | 2000.00 | 4000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 1000.00 | 2000.00 | 2000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
2.90 | Painting of following items in two or more coats using Aluminium paint of approved make including cleaning of surface etc. , re-writing the identification letters/numbers (wherever required) etc complete as required. GI Poles of height upto 5 Mtrs i/c cable junction box. | 498.00 | Job |  | 100.00 | 49800.00 | 100.00 | 49800.00 | 50.00 | 24900.00 | 10.00 | 4980.00 | 4980.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
3.00 | Painting of following items in two or more coats using enamel paint of approved make including cleaning of surface etc. , re-writing the identification letters/numbers (wherever required) etc complete as required. HIRL/MIRL runway fittings i/c base plate | 300.00 | Job |  | 75.00 | 22500.00 | 20.00 | 6000.00 | 50.00 | 15000.00 | 20.00 | 6000.00 | 6000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, Anil Kumar Sharma
3.10 | Spray painting of sheet metal enclosures of electrical equipments such as feeder pilars, distribution boards, electrical panel, frame etc. including cleaning the surface,painting with two or more coats of grey ( yellow in case of PAPI Units) or any other colour of approved make including rewritting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc complete as reqd. | 150.00 | Sq Mtr |  | 150.00 | 22500.00 | 150.00 | 22500.00 | 50.00 | 7500.00 | 30.00 | 4500.00 | 4500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
3.20 | Painting of 300 mm X300mm (nominal) size Earth pits in two or more coats of desired color and of approved make including cleaning of surface , re-writing the identification letters etc complete as required. | 120.00 | Job |  | 50.00 | 6000.00 | 20.00 | 2400.00 | 50.00 | 6000.00 | 15.00 | 1800.00 | 1800.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
3.30 | Repairing of existing earth pits including supply and fixing of CI Cover plate ,funnel,necessary brick work, plastering & painting the masonary chamber etc complete as required. | 10.00 | Job |  | 200.00 | 2000.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 2000.00 | R.K. Enterprises
3.40 | Providing First Aid Box as approved by St. Johns Ambulance Brigade /Indian Red Cross Confirming to IS 2217-1963 with upto date amendements. | 1.00 | Each |  | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 2000.00 | 2000.00 | 500.00 | M/s BHARAT ELECTRIC, NAGPUR
3.50 | SH-A(III):- Repair works( To be executed as and when required ) Rewinding of 7.5 HP submersible pump set including replacement of defective parts such as seal , bush bearing etc including less for dismantled copper wire etc complete as required. | 2.00 | Job |  | 1500.00 | 3000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 200.00 | 400.00 | 400.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
3.60 | Lifting and lowering of submersible pump upto 7.5 HP capcacity upto 15 Mtr deep openewell including arranging machine or chain pulley block etc complete as required. | 2.00 | Job |  | 500.00 | 1000.00 | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 500.00 | 1000.00 | 1000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
3.70 | Overhauling, & Servicing/repairing of 7.5 HP pump set including supply and replacement of defective bearing,bushes, glands , alignment of shaft,cleaning and lubrication and re-installation to normal working condition etc complete as required. | 2.00 | Job |  | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 300.00 | 600.00 | 600.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
3.80 | Complete copper wire rewinding of the following Ceiling Fans / Exhaust Fan/ wall mounting Fan i/c to & fro transportation. 1200mm sweep Ceiling Fan | 5.00 | Job |  | 250.00 | 1250.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 1250.00 | R.K. Enterprises
3.90 | Complete copper wire rewinding of the following Ceiling Fans / Exhaust Fan/ wall mounting Fan i/c to & fro transportation. 400mm sweep wall mounting Fan | 5.00 | Job |  | 250.00 | 1250.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 1250.00 | R.K. Enterprises
4.00 | Complete copper wire rewinding of the following Ceiling Fans / Exhaust Fan/ wall mounting Fan i/c to & fro transportation. 200mm sweep Exhaust Fan | 5.00 | Job |  | 225.00 | 1125.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 1125.00 | R.K. Enterprises
4.10 | Complete copper wire rewinding of the following Ceiling Fans / Exhaust Fan/ wall mounting Fan i/c to & fro transportation. 300mm sweep Exhaust Fan | 5.00 | Job |  | 225.00 | 1125.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 1125.00 | R.K. Enterprises
4.20 | Complete copper wire rewinding of the following Ceiling Fans / Exhaust Fan/ wall mounting Fan i/c to & fro transportation. 400mm sweep Exhaust Fan | 5.00 | Job |  | 250.00 | 1250.00 | 500.00 | 2500.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 1250.00 | R.K. Enterprises
4.30 | SH-A(IV):- SUPPLY OF SPARES Supply of MCB's/Fuse 63 Amp, 10KA, TPN, C series, MCB | 5.00 | Each |  | 1050.00 | 5250.00 | 1700.00 | 8500.00 | 750.00 | 3750.00 | 1000.00 | 5000.00 | 3750.00 | M/s BHARAT ELECTRIC, NAGPUR
4.40 | Supply of MCB's/Fuse 32 Amp, 10KA, TPN, C series, MCB | 5.00 | Each |  | 850.00 | 4250.00 | 1500.00 | 7500.00 | 650.00 | 3250.00 | 800.00 | 4000.00 | 3250.00 | M/s BHARAT ELECTRIC, NAGPUR
4.50 | Supply of MCB's/Fuse 40 Amp,10KA, 4P, C series MCB | 5.00 | Each |  | 1000.00 | 5000.00 | 1700.00 | 8500.00 | 1000.00 | 5000.00 | 300.00 | 1500.00 | 1500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
4.60 | Supply of MCB's/Fuse 6 Amp,10KA , SP, C series MCB | 5.00 | Each |  | 100.00 | 500.00 | 120.00 | 600.00 | 125.00 | 625.00 | 100.00 | 500.00 | 500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
4.70 | Supply of MCB's/Fuse 10 Amp , 10KA, SP, C series MCB | 5.00 | Each |  | 100.00 | 500.00 | 130.00 | 650.00 | 125.00 | 625.00 | 100.00 | 500.00 | 500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
4.80 | Supply of MCB's/Fuse 16 Amp ,10KA, SP, C series MCB | 5.00 | Each |  | 100.00 | 500.00 | 130.00 | 650.00 | 125.00 | 625.00 | 100.00 | 500.00 | 500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
4.90 | Supply of MCB's/Fuse 20 Amp , 10KA, SP, C series MCB | 5.00 | Each |  | 100.00 | 500.00 | 150.00 | 750.00 | 125.00 | 625.00 | 100.00 | 500.00 | 500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
5.00 | Supply of MCB's/Fuse 32 Amp , 10KA, SP, C series MCB | 2.00 | Each |  | 100.00 | 200.00 | 180.00 | 360.00 | 125.00 | 250.00 | 100.00 | 200.00 | 200.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
5.10 | Supply of MCB's/Fuse 32 Amp, TPN 30KA MCCB | 1.00 | Each |  | 1750.00 | 1750.00 | 1500.00 | 1500.00 | 3500.00 | 3500.00 | 1200.00 | 1200.00 | 1200.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.20 | Supply of MCB's/Fuse 100 Amp, TPN,30KA MCCB | 1.00 | Each |  | 2000.00 | 2000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 1500.00 | 1500.00 | 1500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.30 | Supply of MCB's/Fuse Fuse - 63 AMP HRC Knife type | 5.00 | Each |  | 150.00 | 750.00 | 600.00 | 3000.00 | 75.00 | 375.00 | 50.00 | 250.00 | 250.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.40 | Supply of MCB's/Fuse Fuse-250 Amp HRC Knife type | 5.00 | Each |  | 200.00 | 1000.00 | 700.00 | 3500.00 | 125.00 | 625.00 | 60.00 | 300.00 | 300.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.50 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. 6 pin 15/16 & 5/6 Amp universal socket outlet, piano type ISI marked | 10.00 | Each |  | 50.00 | 500.00 | 30.00 | 300.00 | 125.00 | 1250.00 | 30.00 | 300.00 | 300.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, Anil Kumar Sharma
5.60 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. S.P. 5/6 amps, one way switch, piano type ISI marked | 10.00 | Each |  | 25.00 | 250.00 | 30.00 | 300.00 | 15.00 | 150.00 | 20.00 | 200.00 | 150.00 | M/s BHARAT ELECTRIC, NAGPUR
5.70 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. S.P. 15/16 amps, one way switch, piano type ISI marked | 10.00 | Each |  | 60.00 | 600.00 | 50.00 | 500.00 | 45.00 | 450.00 | 30.00 | 300.00 | 300.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
5.80 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. 15/16 Amp ISI Marked 1M Modular Swich | 10.00 | Each |  | 30.00 | 300.00 | 60.00 | 600.00 | 75.00 | 750.00 | 40.00 | 400.00 | 300.00 | R.K. Enterprises
5.90 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. 15/16 Amp ISI Marked 2M modular socket | 30.00 | Each |  | 65.00 | 1950.00 | 70.00 | 2100.00 | 100.00 | 3000.00 | 60.00 | 1800.00 | 1800.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
6.00 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. 3 Pin 5/6A Plug Top | 20.00 | Each |  | 45.00 | 900.00 | 40.00 | 800.00 | 40.00 | 800.00 | 50.00 | 1000.00 | 800.00 | Anil Kumar Sharma, M/s BHARAT ELECTRIC, NAGPUR
6.10 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. 3 Pin 15/16A Plug Top | 10.00 | Each |  | 45.00 | 450.00 | 40.00 | 400.00 | 35.00 | 350.00 | 60.00 | 600.00 | 350.00 | M/s BHARAT ELECTRIC, NAGPUR
6.20 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. Electronic Fan Regulator | 15.00 | Each |  | 100.00 | 1500.00 | 350.00 | 5250.00 | 225.00 | 3375.00 | 150.00 | 2250.00 | 1500.00 | R.K. Enterprises
6.30 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. 6 Modular PVC Electrical surface Box with grid frame & Cover but w/o Modular switch & socket | 10.00 | Each |  | 150.00 | 1500.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 100.00 | 1000.00 | 1000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, M/s BHARAT ELECTRIC, NAGPUR
6.40 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. 4 Modular PVC surface Box with grid frame & Cover but w/o Modular switch & socket | 10.00 | Each |  | 135.00 | 1350.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 105.00 | 1050.00 | 1000.00 | M/s BHARAT ELECTRIC, NAGPUR
6.50 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. 3 Modular PVC Electrical surface Box with grid frame & Cover but w/o Modular switch & socket | 10.00 | Each |  | 125.00 | 1250.00 | 170.00 | 1700.00 | 100.00 | 1000.00 | 110.00 | 1100.00 | 1000.00 | M/s BHARAT ELECTRIC, NAGPUR
6.60 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. Class-1 , 3 Phase Digital Energy Meter | 2.00 | Each |  | 250.00 | 500.00 | 8000.00 | 16000.00 | 2500.00 | 5000.00 | 1800.00 | 3600.00 | 500.00 | R.K. Enterprises
6.70 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. Class 1,600A/5A ,96* 96mm 3Phase Digital Ammeter with LCD/LED Display for LT Panel. | 2.00 | Each |  | 200.00 | 400.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 400.00 | R.K. Enterprises
6.80 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. Class 1, 96*96mm 3Phase Digital Voltmeter with LCD/LED Display for LT Panel | 6.00 | Each |  | 200.00 | 1200.00 | 1500.00 | 9000.00 | 1000.00 | 6000.00 | 100.00 | 600.00 | 600.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
6.90 | Supply of Meters/ISI marked PIANO type Switch/ Socket/Fan regulator/Plug Top/Gang Box of various rating. Class 1,250A/5A ,96* 96mm 3Phase Digital Ammeter with LCD/LED Display for LT Panel. | 4.00 | Each |  | 200.00 | 800.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 200.00 | 800.00 | 800.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
7.00 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps 2.5 MFD 230V /440 AC Capacitor | 10.00 | Each |  | 50.00 | 500.00 | 30.00 | 300.00 | 25.00 | 250.00 | 200.00 | 2000.00 | 250.00 | M/s BHARAT ELECTRIC, NAGPUR
7.10 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps 750 W Halogen Heat Pillar Rod | 50.00 | Each |  | 300.00 | 15000.00 | 300.00 | 15000.00 | 225.00 | 11250.00 | 100.00 | 5000.00 | 5000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.20 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps 12 V , 65 AH , Tubular SMF Battery suitable for 125 KVA DG Set | 2.00 | Each |  | 5200.00 | 10400.00 | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 4000.00 | 8000.00 | 8000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.30 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps Supply of PVC Batten Holder | 10.00 | Each |  | 50.00 | 500.00 | 20.00 | 200.00 | 35.00 | 350.00 | 40.00 | 400.00 | 200.00 | Anil Kumar Sharma
7.40 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps Supply of 20X12mm Casing Cap | 15.00 | Mtr |  | 50.00 | 750.00 | 40.00 | 600.00 | 20.00 | 300.00 | 5.00 | 75.00 | 75.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.50 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps Supply of 25X16mm Casing Cap | 15.00 | Mtr |  | 75.00 | 1125.00 | 40.00 | 600.00 | 25.00 | 375.00 | 10.00 | 150.00 | 150.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.60 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps Panel Universal LED Indication lamp(Red) | 20.00 | Each |  | 100.00 | 2000.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 18.00 | 360.00 | 360.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.70 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps Panel Universal LED Indication lamp(Yellow) | 20.00 | Each |  | 100.00 | 2000.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 18.00 | 360.00 | 360.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.80 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps Panel Universal LED Indication lamp(Blue) | 20.00 | Each |  | 100.00 | 2000.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 18.00 | 360.00 | 360.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
7.90 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps Panel Universal LED Indication lamp(Green) | 20.00 | Each |  | 100.00 | 2000.00 | 100.00 | 2000.00 | 100.00 | 2000.00 | 18.00 | 360.00 | 360.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
8.00 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps Mushroom Head Push-Turn Button | 5.00 | Each |  | 100.00 | 500.00 | 100.00 | 500.00 | 100.00 | 500.00 | 18.00 | 90.00 | 90.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
8.10 | Supply of Capacitors/Batten/Battery/Casing Cap/indication lamps Panel Push Button | 30.00 | Each |  | 100.00 | 3000.00 | 100.00 | 3000.00 | 100.00 | 3000.00 | 30.00 | 900.00 | 900.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
8.20 | Supply of Cables/ Wires Supply of 3Cx 2.5 sqmm copper XLPE insulated /PVC sheathed armoured 1.1KV grade cable conforming to IS:7098 (Part-1) 1988 with up to date ammendments power cable etc. as required. | 90.00 | Mtr |  | 125.00 | 11250.00 | 100.00 | 9000.00 | 55.00 | 4950.00 | 40.00 | 3600.00 | 3600.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
8.30 | Supply of 2.5 sqmm single core FRLS PVC insulated ,1.1KV industrial grade conductor conforming to IS: 694 with up to date ammendments power cable etc. as required. | 90.00 | Mtr |  | 25.00 | 2250.00 | 30.00 | 2700.00 | 25.00 | 2250.00 | 20.00 | 1800.00 | 1800.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
8.40 | Supply of 4 sqmm single core FRLS PVC insulated ,1.1KV industrial grade conductor conforming to IS: 694 with up to date ammendments power cable etc. as required. | 90.00 | Mtr |  | 35.00 | 3150.00 | 50.00 | 4500.00 | 35.00 | 3150.00 | 40.00 | 3600.00 | 3150.00 | R.K. Enterprises, M/s BHARAT ELECTRIC, NAGPUR
8.50 | Supply of GLF SPARES Supply of following rating 5000V, 50 Hz Series Isolating Transformers encapsulated in black crosslinked polychloroprene compound like TPE /TPR / TPV with primary and secondary connections suitable to be operated via ILCMS System confirming to specification as required suitable for above mentioned fittings for following applications and compatible to use on ALCMS i. 315W/300W, 6.6/6.6A Isolating Transformer | 5.00 | Each |  | 2700.00 | 13500.00 | 8000.00 | 40000.00 | 2500.00 | 12500.00 | 3000.00 | 15000.00 | 12500.00 | M/s BHARAT ELECTRIC, NAGPUR
8.60 | Supply of following rating 5000V, 50 Hz Series Isolating Transformers encapsulated in black crosslinked polychloroprene compound like TPE /TPR / TPV with primary and secondary connections suitable to be operated via ILCMS System confirming to specification as required suitable for above mentioned fittings for following applications and compatible to use on ALCMS ii. 200W, 6.6/6.6A Isolating Transformer | 5.00 | Each |  | 2500.00 | 12500.00 | 4700.00 | 23500.00 | 2500.00 | 12500.00 | 2500.00 | 12500.00 | 12500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises, M/s BHARAT ELECTRIC, NAGPUR
8.70 | Supply of following rating 5000V, 50 Hz Series Isolating Transformers encapsulated in black crosslinked polychloroprene compound like TPE /TPR / TPV with primary and secondary connections suitable to be operated via ILCMS System confirming to specification as required suitable for above mentioned fittings for following applications and compatible to use on ALCMS iii. 150W, 6.6/6.6A Isolating Transformer | 10.00 | Each |  | 2200.00 | 22000.00 | 4000.00 | 40000.00 | 2500.00 | 25000.00 | 2000.00 | 20000.00 | 20000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
8.80 | Supply of following rating 5000V, 50 Hz Series Isolating Transformers encapsulated in black crosslinked polychloroprene compound like TPE /TPR / TPV with primary and secondary connections suitable to be operated via ILCMS System confirming to specification as required suitable for above mentioned fittings for following applications and compatible to use on ALCMS iv. 45W, 6.6/6.6A Isolating Transformer | 5.00 | Each |  | 2000.00 | 10000.00 | 3500.00 | 17500.00 | 2500.00 | 12500.00 | 2000.00 | 10000.00 | 10000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, R.K. Enterprises
8.90 | Supply of Airfield Lighting (AFL) 5 KV grade, Single Core, Copper Conductor, Copper shielded, XLPE insulated, and with inner and outer semi conductor, Polyethylene (PE) outer sheathed, Copper Braid, Unarmoured Underground Cable for airfield lighting Primary Circuit, confirming to specification as specified in technical specification of the following sizes as required and suitable for communication on existing ALCMS system i. 16 sq. mm. | 200.00 | Mtr |  | 140.00 | 28000.00 | 180.00 | 36000.00 | 50.00 | 10000.00 | 60.00 | 12000.00 | 10000.00 | M/s BHARAT ELECTRIC, NAGPUR
9.00 | Supply of Airfield Lighting (AFL) 5 KV grade, Single Core, Copper Conductor, Copper shielded, XLPE insulated, and with inner and outer semi conductor, Polyethylene (PE) outer sheathed, Copper Braid, Unarmoured Underground Cable for airfield lighting Primary Circuit, confirming to specification as specified in technical specification of the following sizes as required and suitable for communication on existing ALCMS system ii. 6 sq.mm. | 200.00 | Mtr |  | 70.00 | 14000.00 | 90.00 | 18000.00 | 50.00 | 10000.00 | 50.00 | 10000.00 | 10000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE, M/s BHARAT ELECTRIC, NAGPUR
9.10 | Supply of following sizes 5 KV grade dry type Plug and Receptacle of type I, class 'B' primary connector kit with field attachment and suitable for 5 KV grade single core copper conductor, copper braided, XLPE insulated PE outer sheathed shielded cable, complete as required confirming to the technical specification. i. 16 sq. mm. | 10.00 | Set |  | 250.00 | 2500.00 | 500.00 | 5000.00 | 50.00 | 500.00 | 500.00 | 5000.00 | 500.00 | M/s BHARAT ELECTRIC, NAGPUR
9.20 | Supply of following sizes 5 KV grade dry type Plug and Receptacle of type I, class 'B' primary connector kit with field attachment and suitable for 5 KV grade single core copper conductor, copper braided, XLPE insulated PE outer sheathed shielded cable, complete as required confirming to the technical specification. ii. 6 sq.mm. | 10.00 | Set |  | 225.00 | 2250.00 | 500.00 | 5000.00 | 50.00 | 500.00 | 600.00 | 6000.00 | 500.00 | M/s BHARAT ELECTRIC, NAGPUR
9.30 | 45W Taxiway Light BI-Pin Holder | 20.00 | Each |  | 300.00 | 6000.00 | 800.00 | 16000.00 | 250.00 | 5000.00 | 350.00 | 7000.00 | 5000.00 | M/s BHARAT ELECTRIC, NAGPUR
9.40 | AMA make PAPI Upper coupling | 4.00 | Each |  | 350.00 | 1400.00 | 600.00 | 2400.00 | 250.00 | 1000.00 | 200.00 | 800.00 | 800.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
9.50 | AMA make PAPI Checkstick | 1.00 | Each |  | 300.00 | 300.00 | 30000.00 | 30000.00 | 250.00 | 250.00 | 500.00 | 500.00 | 250.00 | M/s BHARAT ELECTRIC, NAGPUR
9.60 | Miscellaneous Petty/DSR Works To carry out the complete item of work n CPWD schedule of rates ( Electrical DSR 2022 ) as per CPWD specifications complete as required. ( Total amount of Rs. 50000.00 ) is kept for DSR 2022. Note: (i) The rate for this item has to be quoted carefully. (ii) The items covered in DSR 2022 (E&M) shall be executed as per site requirement. (iii) The guidelines for quoting the rate for this item is mentioned in Guidance to tenderer Clause No.25 page ,GTT-04 | 1.00 | Job |  | 30000.00 | 30000.00 | 35000.00 | 35000.00 | 30000.00 | 30000.00 | 10000.00 | 10000.00 | 10000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
9.70 | SH-B (I) : COMPREHENSIVE MAINTENANCE OF AC UNITS ,WATER COOLER & RO SYSTEM Annual all inclusive comprehensive maintenance of 1.5 Ton capacity different make Split type airconditioner i/c repair or otherwise replacement of defective compressor/condensor coil,PCB,thermostat,capacitor,electrical parts , and any other defective component of the unit ,leak testing & vaccuming (whenever required) i/c repair & maintenance of voltage stablizer,of above unit complete as required. *Note : 1 Job is equivalent to comprehensive maintenance of 1 No. machine per month. i. 1st Year | 276.00 | Job |  | 150.00 | 41400.00 | 400.00 | 110400.00 | 250.00 | 69000.00 | 50.00 | 13800.00 | 13800.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
9.80 | Annual all inclusive comprehensive maintenance of 1.5 Ton capacity different make Split type airconditioner i/c repair or otherwise replacement of defective compressor/condensor coil,PCB,thermostat,capacitor,electrical parts , and any other defective component of the unit ,leak testing & vaccuming (whenever required) i/c repair & maintenance of voltage stablizer,of above unit complete as required. *Note : 1 Job is equivalent to comprehensive maintenance of 1 No. machine per month. ii. 2nd Year | 276.00 | Job |  | 150.00 | 41400.00 | 500.00 | 138000.00 | 250.00 | 69000.00 | 50.00 | 13800.00 | 13800.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
9.90 | Annual all inclusive comprehensive maintenance of 2.5 Ton capacity different make Tower type airconditioner i/c repair or otherwise replacement of defective compressor/condensor coil,PCB,thermostat,capacitor,electrical parts , and any other defective component of the unit ,leak testing & vaccuming (whenever required) i/c repair & maintenance of voltage stablizer,of above unit complete as required. *Note : 1 Job is equivalent to comprehensive maintenance of 1 No. machine per month i. 1st Year | 24.00 | Job |  | 160.00 | 3840.00 | 500.00 | 12000.00 | 500.00 | 12000.00 | 60.00 | 1440.00 | 1440.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.00 | Annual all inclusive comprehensive maintenance of 2.5 Ton capacity different make Tower type airconditioner i/c repair or otherwise replacement of defective compressor/condensor coil,PCB,thermostat,capacitor,electrical parts , and any other defective component of the unit ,leak testing & vaccuming (whenever required) i/c repair & maintenance of voltage stablizer,of above unit complete as required. *Note : 1 Job is equivalent to comprehensive maintenance of 1 No. machine per month ii. 2nd Year | 24.00 | Job |  | 175.00 | 4200.00 | 600.00 | 14400.00 | 500.00 | 12000.00 | 60.00 | 1440.00 | 1440.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.10 | Annual Comprehensive maintenance contract of 60/120 ltrs capacity Bluestar make water cooler i/c repair or otherwise replacement of defective compressor/condensor coil & any other defective components of the unit like tap etc at different locations complete as required. *Note : 1 Job is equivalent to comprehensive maintenance of 1 No. machine per month. i. 1st Year | 60.00 | Job |  | 240.00 | 14400.00 | 300.00 | 18000.00 | 250.00 | 15000.00 | 50.00 | 3000.00 | 3000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.20 | Annual Comprehensive maintenance contract of 60/120 ltrs capacity Bluestar make water cooler i/c repair or otherwise replacement of defective compressor/condensor coil & any other defective components of the unit like tap etc at different locations complete as required. *Note : 1 Job is equivalent to comprehensive maintenance of 1 No. machine per month. ii. 2nd Year | 60.00 | Job |  | 245.00 | 14700.00 | 400.00 | 24000.00 | 250.00 | 15000.00 | 50.00 | 3000.00 | 3000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.30 | All inclusive annual comprehensive maintenance contract of 25 LPH capacity Blue Mount (Model :- Grand 25) make Reverse Osmosis Water Purifier System of installed at various locations of Shimla Airport. Job includes routine services as and when required, repairing / replacement and maintenance of components/ consumable compatible with existing RO System, attending to complaints/ faults and taking rectifiction action, ensuring servicing/ satisfactory working condition of the system, etc. complete as required. *Note : 1 Job is equivalent to comprehensive maintenance of 1 No. machine per month. i. 1st Year | 60.00 | Job |  | 300.00 | 18000.00 | 300.00 | 18000.00 | 250.00 | 15000.00 | 50.00 | 3000.00 | 3000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.40 | All inclusive annual comprehensive maintenance contract of 25 LPH capacity Blue Mount (Model :- Grand 25) make Reverse Osmosis Water Purifier System of installed at various locations of Shimla Airport. Job includes routine services as and when required, repairing / replacement and maintenance of components/ consumable compatible with existing RO System, attending to complaints/ faults and taking rectifiction action, ensuring servicing/ satisfactory working condition of the system, etc. complete as required. *Note : 1 Job is equivalent to comprehensive maintenance of 1 No. machine per month. ii. 2nd Year | 60.00 | Job |  | 340.00 | 20400.00 | 400.00 | 24000.00 | 250.00 | 15000.00 | 50.00 | 3000.00 | 3000.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.50 | Dismantling of split AC unit of 1.5 Ton from various locations of Airport including submision of dismantled AC to AAI store etc complete as required. | 4.00 | Job |  | 250.00 | 1000.00 | 200.00 | 800.00 | 500.00 | 2000.00 | 10.00 | 40.00 | 40.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.60 | Installation, testing & commisioning of split AC of 1.5 Ton at new location including gas charging etc complete as required | 6.00 | Job |  | 750.00 | 4500.00 | 3000.00 | 18000.00 | 1000.00 | 6000.00 | 10.00 | 60.00 | 60.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.70 | Supply and filling of refrigerant gas in A/C units complete as required. | 8.00 | Kg |  | 750.00 | 6000.00 | 800.00 | 6400.00 | 500.00 | 4000.00 | 200.00 | 1600.00 | 1600.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
10.80 | Supply and fixing of PVC drain pipe ( 25 mm) nominal etc complete as required. | 20.00 | Mtr |  | 50.00 | 1000.00 | 100.00 | 2000.00 | 50.00 | 1000.00 | 60.00 | 1200.00 | 1000.00 | R.K. Enterprises, M/s BHARAT ELECTRIC, NAGPUR
10.90 | SH-C(I) : MAINTENANCE OF FIRE ALARM AND DETECTION SYSTE Mannual Comprehensive maintenance of Morley IAS make (model DXc2-M) Analouge Addressable fire detection and alarm system with auto dialer complete (excluding batteries, detectors, MCP, Hooters, control module, Response indicator, wires from fire alarm panel to other devices) installed at Shimla Airport through OEM/authorized service provider of OEM/ Engineer from Service provider specialized in Fire Alarm & Detection System Job include quaterly visit of Engineer from OEM /OEM's authorized service provider/Engineer from Service provider specialized in Fire Alarm & Detection System, performing periodical maintenance of fire alarm and detection system as per OEM's recommendations, attending unlimited breakdown complaints recieved through email/ telephone, checking the proper functioning of complete fire alarm and detection system, taking rectification action of fire alarm system by rewiring/ rectification/ replacement of all parts (except batteries) of the fire alarm main and repeater panel, reprogramming in case of any fault in panel or replacement of faulty detectors/ MCPs/ Hooters/ response indicator/control module etc, ensuring proper functioning of complete fire detection and alarm system as per special conditions of contracts complete as required :- 1)Fire Alarm Panel with Auto dialer :- 1 No. 2) Photoelectric/Heat Smoke Detectors :- 117 No. 3)Hooter /Sounder :- 08 No. 4) Manual Call Point :-10 No. 5) Response Indicator :- 40 No. 6) Multi Detector :- 07 No. 7) Complete wire/Cabling :- 1 Lot Note :- 1)Spares such as detectors/MCPs/Hooters/response Indicator will be provided by AAI. Note:- 1 Job equals quarterly visit of Service provider and unlimited breakdown calls if required. i. 1st Year | 4.00 | Job |  | 3000.00 | 12000.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 12000.00 | R.K. Enterprises
11.00 | Annual Comprehensive maintenance of Morley IAS make (model DXc2-M) Analouge Addressable fire detection and alarm system with auto dialer complete (excluding batteries, detectors, MCP, Hooters, control module, Response indicator, wires from fire alarm panel to other devices) installed at Shimla Airport through OEM/authorized service provider of OEM/ Engineer from Service provider specialized in Fire Alarm & Detection System Job include quaterly visit of Engineer from OEM /OEM's authorized service provider/Engineer from Service provider specialized in Fire Alarm & Detection System, performing periodical maintenance of fire alarm and detection system as per OEM's recommendations, attending unlimited breakdown complaints recieved through email/ telephone, checking the proper functioning of complete fire alarm and detection system, taking rectification action of fire alarm system by rewiring/ rectification/ replacement of all parts (except batteries) of the fire alarm main and repeater panel, reprogramming in case of any fault in panel or replacement of faulty detectors/ MCPs/ Hooters/ response indicator/control module etc, ensuring proper functioning of complete fire detection and alarm system as per special conditions of contracts complete as required :- 1)Fire Alarm Panel with Auto dialer :- 1 No. 2) Photoelectric/Heat Smoke Detectors :- 117 No. 3)Hooter /Sounder :- 08 No. 4) Manual Call Point :-10 No. 5) Response Indicator :- 40 No. 6) Multi Detector :- 07 No. 7) Complete wire/Cabling :- 1 Lot Note :- 1)Spares such as detectors/MCPs/Hooters/response Indicator will be provided by AAI. Note:- 1 Job equals quarterly visit of Service provider and unlimited breakdown calls if required. ii. 2nd Year | 4.00 | Job |  | 3100.00 | 12400.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 12400.00 | R.K. Enterprises
11.10 | Annual Comprehensive maintenance of 2 Zone (Make :- softchip-AGNI Comm) & 10 Zone AGNI Make Analouge Conventional fire detection and alarm system with auto dialer complete (excluding batteries, detectors, MCP, Hooters, control module, Response indicator, wires from fire alarm panel to other devices) installed at NAVAIDS and Power House, Shimla Airport respectively through OEM or authorized service provider of OEM/ Engineer from Service provider specialized in Fire Alarm & Detection System. Job include quaterly visit of Engineer from OEM/ OEM's authorized service provider/Engineer from Service provider specialized in Fire Alarm & Detection System, performing periodical maintenance of fire alarm and detection system as per OEM's recommendations, attending unlimited breakdown complaints recieved through email/ telephone, checking the proper functioning of complete fire alarm and detection system, taking rectification action of fire alarm system by rewiring/ rectification/ replacement of all parts (except batteries) of the fire alarm main and repeater panel, reprogramming in case of any fault in panel or replacement of faulty detectors/ MCPs/ Hooters/ control module etc, ensuring proper functioning of complete fire detection and alarm system as per special conditions of contracts complete as required. 1) Fire Alarm Panel with Auto Dialer :- 01 No. (DVOR) 2) Fire Alarm Panel with Auto Dialer :- 1No. (NDB) 2) Fire Alarm Control Panel :- 01 No (Power House) 2) Optical Smoke Detectors :-16 No. 3)Hooter /Sounder :- 03 No. 4) Manual Call Point :- 01 No. 5) Complete wire/Cabling :- 1 Lot Note :- 1)Spares such as detectors/MCPs/Hooters/response Indicator will be provided by AAI. Note:- 1 Job equals quarterly visit of Service provider and unlimited breakdown calls if required. i. 1st Year | 4.00 | Job |  | 3000.00 | 12000.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 12000.00 | R.K. Enterprises
11.20 | Annual Comprehensive maintenance of 2 Zone (Make :- softchip-AGNI Comm) & 10 Zone AGNI Make Analouge Conventional fire detection and alarm system with auto dialer complete (excluding batteries, detectors, MCP, Hooters, control module, Response indicator, wires from fire alarm panel to other devices) installed at NAVAIDS and Power House, Shimla Airport respectively through OEM or authorized service provider of OEM/ Engineer from Service provider specialized in Fire Alarm & Detection System. Job include quaterly visit of Engineer from OEM/ OEM's authorized service provider/Engineer from Service provider specialized in Fire Alarm & Detection System, performing periodical maintenance of fire alarm and detection system as per OEM's recommendations, attending unlimited breakdown complaints recieved through email/ telephone, checking the proper functioning of complete fire alarm and detection system, taking rectification action of fire alarm system by rewiring/ rectification/ replacement of all parts (except batteries) of the fire alarm main and repeater panel, reprogramming in case of any fault in panel or replacement of faulty detectors/ MCPs/ Hooters/ control module etc, ensuring proper functioning of complete fire detection and alarm system as per special conditions of contracts complete as required. 1) Fire Alarm Panel with Auto Dialer :- 01 No. (DVOR) 2) Fire Alarm Panel with Auto Dialer :- 1No. (NDB) 2) Fire Alarm Control Panel :- 01 No (Power House) 2) Optical Smoke Detectors :-16 No. 3)Hooter /Sounder :- 03 No. 4) Manual Call Point :- 01 No. 5) Complete wire/Cabling :- 1 Lot Note :- 1)Spares such as detectors/MCPs/Hooters/response Indicator will be provided by AAI. Note:- 1 Job equals quarterly visit of Service provider and unlimited breakdown calls if required. ii. 2nd Year | 4.00 | Job |  | 3100.00 | 12400.00 | 10000.00 | 40000.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 12400.00 | R.K. Enterprises
11.30 | Configuration of softchip-AGNI make Microprocessor based intelligent Auto dialer system including auto dial number(s) feeding/programming etc to work with existing Control panel ( (Make :- Softchip-AGNI Comm.) ,testing & submission of report to AAI complete as required. | 2.00 | Job |  | 1000.00 | 2000.00 | 7000.00 | 14000.00 | 500.00 | 1000.00 | 5000.00 | 10000.00 | 1000.00 | M/s BHARAT ELECTRIC, NAGPUR
11.40 | SH:-C(II) : SUPPLY OF SPARES Supply of Addressable optical smoke detectors with base , compatible to existing system (DXc2-M) at site etc complete as required | 5.00 | Each |  | 300.00 | 1500.00 | 2250.00 | 11250.00 | 500.00 | 2500.00 | 100.00 | 500.00 | 500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
11.50 | Supply of Addressable Hooter compatible to existing system (DXc2-M) at site etc complete as required. | 2.00 | Each |  | 150.00 | 300.00 | 4050.00 | 8100.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 200.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
11.60 | Supply of Addressable manual call point compatible to existing system (DXc2-M) at site etc complete as required. | 5.00 | Each |  | 150.00 | 750.00 | 3150.00 | 15750.00 | 500.00 | 2500.00 | 100.00 | 500.00 | 500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
11.70 | Supply of Conventional optical smoke detectors with base , compatible to existing system (Make :- Softchip-AGNI Comm.)/Agni at site etc complete as required | 5.00 | Each |  | 200.00 | 1000.00 | 1170.00 | 5850.00 | 500.00 | 2500.00 | 100.00 | 500.00 | 500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
11.80 | Supply of Conventional Hooter compatible to existing system (Make :- Softchip-AGNI Comm.)/Agni at site etc complete as required. | 2.00 | Each |  | 200.00 | 400.00 | 990.00 | 1980.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 200.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
11.90 | Supply of Conventional manual call point compatible to existing system (Make :- Softchip-AGNI Comm.)/Agni at site etc complete as required. | 2.00 | Each |  | 200.00 | 400.00 | 855.00 | 1710.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 200.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
12.00 | Supply of 12 volt, 7 AH nominal SMF battery suitable for replacement of existing Fire panel battery at site etc complete as required. | 5.00 | Each |  | 1160.00 | 5800.00 | 1642.00 | 8210.00 | 500.00 | 2500.00 | 100.00 | 500.00 | 500.00 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE
| Total in Figures |  |  |  |  | 5588471.00 |  | 5853810.00 |  | 5155200.00 |  | 5603169.00
Lowest Amount Quoted BY: M/s BHARAT ELECTRIC, NAGPUR(5155200.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations, AC Units, Water Tender ID: 2022_AAI_133739_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s BHARAT ELECTRIC, NAGPUR | 5155200.00 | L1
| 2 | R.K. Enterprises | 5588471.00 | L2
| 3 | M/s AL-HUDA ELECTRICAL AND MAINTENANCE | 5603169.00 | L3
| 4 | Anil Kumar Sharma | 5853810.00 | L4