## BoQ1
Government eProcurement System Created By: D Boominathan Created Date/Time: 23-Dec-2022 12:45 PM Tender Title: Operation and General Maintenance of E and M Installations in operational area, Power House and OTB at Trichy Airport 2022 to 2024 Tender ID: 2022_AAI_135022_1
Tender Inviting Authority: Assistant General Manager (Engg-E)
Name of Work: Operation & General Maintenance of E&M Installations in operational Area, Power house & OTB at Trichy Airport (2022-24)
Contract No: AAI/TRY/ENGG(E)/ARMO-12/22-23 Tender ID: 2022_AAI_ 135022_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | VOLTECH O AND M SERVICES PVT LTD(GSTN-33AACCV9209K1Z4) |  | DElite System Engineering (India) Pvt. Ltd.(GSTN-NA) |  | Sterling and wilson pvt ltd(GSTN-NA) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation & Maintenance of various Electrical & Mechanical Installations and GLF Installations as detailed in "Annexure-B" of operational and non operational area such as 11KV Sub-Station, OTB, CCR including operation, repairs & maintenance, attending faults / breakdown rectifications, ensuring serviceability / satisfactory working conditions of the system, attending complaints, preventive maintenance on daily / weekly / monthly / quarterly / half yearly / yearly basis maintenance of records / documentation etc., as per scope of work given in special conditions of contract in all days including sunday and holidays. The services of DG Sets, AMF Panels at power house shall be ensured round the clock (i.e. in three shifts daily, each shift of 8 hours) and the services of all others E&M Installations shall be ensured for three shifts (each of 8 hours) daily as required. by engaging minimum number of staff as stipulated in the special conditions of the contract and particular specifications | 24.00 | Month |  | 745099.00 | 17882376.00 | 712475.94 | 17099422.56 | 754999.00 | 18119976.00 | 671337.14 | 16112091.36 | 797333.00 | 19135992.00 | 16112091.36 | Sterling and wilson pvt ltd
2.00 | Providing vehicle with driver having valid class of driving license and badge no for use in day to day maintenance of Electrical installations, operational requirement and office purpose 0600 hrs to 2200hrs in 2 shifts on all days including national holidays and sundays as per special terms and conditions in addition to general terms and conditions of contract as required for a maximum of 1500KM per month. Vehicle shall be registered in Year 2020 or later. (Type of vehicle : BOLERO /Mahindra Marazzo/Innova/Trax Cruiser/Ertiga ) (Approx. 1500 KM per Month)
2.01 | For First Year | 12.00 | Month |  | 82999.00 | 995988.00 | 57843.00 | 694116.00 | 69999.00 | 839988.00 | 88000.00 | 1056000.00 | 70000.00 | 840000.00 | 694116.00 | VOLTECH O AND M SERVICES PVT LTD
2.02 | For Second Year | 12.00 | Month |  | 82999.00 | 995988.00 | 58539.60 | 702475.20 | 69999.00 | 839988.00 | 90640.00 | 1087680.00 | 70000.00 | 840000.00 | 702475.20 | VOLTECH O AND M SERVICES PVT LTD
3.00 | Dehydration and filtration of transformer oil at site with high vacuum filtration apparatus to obtain BDV value 40 KV for 1 minute as required, topping of oil and submission of test reports etc. as required for following Transformers. (Make: Kirloskar, Capacity 1250 KVA, Oil Capacity 850 Ltrs, Qty - 3 Nos)
3.01 | 1st Year | 2550.00 | Ltrs |  | 4.99 | 12724.50 | 4.80 | 12240.00 | 14.00 | 35700.00 | 6.05 | 15427.50 | 7.00 | 17850.00 | 12240.00 | VOLTECH O AND M SERVICES PVT LTD
3.02 | 2nd Year | 2550.00 | Ltrs |  | 4.99 | 12724.50 | 4.00 | 10200.00 | 14.00 | 35700.00 | 6.05 | 15427.50 | 7.00 | 17850.00 | 10200.00 | VOLTECH O AND M SERVICES PVT LTD
4.00 | Supply of transformer top-up oil suitable for kirloskar make, 1250 KVA Transformer. | 100.00 | Ltrs |  | 159.00 | 15900.00 | 174.00 | 17400.00 | 299.00 | 29900.00 | 121.00 | 12100.00 | 120.00 | 12000.00 | 12000.00 | ABHISHEK INTEGRATIONS LIMITED
5.00 | Supply and replacement of Silica gel crystals for transformer breather including removing the detoriated one and refilling the new crystals etc as required. | 10.00 | kg |  | 629.00 | 6290.00 | 697.00 | 6970.00 | 600.00 | 6000.00 | 572.00 | 5720.00 | 1250.00 | 12500.00 | 5720.00 | Sterling and wilson pvt ltd
6.00 | Testing the BDV value and PH value by applying minimum 40 KV for 1 minute of transformer oil of two samples (top and bottom) and submission of report as required.
6.01 | 1st Year (3 Transformers 6 tests) | 1.00 | Job |  | 3179.00 | 3179.00 | 2788.00 | 2788.00 | 1200.00 | 1200.00 | 2475.00 | 2475.00 | 2500.00 | 2500.00 | 1200.00 | DElite System Engineering (India) Pvt. Ltd.
6.02 | 2nd Year (3 Transformers 6 tests) | 1.00 | Job |  | 2649.00 | 2649.00 | 2323.20 | 2323.20 | 1400.00 | 1400.00 | 2475.00 | 2475.00 | 2500.00 | 2500.00 | 1400.00 | DElite System Engineering (India) Pvt. Ltd.
7.00 | Inspection, servicing and testing of 630A, Avera make, 11 KV Vaccum Circuit Breakers as per OEM method and practice including carrying out preventive maintenance and submission of test reports etc. as required.
7.01 | 1st Year | 4.00 | Each |  | 2999.00 | 11996.00 | 4646.40 | 18585.60 | 7500.00 | 30000.00 | 8800.00 | 35200.00 | 6000.00 | 24000.00 | 11996.00 | CHENNAI ENGINEERING SERVICES
7.02 | 2nd Year | 4.00 | Each |  | 2999.00 | 11996.00 | 3716.80 | 14867.20 | 7500.00 | 30000.00 | 8800.00 | 35200.00 | 6000.00 | 24000.00 | 11996.00 | CHENNAI ENGINEERING SERVICES
8.00 | Carrying out secondary injection tests & calibration of over current, earth fault, auxilary, supervision and triping relay set (2 Over current,1 Earth fault, 2 Auxilary, 1 Trip and 1 Supervision relay) of 11 KV HT panel including submission of reports as required.
8.01 | 1st Year | 4.00 | Set |  | 1589.00 | 6356.00 | 1393.60 | 5574.40 | 5999.00 | 23996.00 | 2750.00 | 11000.00 | 2899.00 | 11596.00 | 5574.40 | VOLTECH O AND M SERVICES PVT LTD
8.02 | 2nd Year | 4.00 | Set |  | 1059.00 | 4236.00 | 929.60 | 3718.40 | 5999.00 | 23996.00 | 2750.00 | 11000.00 | 2899.00 | 11596.00 | 3718.40 | VOLTECH O AND M SERVICES PVT LTD
9.00 | Inspection, servicing and testing of following GE make Air circuit breakers including carrying out preventive maintenance asper OEM recommendations and submission of test reports etc. as required. (Two services per year) a) 2000A - 10 Nos b) 1600A - 1 No c) 800A - 10 Nos
9.01 | 1st Year | 21.00 | Each |  | 3999.00 | 83979.00 | 5575.20 | 117079.20 | 2999.00 | 62979.00 | 6600.00 | 138600.00 | 2700.00 | 56700.00 | 56700.00 | ABHISHEK INTEGRATIONS LIMITED
9.02 | 2nd Year | 21.00 | Each |  | 3999.00 | 83979.00 | 4646.40 | 97574.40 | 2999.00 | 62979.00 | 6600.00 | 138600.00 | 2700.00 | 56700.00 | 56700.00 | ABHISHEK INTEGRATIONS LIMITED
10.00 | Inspection, servicing and testing of following L&T make Air circuit breakers including carrying out preventive maintenance as per OEM recommendations and submission of test reports etc. as required. (One Regular maintenance + 2 free on call service) a) 2500A - 10 Nos b) 1250A - 4 Nos
10.01 | 1st Year - 2500A -10 Nos | 10.00 | Each |  | 3999.00 | 39990.00 | 14006.40 | 140064.00 | 2999.00 | 29990.00 | 6050.00 | 60500.00 | 2700.00 | 27000.00 | 27000.00 | ABHISHEK INTEGRATIONS LIMITED
10.02 | 1st Year - 1250A - 4 Nos | 4.00 | Each |  | 3999.00 | 15996.00 | 11447.20 | 45788.80 | 2999.00 | 11996.00 | 5720.00 | 22880.00 | 2600.00 | 10400.00 | 10400.00 | ABHISHEK INTEGRATIONS LIMITED
10.03 | 2nd Year - 2500A-10 Nos | 10.00 | Each |  | 3999.00 | 39990.00 | 14678.40 | 146784.00 | 2999.00 | 29990.00 | 6050.00 | 60500.00 | 2700.00 | 27000.00 | 27000.00 | ABHISHEK INTEGRATIONS LIMITED
10.04 | 2nd Year - 1250A - 4 Nos | 4.00 | Each |  | 3999.00 | 15996.00 | 12019.20 | 48076.80 | 2999.00 | 11996.00 | 5720.00 | 22880.00 | 2600.00 | 10400.00 | 10400.00 | ABHISHEK INTEGRATIONS LIMITED
11.00 | Rewinding, servicing, repairing of ceiling fan upto 1400mm sweep including replacement of wornout / defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 80.00 | Job |  | 549.00 | 43920.00 | 604.00 | 48320.00 | 1100.00 | 88000.00 | 572.00 | 45760.00 | 400.00 | 32000.00 | 32000.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Rewinding, servicing, repairing of wall mounted fans/exhaust fans/pedestal fans upto 450mm sweep including replacement of wornout / defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 30.00 | Job |  | 1999.00 | 59970.00 | 1858.40 | 55752.00 | 1500.00 | 45000.00 | 572.00 | 17160.00 | 450.00 | 13500.00 | 13500.00 | ABHISHEK INTEGRATIONS LIMITED
13.00 | Rewinding, servicing, repairing of wall fan / Exhaust fan/Pedestal fan above 450 - 600mm sweep including replacement of wornout / defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site. (Dismantled Material belongs to contractor). | 20.00 | Job |  | 2199.00 | 43980.00 | 2136.80 | 42736.00 | 1600.00 | 32000.00 | 598.00 | 11960.00 | 500.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
14.00 | Re-winding and repair of following rating submersible/monoblock pump motors including dismantling, cutting of burnt out wire, rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts, re-assembling, testing of motor, transportation of the submersible pump motor set to the site etc as and on when required.
14.01 | below & upto 3 HP capacity | 6.00 | Job |  | 4999.00 | 29994.00 | 6969.00 | 41814.00 | 7999.00 | 47994.00 | 2495.50 | 14973.00 | 2500.00 | 15000.00 | 14973.00 | Sterling and wilson pvt ltd
14.02 | Above 3HP - upto 5 HP | 6.00 | Job |  | 5499.00 | 32994.00 | 7550.00 | 45300.00 | 9999.00 | 59994.00 | 3001.50 | 18009.00 | 3000.00 | 18000.00 | 18000.00 | ABHISHEK INTEGRATIONS LIMITED
14.03 | Above 5 HP - upto 7.5 HP | 6.00 | Job |  | 6499.00 | 38994.00 | 8131.00 | 48786.00 | 15000.00 | 90000.00 | 4004.30 | 24025.80 | 6000.00 | 36000.00 | 24025.80 | Sterling and wilson pvt ltd
15.00 | Servicing of following capacity Monoblock/sub-mersible pumps i/c replacement of all worn out GM bushes, thrust bearings, impellers, studs sets and necessary spares and lathe work, transportation charges complete in all respect etc., as on when required.
15.01 | below & upto 3 HP capacity | 4.00 | Job |  | 2999.00 | 11996.00 | 4065.00 | 16260.00 | 6999.00 | 27996.00 | 2495.50 | 9982.00 | 2000.00 | 8000.00 | 8000.00 | ABHISHEK INTEGRATIONS LIMITED
15.02 | Above 3HP - upto 5 HP | 4.00 | Job |  | 3999.00 | 15996.00 | 5227.00 | 20908.00 | 7999.00 | 31996.00 | 3001.50 | 12006.00 | 2500.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
15.03 | Above 5 HP - upto 7.5 HP | 4.00 | Job |  | 3499.00 | 13996.00 | 5227.00 | 20908.00 | 14000.00 | 56000.00 | 4004.30 | 16017.20 | 3000.00 | 12000.00 | 12000.00 | ABHISHEK INTEGRATIONS LIMITED
16.00 | Annual maintenance, service contract of following UPS complete with all electrical, electronic, mechanical, equipment, safety controls and instrumentations with all associated systems including carrying out preventive / scheduled Quarterly maintenance as per OEM's & AAI recommendations etc., as required.
16.01 | For First Year Capacity: 80 KVA, Make: Power One 1 visit - 1 Job (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 27999.00 | 111996.00 | 33234.00 | 132936.00 | 15000.00 | 60000.00 | 30800.00 | 123200.00 | 6120.00 | 24480.00 | 24480.00 | ABHISHEK INTEGRATIONS LIMITED
16.02 | For First Year Capacity: 80 KVA, Make:Numeric 1 visit - 1 Job (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 15899.00 | 63596.00 | 17423.00 | 69692.00 | 15000.00 | 60000.00 | 30800.00 | 123200.00 | 28815.00 | 115260.00 | 60000.00 | DElite System Engineering (India) Pvt. Ltd.
16.03 | For Second Year Capacity: 80 KVA, Make: Power One 1 visit - 1 Job (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 28999.00 | 115996.00 | 34231.00 | 136924.00 | 15000.00 | 60000.00 | 33000.00 | 132000.00 | 6120.00 | 24480.00 | 24480.00 | ABHISHEK INTEGRATIONS LIMITED
16.04 | For Second Year Capacity: 80 KVA, Make:Numeric 1 visit - 1 Job (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 15899.00 | 63596.00 | 17423.00 | 69692.00 | 15000.00 | 60000.00 | 33000.00 | 132000.00 | 28815.00 | 115260.00 | 60000.00 | DElite System Engineering (India) Pvt. Ltd.
17.00 | Annual comprehensive maintenance service contract of Technocrat make sliding gate & boom barrier by carrying out one mandatory visit in quarterly and attending any number of breakdown calls in additional to quarterly visit Job include all electrical, electronic, mechanical, equipment, safety controls and instrumentations with all associated systems including carrying out preventive maintenance as per OEM & AAI recommendations etc. as required. a). Sliding gate of size 6.10 Mtr x 2.02 Mtr - 01 No. b). Boom barrier of size 5.10 Mtr - 01No.
17.01 | 1st Year (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 11129.00 | 44516.00 | 12196.00 | 48784.00 | 15000.00 | 60000.00 | 60500.00 | 242000.00 | 17850.00 | 71400.00 | 44516.00 | CHENNAI ENGINEERING SERVICES
17.02 | 2nd Year (Quarterly visit per year - 4 visit) | 4.00 | Job |  | 12199.00 | 48796.00 | 13757.00 | 55028.00 | 15000.00 | 60000.00 | 66000.00 | 264000.00 | 17850.00 | 71400.00 | 48796.00 | CHENNAI ENGINEERING SERVICES
18.00 | Calibration of tools from NABL accredited laboratory including Transportation (collecting the tools from AAI and returning to AAI after completion of calibration) For First Year
18.01 | Calibration of True RMS Multimeter of the maximum rating of 20A, 1000V, 40M.Ohms, AC/DC TRMS Make :FLUKE Model no:179 EJKCT, including adjustment of settings as required | 2.00 | Each |  | 1999.00 | 3998.00 | 2137.20 | 4274.40 | 1500.00 | 3000.00 | 1650.00 | 3300.00 | 770.00 | 1540.00 | 1540.00 | ABHISHEK INTEGRATIONS LIMITED
18.02 | Calibration of Digital clamp meter of the maximum rating of 1000A, 1000V, 60M.Ohms AC/DC TRMS Make :Fluke Model No : 376, including adjustment of settings as required | 2.00 | Each |  | 1999.00 | 3998.00 | 2137.20 | 4274.40 | 1500.00 | 3000.00 | 1650.00 | 3300.00 | 715.00 | 1430.00 | 1430.00 | ABHISHEK INTEGRATIONS LIMITED
18.03 | Calibration of Digital insulation tester of the maximum rating of with setting 500V & 1000V and maximum rating of 1000V, 50MW Make : Fluke Model No : 1507-1kV, including adjustment of settings as required | 2.00 | Each |  | 1999.00 | 3998.00 | 1579.60 | 3159.20 | 1999.00 | 3998.00 | 2200.00 | 4400.00 | 770.00 | 1540.00 | 1540.00 | ABHISHEK INTEGRATIONS LIMITED
18.04 | Calibration of AC Digital Earth Tester the maximum range 20V, 2000W Make : Fluke , Model No : 1621 kit,including adjustment of settings as required | 1.00 | Each |  | 1999.00 | 1999.00 | 1394.00 | 1394.00 | 1999.00 | 1999.00 | 1650.00 | 1650.00 | 770.00 | 770.00 | 770.00 | ABHISHEK INTEGRATIONS LIMITED
19.00 | Calibration of tools from NABL accredited laboratory including Transportation (collecting the tools from AAI and returning to AAI after completion of calibration) For Second Year
19.01 | Calibration of True RMS Multimeter of the maximum rating of 20A, 1000V, 40M.Ohms, AC/DC TRMS Make :FLUKE Model no:179 EJKCT, including adjustment of settings as required | 2.00 | Each |  | 2499.00 | 4998.00 | 2241.60 | 4483.20 | 1500.00 | 3000.00 | 1650.00 | 3300.00 | 770.00 | 1540.00 | 1540.00 | ABHISHEK INTEGRATIONS LIMITED
19.02 | Calibration of Digital clamp meter of the maximum rating of 1000A, 1000V, 60M.Ohms AC/DC TRMS Make :Fluke Model No : 376, including adjustment of settings as required | 2.00 | Each |  | 2499.00 | 4998.00 | 2241.60 | 4483.20 | 1500.00 | 3000.00 | 1650.00 | 3300.00 | 715.00 | 1430.00 | 1430.00 | ABHISHEK INTEGRATIONS LIMITED
19.03 | Calibration of Digital insulation tester of the maximum rating of with setting 500V & 1000V and maximum rating of 1000V, 50MW Make : Fluke Model No : 1507-1kV, including adjustment of settings as required | 2.00 | Each |  | 1499.00 | 2998.00 | 1656.40 | 3312.80 | 1999.00 | 3998.00 | 2200.00 | 4400.00 | 770.00 | 1540.00 | 1540.00 | ABHISHEK INTEGRATIONS LIMITED
19.04 | Calibration of AC Digital Earth Tester the maximum range 20V, 2000W Make : Fluke , Model No : 1621 kit,including adjustment of settings as required | 1.00 | Each |  | 1499.00 | 1499.00 | 1461.20 | 1461.20 | 1999.00 | 1999.00 | 1650.00 | 1650.00 | 770.00 | 770.00 | 770.00 | ABHISHEK INTEGRATIONS LIMITED
20.00 | Calibration of Clinometer from NABL accredated laboratory/ OEM laboratory and submission of test report to E-I-C. | 4.00 | Each |  | 12500.00 | 50000.00 | 6040.00 | 24160.00 | 4599.00 | 18396.00 | 2200.00 | 8800.00 | 12000.00 | 48000.00 | 8800.00 | Sterling and wilson pvt ltd
21.00 | Painting of GLF fittings such as Runway/Taxi/Approach light fittings/ Poles of height of maximum 1.5 mtr, including base plate with two coats of synthetic enamel paint of approved make in yellow colour (RAL 1021) to give an even shade, including removal, taking out, fixing etc., after completion of painting, including numbering of fittings in black colour etc complete as required. | 442.00 | Each |  | 139.00 | 61438.00 | 156.00 | 68952.00 | 799.00 | 353158.00 | 764.50 | 337909.00 | 100.00 | 44200.00 | 44200.00 | ABHISHEK INTEGRATIONS LIMITED
22.00 | Painting of Street light pole of following size after scrubbing rust from pole with two coats of aluminum paint including writing of pole number, suply of labour, materials, T&P as directed by Engineer-In-Charge complete in all respect
22.01 | Size 3mtr long, Including two cross arms if any | 88.00 | Each |  | 199.00 | 17512.00 | 210.00 | 18480.00 | 4299.00 | 378312.00 | 1435.50 | 126324.00 | 500.00 | 44000.00 | 17512.00 | CHENNAI ENGINEERING SERVICES
22.02 | Up to Size 4.5mtr long | 140.00 | Each |  | 179.00 | 25060.00 | 191.00 | 26740.00 | 4299.00 | 601860.00 | 1914.00 | 267960.00 | 600.00 | 84000.00 | 25060.00 | CHENNAI ENGINEERING SERVICES
22.03 | Above 4.5mtr and upto 7mtr long | 73.00 | Each |  | 249.00 | 18177.00 | 269.00 | 19637.00 | 4999.00 | 364927.00 | 2387.00 | 174251.00 | 900.00 | 65700.00 | 18177.00 | CHENNAI ENGINEERING SERVICES
23.00 | Spray painting with synthetic enamel paint of sheet metal enclosures such as feeder pillars, distribution boards, Electrical panels, with one or more coats of approved paint & shade after scrubbing the rust from feeder pillers, including cleaning of surface, numbering, inscription etc. as required and as per directions of Engineer-In-Charge. | 50.00 | Sqmtr |  | 149.00 | 7450.00 | 160.00 | 8000.00 | 420.00 | 21000.00 | 690.00 | 34500.00 | 90.00 | 4500.00 | 4500.00 | ABHISHEK INTEGRATIONS LIMITED
24.00 | Execution of items of schedule of rates CPWD DSR-2022 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in operational area/OTB/Colony as per the special Terms and Conditions in addition to General Terms and Conditions of Contract as required. The bidder shall quote the rate for 01 (one) job corresponding to the value of Rs.3,00,000/- (Ex.GST) in INR only and percentage (%) above / below shall be calculated by AAI and paid accordingly. Note: The rate provided in DSR 2022 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST, the payment shall be made to contractor as mentioned in special conditions of tender document. For First Year | 1.00 | Job |  | 285000.00 | 285000.00 | 300000.00 | 300000.00 | 300000.00 | 300000.00 | 275000.00 | 275000.00 | 255000.00 | 255000.00 | 255000.00 | ABHISHEK INTEGRATIONS LIMITED
25.00 | Execution of items of schedule of rates CPWD DSR-2022 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in operational area/OTB/Colony as per the special Terms and Conditions in addition to General Terms and Conditions of Contract as required. The bidder shall quote the rate for 01 (one) job corresponding to the value of Rs.3,00,000/- (Ex.GST) in INR only and percentage (%) above / below shall be calculated by AAI and paid accordingly. Note: The rate provided in DSR 2022 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST, the payment shall be made to contractor as mentioned in special conditions of tender document. For Second Year | 1.00 | Job |  | 285000.00 | 285000.00 | 300000.00 | 300000.00 | 300000.00 | 300000.00 | 286000.00 | 286000.00 | 255000.00 | 255000.00 | 255000.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 21760792.00 |  | 20832699.16 |  | 23428401.00 |  | 21568093.36 |  | 22528324.00
Lowest Amount Quoted BY: VOLTECH O AND M SERVICES PVT LTD(20832699.16)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and General Maintenance of E and M Installations in operational area, Power House and OTB at Trichy Airport 2022 to 2024 Tender ID: 2022_AAI_135022_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLTECH O AND M SERVICES PVT LTD | 20832699.16 | L1
| 2 | Sterling and wilson pvt ltd | 21568093.36 | L2
| 3 | CHENNAI ENGINEERING SERVICES | 21760792.00 | L3
| 4 | ABHISHEK INTEGRATIONS LIMITED | 22528324.00 | L4
| 5 | DElite System Engineering (India) Pvt. Ltd. | 23428401.00 | L5