## BoQ1
Government eProcurement System Created By: RAVICHANDRAN SEETHARAMAN Created Date/Time: 20-Dec-2022 05:31 PM Tender Title: Operation and General Maintenance of E and M Installation in Terminal Building including STP at Trichy Airport 2022-2024 Tender ID: 2022_AAI_135101_1
Tender Inviting Authority: Asst. General Manager (E-E)
Name of Work: Operation and General Maintenance of E & M Installation In Terminal Building including STP at Trichy Airport (2022-2024).
Contract No: ARMO-11/TRY/2022-24
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | CENTRE TAP ENGINEERING(GSTN-24AGPPP8172K1ZP) |  | ABHISHEK INTEGRATIONS LIMITED(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation, monitoring, preventive and breakdown maintenance of various electrical & mechanical installations as detailed in "ANNEXURE - A" of NITB & 240 KLD sewage treatment plant (STP) , Trichy Airport on round the clock basis for all working days including sundays and holidays inline with the requirement indicated in the tender document and as required. | 24.00 | Month |  | 938169.00 | 22516056.00 | 850000.00 | 20400000.00 | 1012111.00 | 24290664.00 | 20400000.00 | CENTRE TAP ENGINEERING
2.01 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For First Year 300 kg, AVERY make (class II) | 1.00 | Each |  | 2119.00 | 2119.00 | 10000.00 | 10000.00 | 2500.00 | 2500.00 | 2119.00 | CHENNAI ENGINEERING SERVICES
2.02 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For First Year 120 kg, ORION make (class III) | 3.00 | Each |  | 1219.00 | 3657.00 | 8000.00 | 24000.00 | 1600.00 | 4800.00 | 3657.00 | CHENNAI ENGINEERING SERVICES
2.03 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For First Year 150Kg, Phoenix make (class III) | 4.00 | Each |  | 1219.00 | 4876.00 | 7000.00 | 28000.00 | 1600.00 | 6400.00 | 4876.00 | CHENNAI ENGINEERING SERVICES
2.04 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For First Year 5000 Kg Essae make (class III) | 1.00 | Each |  | 5049.00 | 5049.00 | 20000.00 | 20000.00 | 5000.00 | 5000.00 | 5000.00 | ABHISHEK INTEGRATIONS LIMITED
2.05 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For First Year 1000 Kg Essae make (class III) | 1.00 | Each |  | 1519.00 | 1519.00 | 15000.00 | 15000.00 | 1800.00 | 1800.00 | 1519.00 | CHENNAI ENGINEERING SERVICES
2.06 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For First Year 2Kg Essae make (class I) | 1.00 | Each |  | 1219.00 | 1219.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 1000.00 | CENTRE TAP ENGINEERING
2.07 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For First Year 20kg, weighing stones | 28.00 | Each |  | 259.00 | 7252.00 | 2000.00 | 56000.00 | 110.00 | 3080.00 | 3080.00 | ABHISHEK INTEGRATIONS LIMITED
2.08 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For Second Year 300 kg, AVERY make (class II) | 1.00 | Each |  | 2129.00 | 2129.00 | 10000.00 | 10000.00 | 2600.00 | 2600.00 | 2129.00 | CHENNAI ENGINEERING SERVICES
2.09 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For Second Year 120 kg, ORION make (class III) | 3.00 | Each |  | 1219.00 | 3657.00 | 8000.00 | 24000.00 | 1700.00 | 5100.00 | 3657.00 | CHENNAI ENGINEERING SERVICES
2.10 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For Second Year 150Kg, Phoenix make (class III) | 4.00 | Each |  | 1219.00 | 4876.00 | 7000.00 | 28000.00 | 1700.00 | 6800.00 | 4876.00 | CHENNAI ENGINEERING SERVICES
2.11 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For Second Year 5000 Kg Essae make (class III) | 1.00 | Each |  | 5049.00 | 5049.00 | 20000.00 | 20000.00 | 5200.00 | 5200.00 | 5049.00 | CHENNAI ENGINEERING SERVICES
2.12 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For Second Year 1000 Kg Essae make (class III) | 1.00 | Each |  | 1519.00 | 1519.00 | 15000.00 | 15000.00 | 1900.00 | 1900.00 | 1519.00 | CHENNAI ENGINEERING SERVICES
2.13 | Calibration and stamping of following make Electronic weighing machine/weighing stones and including submission of report etc. Inline with tender documents as required. For Second Year 2Kg Essae make (class I) | 1.00 | Each |  | 1219.00 | 1219.00 | 1000.00 | 1000.00 | 1600.00 | 1600.00 | 1000.00 | CENTRE TAP ENGINEERING
3.01 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For First Year Electronic Weighing Scale : Make : Phoenix Serial No : Q 86687,Q 86688, Q 86689,Q 86690 Capacity :150 Kg. (1 job = 1 year for 01 no weighing machines) | 4.00 | Job |  | 2279.00 | 9116.00 | 10000.00 | 40000.00 | 3000.00 | 12000.00 | 9116.00 | CHENNAI ENGINEERING SERVICES
3.02 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For First Year Electronic Weighing Scale : Make : Essae Serial No : 21511108080 Capacity : 5000 Kg. (1 job = 1 year for 01 no weighing machines) | 1.00 | Job |  | 9909.00 | 9909.00 | 20000.00 | 20000.00 | 6000.00 | 6000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED
3.03 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For First Year Electronic Weighing Scale : Make : Essae Serial No : 21511107629 Capacity : 1000 Kg. (1 job = 1 year for 01 no weighing machines) | 1.00 | Job |  | 7989.00 | 7989.00 | 20000.00 | 20000.00 | 4800.00 | 4800.00 | 4800.00 | ABHISHEK INTEGRATIONS LIMITED
3.04 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For First Year Electronic Weighing Scale : Make : Essae Serial No : FB20001110530 Capacity : 2Kg. (1 job = 1 year for 01 no weighing machines) | 1.00 | Job |  | 4549.00 | 4549.00 | 2000.00 | 2000.00 | 2400.00 | 2400.00 | 2000.00 | CENTRE TAP ENGINEERING
3.05 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For First Year Electronic Weighing Scale : Make :AVERY make (class II) Capacity : 300Kg. (1 job = 1 year for 01 no weighing machines) | 1.00 | Job |  | 3539.00 | 3539.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
3.06 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For First Year Electronic Weighing Scale : Make : ORION make (class III) Capacity : 120kg. (1 job = 1 year for 01 no weighing machines) | 3.00 | Job |  | 2279.00 | 6837.00 | 10000.00 | 30000.00 | 3000.00 | 9000.00 | 6837.00 | CHENNAI ENGINEERING SERVICES
3.07 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For Second Year Electronic Weighing Scale : Make : Phoenix Serial No : Q 86687,Q 86688, Q 86689,Q 86690 Capacity :150 Kg. (1 job = 1 year for 01 no weighing machines) | 4.00 | Job |  | 2279.00 | 9116.00 | 10000.00 | 40000.00 | 3000.00 | 12000.00 | 9116.00 | CHENNAI ENGINEERING SERVICES
3.08 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For Second Year Electronic Weighing Scale : Make : Essae Serial No : 21511108080 Capacity : 5000 Kg. (1 job = 1 year for 01 no weighing machines) | 1.00 | Job |  | 9909.00 | 9909.00 | 20000.00 | 20000.00 | 6000.00 | 6000.00 | 6000.00 | ABHISHEK INTEGRATIONS LIMITED
3.09 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For Second Year Electronic Weighing Scale : Make : Essae Serial No : 21511107629 Capacity : 1000 Kg. (1 job = 1 year for 01 no weighing machines) | 1.00 | Job |  | 7989.00 | 7989.00 | 20000.00 | 20000.00 | 4800.00 | 4800.00 | 4800.00 | ABHISHEK INTEGRATIONS LIMITED
3.10 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For Second Year Electronic Weighing Scale : Make : Essae Serial No : FB20001110530 Capacity : 2Kg. (1 job = 1 year for 01 no weighing machines) | 1.00 | Job |  | 4549.00 | 4549.00 | 2000.00 | 2000.00 | 2400.00 | 2400.00 | 2000.00 | CENTRE TAP ENGINEERING
3.11 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For Second Year Electronic Weighing Scale : Make : AVERY make (class II) Capacity : 300kg. (1 job = 1 year for 01 no weighing machines) | 1.00 | Job |  | 3539.00 | 3539.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
3.12 | Comprehensive Annual Maintenance of following Electronic weighing scale including periodical / preventive maintenance etc., inline with tender documents as required.(1 job = 1 year for 01 no weighing machines) For Second Year Electronic Weighing Scale : Make : ORION make (class III) capacity : 120 kg. (1 job = 1 year for 01 no weighing machines) | 3.00 | Job |  | 2279.00 | 6837.00 | 10000.00 | 30000.00 | 3000.00 | 9000.00 | 6837.00 | CHENNAI ENGINEERING SERVICES
4.01 | Comprehensive Annual Maintenace contract of following consul make UPS of different capacity installed at NITB, Power house inline with tender documents as required. For First Year 10KVA UPS - 5 nos | 1.00 | Year |  | 71689.00 | 71689.00 | 250000.00 | 250000.00 | 70945.00 | 70945.00 | 70945.00 | ABHISHEK INTEGRATIONS LIMITED
4.02 | Comprehensive Annual Maintenace contract of following consul make UPS of different capacity installed at NITB, Power house inline with tender documents as required. For First Year 5KVA UPS - 1 no | 1.00 | Year |  | 11029.00 | 11029.00 | 25000.00 | 25000.00 | 10915.00 | 10915.00 | 10915.00 | ABHISHEK INTEGRATIONS LIMITED
4.03 | Comprehensive Annual Maintenace contract of following consul make UPS of different capacity installed at NITB, Power house inline with tender documents as required. For First Year 3KVA UPS - 2 nos | 1.00 | Year |  | 17159.00 | 17159.00 | 20000.00 | 20000.00 | 16980.00 | 16980.00 | 16980.00 | ABHISHEK INTEGRATIONS LIMITED
4.04 | Comprehensive Annual Maintenace contract of following consul make UPS of different capacity installed at NITB, Power house inline with tender documents as required. For Second Year 10KVA UPS - 5 nos | 1.00 | Year |  | 75279.00 | 75279.00 | 250000.00 | 250000.00 | 78040.00 | 78040.00 | 75279.00 | CHENNAI ENGINEERING SERVICES
4.05 | Comprehensive Annual Maintenace contract of following consul make UPS of different capacity installed at NITB, Power house inline with tender documents as required. For Second Year 5KVA UPS - 1 no | 1.00 | Year |  | 11589.00 | 11589.00 | 25000.00 | 25000.00 | 12007.00 | 12007.00 | 11589.00 | CHENNAI ENGINEERING SERVICES
4.06 | Comprehensive Annual Maintenace contract of following consul make UPS of different capacity installed at NITB, Power house inline with tender documents as required. For Second Year 3KVA UPS - 2 nos | 1.00 | Year |  | 18019.00 | 18019.00 | 20000.00 | 20000.00 | 18678.00 | 18678.00 | 18019.00 | CHENNAI ENGINEERING SERVICES
5.01 | Annual Maintenance Contract of 02 Nos DORMA (Make) Automatic sliding door at NITB including quarterly preventive maintenance visit and all breakdown service visit complete as required as per tender documents. For First Year | 1.00 | Year |  | 43659.00 | 43659.00 | 80000.00 | 80000.00 | 45600.00 | 45600.00 | 43659.00 | CHENNAI ENGINEERING SERVICES
5.02 | Annual Maintenance Contract of 02 Nos DORMA (Make) Automatic sliding door at NITB including quarterly preventive maintenance visit and all breakdown service visit complete as required as per tender documents. For Second Year | 1.00 | Year |  | 46079.00 | 46079.00 | 80000.00 | 80000.00 | 50160.00 | 50160.00 | 46079.00 | CHENNAI ENGINEERING SERVICES
6.00 | Servicing of "Swam" make of Air blower including replacement of faulty spares like Bearings & oil seal etc., as required | 2.00 | Job |  | 18149.00 | 36298.00 | 20000.00 | 40000.00 | 1500.00 | 3000.00 | 3000.00 | ABHISHEK INTEGRATIONS LIMITED
7.01 | Re-winding and repair of following rating submersible/monoblock pump motors including dismantling, cutting of burnt out wire, rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts, bearings re-assembling, testing of motor, repainting with enamel paint , transportation of the submersible/ monoblock pump motor set to the site etc as and on when required. Upto 3 HP capacity | 10.00 | Job |  | 5229.00 | 52290.00 | 5000.00 | 50000.00 | 2000.00 | 20000.00 | 20000.00 | ABHISHEK INTEGRATIONS LIMITED
7.02 | Re-winding and repair of following rating submersible/monoblock pump motors including dismantling, cutting of burnt out wire, rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts, bearings re-assembling, testing of motor, repainting with enamel paint , transportation of the submersible/ monoblock pump motor set to the site etc as and on when required. Above 3 HP & Upto 5 HP capacity | 4.00 | Job |  | 5669.00 | 22676.00 | 5000.00 | 20000.00 | 2500.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
7.03 | Re-winding and repair of following rating submersible/monoblock pump motors including dismantling, cutting of burnt out wire, rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts, bearings re-assembling, testing of motor, repainting with enamel paint , transportation of the submersible/ monoblock pump motor set to the site etc as and on when required. Above 5 HP & Upto 7.5 HP capacity | 2.00 | Job |  | 6099.00 | 12198.00 | 20000.00 | 40000.00 | 4000.00 | 8000.00 | 8000.00 | ABHISHEK INTEGRATIONS LIMITED
7.04 | Re-winding and repair of following rating submersible/monoblock pump motors including dismantling, cutting of burnt out wire, rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts, bearings re-assembling, testing of motor, repainting with enamel paint , transportation of the submersible/ monoblock pump motor set to the site etc as and on when required. 15 HP capacity | 2.00 | Job |  | 17789.00 | 35578.00 | 30000.00 | 60000.00 | 8000.00 | 16000.00 | 16000.00 | ABHISHEK INTEGRATIONS LIMITED
7.05 | Re-winding and repair of following rating submersible/monoblock pump motors including dismantling, cutting of burnt out wire, rewinding with the same gage insulated copper wire including replacement of all the internal worn out / defective parts, bearings re-assembling, testing of motor, repainting with enamel paint , transportation of the submersible/ monoblock pump motor set to the site etc as and on when required. 74 HP capacity | 1.00 | Job |  | 39499.00 | 39499.00 | 70000.00 | 70000.00 | 25000.00 | 25000.00 | 25000.00 | ABHISHEK INTEGRATIONS LIMITED
8.01 | Servicing of following capacity Monoblock/sub-mersible pumps i/c replacement of all worn out GM bushes, thrust bearings, impellers, studs sets and necessary spares and lathe work, repainting with enamel paint by using spray guns, transportation charges complete in all respect etc., as on when required. Upto 3 HP capacity | 10.00 | Job |  | 3659.00 | 36590.00 | 3000.00 | 30000.00 | 1500.00 | 15000.00 | 15000.00 | ABHISHEK INTEGRATIONS LIMITED
8.02 | Servicing of following capacity Monoblock/sub-mersible pumps i/c replacement of all worn out GM bushes, thrust bearings, impellers, studs sets and necessary spares and lathe work, repainting with enamel paint by using spray guns, transportation charges complete in all respect etc., as on when required. Above 3 HP & Upto 5 HP capacity | 4.00 | Job |  | 4709.00 | 18836.00 | 5000.00 | 20000.00 | 2500.00 | 10000.00 | 10000.00 | ABHISHEK INTEGRATIONS LIMITED
8.03 | Servicing of following capacity Monoblock/sub-mersible pumps i/c replacement of all worn out GM bushes, thrust bearings, impellers, studs sets and necessary spares and lathe work, repainting with enamel paint by using spray guns, transportation charges complete in all respect etc., as on when required. 15 HP capacity | 2.00 | Job |  | 10459.00 | 20918.00 | 10000.00 | 20000.00 | 6000.00 | 12000.00 | 12000.00 | ABHISHEK INTEGRATIONS LIMITED
8.04 | Servicing of following capacity Monoblock/sub-mersible pumps i/c replacement of all worn out GM bushes, thrust bearings, impellers, studs sets and necessary spares and lathe work, repainting with enamel paint by using spray guns, transportation charges complete in all respect etc., as on when required. 74 HP capacity | 1.00 | Job |  | 15679.00 | 15679.00 | 30000.00 | 30000.00 | 12500.00 | 12500.00 | 12500.00 | ABHISHEK INTEGRATIONS LIMITED
9.00 | Repainting of fire hydrent system, LT feeder panel of sheet metal enclosures such as feeder pillars, distribution boards, Electrical panels, with one or more coats of approved synthetic enamel paint & shade after scrubbing the rust from feeder pillers/ pipes, including cleaning of surface, numbering, inscription etc. as required and as per directions of Engineer-In-Charge. | 850.00 | Sq.mtr |  | 119.00 | 101150.00 | 400.00 | 340000.00 | 70.00 | 59500.00 | 59500.00 | ABHISHEK INTEGRATIONS LIMITED
10.01 | Painting of Street light pole of following size after scrubbing rust from pole with two coats of aluminum paint including writing of pole number, suply of labour, materials, T&P as directed by Engineer-In-Charge complete in all respect Up to Size 4.5mtr long | 35.00 | Each |  | 179.00 | 6265.00 | 500.00 | 17500.00 | 400.00 | 14000.00 | 6265.00 | CHENNAI ENGINEERING SERVICES
10.02 | Painting of Street light pole of following size after scrubbing rust from pole with two coats of aluminum paint including writing of pole number, suply of labour, materials, T&P as directed by Engineer-In-Charge complete in all respect Above 4.5mtr and upto 7mtr long | 32.00 | Each |  | 249.00 | 7968.00 | 700.00 | 22400.00 | 650.00 | 20800.00 | 7968.00 | CHENNAI ENGINEERING SERVICES
11.00 | Execution of items of schedule of rates CPWD DSR-2022 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in NITB, Car parking area, STP and as per the special Terms and Conditions in addition to General Terms and Conditions of Contract as required. The bidder shall quote the rate for 01 (one) job corresponding to the value of Rs.3,00,000/- (Ex.GST) in INR only and percentage (%) above / below shall be calculated by AAI and paid accordingly. Note: The rate provided in DSR 2022 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST, the payment shall be made to contractor as mentioned in special conditions of tender document. For First Year | 1.00 | Job |  | 285000.00 | 285000.00 | 300000.00 | 300000.00 | 255000.00 | 255000.00 | 255000.00 | ABHISHEK INTEGRATIONS LIMITED
12.00 | Execution of items of schedule of rates CPWD DSR-2022 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in NITB, Car parking area, STP and as per the special Terms and Conditions in addition to General Terms and Conditions of Contract as required. The bidder shall quote the rate for 01 (one) job corresponding to the value of Rs.3,00,000/- (Ex.GST) in INR only and percentage (%) above / below shall be calculated by AAI and paid accordingly. Note: The rate provided in DSR 2022 is inclusive of GST @12%, however the contractor has to quote the amount in rate column, excluding GST, the payment shall be made to contractor as mentioned in special conditions of tender document. For Second Year | 1.00 | Job |  | 285000.00 | 285000.00 | 300000.00 | 300000.00 | 255000.00 | 255000.00 | 255000.00 | ABHISHEK INTEGRATIONS LIMITED
| Total in Figures |  |  |  |  | 23914521.00 |  | 22995900.00 |  | 25452469.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(22995900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and General Maintenance of E and M Installation in Terminal Building including STP at Trichy Airport 2022-2024 Tender ID: 2022_AAI_135101_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 22995900.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 23914521.00 | L2
| 3 | ABHISHEK INTEGRATIONS LIMITED | 25452469.00 | L3