## BoQ1
Government eProcurement System Created By: ARUN KUMAR K Created Date/Time: 22-Dec-2022 04:11 PM Tender Title: Replacement of Old Split AC Units installed at various locations of Mysuru Airport Tender ID: 2022_AAI_135331_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work: Replacement of Old Split AC Units installed at various locations of Mysuru Airport
Contract No: ­2022_AAI_135331_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | COOL STAR(GSTN-29AFJPP1758A1ZE) |  | jaydeep agency corporation(GSTN-24ACIPP6157B1ZQ) |  | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | COMFORTS MARKETING(GSTN-29ACHPG0830D1Z2) |  | LAKSHMI ELECTRICAL ENTERPRISES(GSTN-33AACFL6352N1Z4) |  | Glacier Cooling Solutions Pvt Ltd(GSTN-29AADCG6663M1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of High wall mounted Inverter type Split Air-conditioning units of following capacities with FIVE (05) STAR BEE RATING suitable for R-32/equivalent eco-friendly refrigerant, complete with indoor and outdoor unit, copper condenser coil, first charging and toping up of refrigerant if required, standard length of refrigerant piping with insulation , drain piping, & interconnecting copper control cables(b/w indoor & outdoor unit), required length of power cables upto nearest socket outlet, suitable capacity of Voltage stabilizer, cordless remote control etc. suitable for operation of 230V, 50 Hz, single phase AC power supply complete as per specifications and as per actual site requirements.
1.10 | 1.5TR Capacity | 20.00 | Each |  | 36000.00 | 720000.00 | 36000.00 | 720000.00 | 40184.00 | 803680.00 | 38053.00 | 761060.00 | 36600.00 | 732000.00 | 40000.00 | 800000.00 | 720000.00 | COOL STAR, jaydeep agency corporation
1.20 | 2.0TR Capacity | 13.00 | Each |  | 47000.00 | 611000.00 | 51000.00 | 663000.00 | 48333.00 | 628329.00 | 49545.00 | 644085.00 | 51000.00 | 663000.00 | 55000.00 | 715000.00 | 611000.00 | COOL STAR
2.00 | Supply, Installation, Testing and Commissioning of Cassette Inverter type Split Air-conditioning units of 3.0TR capacity suitable for R-32/equivalent eco-friendly refrigerant, complete with indoor and outdoor unit, copper condenser coil, first charging and toping up of refrigerant if required, 4-way decorative grilles, cordless remote control etc. suitable for operation of 415V, 50 Hz, three phase AC power supply complete as per specifications and as per actual site requirements. | 3.00 | Each |  | 99200.00 | 297600.00 | 125000.00 | 375000.00 | 98500.00 | 295500.00 | 90141.00 | 270423.00 | 105000.00 | 315000.00 | 96000.00 | 288000.00 | 270423.00 | COMFORTS MARKETING
3.00 | Providing additional refrigerant piping with insulation and interconnecting copper control cable between indoor unit and outdoor unit for the following type of Split/Cassette AC units etc complete as required.
3.10 | 1.5TR High wall mounted inverter type Split AC units | 70.00 | Meter |  | 550.00 | 38500.00 | 500.00 | 35000.00 | 500.00 | 35000.00 | 900.00 | 63000.00 | 800.00 | 56000.00 | 980.00 | 68600.00 | 35000.00 | jaydeep agency corporation, VOLKS ENERGIE PVT LTD
3.20 | 2.0TR High wall mounted inverter type Split AC units | 60.00 | Meter |  | 650.00 | 39000.00 | 600.00 | 36000.00 | 550.00 | 33000.00 | 900.00 | 54000.00 | 900.00 | 54000.00 | 980.00 | 58800.00 | 33000.00 | VOLKS ENERGIE PVT LTD
3.30 | 3.0TR Cassette inverter type Split AC units | 40.00 | Meter |  | 750.00 | 30000.00 | 700.00 | 28000.00 | 625.00 | 25000.00 | 1215.00 | 48600.00 | 1200.00 | 48000.00 | 1250.00 | 50000.00 | 25000.00 | VOLKS ENERGIE PVT LTD
4.00 | Providing additional PVC Drain piping (medium class) of suitable size with insulation for the following type of Split/Cassette AC units complete with all accessories complete as required.
4.10 | 1.5/2.0TR High wall mounted inverter type Split AC units | 90.00 | Meter |  | 200.00 | 18000.00 | 50.00 | 4500.00 | 50.00 | 4500.00 | 225.00 | 20250.00 | 80.00 | 7200.00 | 75.00 | 6750.00 | 4500.00 | jaydeep agency corporation, VOLKS ENERGIE PVT LTD
4.20 | 3.0TR Cassette inverter type Split AC units | 20.00 | Meter |  | 250.00 | 5000.00 | 70.00 | 1400.00 | 80.00 | 1600.00 | 225.00 | 4500.00 | 95.00 | 1900.00 | 85.00 | 1700.00 | 1400.00 | jaydeep agency corporation
5.00 | Providing Cement Concrete pedestal/ MS Stand of suitable size for installation of split/Cassette AC outdoor unit as per site requirement complete as required. | 34.00 | Job |  | 900.00 | 30600.00 | 450.00 | 15300.00 | 800.00 | 27200.00 | 1000.00 | 34000.00 | 1250.00 | 42500.00 | 1250.00 | 42500.00 | 15300.00 | jaydeep agency corporation
6.00 | Dismantling of existing Split/Cassette/Tower AC unit comprising of indoor, outdoor unit, refrigerant piping, interconnection cable etc and shifting/transportation to AAI stores etc as required.
6.10 | 1.5/2.0 TR split type AC unit | 29.00 | Job |  | 600.00 | 17400.00 | 250.00 | 7250.00 | 500.00 | 14500.00 | 1500.00 | 43500.00 | 500.00 | 14500.00 | 1000.00 | 29000.00 | 7250.00 | jaydeep agency corporation
6.20 | 3.0 TR casette type/3.5 Tower type AC unit | 5.00 | Job |  | 1000.00 | 5000.00 | 500.00 | 2500.00 | 800.00 | 4000.00 | 2000.00 | 10000.00 | 500.00 | 2500.00 | 1000.00 | 5000.00 | 2500.00 | jaydeep agency corporation, LAKSHMI ELECTRICAL ENTERPRISES
| Total in Figures |  |  |  |  | 1812100.00 |  | 1887950.00 |  | 1872309.00 |  | 1953418.00 |  | 1936600.00 |  | 2065350.00
Lowest Amount Quoted BY: COOL STAR(1812100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Old Split AC Units installed at various locations of Mysuru Airport Tender ID: 2022_AAI_135331_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | COOL STAR | 1812100.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 1872309.00 | L2
| 3 | jaydeep agency corporation | 1887950.00 | L3
| 4 | LAKSHMI ELECTRICAL ENTERPRISES | 1936600.00 | L4
| 5 | COMFORTS MARKETING | 1953418.00 | L5
| 6 | Glacier Cooling Solutions Pvt Ltd | 2065350.00 | L6