## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 01-Dec-2022 01:50 PM Tender Title: Job contract for Operation Maintenance of E and M Installations Various Capacity of DG Sets and CMC of split ACs at Jamshedpur RCAG for the year 2022 23 Tender ID: 2022_AAI_135371_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Job contract for Operation & Maintenance of E&M Installations ,Various Capacity of DG Sets & CMC of split AC"s at Jamshedpur RCAG for the year 2022-23.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anoop Refrigeration(GSTN-09AAGFA4646N1Z1) |  | M/S AMAR ENTERPRISES(GSTN-20AAMFA2722R1ZE) |  | m/s cool control(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Annual Maintenance Services of Electrical & Mechanical Installations viz power supply system,LT panels,DG sets,lighting etc. covering the scope of operation, preventive and breakdown maintenance, taking rectification action, ensuring serviceability, satisfactory working condition of the system, preventive maintenance, maintenance of records/documents etc. by engaging manpower round the clock basis on all days including sundays & holidays as per detailed specifications, terms & conditions covered under this contract. | 12.00 | Month |  | 137852.00 | 1654224.00 | 134000.00 | 1608000.00 | 146350.00 | 1756200.00 | 1608000.00 | M/S AMAR ENTERPRISES
2.00 | Annual maintenance contract of following make DG sets ( Engine+Panel) including AMF panel with other accessories from OEM/authorised service agencies. Job includes monthly visit for carrying out preventive maintenance & attending any number of breakdown calls as & when required , minor repairs etc. as per manufacturer"s recomondations/standard practice and as per the scope of work, complete as required.
2.01 | 25KVA Kirloskar (Liquid) RB33SRI, Kirloskar Green Brushless 3 Phase AC soundproof acoustic canopy Generator at DVOR.-01 Nos | 12.00 | Month |  | 800.00 | 9600.00 | 1500.00 | 18000.00 | 1630.00 | 19560.00 | 9600.00 | Anoop Refrigeration
2.02 | 25KVA DG set { Engine- Mahindra model no 3335TCGM-C2,M/C No-LBS3B19 J22612-H,Engine sl No-NKF5DCJ0069 brushless 3 Phase synchrous generator } at DVOR -01 Nos & AAI Office .-01 no. | 12.00 | Month |  | 900.00 | 10800.00 | 1500.00 | 18000.00 | 1575.00 | 18900.00 | 10800.00 | Anoop Refrigeration
3.00 | Replacement of B-Checks kit & carried out of B-Check of 25 KVA Kirloskar make 3 phase AC soundproof Generator at DVOR.- 01 no. B- Check kit consist of following items . (i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 7.5 ltr (v) coolent-01. (make- KOEL). | 2.00 | Job |  | 3000.00 | 6000.00 | 2500.00 | 5000.00 | 3900.00 | 7800.00 | 5000.00 | M/S AMAR ENTERPRISES
4.00 | Replacement of B-Checks kit & carried out of B-Check of 25 KVA Mahindra make 3 phase AC soundproof Generator at Office & DVOR.- 02 NOS. B- Check kit consist of following items . (i) Air filter-01 (ii) Fuel filter-01(iii) Diesel filter-01(iv) Lube oil- 7.5 ltr (v) coolent-01. (Make-mahindra). | 4.00 | Job |  | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 4320.00 | 17280.00 | 10000.00 | Anoop Refrigeration, M/S AMAR ENTERPRISES
5.00 | All-inclusive Comprehensive Maintenance of all type & makes 1.5 TR capacity split airconditioning installed at different locations of airport including providing and replacing all necessary consumables, spares, compressors, refrigerant and all accessories i/c sabilizers( if have) etc complete to keep the serviceable condition all the time. | 11.00 | each/year |  | 3750.00 | 41250.00 | 3000.00 | 33000.00 | 9330.00 | 102630.00 | 33000.00 | M/S AMAR ENTERPRISES
6.00 | All-inclusive Comprehensive Maintenance of hot & cold RO+UV Water Purifier of Eureka forbes make having storage tank capacity 16.6 Litres & cooling capacity 15 LPH installed at Office Area of airport including providing/replacing all necessary acessories,consumables,spares,compressors,refrigerant, filters etc. as required for dispenser water shall be suitable for drinking including cleaning & making ensure the serviceability all the time etc complete as required. | 1.00 | each/year |  | 10600.00 | 10600.00 | 4000.00 | 4000.00 | 5230.00 | 5230.00 | 4000.00 | M/S AMAR ENTERPRISES
| Total in Figures |  |  |  |  | 1742474.00 |  | 1696000.00 |  | 1927600.00
Lowest Amount Quoted BY: M/S AMAR ENTERPRISES(1696000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Job contract for Operation Maintenance of E and M Installations Various Capacity of DG Sets and CMC of split ACs at Jamshedpur RCAG for the year 2022 23 Tender ID: 2022_AAI_135371_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S AMAR ENTERPRISES | 1696000.00 | L1
| 2 | Anoop Refrigeration | 1742474.00 | L2
| 3 | m/s cool control | 1927600.00 | L3