## BoQ1
Government eProcurement System Created By: BIPIN PRAKASH Created Date/Time: 14-Dec-2022 02:14 PM Tender Title: Renovation of Old Power House for Staff Guest House, CISF Administrative Office and Engineering Civil Office at Dehradun Airport. SH- Electrical Works. Tender ID: 2022_AAI_135475_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Elect.), AAI, Jolly Grant Airport, Dehradun
Name of Work: “Renovation of Old Power House for Staff Guest House, CISF Administrative Office and Engineering Civil Office at Dehradun Airport. (SH:- Electrical Works.).”
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Awasthi Electric Works(GSTN-09ABAPA1866D1Z5)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed PVC conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required.
1.10 | Group C | 50.00 | Point |  | 450.00 | 22500.00 | 550.00 | 27500.00 | 22500.00 | Manish Electricals
2.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 1 No. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 80.00 | Meter |  | 120.00 | 9600.00 | 180.00 | 14400.00 | 9600.00 | Manish Electricals
3.00 | Wiring for light/ power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed medium class PVC conduit alongwith 2 Nos. 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 150.00 | Meter |  | 180.00 | 27000.00 | 300.00 | 45000.00 | 27000.00 | Manish Electricals
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required.
4.10 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 80.00 | Meter |  | 140.00 | 11200.00 | 200.00 | 16000.00 | 11200.00 | Manish Electricals
4.20 | 2 X 10 sq. mm + 1 X 6 sq. mm earth wire | 50.00 | Meter |  | 190.00 | 9500.00 | 325.00 | 16250.00 | 9500.00 | Manish Electricals
5.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required.
5.10 | 4 Pair | 100.00 | Meter |  | 15.00 | 1500.00 | 29.00 | 2900.00 | 1500.00 | Manish Electricals
6.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
6.10 | 40 mm | 40.00 | Meter |  | 110.00 | 4400.00 | 130.00 | 5200.00 | 4400.00 | Manish Electricals
6.20 | 50 mm | 40.00 | Meter |  | 125.00 | 5000.00 | 155.00 | 6200.00 | 5000.00 | Manish Electricals
7.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
7.10 | 5/6 A switch | 30.00 | Each |  | 60.00 | 1800.00 | 100.00 | 3000.00 | 1800.00 | Manish Electricals
7.20 | 15/16 A switch | 20.00 | Each |  | 80.00 | 1600.00 | 170.00 | 3400.00 | 1600.00 | Manish Electricals
7.30 | 3 pin 5/6 A socket outlet | 30.00 | Each |  | 80.00 | 2400.00 | 150.00 | 4500.00 | 2400.00 | Manish Electricals
7.40 | 6 pin 15/16 A socket outlet | 20.00 | Each |  | 120.00 | 2400.00 | 195.00 | 3900.00 | 2400.00 | Manish Electricals
7.50 | Telephone socket outlet | 2.00 | Each |  | 80.00 | 160.00 | 120.00 | 240.00 | 160.00 | Manish Electricals
8.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 15.00 | Each |  | 250.00 | 3750.00 | 500.00 | 7500.00 | 3750.00 | Manish Electricals
9.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required | 15.00 | Each |  | 25.00 | 375.00 | 30.00 | 450.00 | 375.00 | Manish Electricals
10.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. | 18.00 | Each |  | 350.00 | 6300.00 | 500.00 | 9000.00 | 6300.00 | Manish Electricals
11.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A, tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer) as required. (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.)
11.10 | 12 way (4 + 36), Double door | 1.00 | Each |  | 8000.00 | 8000.00 | 9500.00 | 9500.00 | 8000.00 | Manish Electricals
12.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator)
12.10 | 8 way (4 + 24), Double door | 1.00 | Each |  | 3500.00 | 3500.00 | 4500.00 | 4500.00 | 3500.00 | Manish Electricals
13.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
13.10 | Single pole | 10.00 | Each |  | 125.00 | 1250.00 | 220.00 | 2200.00 | 1250.00 | Manish Electricals
13.20 | Single pole and neutral | 10.00 | Each |  | 390.00 | 3900.00 | 700.00 | 7000.00 | 3900.00 | Manish Electricals
14.00 | Supplying and fixing following rating, four pole, 415 V, isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
14.10 | 63 Amp | 2.00 | Each |  | 590.00 | 1180.00 | 700.00 | 1400.00 | 1180.00 | Manish Electricals
15.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 20.00 | Each |  | 10.00 | 200.00 | 15.00 | 300.00 | 200.00 | Manish Electricals
16.00 | Supplying and fixing 30 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 30 A, “C” curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 3.00 | Each |  | 2000.00 | 6000.00 | 4500.00 | 13500.00 | 6000.00 | Manish Electricals
17.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A, “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 7.00 | Each |  | 790.00 | 5530.00 | 1150.00 | 8050.00 | 5530.00 | Manish Electricals
18.00 | Supply of 1200mm sweep electric type ceiling fan, capacitor type with double ball bearing complete with 300mm down rod, canopies, shackles, blades, 6 position (hum free) piano type electronic step regulator suitable for operation on 230/240V, 50 Hz single phase, AC etc. including wiring the down rod etc. as required. | 6.00 | Each |  | 2100.00 | 12600.00 | 2600.00 | 15600.00 | 12600.00 | Manish Electricals
19.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, including providing and fixing phenolic laminated sheet cover on the fan box etc. as required. | 6.00 | Each |  | 150.00 | 900.00 | 200.00 | 1200.00 | 900.00 | Manish Electricals
20.00 | Supply of following sizes of heavy duty exhaust fan complete suitable for operation on 220V, 50Hz, Single Phase AC Supply with all accessories such as, motor, blade, MS Powder Coated louvre shutter, capacitor etc. including all fixing accessories as required & as specified. a) 300mm sweep, 1400 rpm | 6.00 | Each |  | 3000.00 | 18000.00 | 4500.00 | 27000.00 | 18000.00 | Manish Electricals
21.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. A) Upto 450 mm sweep | 6.00 | Each |  | 280.00 | 1680.00 | 500.00 | 3000.00 | 1680.00 | Manish Electricals
22.00 | Supply of following size XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1 KV grade conforming to IS:7098 (part-I) with upto date amendments complete as required. a) 3.5 C x 35 Sq.mm | 100.00 | Meter |  | 240.00 | 24000.00 | 175.00 | 17500.00 | 17500.00 | Awasthi Electric Works
23.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. a) upto 35 sqmm | 100.00 | Meter |  | 20.00 | 2000.00 | 80.00 | 8000.00 | 2000.00 | Manish Electricals
24.00 | Supply of 2 feet X 2 feet size 32 Watt, Recess mounted full glow type LED fitting with metallic CRCA powder coated body, integrated driver and high efficiency diffuser suitable to operate on 230-240 V, 50 Hz AC supply complete etc. as required. (Make- PHILIPS, Model No. RC380B LED30S-6500 L60W60 PSU OD S1 or Equivalent). | 30.00 | Each |  | 3200.00 | 96000.00 | 3000.00 | 90000.00 | 90000.00 | Awasthi Electric Works
25.00 | Supply of Round type 10.5W recess mounted low glare LED downlighter fitting with integrated driver and high efficiency diffuser suitable to operate on 230-240 V, 50 Hz AC supply complete etc. as required. (Make- PHILIPS, Model No. DN092B LED10S-6500 PSU WH or Equivalent). | 35.00 | Each |  | 1200.00 | 42000.00 | 1700.00 | 59500.00 | 42000.00 | Manish Electricals
26.00 | Supply of mirror LED typewall lights of 11 Watt surface mounted light fitting with control driver & hanging/fixing arrangements etc. (Make PHILIPS, Model No. 31167). | 6.00 | Each |  | 1900.00 | 11400.00 | 2250.00 | 13500.00 | 11400.00 | Manish Electricals
27.00 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 71.00 | Each |  | 60.00 | 4260.00 | 60.00 | 4260.00 | 4260.00 | Manish Electricals, Awasthi Electric Works
28.00 | Supply of 5 Star rated Split Type Air-conditoners of 1.5 TR Capacity fitted with heremetically sealed compressor operating on Refrigerant R-22/Non CFC suitable for wall mounting type confirming to IS:1391 (part-2) /92 (except power consumption norms) suitable for operation on 230V, 50Hz Single phase AC supply, along with supply & return copper piping with its insulation upto 03 meter and capable of performing following functions:- (Make:- VOLTAS / BLUE STAR / AMTREX / LG / HITACHI / CARRIER AIRCON / FEDDERS) a) Cooling b) Dehumidifying c) Air circulating d) Filtering | 1.00 | Nos. |  | 41500.00 | 41500.00 | 44500.00 | 44500.00 | 41500.00 | Manish Electricals
29.00 | Installation, testing and commissioning of Split Type Air-conditoners of 1.5/2TR Capacity i/c fitting of indoor and outdoor unit at their locations, drilling holes in the wall using suitable hardwares, wall/ceiling supporting arrangement,leak testing of entire system, charging refrigerant gas in the unit, making good the surface as per requirement of the site. | 7.00 | Job |  | 1200.00 | 8400.00 | 2000.00 | 14000.00 | 8400.00 | Manish Electricals
30.00 | Installation, testing and commissioning of vertical Type Air-conditoners of 3.5 TR Capacity i/c fitting of indoor and outdoor unit at their locations, drilling holes in the wall using suitable hardwares, wall/ceiling supporting arrangement, leak testing of entire system, charging refrigerant gas in the unit, making good the surface as per requirement of the site. | 4.00 | Each |  | 2500.00 | 10000.00 | 3500.00 | 14000.00 | 10000.00 | Manish Electricals
31.00 | Supply and fixing of following size PVC drain pipe from the respective units, clamping on different surface like wall/floor etc. i/c sealing the joints with making of openings as per site condition.
31.10 | 25 mm. | 60.00 | Meter |  | 40.00 | 2400.00 | 80.00 | 4800.00 | 2400.00 | Manish Electricals
32.00 | Supply & fixing of suitable size Copper Refrigerant piping (Supply and return) with expanded polythene foam/nylon insulation tubing covering for 1.5 TR split type A/C units. (Measurement of 1 R.Mtr. will include both supply & return Cu. Piping with insulation). | 50.00 | Meter |  | 450.00 | 22500.00 | 1450.00 | 72500.00 | 22500.00 | Manish Electricals
33.00 | Supply, Installation, Testing & Commissioning of floor mounted Water Dispenser with inbuilt refrigerator having cold and hot water faucets, LED indication, corrosion resistant cabinet, power cord, suitable for 230 volts ±10%, single phase, 50 Hz Ac supply etc. complete as required. (Make- Voltas Mini Magic Pure). | 2.00 | Each |  | 8500.00 | 17000.00 | 10750.00 | 21500.00 | 17000.00 | Manish Electricals
34.00 | Supply, Installation, Testing & Commissioning of self contained drinking water cooler having SS body confirming to IS:1475/78 with up to date amendment suitable for operation on 230V± 10%, 50Hz single phase AC supply having following storage & cooling capacity including all the piping accessories for proper functioning. (Make: BLUE STAR or equivalent) a) 60 ltrs/hrs Cooling capacity & 80 ltrs storage | 2.00 | Each |  | 37000.00 | 74000.00 | 48600.00 | 97200.00 | 74000.00 | Manish Electricals
35.00 | Supply, Installation, Testing & Commissioning of RO water purifier with 4 stage purification with upto 25 ltr purification capacity suitable for operation on 230 +/-10% Volts, 50 Hz. single phase AC power supply complete as required. | 2.00 | Each |  | 27500.00 | 55000.00 | 38500.00 | 77000.00 | 55000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 582685.00 |  | 796950.00
Lowest Amount Quoted BY: Manish Electricals(582685.00)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Old Power House for Staff Guest House, CISF Administrative Office and Engineering Civil Office at Dehradun Airport. SH- Electrical Works. Tender ID: 2022_AAI_135475_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 582685.00 | L1
| 2 | Awasthi Electric Works | 796950.00 | L2