## BoQ1
Government eProcurement System Created By: SOLOMON PRABHAKAR Created Date/Time: 04-Jan-2023 02:26 PM Tender Title: Construction of 10.5 meter wide link taxi track connecting Old apron to the proposed FTO at Hubballi Airport. SH Provision of Power supply arrangements for FTO and Diversion of Existing power cables from proposed FTO Location. Tender ID: 2022_AAI_135758_1
Tender Inviting Authority: ASST GENERAL MANAGER (ENGG-ELECTRICAL), AAI, HUBBALLI AIRPORT
Name of Work: Construction of 10.5 meter wide link taxi track connecting Old apron to the proposed FTO at Hubballi Airport. SH:-Provision of Power supply arrangemnts for FTO and Diversion of Existing power cables from proposed FTO Location.
Contract No: 2022_AAI_135758_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DOSHI ELECTRIC ENGG. CO.(GSTN-24AAEFD3355K1ZI) |  | Manish Electricals(GSTN-23ABLPM9012E1ZW) |  | Mona Generator Services Pvt. Ltd.(GSTN-07AAFCM4263P1ZZ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-1: CABLES AND CABLING Supplying of following sizes aluminium conductor armoured XLPE insulated, PVC sheathed power cable for working voltage upto & i/c 1.1 KV. as per IS : 7098 (Part-I), 1988 with latest amendments.
1.10 | 3.5 C x300 Sqmm | 580.00 | Mtr |  | 1500.00 | 870000.00 | 1620.00 | 939600.00 | 1234.00 | 715720.00 | 715720.00 | Mona Generator Services Pvt. Ltd.
1.20 | 3.5 Cx185 sqmm | 1120.00 | Mtr |  | 850.00 | 952000.00 | 1035.00 | 1159200.00 | 823.00 | 921760.00 | 921760.00 | Mona Generator Services Pvt. Ltd.
1.30 | 3.5 C x 240 sq.mm | 480.00 | Mtr |  | 1050.00 | 504000.00 | 1306.00 | 626880.00 | 1114.00 | 534720.00 | 504000.00 | DOSHI ELECTRIC ENGG. CO.
1.40 | 3.5 Cx 120 Sqmm | 300.00 | Mtr |  | 600.00 | 180000.00 | 695.00 | 208500.00 | 687.00 | 206100.00 | 180000.00 | DOSHI ELECTRIC ENGG. CO.
2.00 | Supplying and laying of 90 mm dia PE 63 grade PN4 rating HDPE pipe confirming to IS 4984 incluiding all accessories direct in ground (75 cm below ground level) excavation and refilling the trench complete as required. | 2260.00 | Mtr |  | 450.00 | 1017000.00 | 530.00 | 1197800.00 | 315.00 | 711900.00 | 711900.00 | Mona Generator Services Pvt. Ltd.
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/HUME/STONE WARE/METAL/HDPE pipe as required.
3.10 | a) Above 95 sq. mm and upto 185 sq. mm | 1360.00 | Mtr |  | 70.00 | 95200.00 | 50.00 | 68000.00 | 60.00 | 81600.00 | 68000.00 | Manish Electricals
3.20 | b) Above 185 sq. mm and upto 400 sq. mm | 900.00 | Mtr |  | 90.00 | 81000.00 | 100.00 | 90000.00 | 100.00 | 90000.00 | 81000.00 | DOSHI ELECTRIC ENGG. CO.
4.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of Pvc insulated and PVc sheathed / XLPE aluminium conductor cable of 1.1 KV Grade as required.
4.10 | 3.5 C x300 Sqmm | 4.00 | Set |  | 4000.00 | 16000.00 | 4000.00 | 16000.00 | 6200.00 | 24800.00 | 16000.00 | DOSHI ELECTRIC ENGG. CO., Manish Electricals
4.20 | 3.5 C x 185 sq.mm | 4.00 | Set |  | 3500.00 | 14000.00 | 4000.00 | 16000.00 | 4800.00 | 19200.00 | 14000.00 | DOSHI ELECTRIC ENGG. CO.
4.30 | 4 Cx 120 Sqmm | 2.00 | Set |  | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 4700.00 | 9400.00 | 6000.00 | DOSHI ELECTRIC ENGG. CO.
5.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
5.01 | 3.5 C x300 Sqmm | 4.00 | Set |  | 1200.00 | 4800.00 | 1500.00 | 6000.00 | 1180.00 | 4720.00 | 4720.00 | Mona Generator Services Pvt. Ltd.
5.02 | 3.5 C x240 Sqmm | 4.00 | Set |  | 800.00 | 3200.00 | 1200.00 | 4800.00 | 930.00 | 3720.00 | 3200.00 | DOSHI ELECTRIC ENGG. CO.
5.03 | 3.5 C x 185 sq.mm | 4.00 | Set |  | 600.00 | 2400.00 | 1000.00 | 4000.00 | 620.00 | 2480.00 | 2400.00 | DOSHI ELECTRIC ENGG. CO.
5.04 | 3.5 C x120 Sqmm | 2.00 | Set |  | 500.00 | 1000.00 | 1000.00 | 2000.00 | 400.00 | 800.00 | 800.00 | Mona Generator Services Pvt. Ltd.
6.00 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 26.00 | Each |  | 400.00 | 10400.00 | 480.00 | 12480.00 | 1250.00 | 32500.00 | 10400.00 | DOSHI ELECTRIC ENGG. CO.
7.00 | SH- 2 SITC of LT Panel Supply, installation, testing & commissioning of LT Panel, cubicle & modular type, made of 2 mm thick sheet steel for frame work and covers, 3mm thick for gland plates, totally enclosed, form 4, IP 42, free standing, floor mounting, dust and vermin proof, indoor, compartmentalised, including cross ventilation, powder coated, painting, suitable for operation on 3 Phase and neutral , 415v, 50 Hz AC system with Al.busbars extensible on both sides, fabrication shall be done in transportation sections, entire panel shall have a common copper earth bar of size 25mm x 5mm at the rear with 2 nos, earth stud, control wiring with 2.5 sq.mm. PVC insulated copper conductor, cable alloys, cable gland plates in two half, interconnections & rotary handle operating machanisam from a firm having CPRI certification with test certificates for similar panel (required for short circuit rating, temperature rise and IP classification) including supply & installation of following items and as per technical specification.BUS BAR 600 A TPN Al Busbars. INCOMERS 400 A, FP 36kA MCCB with microprocessor based adjustable release with OL & SC protection - 2 Nos. 4A, C curve SP MCB - 6 Nos. RYB indication lamp, LED type - 6 Nos. (0-500)V voltmeter, Acc. class 1 with 90 deg defl. scale - 2 Nos. (0-400)A ammeter Acc. class 1 with 90 deg defl. scale - 2 Nos. 6A 3 pole voltmeter selector switch - 2 Nos. Ammeter selector switch- 2 Nos. 400/5A 15VA class 1 resin cast CT(Rectangular Type) - 6nos Energy meter-3ph having RS 485 communication facilities - 2Nos. MFM (V,A,F,PF,KW,KVA,KWH) having RS 485 communication facilities - 2Nos. ON/OFF/TRIP indication lamp, LED type - 6 Nos. Surge protector of Class C, 3P+N of 40 KA - 2Nos. Bus coupler 400 A, FP 36kA MCCB with out release - 1 Nos. ON-OFF-TRIP indication lamps- 3 nos. 400 A TPN busbar chamber with high conductivity Aluminium bus bars with heat shrinkable coloured sleeves and i/c DMCISMC busbars supports at required intervals. Out goings 250A, FP 36kA MCCB with Thermal Magnetic based adjustable release with OL & SC protection - 4 Nos. 125A, FP 36kA MCCB with Thermal Magnetic based adjustable release with OL & SC protection - 4 Nos. 63A, FP 36kA MCCB with Thermal Magnetic based adjustable release with OL & SC protection - 6 Nos. | 1.00 | Each |  | 700000.00 | 700000.00 | 250000.00 | 250000.00 | 724538.00 | 724538.00 | 250000.00 | Manish Electricals
8.00 | OUT DOOR FEEDER PILLER Supply, installation, testing and commissioning of cubicle type Out door feeder panel fabricated using 2 mm thick CRCA sheet steel for frame work and covers, 3mm thick for gland plates, totally enclosed free standing, double door, dust free, damp and vermin proof and water proof outdoor (IP 54), powder coated, painting, suitable for operation on 3 Phase and neutral , 415v, 50 Hz AC system, including supply & fixing the following items and interconnections, wiring with suitable size wires/cables and rotary handle operating machanisam from a firm having CPRI certification with test certificates for similar panel (required for short circuit rating, temperature rise and IP classification) including all works for foundation like excavation, PCC, brick work pedestal, plastering, finishing etc. and as per specifications as required. INCOMMER 250 A, 4P 36kA MCCB with microprocessor based adjustable release with OL & SC protection - 1 No. 4A, C curve SP MCB - 3 Nos. RYB indication lamp, LED type - 3 Nos. (0-500)V voltmeter, Acc. class 1 with 90 deg defl. scale - 1 No. (0-250)A ammeter Acc. class 1 with 90 deg defl. scale - 1 Nos. 6A 3 pole voltmeter selector switch - 1 No. Ammeter Selector Switch -1 Nos 250/5A 10VA class 1 resin cast CT - 3nos ON/OFF/TRIP indication lamp, LED type - 3Nos. BUSBARS 4P aluminum bus bars of 250 A capacity with heat shrinkable coloured sleeves i/c SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc. for withstanding fault level of 35 KA for 1 sec.250 A TPN busbar chamber with Aluminium busbar. Out goings 63A, 4P 36kA MCCB with microprocessor based adjustable release with OL & SC protection - 2 No 63A, 4P 10kA MCB - 2 Nos. | 1.00 | Each |  | 250000.00 | 250000.00 | 125000.00 | 125000.00 | 292934.00 | 292934.00 | 125000.00 | Manish Electricals
9.00 | Providing, laying and fixing of 300 mm dia RCC Socket Spun type Hume pipe NP-2 class, in ground, in existing trench complete as required as per site requirement. | 20.00 | Mtr |  | 1200.00 | 24000.00 | 1800.00 | 36000.00 | 750.00 | 15000.00 | 15000.00 | Mona Generator Services Pvt. Ltd.
10.00 | Construction of brick masonry chamber in cement mortar 1:6 ( 1 cement : 6 coarse sand ) with foundation concrete 1:5:10 mix (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:6 (1 cement : 6 coarse sand) finished with a floating coat of neat cement complete as per site requirement. (chamber size 1500mm x 1500mm and 1500mm and deep With common burnt clay F.P.S. non-modular brick) | 4.00 | Each |  | 25000.00 | 100000.00 | 16000.00 | 64000.00 | 27120.00 | 108480.00 | 64000.00 | Manish Electricals
11.00 | Supply and fixing of chequered plate of 5 mm thick including cutting to required size using gas cutter and lay the same over the chamber, fixing of nosing angle and supporting handle for chequered plate, related civil works, finishing etc. and painting with two coats of enamel paint over one coat of Zinchromate primer complete as required as per site requirement. | 361.00 | Kg |  | 200.00 | 72200.00 | 120.00 | 43320.00 | 105.00 | 37905.00 | 37905.00 | Mona Generator Services Pvt. Ltd.
12.00 | Dismantling of existing 6mtr height perimeter light poles i/c disconnection of all connections,cables,termination box's and light fittings from the poles and handed over to AAI store complete as required as per site requirement. | 2.00 | Each |  | 500.00 | 1000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | DOSHI ELECTRIC ENGG. CO.
13.00 | Installation, testing and commissioning of existing 6mtr height perimeter light poles including foundation, all connections, terminations, fixing of loop in and loop out box's and light fittings complete as required asper site requirement. | 2.00 | Job |  | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 2500.00 | 5000.00 | 5000.00 | Mona Generator Services Pvt. Ltd.
| Total in Figures |  |  |  |  | 4910200.00 |  | 4886580.00 |  | 4545277.00
Lowest Amount Quoted BY: Mona Generator Services Pvt. Ltd.(4545277.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of 10.5 meter wide link taxi track connecting Old apron to the proposed FTO at Hubballi Airport. SH Provision of Power supply arrangements for FTO and Diversion of Existing power cables from proposed FTO Location. Tender ID: 2022_AAI_135758_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mona Generator Services Pvt. Ltd. | 4545277.00 | L1
| 2 | Manish Electricals | 4886580.00 | L2
| 3 | DOSHI ELECTRIC ENGG. CO. | 4910200.00 | L3