## BoQ1
Government eProcurement System Created By: RAVICHANDRAN SEETHARAMAN Created Date/Time: 21-Dec-2022 04:21 PM Tender Title: Supply, installation, testing and commissioning of split Ac s and associated works for newly constructed Hostel accommodation at Trichy airport Tender ID: 2022_AAI_135844_1
Tender Inviting Authority: Asst. General Manager (E-E)
Name of Work: Supply, installation, testing and commissioning of split Ac’s and associated works for newly constructed Hostel accommodation at Trichy airport.
Contract No: AAI/TRY/ENGG(E)/Project/2022-23/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | VOLKS ENERGIE PVT LTD(GSTN-07AADCV9396C1ZZ) |  | AQUATICS ENIGINEERS(GSTN-07AEMPM9860Q1ZE) |  | CHENNAI ENGINEERING SERVICES(GSTN-33AADFC4373K1ZH) |  | LIFE STYLE INTERIORS(GSTN-08AEWPT8384E1ZJ)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.5TR, above ISEER 4.5, Split Type Air Conditioners, Invertor with 5 Star Rating, fitted with Hermetically Sealed or Rotary or Scroll or Reciprocating Compressors, Operating on Refriegerant eco friendly green gas suitable for wall mounting, Conforming to IS suitable for operation on 230 V. 50 Hz. Single Phase, AC Supply capable of performing, Dehumidifying, Air Circulating, Filtering, drain and including supply of refrigerant pipe and drain pipe as per OEM standard length, Outdoor Unit support stand as per site requirement. | 15.00 | Each |  | 37817.00 | 567255.00 | 37600.00 | 564000.00 | 37999.00 | 569985.00 | 37000.00 | 555000.00 | 555000.00 | LIFE STYLE INTERIORS
2.00 | Installation of Testing Commissioning of Split AC 1.5 TR including wall cutting, hole cutting, plastering and making wall good condition, fixing of outdoor with stand, stablizer and electrical connection with wire, complete as required. | 15.00 | Job |  | 1950.00 | 29250.00 | 3000.00 | 45000.00 | 1199.00 | 17985.00 | 2500.00 | 37500.00 | 17985.00 | CHENNAI ENGINEERING SERVICES
3.00 | Laying of Extra copper Refrigerant Piping with insulation along with Electrical Cable from Indoor to Outdoor including beyond standard available length i.e 3mtr etc. Complete as required as per tonnage requirement of respective split ac Complete as required. Suitable for 1.5 TR Split Ac. | 6.00 | Mtrs |  | 500.00 | 3000.00 | 800.00 | 4800.00 | 1199.00 | 7194.00 | 1200.00 | 7200.00 | 3000.00 | VOLKS ENERGIE PVT LTD
4.00 | Laying of Extra Drain piping of diameter half inch beyond 3 Meters etc. Complete as required. | 73.00 | Mtrs |  | 90.00 | 6570.00 | 125.00 | 9125.00 | 129.00 | 9417.00 | 90.00 | 6570.00 | 6570.00 | VOLKS ENERGIE PVT LTD, LIFE STYLE INTERIORS
5.00 | Supplying of Wall Mounting Type, 4KVA Capacity, single phase, automatic line voltage stabilzer, suitable operation on 170 volts to 270 volts AC input, 200 volts to 240 volts AC output, single phase, 50HZ AC power supply with built in time delay, high voltage cut off at 275, and low voltage cut off at 165 volts and input,outputand trip indications and suitable for application of 1.5 Ton Air conditioning unit etc as required. | 15.00 | Each |  | 1525.00 | 22875.00 | 3600.00 | 54000.00 | 1499.00 | 22485.00 | 3500.00 | 52500.00 | 22485.00 | CHENNAI ENGINEERING SERVICES
6.00 | Supply and fixing of Mini refrigerator of capacity 45 ltr,single door suitable to install on table top, suitable to opearte single phase, 50 Hz Supply etc as required. Make and model LG GL-M051RSWC or its equivelent. | 14.00 | Each |  | 7500.00 | 105000.00 | 7500.00 | 105000.00 | 9999.00 | 139986.00 | 7800.00 | 109200.00 | 105000.00 | VOLKS ENERGIE PVT LTD, AQUATICS ENIGINEERS
7.00 | Supply of water kettle integrated SS body, 1.2ltr. capacity, Energy effiicent, inbuild auto cut off, suitable to opaerate on single phase supply, 50 HZ etc as required Make model Havells GHBKTATK150 or its equivelent. | 14.00 | Each |  | 1280.00 | 17920.00 | 1200.00 | 16800.00 | 1599.00 | 22386.00 | 1200.00 | 16800.00 | 16800.00 | AQUATICS ENIGINEERS, LIFE STYLE INTERIORS
8.00 | Supply and fixing water heater of 10 Ltr. capacity, 5 star ratted suitable to operate on single phase, 50HZ supply, PUF insulation, Incoloy glass coated heating element, Anode rod, Adjustable temperature setting Knob, IPX-4, Whirlflow technology including necessray pluming hose,values etc. as required. Make and model Havells Puro EX GHWAPUTWB010 or its equivelent. | 14.00 | Each |  | 7350.00 | 102900.00 | 3000.00 | 42000.00 | 9999.00 | 139986.00 | 9000.00 | 126000.00 | 42000.00 | AQUATICS ENIGINEERS
9.00 | Supply of FR-LSH PVC Insulated Industrial Cables of size 2.5 sq.mm, Single Core, Industrial Grade Copper Conductor Unsheathed Flexible Cables, 1100 Volt Conforming to IS 694. ( each coil length 90 mtrs.) | 20.00 | coil |  | 1848.00 | 36960.00 | 3600.00 | 72000.00 | 3519.00 | 70380.00 | 2300.00 | 46000.00 | 36960.00 | VOLKS ENERGIE PVT LTD
10.00 | Supply of 3 module plastic surface box along with moudular plate, one way 16 Amp -1 module switch, 2 module 6and 16 amps 3 pin socket along with nuts and bolts etc as required . | 120.00 | Each |  | 225.00 | 27000.00 | 250.00 | 30000.00 | 299.00 | 35880.00 | 370.00 | 44400.00 | 27000.00 | VOLKS ENERGIE PVT LTD
11.00 | Supply and fixing of Potable water purification system with inbuilt RO, cold and normal Taps, operation mode Fully automatic with auto cut off, inbuilt stroage tank of capacity 20 ltr., Minimum inlet pressure - 0.3 KG per CM2, Maximum inlet pressure 3.0 KG per CM2, sediment and carbon filter cartridge, Ultrafiltration membrain, booster pump, cumpressor Filtration water capacity 20 to 40 liter per hour, ABS Food grade body, Auto flushing system, , including providing interconnection with nearest water tap with necessary knob, pipe of length up to 2 mtrs.etc. as required. (Make and model KENT 11010 or its equivelent.) | 4.00 | Each |  | 41583.00 | 166332.00 | 10000.00 | 40000.00 | 18999.00 | 75996.00 | 48000.00 | 192000.00 | 40000.00 | AQUATICS ENIGINEERS
12.00 | Supply and fixing of Table Top Hot, Cold and Normal Water Dispenser, Heating capacity 3-5 Litres per hour, Cold water storage capacity 2-3 Litres, Cooling capacity 2 to3 litres per hour, Hot water storage capacity 0.5-1 litter, suitable to operate on single phase supply. (Make and model Voltas Mini Magic pure T 6210163 or its equivelent.) | 2.00 | Each |  | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 11999.00 | 23998.00 | 7100.00 | 14200.00 | 8000.00 | AQUATICS ENIGINEERS
| Total in Figures |  |  |  |  | 1099062.00 |  | 990725.00 |  | 1135678.00 |  | 1207370.00
Lowest Amount Quoted BY: AQUATICS ENIGINEERS(990725.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, installation, testing and commissioning of split Ac s and associated works for newly constructed Hostel accommodation at Trichy airport Tender ID: 2022_AAI_135844_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AQUATICS ENIGINEERS | 990725.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 1099062.00 | L2
| 3 | CHENNAI ENGINEERING SERVICES | 1135678.00 | L3
| 4 | LIFE STYLE INTERIORS | 1207370.00 | L4